## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.89674 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.368 | 4-CHLOROTOLUENE | . | 0.02 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89674 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78351 | 0.073754 | 0.78804 | 0.1087 | 0.080575
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.81522 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.184 | 4-CHLOROTOLUENE | . | 0.02 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81522 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78351 | 0.073754 | 0.78804 | 0.1087 | 0.080575
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-04-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.81522 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.368 | 4-CHLOROTOLUENE | . | 0.02 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81522 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78351 | 0.073754 | 0.78804 | 0.1087 | 0.080575
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-06-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.70652 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.184 | 4-CHLOROTOLUENE | . | 0.02 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70652 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78351 | 0.073754 | 0.78804 | 0.1087 | 0.080575
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-07-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.70652 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.184 | 4-CHLOROTOLUENE | . | 0.02 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70652 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78351 | 0.073754 | 0.78804 | 0.1087 | 0.080575
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-08-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.76087 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.184 | 4-CHLOROTOLUENE | . | 0.02 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76087 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78351 | 0.073754 | 0.78804 | 0.1087 | 0.080575
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.95888 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.1808 | 4-CHLOROTOLUENE | . | 0.042 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95888 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95888 |  | 0.95888 | 0 | 0
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.90449 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.05926 | 4-CHLOROTOLUENE | . | 0.042 | 0.0536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90449 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90449 |  | 0.90449 | 0 | 0
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.74165 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.11852 | 4-CHLOROTOLUENE | . | 0.042 | 0.0879 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74165 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78172 | 0.056678 | 0.78172 | 0.080155 | 0.059418
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.8218 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.05926 | 4-CHLOROTOLUENE | . | 0.042 | 0.0487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8218 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78172 | 0.056678 | 0.78172 | 0.080155 | 0.059418
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.84543 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.05926 | 4-CHLOROTOLUENE | . | 0.042 | 0.0501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84543 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84543 |  | 0.84543 | 0 | 0
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.79236 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.0602 | 4-CHLOROTOLUENE | . | 0.042 | 0.0477 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79236 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7608 | 0.044635 | 0.7608 | 0.063123 | 0.046792
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.72924 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.1204 | 4-CHLOROTOLUENE | . | 0.042 | 0.0878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72924 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7608 | 0.044635 | 0.7608 | 0.063123 | 0.046792
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0475 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.7952 | 4-CHLOROTOLUENE | . | 0.042 | 0.833 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0475 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0488 | 0.0017784 | 1.0488 | 0.0025151 | 0.0018644
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.5904 | 4-CHLOROTOLUENE | . | 0.042 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0501 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0488 | 0.0017784 | 1.0488 | 0.0025151 | 0.0018644
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.74924 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.11852 | 4-CHLOROTOLUENE | . | 0.042 | 0.0888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74924 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.74924 |  | 0.74924 | 0 | 0
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.72674 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.1204 | 4-CHLOROTOLUENE | . | 0.042 | 0.0875 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72674 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72674 |  | 0.72674 | 0 | 0
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.99723 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.7952 | 4-CHLOROTOLUENE | . | 0.042 | 0.793 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99723 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.99723 |  | 0.99723 | 0 | 0
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.95048 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.5992 | 4-CHLOROTOLUENE | . | 0.042 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95048 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9708 | 0.028741 | 0.9708 | 0.040645 | 0.03013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.99112 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 3.1984 | 4-CHLOROTOLUENE | . | 0.042 | 3.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99112 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9708 | 0.028741 | 0.9708 | 0.040645 | 0.03013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.76458 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.096 | 4-CHLOROTOLUENE | . | 0.042 | 0.0734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76458 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80208 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.192 | 4-CHLOROTOLUENE | . | 0.042 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80208 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.74167 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.096 | 4-CHLOROTOLUENE | . | 0.042 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74167 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.57812 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.192 | 4-CHLOROTOLUENE | . | 0.042 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57812 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.65729 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.096 | 4-CHLOROTOLUENE | . | 0.042 | 0.0631 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65729 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.67708 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.192 | 4-CHLOROTOLUENE | . | 0.042 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67708 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.72292 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.096 | 4-CHLOROTOLUENE | . | 0.042 | 0.0694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72292 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.71771 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.096 | 4-CHLOROTOLUENE | . | 0.042 | 0.0689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71771 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.86979 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.192 | 4-CHLOROTOLUENE | . | 0.042 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86979 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.7375 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.096 | 4-CHLOROTOLUENE | . | 0.042 | 0.0708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7375 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.72396 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.192 | 4-CHLOROTOLUENE | . | 0.042 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72396 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.72396 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.192 | 4-CHLOROTOLUENE | . | 0.042 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72396 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72639 | 0.072235 | 0.72396 | 0.055729 | 0.041311
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.76333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | 4-CHLOROTOLUENE | E | 0.042 | 0.0458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76333 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.85701 | 0.082091 | 0.83667 | 0.11333 | 0.084013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.94444 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | 4-CHLOROTOLUENE | . | 0.042 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94444 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85701 | 0.082091 | 0.83667 | 0.11333 | 0.084013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.77333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | 4-CHLOROTOLUENE | E | 0.042 | 0.0464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.85701 | 0.082091 | 0.83667 | 0.11333 | 0.084013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.85 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | 4-CHLOROTOLUENE | . | 0.042 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85701 | 0.082091 | 0.83667 | 0.11333 | 0.084013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.82333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | 4-CHLOROTOLUENE | E | 0.042 | 0.0494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82333 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.85701 | 0.082091 | 0.83667 | 0.11333 | 0.084013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.87778 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | 4-CHLOROTOLUENE | . | 0.042 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87778 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85701 | 0.082091 | 0.83667 | 0.11333 | 0.084013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0017 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | 4-CHLOROTOLUENE | . | 0.042 | 0.0601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0017 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85701 | 0.082091 | 0.83667 | 0.11333 | 0.084013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.82222 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | 4-CHLOROTOLUENE | . | 0.042 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82222 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.85701 | 0.082091 | 0.83667 | 0.11333 | 0.084013
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.96298 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.5992 | 4-CHLOROTOLUENE | . | 0.042 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96298 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96298 |  | 0.96298 | 0 | 0
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.84042 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.7996 | 4-CHLOROTOLUENE | . | 0.042 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84042 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82291 | 0.024761 | 0.82291 | 0.035018 | 0.025958
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.8054 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.7996 | 4-CHLOROTOLUENE | . | 0.042 | 0.644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8054 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82291 | 0.024761 | 0.82291 | 0.035018 | 0.025958
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.64784 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.1204 | 4-CHLOROTOLUENE | . | 0.042 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64784 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71429 | 0.093968 | 0.71429 | 0.13289 | 0.09851
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.78073 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.0602 | 4-CHLOROTOLUENE | . | 0.042 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78073 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71429 | 0.093968 | 0.71429 | 0.13289 | 0.09851
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.77575 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.1204 | 4-CHLOROTOLUENE | . | 0.042 | 0.0934 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77575 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77575 |  | 0.77575 | 0 | 0
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.8982 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 4-CHLOROTOLUENE | . | 0.02 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8982 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83583 | 0.09435 | 0.8483 | 0.12475 | 0.092476
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-03-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.8982 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 4-CHLOROTOLUENE | . | 0.02 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8982 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83583 | 0.09435 | 0.8483 | 0.12475 | 0.092476
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.9481 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 4-CHLOROTOLUENE | . | 0.02 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9481 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83583 | 0.09435 | 0.8483 | 0.12475 | 0.092476
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.77345 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4008 | 4-CHLOROTOLUENE | . | 0.02 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77345 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83583 | 0.09435 | 0.8483 | 0.12475 | 0.092476
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.7984 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4008 | 4-CHLOROTOLUENE | . | 0.02 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7984 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83583 | 0.09435 | 0.8483 | 0.12475 | 0.092476
4-CHLOROTOLUENE | 2021 | 77277GCM66 | 2009-08-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.6986 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 4-CHLOROTOLUENE | . | 0.02 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6986 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83583 | 0.09435 | 0.8483 | 0.12475 | 0.092476