## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.86957 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.368 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86957 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75634 | 0.081371 | 0.74728 | 0.1087 | 0.080575
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.70652 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.184 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70652 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75634 | 0.081371 | 0.74728 | 0.1087 | 0.080575
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-04-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.78804 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.368 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78804 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75634 | 0.081371 | 0.74728 | 0.1087 | 0.080575
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-06-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.65217 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.184 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65217 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75634 | 0.081371 | 0.74728 | 0.1087 | 0.080575
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-07-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.70652 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.184 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70652 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75634 | 0.081371 | 0.74728 | 0.1087 | 0.080575
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-08-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.81522 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.184 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81522 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75634 | 0.081371 | 0.74728 | 0.1087 | 0.080575
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1569 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.1928 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1569 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1569 |  | 1.1569 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.74121 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.0796 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74121 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74121 |  | 0.74121 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.65327 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.1592 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65327 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71608 | 0.088833 | 0.71608 | 0.12563 | 0.093127
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.77889 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.0796 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77889 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71608 | 0.088833 | 0.71608 | 0.12563 | 0.093127
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.64322 | Accu | 209081198 | Accu 209081198: 10 µl | 0.0995 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | E | 0.06 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64322 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.71524 | 0.055106 | 0.71357 | 0.090452 | 0.067051
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.64992 | Accu | 209081198 | Accu 209081198: 30 µl | 0.2985 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64992 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71524 | 0.055106 | 0.71357 | 0.090452 | 0.067051
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.74372 | Accu | 209081198 | Accu 209081198: 10 µl | 0.0995 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74372 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71524 | 0.055106 | 0.71357 | 0.090452 | 0.067051
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.79732 | Accu | 209081198 | Accu 209081198: 30 µl | 0.2985 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79732 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71524 | 0.055106 | 0.71357 | 0.090452 | 0.067051
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.71357 | Accu | 209081198 | Accu 209081198: 10 µl | 0.0995 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71357 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71524 | 0.055106 | 0.71357 | 0.090452 | 0.067051
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.68677 | Accu | 209081198 | Accu 209081198: 30 µl | 0.2985 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68677 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71524 | 0.055106 | 0.71357 | 0.090452 | 0.067051
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.77387 | Accu | 209081198 | Accu 209081198: 10 µl | 0.0995 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77387 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71524 | 0.055106 | 0.71357 | 0.090452 | 0.067051
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.71357 | Accu | 209081198 | Accu 209081198: 10 µl | 0.0995 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71357 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.71524 | 0.055106 | 0.71357 | 0.090452 | 0.067051
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.79146 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.0796 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79146 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79146 |  | 0.79146 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.65385 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.078 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65385 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.67949 | 0.036262 | 0.67949 | 0.051282 | 0.038015
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.70513 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.156 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70513 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.67949 | 0.036262 | 0.67949 | 0.051282 | 0.038015
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1636 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.2982 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1636 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.2165 | 0.074694 | 1.2165 | 0.10563 | 0.078305
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2693 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.5964 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2693 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.2165 | 0.074694 | 1.2165 | 0.10563 | 0.078305
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.75377 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.1592 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75377 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75377 |  | 0.75377 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.156 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75 |  | 0.75 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.1636 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.2982 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1636 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1636 |  | 1.1636 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.92667 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.6 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9925 | 0.093102 | 0.9925 | 0.13167 | 0.097603
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0583 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.2 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9925 | 0.093102 | 0.9925 | 0.13167 | 0.097603
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2008-12-20 | 2008-10-01 | 2009-09-30 | ug/L | 0.74627 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.268 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74627 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.74627 |  | 0.74627 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.73276 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73276 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.78879 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78879 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.73276 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73276 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.56034 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56034 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.64655 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64655 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.67672 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67672 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.7069 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7069 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.71552 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71552 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.90948 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90948 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.74138 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74138 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.75862 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75862 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.71552 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71552 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.72378 | 0.082961 | 0.72414 | 0.05819 | 0.043135
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.6087 | Restek | A069860 | Restek A069860: 10 µl | 0.092 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | E | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6087 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.62681 | Restek | A069860 | Restek A069860: 30 µl | 0.276 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62681 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.69565 | Restek | A069860 | Restek A069860: 10 µl | 0.092 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69565 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.76449 | Restek | A069860 | Restek A069860: 30 µl | 0.276 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76449 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.69565 | Restek | A069860 | Restek A069860: 10 µl | 0.092 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69565 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.78261 | Restek | A069860 | Restek A069860: 30 µl | 0.276 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78261 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.76087 | Restek | A069860 | Restek A069860: 10 µl | 0.092 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76087 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.76087 | Restek | A069860 | Restek A069860: 30 µl | 0.276 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76087 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.6413 | Restek | A069860 | Restek A069860: 10 µl | 0.092 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | E | 0.06 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6413 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.70411 | 0.066538 | 0.69565 | 0.11957 | 0.088632
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.77333 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.6 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77333 |  | 0.77333 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.3 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.69667 | 0.075425 | 0.69667 | 0.10667 | 0.079071
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.64333 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.3 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64333 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.69667 | 0.075425 | 0.69667 | 0.10667 | 0.079071
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.59615 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.156 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59615 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.70192 | 0.14958 | 0.70192 | 0.21154 | 0.15681
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.80769 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.078 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80769 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.70192 | 0.14958 | 0.70192 | 0.21154 | 0.15681
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.65385 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.156 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65385 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.65385 |  | 0.65385 | 0 | 0
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.7984 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7984 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76098 | 0.062624 | 0.77345 | 0.0499 | 0.036991
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-03-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.7485 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7485 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76098 | 0.062624 | 0.77345 | 0.0499 | 0.036991
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.7984 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7984 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76098 | 0.062624 | 0.77345 | 0.0499 | 0.036991
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.6487 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4008 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6487 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76098 | 0.062624 | 0.77345 | 0.0499 | 0.036991
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.82335 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4008 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82335 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76098 | 0.062624 | 0.77345 | 0.0499 | 0.036991
4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 2021 | 77356GCM66 | 2009-08-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.7485 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 4-ISOPROPYL-1-METHYLBENZENE_(CYMENE) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7485 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76098 | 0.062624 | 0.77345 | 0.0499 | 0.036991