## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.1367 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.49 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0587 | 0.1104 | 1.0587 | 0.15612 | 0.11573
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.98061 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.98 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98061 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0587 | 0.1104 | 1.0587 | 0.15612 | 0.11573
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.84082 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.49 | 4-METHYL-2-PENTANONE | E | 0.32 | 0.412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84082 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.84082 |  | 0.84082 | 0 | 0
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.90625 | Abs | 051712 | Abs 051712: 20 µl | 8 | 4-METHYL-2-PENTANONE | . | 0.32 | 7.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.99687 | 0.12816 | 0.99687 | 0.18125 | 0.13436
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0875 | Abs | 051712 | Abs 051712: 10 µl | 4 | 4-METHYL-2-PENTANONE | . | 0.32 | 4.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.99687 | 0.12816 | 0.99687 | 0.18125 | 0.13436
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.77434 | Abs | 090809 | Abs 090809: 10 µl | 0.452 | 4-METHYL-2-PENTANONE | E | 0.32 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77434 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.99687 | 0.12719 | 1.0214 | 0.17072 | 0.12656
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0472 | Abs | 090809 | Abs 090809: 30 µl | 1.356 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0472 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99687 | 0.12719 | 1.0214 | 0.17072 | 0.12656
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.1482 | Abs | 090809 | Abs 090809: 10 µl | 0.452 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1482 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99687 | 0.12719 | 1.0214 | 0.17072 | 0.12656
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0398 | Abs | 090809 | Abs 090809: 30 µl | 1.356 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0398 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99687 | 0.12719 | 1.0214 | 0.17072 | 0.12656
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.86062 | Abs | 090809 | Abs 090809: 10 µl | 0.452 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86062 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99687 | 0.12719 | 1.0214 | 0.17072 | 0.12656
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.97345 | Abs | 090809 | Abs 090809: 30 µl | 1.356 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97345 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99687 | 0.12719 | 1.0214 | 0.17072 | 0.12656
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1283 | Abs | 090809 | Abs 090809: 10 µl | 0.452 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1283 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99687 | 0.12719 | 1.0214 | 0.17072 | 0.12656
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.003 | Abs | 090809 | Abs 090809: 30 µl | 1.356 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0029 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99687 | 0.12719 | 1.0214 | 0.17072 | 0.12656
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1187 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 16 | 4-METHYL-2-PENTANONE | . | 0.32 | 17.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1187 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1187 |  | 1.1187 | 0 | 0
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0694 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.49 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0694 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0694 |  | 1.0694 | 0 | 0
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.90854 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.984 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.894 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90854 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.123 | 0.30325 | 1.123 | 0.42886 | 0.31791
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.3374 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.492 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3374 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.123 | 0.30325 | 1.123 | 0.42886 | 0.31791
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.93496 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.492 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93496 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93496 |  | 0.93496 | 0 | 0
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.8628 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.984 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.849 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8628 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8628 |  | 0.8628 | 0 | 0
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1562 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 16 | 4-METHYL-2-PENTANONE | . | 0.32 | 18.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1562 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1562 |  | 1.1562 | 0 | 0
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.103 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 3.98 | 4-METHYL-2-PENTANONE | . | 0.32 | 4.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.103 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2173 | 0.16168 | 1.2173 | 0.22864 | 0.16949
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.3317 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 15.92 | 4-METHYL-2-PENTANONE | . | 0.32 | 21.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3317 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2173 | 0.16168 | 1.2173 | 0.22864 | 0.16949
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.78409 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78409 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.975 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0909 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.88636 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88636 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.76591 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76591 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0659 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0659 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.93636 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93636 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.3682 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3682 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.96364 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96364 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.96136 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96136 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.96136 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96136 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9781 | 0.16316 | 0.96136 | 0.17955 | 0.1331
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.1619 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.248 | 4-METHYL-2-PENTANONE | . | 0.4 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1619 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.067 | 0.10366 | 1.0657 | 0.16827 | 0.12474
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.1859 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.624 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1859 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.067 | 0.10366 | 1.0657 | 0.16827 | 0.12474
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-04-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.99359 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.624 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99359 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.067 | 0.10366 | 1.0657 | 0.16827 | 0.12474
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.92949 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.624 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92949 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.067 | 0.10366 | 1.0657 | 0.16827 | 0.12474
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-07-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.1218 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.248 | 4-METHYL-2-PENTANONE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1218 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.067 | 0.10366 | 1.0657 | 0.16827 | 0.12474
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-09-05 | 2007-10-01 | 2009-09-30 | ug/L | 1.0096 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.624 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0096 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.067 | 0.10366 | 1.0657 | 0.16827 | 0.12474
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.95603 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 7.96 | 4-METHYL-2-PENTANONE | . | 0.32 | 7.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95603 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9956 | 0.055964 | 0.9956 | 0.079146 | 0.05867
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0352 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 3.98 | 4-METHYL-2-PENTANONE | . | 0.32 | 4.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0352 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9956 | 0.055964 | 0.9956 | 0.079146 | 0.05867
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.91778 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.45 | 4-METHYL-2-PENTANONE | E | 0.32 | 0.413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91778 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.98593 | 0.14527 | 0.94556 | 0.13556 | 0.10049
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0444 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.35 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0444 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98593 | 0.14527 | 0.94556 | 0.13556 | 0.10049
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.97333 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.45 | 4-METHYL-2-PENTANONE | E | 0.32 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.98593 | 0.14527 | 0.94556 | 0.13556 | 0.10049
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.84444 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.35 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84444 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98593 | 0.14527 | 0.94556 | 0.13556 | 0.10049
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.3044 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.45 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3044 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98593 | 0.14527 | 0.94556 | 0.13556 | 0.10049
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.88148 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.35 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88148 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98593 | 0.14527 | 0.94556 | 0.13556 | 0.10049
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.90667 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.45 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.408 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98593 | 0.14527 | 0.94556 | 0.13556 | 0.10049
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0148 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.35 | 4-METHYL-2-PENTANONE | . | 0.32 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0148 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98593 | 0.14527 | 0.94556 | 0.13556 | 0.10049
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0352 | Restek | A075493 | Restek A075493: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.911 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0352 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0455 | Restek | A075493 | Restek A075493: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95341 | Restek | A075493 | Restek A075493: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.839 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95341 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.94545 | Restek | A075493 | Restek A075493: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94545 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.80227 | Restek | A075493 | Restek A075493: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.706 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80227 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0455 | Restek | A075493 | Restek A075493: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.2273 | Restek | A075493 | Restek A075493: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2273 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.89659 | Restek | A075493 | Restek A075493: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89659 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.81364 | Restek | A075493 | Restek A075493: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81364 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.98409 | Restek | A075493 | Restek A075493: 40 µl | 0.88 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98409 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.85227 | Restek | A075493 | Restek A075493: 20 µl | 0.44 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85227 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96374 | 0.12422 | 0.95341 | 0.19318 | 0.1432
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.1413 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 8 | 4-METHYL-2-PENTANONE | . | 0.32 | 9.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1413 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1413 |  | 1.1413 | 0 | 0
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.108 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 3.98 | 4-METHYL-2-PENTANONE | . | 0.32 | 4.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.108 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0465 | 0.087056 | 1.0465 | 0.12312 | 0.091264
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.98492 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 3.98 | 4-METHYL-2-PENTANONE | . | 0.32 | 3.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98492 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0465 | 0.087056 | 1.0465 | 0.12312 | 0.091264
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.6949 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.98 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6949 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90357 | 0.29511 | 0.90357 | 0.41735 | 0.30938
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.1122 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.49 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1122 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90357 | 0.29511 | 0.90357 | 0.41735 | 0.30938
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.92276 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.984 | 4-METHYL-2-PENTANONE | . | 0.32 | 0.908 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92276 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92276 |  | 0.92276 | 0 | 0
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0806 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.62 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0806 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98387 | 0.086708 | 0.99597 | 0.16129 | 0.11956
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.8629 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.24 | 4-METHYL-2-PENTANONE | . | 0.4 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8629 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98387 | 0.086708 | 0.99597 | 0.16129 | 0.11956
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.90323 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.62 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90323 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98387 | 0.086708 | 0.99597 | 0.16129 | 0.11956
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.0081 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.24 | 4-METHYL-2-PENTANONE | . | 0.4 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0081 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98387 | 0.086708 | 0.99597 | 0.16129 | 0.11956
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 1.0645 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.62 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0645 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98387 | 0.086708 | 0.99597 | 0.16129 | 0.11956
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 0.98387 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.62 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98387 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98387 | 0.086708 | 0.99597 | 0.16129 | 0.11956
4-METHYL-2-PENTANONE | 2021 | 78133GCM66 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.91667 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.48 | 4-METHYL-2-PENTANONE | E | 0.4 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Ultra CE-0471 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.91667 |  | 0.91667 | 0 | 0