## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETONE | 2021 | 81552GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.4434 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 5.002 | ACETONE | . | 3.4 | 7.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4434 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3065 | 0.19367 | 1.3065 | 0.27389 | 0.20303
ACETONE | 2021 | 81552GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.1695 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 10.004 | ACETONE | . | 3.4 | 11.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1695 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3065 | 0.19367 | 1.3065 | 0.27389 | 0.20303
ACETONE | 2021 | 81552GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.9916 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 5.002 | ACETONE | . | 3.4 | 4.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9916 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9916 |  | 0.9916 | 0 | 0
ACETONE | 2021 | 81552GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.142 | Abs | 051712 | Abs 051712: 20 µl | 16.024 | ACETONE | . | 3.4 | 18.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.142 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1258 | 0.022947 | 1.1258 | 0.032451 | 0.024056
ACETONE | 2021 | 81552GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.1096 | Abs | 051712 | Abs 051712: 10 µl | 8.012 | ACETONE | . | 3.4 | 8.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1096 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1258 | 0.022947 | 1.1258 | 0.032451 | 0.024056
ACETONE | 2021 | 81552GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0824 | Abs | 090809 | Abs 090809: 10 µl | 4.998 | ACETONE | . | 3.4 | 5.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0824 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1725 | 0.19969 | 1.1315 | 0.29512 | 0.21877
ACETONE | 2021 | 81552GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0804 | Abs | 090809 | Abs 090809: 30 µl | 14.994 | ACETONE | . | 3.4 | 16.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0804 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1725 | 0.19969 | 1.1315 | 0.29512 | 0.21877
ACETONE | 2021 | 81552GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.3485 | Abs | 090809 | Abs 090809: 10 µl | 4.998 | ACETONE | . | 3.4 | 6.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3485 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1725 | 0.19969 | 1.1315 | 0.29512 | 0.21877
ACETONE | 2021 | 81552GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.3005 | Abs | 090809 | Abs 090809: 30 µl | 14.994 | ACETONE | . | 3.4 | 19.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3005 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1725 | 0.19969 | 1.1315 | 0.29512 | 0.21877
ACETONE | 2021 | 81552GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.97839 | Abs | 090809 | Abs 090809: 10 µl | 4.998 | ACETONE | . | 3.4 | 4.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97839 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1725 | 0.19969 | 1.1315 | 0.29512 | 0.21877
ACETONE | 2021 | 81552GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.1805 | Abs | 090809 | Abs 090809: 30 µl | 14.994 | ACETONE | . | 3.4 | 17.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1805 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1725 | 0.19969 | 1.1315 | 0.29512 | 0.21877
ACETONE | 2021 | 81552GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.90836 | Abs | 090809 | Abs 090809: 10 µl | 4.998 | ACETONE | . | 3.4 | 4.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90836 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1725 | 0.19969 | 1.1315 | 0.29512 | 0.21877
ACETONE | 2021 | 81552GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.5006 | Abs | 090809 | Abs 090809: 30 µl | 14.994 | ACETONE | . | 3.4 | 22.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5006 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1725 | 0.19969 | 1.1315 | 0.29512 | 0.21877
ACETONE | 2021 | 81552GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0578 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 32.048 | ACETONE | . | 3.4 | 33.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0578 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0578 |  | 1.0578 | 0 | 0
ACETONE | 2021 | 81552GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0996 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 5.002 | ACETONE | . | 3.4 | 5.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0996 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0996 |  | 1.0996 | 0 | 0
ACETONE | 2021 | 81552GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1082 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 10.016 | ACETONE | . | 3.4 | 11.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1082 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1542 | 0.06495 | 1.1542 | 0.091853 | 0.06809
ACETONE | 2021 | 81552GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.2001 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 5.008 | ACETONE | . | 3.4 | 6.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2001 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1542 | 0.06495 | 1.1542 | 0.091853 | 0.06809
ACETONE | 2021 | 81552GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0543 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 5.008 | ACETONE | . | 3.4 | 5.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0543 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0543 |  | 1.0543 | 0 | 0
ACETONE | 2021 | 81552GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1482 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 10.016 | ACETONE | . | 3.4 | 11.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1482 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1482 |  | 1.1482 | 0 | 0
ACETONE | 2021 | 81552GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0328 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 32.048 | ACETONE | . | 3.4 | 33.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0328 |  | 1.0328 | 0 | 0
ACETONE | 2021 | 81552GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.3384 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 7.92 | ACETONE | . | 3.4 | 10.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3384 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.4094 | 0.10044 | 1.4094 | 0.14205 | 0.1053
ACETONE | 2021 | 81552GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.4804 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 31.68 | ACETONE | . | 3.4 | 46.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4804 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.4094 | 0.10044 | 1.4094 | 0.14205 | 0.1053
ACETONE | 2021 | 81552GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.2966 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 4.72 | ACETONE | . | 3.4 | 6.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2966 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0911 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 9.44 | ACETONE | . | 3.4 | 10.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0911 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0657 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 4.72 | ACETONE | . | 3.4 | 5.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0657 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.76907 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 4.72 | ACETONE | . | 3.4 | 3.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76907 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.018 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 9.44 | ACETONE | . | 3.4 | 9.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.018 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.053 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 4.72 | ACETONE | . | 3.4 | 4.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.053 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.98729 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 9.44 | ACETONE | . | 3.4 | 9.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98729 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.3199 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 4.72 | ACETONE | . | 3.4 | 6.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3199 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97987 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 9.44 | ACETONE | . | 3.4 | 9.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97987 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.91102 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 4.72 | ACETONE | . | 3.4 | 4.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91102 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97881 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 4.72 | ACETONE | . | 3.4 | 4.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97881 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0428 | 0.15755 | 1.018 | 0.11229 | 0.083238
ACETONE | 2021 | 81552GCM66 | 2009-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.1207 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 11.6 | ACETONE | . | 4 | 13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1207 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2213 | 0.20702 | 1.1638 | 0.34483 | 0.25562
ACETONE | 2021 | 81552GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.3793 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 5.8 | ACETONE | . | 4 | 8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3793 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2213 | 0.20702 | 1.1638 | 0.34483 | 0.25562
ACETONE | 2021 | 81552GCM66 | 2009-04-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.0345 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 5.8 | ACETONE | . | 4 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0345 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2213 | 0.20702 | 1.1638 | 0.34483 | 0.25562
ACETONE | 2021 | 81552GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0345 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 5.8 | ACETONE | . | 4 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0345 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2213 | 0.20702 | 1.1638 | 0.34483 | 0.25562
ACETONE | 2021 | 81552GCM66 | 2009-07-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.5517 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 11.6 | ACETONE | . | 4 | 18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5517 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2213 | 0.20702 | 1.1638 | 0.34483 | 0.25562
ACETONE | 2021 | 81552GCM66 | 2009-09-05 | 2007-10-01 | 2009-09-30 | ug/L | 1.2069 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 5.8 | ACETONE | . | 4 | 7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2069 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2213 | 0.20702 | 1.1638 | 0.34483 | 0.25562
ACETONE | 2021 | 81552GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.97222 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 15.84 | ACETONE | . | 3.4 | 15.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97222 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0669 | 0.13392 | 1.0669 | 0.18939 | 0.1404
ACETONE | 2021 | 81552GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.1616 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 7.92 | ACETONE | . | 3.4 | 9.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0669 | 0.13392 | 1.0669 | 0.18939 | 0.1404
ACETONE | 2021 | 81552GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.148 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 5 | ACETONE | . | 3.4 | 5.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.148 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2026 | 0.21559 | 1.1507 | 0.31933 | 0.23672
ACETONE | 2021 | 81552GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0267 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 15 | ACETONE | . | 3.4 | 15.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0267 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2026 | 0.21559 | 1.1507 | 0.31933 | 0.23672
ACETONE | 2021 | 81552GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.076 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 5 | ACETONE | . | 3.4 | 5.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2026 | 0.21559 | 1.1507 | 0.31933 | 0.23672
ACETONE | 2021 | 81552GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.91333 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 15 | ACETONE | . | 3.4 | 13.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91333 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2026 | 0.21559 | 1.1507 | 0.31933 | 0.23672
ACETONE | 2021 | 81552GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.562 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 5 | ACETONE | . | 3.4 | 7.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.562 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2026 | 0.21559 | 1.1507 | 0.31933 | 0.23672
ACETONE | 2021 | 81552GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.4133 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 15 | ACETONE | . | 3.4 | 21.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4133 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2026 | 0.21559 | 1.1507 | 0.31933 | 0.23672
ACETONE | 2021 | 81552GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.328 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 5 | ACETONE | . | 3.4 | 6.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.328 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2026 | 0.21559 | 1.1507 | 0.31933 | 0.23672
ACETONE | 2021 | 81552GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1533 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 15 | ACETONE | . | 3.4 | 17.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1533 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2026 | 0.21559 | 1.1507 | 0.31933 | 0.23672
ACETONE | 2021 | 81552GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.2257 | Restek | A075493 | Restek A075493: 40 µl | 9.464 | ACETONE | . | 3.4 | 11.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2257 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1264 | Restek | A075493 | Restek A075493: 20 µl | 4.732 | ACETONE | . | 3.4 | 5.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1264 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.045 | Restek | A075493 | Restek A075493: 40 µl | 9.464 | ACETONE | . | 3.4 | 9.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0862 | Restek | A075493 | Restek A075493: 20 µl | 4.732 | ACETONE | . | 3.4 | 5.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0862 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.99535 | Restek | A075493 | Restek A075493: 40 µl | 9.464 | ACETONE | . | 3.4 | 9.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99535 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1179 | Restek | A075493 | Restek A075493: 20 µl | 4.732 | ACETONE | . | 3.4 | 5.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1179 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.99112 | Restek | A075493 | Restek A075493: 20 µl | 4.732 | ACETONE | . | 3.4 | 4.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99112 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.94675 | Restek | A075493 | Restek A075493: 40 µl | 9.464 | ACETONE | . | 3.4 | 8.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94675 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0757 | Restek | A075493 | Restek A075493: 20 µl | 4.732 | ACETONE | . | 3.4 | 5.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0757 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0355 | Restek | A075493 | Restek A075493: 40 µl | 9.464 | ACETONE | . | 3.4 | 9.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0355 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.83686 | Restek | A075493 | Restek A075493: 20 µl | 4.732 | ACETONE | . | 3.4 | 3.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83686 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0439 | 0.10279 | 1.045 | 0.1268 | 0.093993
ACETONE | 2021 | 81552GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0484 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 16.024 | ACETONE | . | 3.4 | 16.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0484 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0484 |  | 1.0484 | 0 | 0
ACETONE | 2021 | 81552GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.2879 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 7.92 | ACETONE | . | 3.4 | 10.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2879 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0979 | 0.26874 | 1.0979 | 0.38005 | 0.28173
ACETONE | 2021 | 81552GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.90783 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 7.92 | ACETONE | . | 3.4 | 7.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90783 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0979 | 0.26874 | 1.0979 | 0.38005 | 0.28173
ACETONE | 2021 | 81552GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0896 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 10.004 | ACETONE | . | 3.4 | 10.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0896 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2205 | 0.18519 | 1.2205 | 0.2619 | 0.19414
ACETONE | 2021 | 81552GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.3515 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 5.002 | ACETONE | . | 3.4 | 6.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3515 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2205 | 0.18519 | 1.2205 | 0.2619 | 0.19414
ACETONE | 2021 | 81552GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1981 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 10.016 | ACETONE | . | 3.4 | 12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1981 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1981 |  | 1.1981 | 0 | 0
ACETONE | 2021 | 81552GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.7241 | Supelco | LB60727 | Supelco LB60727: 20 µl | 5.8 | ACETONE | . | 4 | 10 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7241 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.7701 | 0.22656 | 1.7672 | 0.25862 | 0.19171
ACETONE | 2021 | 81552GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.8103 | Supelco | LB60727 | Supelco LB60727: 40 µl | 11.6 | ACETONE | . | 4 | 21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8103 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.7701 | 0.22656 | 1.7672 | 0.25862 | 0.19171
ACETONE | 2021 | 81552GCM66 | 2009-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 1.3793 | Supelco | LB60727 | Supelco LB60727: 20 µl | 5.8 | ACETONE | . | 4 | 8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3793 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.7701 | 0.22656 | 1.7672 | 0.25862 | 0.19171
ACETONE | 2021 | 81552GCM66 | 2009-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.9828 | Supelco | LB60727 | Supelco LB60727: 40 µl | 11.6 | ACETONE | . | 4 | 23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9828 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.7701 | 0.22656 | 1.7672 | 0.25862 | 0.19171
ACETONE | 2021 | 81552GCM66 | 2009-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 1.7241 | Supelco | LB60727 | Supelco LB60727: 20 µl | 5.8 | ACETONE | . | 4 | 10 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7241 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.7701 | 0.22656 | 1.7672 | 0.25862 | 0.19171
ACETONE | 2021 | 81552GCM66 | 2009-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 2.2414 | Supelco | LB60727 | Supelco LB60727: 20 µl | 5.8 | ACETONE | . | 4 | 13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.7701 | 0.22656 | 1.7672 | 0.25862 | 0.19171 | 2
ACETONE | 2021 | 81552GCM66 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.25 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 8 | ACETONE | . | 4 | 10 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.25 |  | 1.25 | 0 | 0