## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-11-15 | 2012-10-01 | 2050-09-30 | ug/L | 1.2314 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.7 | ACRYLONITRILE | . | 0.56 | 0.862 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2314 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0907 | 0.199 | 1.0907 | 0.28143 | 0.20862
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-12-31 | 2012-10-01 | 2050-09-30 | ug/L | 0.95 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 1.4 | ACRYLONITRILE | . | 0.56 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0907 | 0.199 | 1.0907 | 0.28143 | 0.20862
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-09-27 | 2012-10-01 | 2050-09-30 | ug/L | 1.0286 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.7 | ACRYLONITRILE | . | 0.56 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0286 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0286 |  | 1.0286 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-06-12 | 2011-10-01 | 2012-09-30 | ug/L | 1.022 | Abs | 051712 | Abs 051712: 20 µl | 3.004 | ACRYLONITRILE | . | 0.48 | 3.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1002 | 0.11063 | 1.1002 | 0.15646 | 0.11598
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-11-21 | 2012-10-01 | 2050-09-30 | ug/L | 1.1784 | Abs | 051712 | Abs 051712: 10 µl | 1.502 | ACRYLONITRILE | . | 0.56 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1784 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1002 | 0.11063 | 1.1002 | 0.15646 | 0.11598
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.85271 | Abs | 090809 | Abs 090809: 10 µl | 0.516 | ACRYLONITRILE | E | 0.8 | 0.44 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.85271 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0174 | 0.16707 | 1.0465 | 0.29716 | 0.22028
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.85271 | Abs | 090809 | Abs 090809: 30 µl | 1.548 | ACRYLONITRILE | . | 0.8 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85271 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0174 | 0.16707 | 1.0465 | 0.29716 | 0.22028
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.81395 | Abs | 090809 | Abs 090809: 10 µl | 0.516 | ACRYLONITRILE | E | 0.8 | 0.42 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.81395 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0174 | 0.16707 | 1.0465 | 0.29716 | 0.22028
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.1563 | Abs | 090809 | Abs 090809: 30 µl | 1.548 | ACRYLONITRILE | . | 0.8 | 1.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1563 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0174 | 0.16707 | 1.0465 | 0.29716 | 0.22028
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.94961 | Abs | 090809 | Abs 090809: 10 µl | 0.516 | ACRYLONITRILE | E | 0.8 | 0.49 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.94961 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0174 | 0.16707 | 1.0465 | 0.29716 | 0.22028
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.1434 | Abs | 090809 | Abs 090809: 30 µl | 1.548 | ACRYLONITRILE | . | 0.8 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1434 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0174 | 0.16707 | 1.0465 | 0.29716 | 0.22028
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1434 | Abs | 090809 | Abs 090809: 10 µl | 0.516 | ACRYLONITRILE | E | 0.8 | 0.59 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1434 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0174 | 0.16707 | 1.0465 | 0.29716 | 0.22028
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.2274 | Abs | 090809 | Abs 090809: 30 µl | 1.548 | ACRYLONITRILE | . | 0.8 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2274 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0174 | 0.16707 | 1.0465 | 0.29716 | 0.22028
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-01-19 | 2012-10-01 | 2050-09-30 | ug/L | 1.0952 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 6.008 | ACRYLONITRILE | . | 0.56 | 6.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0952 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0952 |  | 1.0952 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-06-08 | 2012-10-01 | 2050-09-30 | ug/L | 1.0129 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.7 | ACRYLONITRILE | . | 0.56 | 0.709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0129 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0129 |  | 1.0129 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-11-01 | 2012-10-01 | 2050-09-30 | ug/L | 1.104 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 1.404 | ACRYLONITRILE | . | 0.56 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1332 | 0.041298 | 1.1332 | 0.058405 | 0.043295
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-12-31 | 2012-10-01 | 2050-09-30 | ug/L | 1.1624 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.702 | ACRYLONITRILE | . | 0.56 | 0.816 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1624 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1332 | 0.041298 | 1.1332 | 0.058405 | 0.043295
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-06-29 | 2012-10-01 | 2050-09-30 | ug/L | 1.0285 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.702 | ACRYLONITRILE | . | 0.56 | 0.722 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0285 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0285 |  | 1.0285 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-08-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.96866 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 1.404 | ACRYLONITRILE | . | 0.56 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96866 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96866 |  | 0.96866 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-10-23 | 2012-10-01 | 2050-09-30 | ug/L | 1.0619 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 6.008 | ACRYLONITRILE | . | 0.56 | 6.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0619 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0619 |  | 1.0619 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-10-11 | 2012-10-01 | 2050-09-30 | ug/L | 1.2333 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 1.5 | ACRYLONITRILE | . | 0.56 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2333 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2775 | 0.062461 | 1.2775 | 0.088333 | 0.065481
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-02-14 | 2012-10-01 | 2050-09-30 | ug/L | 1.3217 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 6 | ACRYLONITRILE | . | 0.56 | 7.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3217 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2775 | 0.062461 | 1.2775 | 0.088333 | 0.065481
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-10-23 | 2010-10-01 | 2011-09-30 | ug/L | 1.0583 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 1.2 | ACRYLONITRILE | . | 0.8 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-12-03 | 2010-10-01 | 2011-09-30 | ug/L | 1.0208 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 2.4 | ACRYLONITRILE | . | 0.8 | 2.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0208 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.95 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 1.2 | ACRYLONITRILE | . | 0.8 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-03-26 | 2010-10-01 | 2011-09-30 | ug/L | 1.0083 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 1.2 | ACRYLONITRILE | . | 0.8 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-05-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.88333 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 2.4 | ACRYLONITRILE | . | 0.8 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-06-18 | 2010-10-01 | 2011-09-30 | ug/L | 1.1417 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 1.2 | ACRYLONITRILE | . | 0.8 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1417 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-08-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.95417 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 2.4 | ACRYLONITRILE | . | 0.8 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95417 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-10-24 | 2011-10-01 | 2012-09-30 | ug/L | 1.0583 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 1.2 | ACRYLONITRILE | . | 0.48 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-12-17 | 2011-10-01 | 2012-09-30 | ug/L | 0.97917 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 2.4 | ACRYLONITRILE | . | 0.48 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97917 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-02-24 | 2011-10-01 | 2012-09-30 | ug/L | 0.975 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 1.2 | ACRYLONITRILE | . | 0.48 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-03-24 | 2011-10-01 | 2012-09-30 | ug/L | 1.0167 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 1.2 | ACRYLONITRILE | . | 0.48 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0042 | 0.068364 | 1.0083 | 0.10417 | 0.077218
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-02-06 | 2006-10-01 | 2009-09-30 | ug/L | 1.3808 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.376 | ACRYLONITRILE | . | 0.4 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3808 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2476 | 0.16196 | 1.2355 | 0.21802 | 0.16162
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.4535 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.688 | ACRYLONITRILE | . | 0.4 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4535 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2476 | 0.16196 | 1.2355 | 0.21802 | 0.16162
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-04-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.1628 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.688 | ACRYLONITRILE | . | 0.4 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1628 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2476 | 0.16196 | 1.2355 | 0.21802 | 0.16162
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.0174 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.688 | ACRYLONITRILE | . | 0.4 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2476 | 0.16196 | 1.2355 | 0.21802 | 0.16162
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-07-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.3081 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.376 | ACRYLONITRILE | . | 0.4 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3081 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2476 | 0.16196 | 1.2355 | 0.21802 | 0.16162
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-09-05 | 2006-10-01 | 2009-09-30 | ug/L | 1.1628 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.688 | ACRYLONITRILE | . | 0.4 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1628 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2476 | 0.16196 | 1.2355 | 0.21802 | 0.16162
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-08-28 | 2011-10-01 | 2012-09-30 | ug/L | 1.0233 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 3 | ACRYLONITRILE | . | 0.48 | 3.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0233 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.995 | 0.040069 | 0.995 | 0.056667 | 0.042006
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-12-09 | 2012-10-01 | 2050-09-30 | ug/L | 0.96667 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 1.5 | ACRYLONITRILE | . | 0.56 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.995 | 0.040069 | 0.995 | 0.056667 | 0.042006
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3035 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.514 | ACRYLONITRILE | E | 0.8 | 0.67 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3035 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0627 | 0.16112 | 1.0765 | 0.1524 | 0.11297
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.083 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.542 | ACRYLONITRILE | . | 0.8 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.083 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0627 | 0.16112 | 1.0765 | 0.1524 | 0.11297
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.75875 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.514 | ACRYLONITRILE | E | 0.8 | 0.39 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75875 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0627 | 0.16112 | 1.0765 | 0.1524 | 0.11297
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.97925 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.542 | ACRYLONITRILE | . | 0.8 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97925 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0627 | 0.16112 | 1.0765 | 0.1524 | 0.11297
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2062 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.514 | ACRYLONITRILE | E | 0.8 | 0.62 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2062 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0627 | 0.16112 | 1.0765 | 0.1524 | 0.11297
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0895 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.542 | ACRYLONITRILE | . | 0.8 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0895 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0627 | 0.16112 | 1.0765 | 0.1524 | 0.11297
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.07 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.514 | ACRYLONITRILE | E | 0.8 | 0.55 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.07 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.0627 | 0.16112 | 1.0765 | 0.1524 | 0.11297
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0117 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.542 | ACRYLONITRILE | . | 0.8 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0117 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0627 | 0.16112 | 1.0765 | 0.1524 | 0.11297
ACRYLONITRILE | 2021 | 34215GCM66 | 2010-11-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.125 | Restek | A075493 | Restek A075493: 40 µl | 2.4 | ACRYLONITRILE | . | 0.8 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-01-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.925 | Restek | A075493 | Restek A075493: 20 µl | 1.2 | ACRYLONITRILE | . | 0.8 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-03-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.9875 | Restek | A075493 | Restek A075493: 40 µl | 2.4 | ACRYLONITRILE | . | 0.8 | 2.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-04-21 | 2010-10-01 | 2011-09-30 | ug/L | 1.1 | Restek | A075493 | Restek A075493: 20 µl | 1.2 | ACRYLONITRILE | . | 0.8 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-05-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.97083 | Restek | A075493 | Restek A075493: 40 µl | 2.4 | ACRYLONITRILE | . | 0.8 | 2.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97083 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.875 | Restek | A075493 | Restek A075493: 20 µl | 1.2 | ACRYLONITRILE | . | 0.8 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-09-03 | 2010-10-01 | 2011-09-30 | ug/L | 1.0917 | Restek | A075493 | Restek A075493: 20 µl | 1.2 | ACRYLONITRILE | . | 0.8 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0917 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2011-11-18 | 2011-10-01 | 2012-09-30 | ug/L | 0.94583 | Restek | A075493 | Restek A075493: 40 µl | 2.4 | ACRYLONITRILE | . | 0.48 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94583 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-01-26 | 2011-10-01 | 2012-09-30 | ug/L | 1.0417 | Restek | A075493 | Restek A075493: 20 µl | 1.2 | ACRYLONITRILE | . | 0.48 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-02-24 | 2011-10-01 | 2012-09-30 | ug/L | 1.0125 | Restek | A075493 | Restek A075493: 40 µl | 2.4 | ACRYLONITRILE | . | 0.48 | 2.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-04-06 | 2011-10-01 | 2012-09-30 | ug/L | 0.815 | Restek | A075493 | Restek A075493: 20 µl | 1.2 | ACRYLONITRILE | . | 0.48 | 0.978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99 | 0.097075 | 0.9875 | 0.16667 | 0.12355
ACRYLONITRILE | 2021 | 34215GCM66 | 2012-07-30 | 2011-10-01 | 2012-09-30 | ug/L | 1.1618 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 3.004 | ACRYLONITRILE | . | 0.48 | 3.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1618 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1618 |  | 1.1618 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-03-29 | 2012-10-01 | 2050-09-30 | ug/L | 1.1267 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.5 | ACRYLONITRILE | . | 0.56 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1267 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.02 | 0.15085 | 1.02 | 0.21333 | 0.15814
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-05-03 | 2012-10-01 | 2050-09-30 | ug/L | 0.91333 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.5 | ACRYLONITRILE | . | 0.56 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91333 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.02 | 0.15085 | 1.02 | 0.21333 | 0.15814
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-08-06 | 2012-10-01 | 2050-09-30 | ug/L | 1.0071 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 1.4 | ACRYLONITRILE | . | 0.56 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0071 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1414 | 0.18991 | 1.1414 | 0.26857 | 0.19909
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-12-12 | 2012-10-01 | 2050-09-30 | ug/L | 1.2757 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.7 | ACRYLONITRILE | . | 0.56 | 0.893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2757 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1414 | 0.18991 | 1.1414 | 0.26857 | 0.19909
ACRYLONITRILE | 2021 | 34215GCM66 | 2013-09-17 | 2012-10-01 | 2050-09-30 | ug/L | 1.104 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 1.404 | ACRYLONITRILE | . | 0.56 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.104 |  | 1.104 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.0174 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.688 | ACRYLONITRILE | . | 0.4 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0053 | 0.071453 | 1.0174 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 1.0174 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.376 | ACRYLONITRILE | . | 0.4 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0053 | 0.071453 | 1.0174 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-05-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.87209 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.688 | ACRYLONITRILE | . | 0.4 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87209 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0053 | 0.071453 | 1.0174 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-07-08 | 2006-10-01 | 2009-09-30 | ug/L | 1.0901 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.376 | ACRYLONITRILE | . | 0.4 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0901 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0053 | 0.071453 | 1.0174 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 1.0174 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.688 | ACRYLONITRILE | . | 0.4 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0053 | 0.071453 | 1.0174 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-09-26 | 2006-10-01 | 2009-09-30 | ug/L | 1.0174 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.688 | ACRYLONITRILE | . | 0.4 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0053 | 0.071453 | 1.0174 | 0 | 0
ACRYLONITRILE | 2021 | 34215GCM66 | 2009-01-17 | 2006-10-01 | 2009-09-30 | ug/L | 1 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.8 | ACRYLONITRILE | . | 0.4 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0