## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 1 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.36 | BROMOCHLOROMETHANE | . | 0.06 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0741 | 0.057378 | 1.0556 | 0.055556 | 0.041183
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.1111 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.18 | BROMOCHLOROMETHANE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0741 | 0.057378 | 1.0556 | 0.055556 | 0.041183
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.0556 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.36 | BROMOCHLOROMETHANE | . | 0.06 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0741 | 0.057378 | 1.0556 | 0.055556 | 0.041183
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-06-09 | 2006-10-01 | 2009-09-30 | ug/L | 1.1667 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.18 | BROMOCHLOROMETHANE | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0741 | 0.057378 | 1.0556 | 0.055556 | 0.041183
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-07-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.0556 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.18 | BROMOCHLOROMETHANE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0741 | 0.057378 | 1.0556 | 0.055556 | 0.041183
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-08-29 | 2006-10-01 | 2009-09-30 | ug/L | 1.0556 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.18 | BROMOCHLOROMETHANE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0741 | 0.057378 | 1.0556 | 0.055556 | 0.041183
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0132 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 0.59616 | BROMOCHLOROMETHANE | . | 0.06 | 0.604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0132 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0132 |  | 1.0132 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0343 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.07928 | BROMOCHLOROMETHANE | . | 0.06 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0343 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0343 |  | 1.0343 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.93971 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.15856 | BROMOCHLOROMETHANE | . | 0.06 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93971 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94917 | 0.013379 | 0.94917 | 0.01892 | 0.014025
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.95863 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.07928 | BROMOCHLOROMETHANE | . | 0.06 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95863 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94917 | 0.013379 | 0.94917 | 0.01892 | 0.014025
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.1094 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07932 | BROMOCHLOROMETHANE | E | 0.06 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1094 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.1367 | 0.10098 | 1.1157 | 0.081947 | 0.060746
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.1893 | Accu | 209081198 | Accu 209081198: 30 µl | 0.23796 | BROMOCHLOROMETHANE | . | 0.06 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1893 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1367 | 0.10098 | 1.1157 | 0.081947 | 0.060746
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.3616 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07932 | BROMOCHLOROMETHANE | . | 0.06 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3616 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1367 | 0.10098 | 1.1157 | 0.081947 | 0.060746
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0422 | Accu | 209081198 | Accu 209081198: 30 µl | 0.23796 | BROMOCHLOROMETHANE | . | 0.06 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0422 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1367 | 0.10098 | 1.1157 | 0.081947 | 0.060746
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.122 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07932 | BROMOCHLOROMETHANE | . | 0.06 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.122 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1367 | 0.10098 | 1.1157 | 0.081947 | 0.060746
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.0758 | Accu | 209081198 | Accu 209081198: 30 µl | 0.23796 | BROMOCHLOROMETHANE | . | 0.06 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0758 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1367 | 0.10098 | 1.1157 | 0.081947 | 0.060746
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.0716 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07932 | BROMOCHLOROMETHANE | . | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0716 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1367 | 0.10098 | 1.1157 | 0.081947 | 0.060746
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.122 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07932 | BROMOCHLOROMETHANE | . | 0.06 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.122 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1367 | 0.10098 | 1.1157 | 0.081947 | 0.060746
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0595 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.07928 | BROMOCHLOROMETHANE | . | 0.06 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0595 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0595 |  | 1.0595 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97222 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.072 | BROMOCHLOROMETHANE | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97222 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0208 | 0.068746 | 1.0208 | 0.097222 | 0.07207
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0694 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.144 | BROMOCHLOROMETHANE | . | 0.06 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0694 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0208 | 0.068746 | 1.0208 | 0.097222 | 0.07207
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1272 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.14904 | BROMOCHLOROMETHANE | . | 0.06 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1272 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0769 | 0.071166 | 1.0769 | 0.10064 | 0.074606
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0266 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.29808 | BROMOCHLOROMETHANE | . | 0.06 | 0.306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0266 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0769 | 0.071166 | 1.0769 | 0.10064 | 0.074606
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.93971 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.15856 | BROMOCHLOROMETHANE | . | 0.06 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93971 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93971 |  | 0.93971 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.90278 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.144 | BROMOCHLOROMETHANE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90278 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90278 |  | 0.90278 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.04 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.14904 | BROMOCHLOROMETHANE | . | 0.06 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.04 |  | 1.04 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.94333 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.3 | BROMOCHLOROMETHANE | . | 0.06 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94333 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91083 | 0.045962 | 0.91083 | 0.065 | 0.048184
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87833 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 0.6 | BROMOCHLOROMETHANE | . | 0.06 | 0.527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87833 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91083 | 0.045962 | 0.91083 | 0.065 | 0.048184
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2008-12-20 | 2006-10-01 | 2009-09-30 | ug/L | 1 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.14 | BROMOCHLOROMETHANE | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.119 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.084 | BROMOCHLOROMETHANE | . | 0.06 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.119 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.8869 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.168 | BROMOCHLOROMETHANE | . | 0.06 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8869 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1071 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.084 | BROMOCHLOROMETHANE | . | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1071 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.89286 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.168 | BROMOCHLOROMETHANE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.86905 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.084 | BROMOCHLOROMETHANE | . | 0.06 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86905 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.91071 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.168 | BROMOCHLOROMETHANE | . | 0.06 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91071 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0119 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.084 | BROMOCHLOROMETHANE | . | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0119 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0238 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.084 | BROMOCHLOROMETHANE | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0238 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.88095 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.168 | BROMOCHLOROMETHANE | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88095 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.9881 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.084 | BROMOCHLOROMETHANE | . | 0.06 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9881 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.97024 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.168 | BROMOCHLOROMETHANE | . | 0.06 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97024 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.0476 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.168 | BROMOCHLOROMETHANE | . | 0.06 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0476 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97569 | 0.088487 | 0.97917 | 0.14583 | 0.1081
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.1538 | Restek | A069860 | Restek A069860: 10 µl | 0.078 | BROMOCHLOROMETHANE | E | 0.06 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1538 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.1282 | Restek | A069860 | Restek A069860: 30 µl | 0.234 | BROMOCHLOROMETHANE | . | 0.06 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1282 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.9359 | Restek | A069860 | Restek A069860: 10 µl | 0.078 | BROMOCHLOROMETHANE | . | 0.06 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9359 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.92308 | Restek | A069860 | Restek A069860: 30 µl | 0.234 | BROMOCHLOROMETHANE | . | 0.06 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.1026 | Restek | A069860 | Restek A069860: 10 µl | 0.078 | BROMOCHLOROMETHANE | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1026 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.90598 | Restek | A069860 | Restek A069860: 30 µl | 0.234 | BROMOCHLOROMETHANE | . | 0.06 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90598 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1154 | Restek | A069860 | Restek A069860: 10 µl | 0.078 | BROMOCHLOROMETHANE | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1154 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.95299 | Restek | A069860 | Restek A069860: 30 µl | 0.234 | BROMOCHLOROMETHANE | . | 0.06 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95299 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.92308 | Restek | A069860 | Restek A069860: 10 µl | 0.078 | BROMOCHLOROMETHANE | . | 0.06 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0157 | 0.10531 | 0.95299 | 0.19231 | 0.14256
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.06 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.3 | BROMOCHLOROMETHANE | . | 0.06 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.06 |  | 1.06 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.98 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.15 | BROMOCHLOROMETHANE | . | 0.06 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0633 | 0.11785 | 1.0633 | 0.16667 | 0.12355
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1467 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.15 | BROMOCHLOROMETHANE | . | 0.06 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1467 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0633 | 0.11785 | 1.0633 | 0.16667 | 0.12355
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.9375 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.144 | BROMOCHLOROMETHANE | . | 0.06 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97569 | 0.054015 | 0.97569 | 0.076389 | 0.056626
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0139 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.072 | BROMOCHLOROMETHANE | . | 0.06 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0139 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97569 | 0.054015 | 0.97569 | 0.076389 | 0.056626
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0833 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.144 | BROMOCHLOROMETHANE | . | 0.06 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0833 |  | 1.0833 | 0 | 0
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-02-18 | 2006-10-01 | 2009-09-30 | ug/L | 1.1976 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | BROMOCHLOROMETHANE | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1976 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1269 | 0.1286 | 1.0853 | 0.1497 | 0.11097
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.3473 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | BROMOCHLOROMETHANE | . | 0.06 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3473 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1269 | 0.1286 | 1.0853 | 0.1497 | 0.11097
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-05-13 | 2006-10-01 | 2009-09-30 | ug/L | 1.0479 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | BROMOCHLOROMETHANE | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0479 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1269 | 0.1286 | 1.0853 | 0.1497 | 0.11097
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.0479 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4008 | BROMOCHLOROMETHANE | . | 0.06 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0479 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1269 | 0.1286 | 1.0853 | 0.1497 | 0.11097
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-06-30 | 2006-10-01 | 2009-09-30 | ug/L | 1.1228 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4008 | BROMOCHLOROMETHANE | . | 0.06 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1228 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1269 | 0.1286 | 1.0853 | 0.1497 | 0.11097
BROMOCHLOROMETHANE | 2021 | 77297GCM66 | 2009-08-11 | 2006-10-01 | 2009-09-30 | ug/L | 0.998 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | BROMOCHLOROMETHANE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.998 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1269 | 0.1286 | 1.0853 | 0.1497 | 0.11097