## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMOFORM | 2021 | 32104GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.385 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.2 | BROMOFORM | E | 0.1 | 0.277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.385 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.2087 | 0.24926 | 1.2087 | 0.3525 | 0.2613
BROMOFORM | 2021 | 32104GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0325 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.4 | BROMOFORM | . | 0.1 | 0.413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0325 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2087 | 0.24926 | 1.2087 | 0.3525 | 0.2613
BROMOFORM | 2021 | 32104GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.005 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.2 | BROMOFORM | . | 0.1 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.005 |  | 1.005 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.80645 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.248 | BROMOFORM | . | 0.1 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80645 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0753 | 0.18153 | 1.1694 | 0.32258 | 0.23913
BROMOFORM | 2021 | 32104GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.2097 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.124 | BROMOFORM | . | 0.1 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2097 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0753 | 0.18153 | 1.1694 | 0.32258 | 0.23913
BROMOFORM | 2021 | 32104GCM66 | 2009-04-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.2097 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.248 | BROMOFORM | . | 0.1 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2097 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0753 | 0.18153 | 1.1694 | 0.32258 | 0.23913
BROMOFORM | 2021 | 32104GCM66 | 2009-06-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.2097 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.124 | BROMOFORM | . | 0.1 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2097 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0753 | 0.18153 | 1.1694 | 0.32258 | 0.23913
BROMOFORM | 2021 | 32104GCM66 | 2009-07-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.129 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.124 | BROMOFORM | E | 0.1 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.129 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0753 | 0.18153 | 1.1694 | 0.32258 | 0.23913
BROMOFORM | 2021 | 32104GCM66 | 2009-08-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.8871 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.124 | BROMOFORM | . | 0.1 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8871 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0753 | 0.18153 | 1.1694 | 0.32258 | 0.23913
BROMOFORM | 2021 | 32104GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1791 | Abs | 090809 | Abs 090809: 10 µl | 0.134 | BROMOFORM | . | 0.1 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1791 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0939 | 0.17592 | 1.0808 | 0.28483 | 0.21114
BROMOFORM | 2021 | 32104GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.95522 | Abs | 090809 | Abs 090809: 30 µl | 0.402 | BROMOFORM | . | 0.1 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95522 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0939 | 0.17592 | 1.0808 | 0.28483 | 0.21114
BROMOFORM | 2021 | 32104GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.2687 | Abs | 090809 | Abs 090809: 10 µl | 0.134 | BROMOFORM | . | 0.1 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2687 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0939 | 0.17592 | 1.0808 | 0.28483 | 0.21114
BROMOFORM | 2021 | 32104GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.92289 | Abs | 090809 | Abs 090809: 30 µl | 0.402 | BROMOFORM | . | 0.1 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92289 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0939 | 0.17592 | 1.0808 | 0.28483 | 0.21114
BROMOFORM | 2021 | 32104GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.8806 | Abs | 090809 | Abs 090809: 10 µl | 0.134 | BROMOFORM | . | 0.1 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8806 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0939 | 0.17592 | 1.0808 | 0.28483 | 0.21114
BROMOFORM | 2021 | 32104GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3831 | Abs | 090809 | Abs 090809: 30 µl | 0.402 | BROMOFORM | . | 0.1 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3831 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0939 | 0.17592 | 1.0808 | 0.28483 | 0.21114
BROMOFORM | 2021 | 32104GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0597 | Abs | 090809 | Abs 090809: 10 µl | 0.134 | BROMOFORM | . | 0.1 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0597 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0939 | 0.17592 | 1.0808 | 0.28483 | 0.21114
BROMOFORM | 2021 | 32104GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.102 | Abs | 090809 | Abs 090809: 30 µl | 0.402 | BROMOFORM | . | 0.1 | 0.443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.102 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0939 | 0.17592 | 1.0808 | 0.28483 | 0.21114
BROMOFORM | 2021 | 32104GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0192 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.1888 | BROMOFORM | . | 0.1 | 3.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0192 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0192 |  | 1.0192 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.105 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.2 | BROMOFORM | . | 0.1 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.105 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.105 |  | 1.105 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.90099 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.404 | BROMOFORM | . | 0.1 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90099 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0371 | 0.19253 | 1.0371 | 0.27228 | 0.20184
BROMOFORM | 2021 | 32104GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.1733 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.202 | BROMOFORM | . | 0.1 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1733 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0371 | 0.19253 | 1.0371 | 0.27228 | 0.20184
BROMOFORM | 2021 | 32104GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0792 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.202 | BROMOFORM | . | 0.1 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0792 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0792 |  | 1.0792 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.052 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.404 | BROMOFORM | . | 0.1 | 0.425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.052 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.052 |  | 1.052 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0612 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.7972 | BROMOFORM | . | 0.1 | 0.846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0612 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0606 | 0.00088699 | 1.0606 | 0.0012544 | 0.00092987
BROMOFORM | 2021 | 32104GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.06 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.5944 | BROMOFORM | . | 0.1 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0606 | 0.00088699 | 1.0606 | 0.0012544 | 0.00092987
BROMOFORM | 2021 | 32104GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.94286 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | BROMOFORM | . | 0.1 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94286 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.98036 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | BROMOFORM | . | 0.1 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98036 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0429 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | BROMOFORM | . | 0.1 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.2679 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | BROMOFORM | . | 0.1 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2679 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.95357 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | BROMOFORM | . | 0.1 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95357 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | BROMOFORM | . | 0.1 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.90893 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | BROMOFORM | . | 0.1 | 0.509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90893 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1214 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | BROMOFORM | . | 0.1 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1214 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.83036 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | BROMOFORM | . | 0.1 | 0.465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83036 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.98571 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | BROMOFORM | . | 0.1 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98571 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | BROMOFORM | . | 0.1 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99172 | 0.12095 | 0.98036 | 0.13393 | 0.09928
BROMOFORM | 2021 | 32104GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.90316 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.7972 | BROMOFORM | . | 0.1 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90316 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.90316 |  | 0.90316 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0117 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.6012 | BROMOFORM | . | 0.1 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0117 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9368 | 0.10599 | 0.9368 | 0.14989 | 0.11111
BROMOFORM | 2021 | 32104GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.86185 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 3.2024 | BROMOFORM | . | 0.1 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86185 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9368 | 0.10599 | 0.9368 | 0.14989 | 0.11111
BROMOFORM | 2021 | 32104GCM66 | 2008-12-20 | 2008-10-01 | 2009-09-30 | ug/L | 0.82192 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.292 | BROMOFORM | . | 0.1 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82192 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.82192 |  | 0.82192 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.4851 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.134 | BROMOFORM | . | 0.1 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4851 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1514 | 0.20253 | 1.1443 | 0.24378 | 0.18071
BROMOFORM | 2021 | 32104GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.94279 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.402 | BROMOFORM | . | 0.1 | 0.379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94279 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1514 | 0.20253 | 1.1443 | 0.24378 | 0.18071
BROMOFORM | 2021 | 32104GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1194 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.134 | BROMOFORM | . | 0.1 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1514 | 0.20253 | 1.1443 | 0.24378 | 0.18071
BROMOFORM | 2021 | 32104GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.83582 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.402 | BROMOFORM | . | 0.1 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83582 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1514 | 0.20253 | 1.1443 | 0.24378 | 0.18071
BROMOFORM | 2021 | 32104GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2537 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.134 | BROMOFORM | . | 0.1 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2537 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1514 | 0.20253 | 1.1443 | 0.24378 | 0.18071
BROMOFORM | 2021 | 32104GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.1692 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.402 | BROMOFORM | . | 0.1 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1692 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1514 | 0.20253 | 1.1443 | 0.24378 | 0.18071
BROMOFORM | 2021 | 32104GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.291 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.134 | BROMOFORM | . | 0.1 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.291 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1514 | 0.20253 | 1.1443 | 0.24378 | 0.18071
BROMOFORM | 2021 | 32104GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1144 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.402 | BROMOFORM | . | 0.1 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1144 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1514 | 0.20253 | 1.1443 | 0.24378 | 0.18071
BROMOFORM | 2021 | 32104GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.98134 | Restek | A075493 | Restek A075493: 40 µl | 0.536 | BROMOFORM | . | 0.1 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98134 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.83209 | Restek | A075493 | Restek A075493: 20 µl | 0.268 | BROMOFORM | . | 0.1 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83209 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.84515 | Restek | A075493 | Restek A075493: 40 µl | 0.536 | BROMOFORM | . | 0.1 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84515 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.347 | Restek | A075493 | Restek A075493: 20 µl | 0.268 | BROMOFORM | . | 0.1 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.347 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.88806 | Restek | A075493 | Restek A075493: 40 µl | 0.536 | BROMOFORM | . | 0.1 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88806 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.85821 | Restek | A075493 | Restek A075493: 20 µl | 0.268 | BROMOFORM | . | 0.1 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85821 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.97015 | Restek | A075493 | Restek A075493: 20 µl | 0.268 | BROMOFORM | . | 0.1 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97015 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.99813 | Restek | A075493 | Restek A075493: 40 µl | 0.536 | BROMOFORM | . | 0.1 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99813 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.1194 | Restek | A075493 | Restek A075493: 20 µl | 0.268 | BROMOFORM | . | 0.1 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.92164 | Restek | A075493 | Restek A075493: 40 µl | 0.536 | BROMOFORM | . | 0.1 | 0.494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92164 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.80597 | Restek | A075493 | Restek A075493: 20 µl | 0.268 | BROMOFORM | . | 0.1 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80597 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96065 | 0.15732 | 0.92164 | 0.15299 | 0.11341
BROMOFORM | 2021 | 32104GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.1117 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.6012 | BROMOFORM | . | 0.1 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1117 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1117 |  | 1.1117 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.92556 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8006 | BROMOFORM | . | 0.1 | 0.741 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92556 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99301 | 0.095388 | 0.99301 | 0.1349 | 0.099999
BROMOFORM | 2021 | 32104GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0605 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8006 | BROMOFORM | . | 0.1 | 0.849 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0605 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99301 | 0.095388 | 0.99301 | 0.1349 | 0.099999
BROMOFORM | 2021 | 32104GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.8025 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.4 | BROMOFORM | . | 0.1 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8025 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93125 | 0.18208 | 0.93125 | 0.2575 | 0.19088
BROMOFORM | 2021 | 32104GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.06 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.2 | BROMOFORM | . | 0.1 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93125 | 0.18208 | 0.93125 | 0.2575 | 0.19088
BROMOFORM | 2021 | 32104GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.047 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.404 | BROMOFORM | . | 0.1 | 0.423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.047 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.047 |  | 1.047 | 0 | 0
BROMOFORM | 2021 | 32104GCM66 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.99668 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | BROMOFORM | . | 0.1 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.113 | 0.21658 | 0.99668 | 0.083056 | 0.061569
BROMOFORM | 2021 | 32104GCM66 | 2009-03-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.495 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | BROMOFORM | . | 0.1 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.495 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.113 | 0.21658 | 0.99668 | 0.083056 | 0.061569
BROMOFORM | 2021 | 32104GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.0797 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.2408 | BROMOFORM | . | 0.1 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0797 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.113 | 0.21658 | 0.99668 | 0.083056 | 0.061569
BROMOFORM | 2021 | 32104GCM66 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.99668 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.2408 | BROMOFORM | . | 0.1 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.113 | 0.21658 | 0.99668 | 0.083056 | 0.061569
BROMOFORM | 2021 | 32104GCM66 | 2009-08-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.99668 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | BROMOFORM | . | 0.1 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.113 | 0.21658 | 0.99668 | 0.083056 | 0.061569