## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BROMOMETHANE | 2021 | 34413GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.4667 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.3 | BROMOMETHANE | E | 0.2 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4667 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.3433 | 0.17442 | 1.3433 | 0.24667 | 0.18285
BROMOMETHANE | 2021 | 34413GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.22 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.6 | BROMOMETHANE | E | 0.2 | 0.732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.22 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.3433 | 0.17442 | 1.3433 | 0.24667 | 0.18285
BROMOMETHANE | 2021 | 34413GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.36 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.3 | BROMOMETHANE | E | 0.2 | 0.408 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.36 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.36 |  | 1.36 | 0 | 0
BROMOMETHANE | 2021 | 34413GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.2967 | Abs | 051712 | Abs 051712: 20 µl | 3 | BROMOMETHANE | E | 0.2 | 3.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2967 | Abs 051712 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.2317 | 0.091924 | 1.2317 | 0.13 | 0.096368
BROMOMETHANE | 2021 | 34413GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.1667 | Abs | 051712 | Abs 051712: 10 µl | 1.5 | BROMOMETHANE | E | 0.2 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | Abs 051712 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.2317 | 0.091924 | 1.2317 | 0.13 | 0.096368
BROMOMETHANE | 2021 | 34413GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.8062 | Abs | 090809 | Abs 090809: 10 µl | 0.48 | BROMOMETHANE | E | 0.2 | 0.867 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8062 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.4074 | 0.26359 | 1.4465 | 0.39028 | 0.28931
BROMOMETHANE | 2021 | 34413GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.125 | Abs | 090809 | Abs 090809: 30 µl | 1.44 | BROMOMETHANE | E | 0.2 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.4074 | 0.26359 | 1.4465 | 0.39028 | 0.28931
BROMOMETHANE | 2021 | 34413GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.5042 | Abs | 090809 | Abs 090809: 10 µl | 0.48 | BROMOMETHANE | E | 0.2 | 0.722 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5042 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.4074 | 0.26359 | 1.4465 | 0.39028 | 0.28931
BROMOMETHANE | 2021 | 34413GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.3889 | Abs | 090809 | Abs 090809: 30 µl | 1.44 | BROMOMETHANE | E | 0.2 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3889 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.4074 | 0.26359 | 1.4465 | 0.39028 | 0.28931
BROMOMETHANE | 2021 | 34413GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.2542 | Abs | 090809 | Abs 090809: 10 µl | 0.48 | BROMOMETHANE | E | 0.2 | 0.602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2542 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.4074 | 0.26359 | 1.4465 | 0.39028 | 0.28931
BROMOMETHANE | 2021 | 34413GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.6319 | Abs | 090809 | Abs 090809: 30 µl | 1.44 | BROMOMETHANE | E | 0.2 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6319 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.4074 | 0.26359 | 1.4465 | 0.39028 | 0.28931
BROMOMETHANE | 2021 | 34413GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0208 | Abs | 090809 | Abs 090809: 10 µl | 0.48 | BROMOMETHANE | E | 0.2 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0208 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.4074 | 0.26359 | 1.4465 | 0.39028 | 0.28931
BROMOMETHANE | 2021 | 34413GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.5278 | Abs | 090809 | Abs 090809: 30 µl | 1.44 | BROMOMETHANE | E | 0.2 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5278 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.4074 | 0.26359 | 1.4465 | 0.39028 | 0.28931
BROMOMETHANE | 2021 | 34413GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1167 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 6 | BROMOMETHANE | E | 0.2 | 6.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1167 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.1167 |  | 1.1167 | 0 | 0
BROMOMETHANE | 2021 | 34413GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1533 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.3 | BROMOMETHANE | E | 0.2 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1533 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.1533 |  | 1.1533 | 0 | 0
BROMOMETHANE | 2021 | 34413GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.84833 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.6 | BROMOMETHANE | E | 0.2 | 0.509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84833 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.94583 | 0.13789 | 0.94583 | 0.195 | 0.14455
BROMOMETHANE | 2021 | 34413GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0433 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.3 | BROMOMETHANE | E | 0.2 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0433 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.94583 | 0.13789 | 0.94583 | 0.195 | 0.14455
BROMOMETHANE | 2021 | 34413GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.88333 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.3 | BROMOMETHANE | E | 0.2 | 0.265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.88333 |  | 0.88333 | 0 | 0
BROMOMETHANE | 2021 | 34413GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.6 | BROMOMETHANE | E | 0.2 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.93 |  | 0.93 | 0 | 0
BROMOMETHANE | 2021 | 34413GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.2717 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 6 | BROMOMETHANE | E | 0.2 | 7.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2717 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.2717 |  | 1.2717 | 0 | 0
BROMOMETHANE | 2021 | 34413GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.86 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 1.5 | BROMOMETHANE | E | 0.2 | 2.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.86 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.5875 | 0.38537 | 1.5875 | 0.545 | 0.404
BROMOMETHANE | 2021 | 34413GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.315 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 6 | BROMOMETHANE | E | 0.2 | 7.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.315 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.5875 | 0.38537 | 1.5875 | 0.545 | 0.404
BROMOMETHANE | 2021 | 34413GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.8675 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.4 | BROMOMETHANE | E | 0.2 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8675 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1013 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.8 | BROMOMETHANE | E | 0.2 | 0.881 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1013 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.4 | BROMOMETHANE | E | 0.2 | 0.404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.1525 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.4 | BROMOMETHANE | E | 0.2 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1525 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.325 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.8 | BROMOMETHANE | E | 0.2 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.325 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.385 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.4 | BROMOMETHANE | E | 0.2 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.385 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.2625 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.8 | BROMOMETHANE | E | 0.2 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2625 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.5375 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.4 | BROMOMETHANE | E | 0.2 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5375 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0987 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.8 | BROMOMETHANE | E | 0.2 | 0.879 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0987 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.185 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.4 | BROMOMETHANE | E | 0.2 | 0.474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.185 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1725 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.4 | BROMOMETHANE | E | 0.2 | 0.469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1725 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1907 | 0.18347 | 1.1725 | 0.22625 | 0.16772
BROMOMETHANE | 2021 | 34413GCM66 | 2009-02-06 | 2006-10-01 | 2009-09-30 | ug/L | 1.2695 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.024 | BROMOMETHANE | E | 0.4 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2695 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.141 | 0.12903 | 1.1133 | 0.22461 | 0.1665
BROMOMETHANE | 2021 | 34413GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.3086 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.512 | BROMOMETHANE | E | 0.4 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3086 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.141 | 0.12903 | 1.1133 | 0.22461 | 0.1665
BROMOMETHANE | 2021 | 34413GCM66 | 2009-04-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.99609 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.512 | BROMOMETHANE | E | 0.4 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99609 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.141 | 0.12903 | 1.1133 | 0.22461 | 0.1665
BROMOMETHANE | 2021 | 34413GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.0547 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.512 | BROMOMETHANE | E | 0.4 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0547 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.141 | 0.12903 | 1.1133 | 0.22461 | 0.1665
BROMOMETHANE | 2021 | 34413GCM66 | 2009-07-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.0449 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.024 | BROMOMETHANE | E | 0.4 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0449 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.141 | 0.12903 | 1.1133 | 0.22461 | 0.1665
BROMOMETHANE | 2021 | 34413GCM66 | 2009-09-05 | 2006-10-01 | 2009-09-30 | ug/L | 1.1719 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.512 | BROMOMETHANE | E | 0.4 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1719 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.141 | 0.12903 | 1.1133 | 0.22461 | 0.1665
BROMOMETHANE | 2021 | 34413GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.25 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 3 | BROMOMETHANE | E | 0.2 | 3.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.3183 | 0.096638 | 1.3183 | 0.13667 | 0.10131
BROMOMETHANE | 2021 | 34413GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.3867 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 1.5 | BROMOMETHANE | E | 0.2 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3867 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.3183 | 0.096638 | 1.3183 | 0.13667 | 0.10131
BROMOMETHANE | 2021 | 34413GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3008 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.482 | BROMOMETHANE | E | 0.2 | 0.627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3008 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2192 | 0.18607 | 1.1995 | 0.16217 | 0.12022
BROMOMETHANE | 2021 | 34413GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0858 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.446 | BROMOMETHANE | E | 0.2 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0858 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2192 | 0.18607 | 1.1995 | 0.16217 | 0.12022
BROMOMETHANE | 2021 | 34413GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0207 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.482 | BROMOMETHANE | E | 0.2 | 0.492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0207 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2192 | 0.18607 | 1.1995 | 0.16217 | 0.12022
BROMOMETHANE | 2021 | 34413GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1065 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.446 | BROMOMETHANE | E | 0.2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1065 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2192 | 0.18607 | 1.1995 | 0.16217 | 0.12022
BROMOMETHANE | 2021 | 34413GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2095 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.482 | BROMOMETHANE | E | 0.2 | 0.583 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2095 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2192 | 0.18607 | 1.1995 | 0.16217 | 0.12022
BROMOMETHANE | 2021 | 34413GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.1895 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.446 | BROMOMETHANE | E | 0.2 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1895 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2192 | 0.18607 | 1.1995 | 0.16217 | 0.12022
BROMOMETHANE | 2021 | 34413GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.2158 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.482 | BROMOMETHANE | E | 0.2 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2158 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2192 | 0.18607 | 1.1995 | 0.16217 | 0.12022
BROMOMETHANE | 2021 | 34413GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.6252 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 1.446 | BROMOMETHANE | E | 0.2 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6252 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2192 | 0.18607 | 1.1995 | 0.16217 | 0.12022
BROMOMETHANE | 2021 | 34413GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1648 | Restek | A075493 | Restek A075493: 40 µl | 0.8216 | BROMOMETHANE | E | 0.2 | 0.957 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1648 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95667 | Restek | A075493 | Restek A075493: 20 µl | 0.4108 | BROMOMETHANE | E | 0.2 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95667 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.97371 | Restek | A075493 | Restek A075493: 40 µl | 0.8216 | BROMOMETHANE | E | 0.2 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97371 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0565 | Restek | A075493 | Restek A075493: 20 µl | 0.4108 | BROMOMETHANE | E | 0.2 | 0.434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0565 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0334 | Restek | A075493 | Restek A075493: 40 µl | 0.8216 | BROMOMETHANE | E | 0.2 | 0.849 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.2658 | Restek | A075493 | Restek A075493: 20 µl | 0.4108 | BROMOMETHANE | E | 0.2 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2658 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.3315 | Restek | A075493 | Restek A075493: 20 µl | 0.4108 | BROMOMETHANE | E | 0.2 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3315 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0772 | Restek | A075493 | Restek A075493: 40 µl | 0.8216 | BROMOMETHANE | E | 0.2 | 0.885 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0772 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.1806 | Restek | A075493 | Restek A075493: 20 µl | 0.4108 | BROMOMETHANE | E | 0.2 | 0.485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1806 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.2902 | Restek | A075493 | Restek A075493: 40 µl | 0.8216 | BROMOMETHANE | E | 0.2 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2902 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0297 | Restek | A075493 | Restek A075493: 20 µl | 0.4108 | BROMOMETHANE | E | 0.2 | 0.423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0297 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.1236 | 0.13043 | 1.0772 | 0.23612 | 0.17504
BROMOMETHANE | 2021 | 34413GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.4867 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 3 | BROMOMETHANE | E | 0.2 | 4.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4867 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.4867 |  | 1.4867 | 0 | 0
BROMOMETHANE | 2021 | 34413GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.86 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.5 | BROMOMETHANE | E | 0.2 | 2.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.86 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.77 | 0.12728 | 1.77 | 0.18 | 0.13343
BROMOMETHANE | 2021 | 34413GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.68 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.5 | BROMOMETHANE | E | 0.2 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.68 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.77 | 0.12728 | 1.77 | 0.18 | 0.13343
BROMOMETHANE | 2021 | 34413GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.315 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.6 | BROMOMETHANE | E | 0.2 | 0.789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.315 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.2958 | 0.027106 | 1.2958 | 0.038333 | 0.028416
BROMOMETHANE | 2021 | 34413GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.2767 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.3 | BROMOMETHANE | E | 0.2 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2767 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.2958 | 0.027106 | 1.2958 | 0.038333 | 0.028416
BROMOMETHANE | 2021 | 34413GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.93 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.6 | BROMOMETHANE | E | 0.2 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.93 |  | 0.93 | 0 | 0
BROMOMETHANE | 2021 | 34413GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.0156 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.512 | BROMOMETHANE | E | 0.4 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0059 | 0.11976 | 1.0059 | 0.14648 | 0.10859
BROMOMETHANE | 2021 | 34413GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.81055 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.024 | BROMOMETHANE | E | 0.4 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81055 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0059 | 0.11976 | 1.0059 | 0.14648 | 0.10859
BROMOMETHANE | 2021 | 34413GCM66 | 2009-05-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.99609 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.512 | BROMOMETHANE | E | 0.4 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99609 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0059 | 0.11976 | 1.0059 | 0.14648 | 0.10859
BROMOMETHANE | 2021 | 34413GCM66 | 2009-07-08 | 2006-10-01 | 2009-09-30 | ug/L | 1.1035 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.024 | BROMOMETHANE | E | 0.4 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1035 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0059 | 0.11976 | 1.0059 | 0.14648 | 0.10859
BROMOMETHANE | 2021 | 34413GCM66 | 2009-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.95703 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.512 | BROMOMETHANE | E | 0.4 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95703 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0059 | 0.11976 | 1.0059 | 0.14648 | 0.10859
BROMOMETHANE | 2021 | 34413GCM66 | 2009-09-26 | 2006-10-01 | 2009-09-30 | ug/L | 1.1523 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.512 | BROMOMETHANE | E | 0.4 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1523 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0059 | 0.11976 | 1.0059 | 0.14648 | 0.10859
BROMOMETHANE | 2021 | 34413GCM66 | 2009-01-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.7731 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.564 | BROMOMETHANE | E | 0.4 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.773 | Ultra CE-0471 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.773 |  | 1.773 | 0 | 0