## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1681 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.0016 | BUTYLBENZENE | . | 0.08 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1681 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1681 |  | 1.1681 | 0 | 0
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.75954 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.10006 | BUTYLBENZENE | . | 0.08 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75954 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75954 |  | 0.75954 | 0 | 0
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.70957 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.20012 | BUTYLBENZENE | . | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70957 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78953 | 0.11307 | 0.78953 | 0.1599 | 0.11854
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.86948 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.10006 | BUTYLBENZENE | . | 0.08 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86948 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78953 | 0.11307 | 0.78953 | 0.1599 | 0.11854
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.6996 | Accu | 209081198 | Accu 209081198: 10 µl | 0.14008 | BUTYLBENZENE | E | 0.08 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6996 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.77337 | 0.075271 | 0.76028 | 0.064249 | 0.047627
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.76385 | Accu | 209081198 | Accu 209081198: 30 µl | 0.42024 | BUTYLBENZENE | . | 0.08 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76385 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77337 | 0.075271 | 0.76028 | 0.064249 | 0.047627
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.79954 | Accu | 209081198 | Accu 209081198: 10 µl | 0.14008 | BUTYLBENZENE | . | 0.08 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79954 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77337 | 0.075271 | 0.76028 | 0.064249 | 0.047627
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.93994 | Accu | 209081198 | Accu 209081198: 30 µl | 0.42024 | BUTYLBENZENE | . | 0.08 | 0.395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93994 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77337 | 0.075271 | 0.76028 | 0.064249 | 0.047627
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.74243 | Accu | 209081198 | Accu 209081198: 10 µl | 0.14008 | BUTYLBENZENE | . | 0.08 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74243 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77337 | 0.075271 | 0.76028 | 0.064249 | 0.047627
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.77813 | Accu | 209081198 | Accu 209081198: 30 µl | 0.42024 | BUTYLBENZENE | . | 0.08 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77813 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77337 | 0.075271 | 0.76028 | 0.064249 | 0.047627
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.75671 | Accu | 209081198 | Accu 209081198: 10 µl | 0.14008 | BUTYLBENZENE | . | 0.08 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75671 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77337 | 0.075271 | 0.76028 | 0.064249 | 0.047627
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.70674 | Accu | 209081198 | Accu 209081198: 10 µl | 0.14008 | BUTYLBENZENE | . | 0.08 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70674 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77337 | 0.075271 | 0.76028 | 0.064249 | 0.047627
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.77953 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.10006 | BUTYLBENZENE | . | 0.08 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77953 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.77953 |  | 0.77953 | 0 | 0
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.63265 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.098 | BUTYLBENZENE | . | 0.08 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63265 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.64796 | 0.021646 | 0.64796 | 0.030612 | 0.022693
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.66327 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.196 | BUTYLBENZENE | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66327 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.64796 | 0.021646 | 0.64796 | 0.030612 | 0.022693
BUTYLBENZENE | 2021 | 77342GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.99042 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.2504 | BUTYLBENZENE | . | 0.08 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99042 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0224 | 0.045183 | 1.0224 | 0.063898 | 0.047367
BUTYLBENZENE | 2021 | 77342GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0543 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.5008 | BUTYLBENZENE | . | 0.08 | 0.528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0543 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0224 | 0.045183 | 1.0224 | 0.063898 | 0.047367
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-02-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.84677 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.496 | BUTYLBENZENE | . | 0.08 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84677 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73925 | 0.11871 | 0.72581 | 0.16129 | 0.11956
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.76613 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.248 | BUTYLBENZENE | . | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76613 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73925 | 0.11871 | 0.72581 | 0.16129 | 0.11956
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-04-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.8871 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.248 | BUTYLBENZENE | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8871 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73925 | 0.11871 | 0.72581 | 0.16129 | 0.11956
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.56452 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.248 | BUTYLBENZENE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56452 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73925 | 0.11871 | 0.72581 | 0.16129 | 0.11956
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-07-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.68548 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.496 | BUTYLBENZENE | . | 0.08 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68548 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73925 | 0.11871 | 0.72581 | 0.16129 | 0.11956
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-09-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.68548 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.248 | BUTYLBENZENE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68548 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.73925 | 0.11871 | 0.72581 | 0.16129 | 0.11956
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.71957 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.20012 | BUTYLBENZENE | . | 0.08 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71957 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.71957 |  | 0.71957 | 0 | 0
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.72959 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.196 | BUTYLBENZENE | . | 0.08 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72959 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72959 |  | 0.72959 | 0 | 0
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0343 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.2504 | BUTYLBENZENE | . | 0.08 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0343 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0343 |  | 1.0343 | 0 | 0
BUTYLBENZENE | 2021 | 77342GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.87919 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.5016 | BUTYLBENZENE | . | 0.08 | 0.441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87919 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94298 | 0.090221 | 0.94298 | 0.12759 | 0.094582
BUTYLBENZENE | 2021 | 77342GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0068 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.0032 | BUTYLBENZENE | . | 0.08 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0068 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94298 | 0.090221 | 0.94298 | 0.12759 | 0.094582
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.80488 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.164 | BUTYLBENZENE | . | 0.08 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80488 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.79573 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.328 | BUTYLBENZENE | . | 0.08 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79573 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.7439 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.164 | BUTYLBENZENE | . | 0.08 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7439 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.61585 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.328 | BUTYLBENZENE | . | 0.08 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61585 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.60366 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.164 | BUTYLBENZENE | . | 0.08 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60366 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.72561 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.328 | BUTYLBENZENE | . | 0.08 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72561 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.72561 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.164 | BUTYLBENZENE | . | 0.08 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72561 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.69512 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.164 | BUTYLBENZENE | . | 0.08 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69512 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97256 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.328 | BUTYLBENZENE | . | 0.08 | 0.319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97256 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.81707 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.164 | BUTYLBENZENE | . | 0.08 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81707 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.83841 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.328 | BUTYLBENZENE | . | 0.08 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83841 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.8628 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.328 | BUTYLBENZENE | . | 0.08 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8628 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.76677 | 0.10443 | 0.76982 | 0.11738 | 0.087011
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.63235 | Restek | A069860 | Restek A069860: 10 µl | 0.136 | BUTYLBENZENE | E | 0.08 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63235 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.74265 | Restek | A069860 | Restek A069860: 30 µl | 0.408 | BUTYLBENZENE | . | 0.08 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74265 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.76471 | Restek | A069860 | Restek A069860: 10 µl | 0.136 | BUTYLBENZENE | . | 0.08 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76471 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.79167 | Restek | A069860 | Restek A069860: 30 µl | 0.408 | BUTYLBENZENE | . | 0.08 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.78676 | Restek | A069860 | Restek A069860: 10 µl | 0.136 | BUTYLBENZENE | . | 0.08 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78676 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.82353 | Restek | A069860 | Restek A069860: 30 µl | 0.408 | BUTYLBENZENE | . | 0.08 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82353 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.67647 | Restek | A069860 | Restek A069860: 10 µl | 0.136 | BUTYLBENZENE | . | 0.08 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67647 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.84069 | Restek | A069860 | Restek A069860: 30 µl | 0.408 | BUTYLBENZENE | . | 0.08 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84069 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.63971 | Restek | A069860 | Restek A069860: 10 µl | 0.136 | BUTYLBENZENE | . | 0.08 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63971 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74428 | 0.077546 | 0.76471 | 0.1152 | 0.085394
BUTYLBENZENE | 2021 | 77342GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.90909 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.5016 | BUTYLBENZENE | . | 0.08 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90909 |  | 0.90909 | 0 | 0
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.78549 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.2508 | BUTYLBENZENE | . | 0.08 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78549 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.73565 | 0.070485 | 0.73565 | 0.099681 | 0.073893
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.68581 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.2508 | BUTYLBENZENE | . | 0.08 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68581 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.73565 | 0.070485 | 0.73565 | 0.099681 | 0.073893
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.67857 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.196 | BUTYLBENZENE | . | 0.08 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67857 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.72194 | 0.061331 | 0.72194 | 0.086735 | 0.064296
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.76531 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.098 | BUTYLBENZENE | . | 0.08 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76531 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.72194 | 0.061331 | 0.72194 | 0.086735 | 0.064296
BUTYLBENZENE | 2021 | 77342GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.69388 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.196 | BUTYLBENZENE | . | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69388 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69388 |  | 0.69388 | 0 | 0
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-02-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.72698 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2476 | BUTYLBENZENE | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72698 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66976 | 0.065643 | 0.6563 | 0.12116 | 0.089817
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.6664 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.4952 | BUTYLBENZENE | . | 0.08 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6664 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66976 | 0.065643 | 0.6563 | 0.12116 | 0.089817
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-05-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.76737 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2476 | BUTYLBENZENE | . | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76737 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66976 | 0.065643 | 0.6563 | 0.12116 | 0.089817
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-07-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.60582 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.4952 | BUTYLBENZENE | . | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60582 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66976 | 0.065643 | 0.6563 | 0.12116 | 0.089817
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-08-19 | 2008-10-01 | 2009-09-30 | ug/L | 0.6462 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2476 | BUTYLBENZENE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6462 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66976 | 0.065643 | 0.6563 | 0.12116 | 0.089817
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-09-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.60582 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2476 | BUTYLBENZENE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60582 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66976 | 0.065643 | 0.6563 | 0.12116 | 0.089817
BUTYLBENZENE | 2021 | 77342GCM66 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.0417 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.24 | BUTYLBENZENE | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0417 |  | 1.0417 | 0 | 0