## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLOROETHANE | 2021 | 34311GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.0278 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.36 | CHLOROETHANE | . | 0.1 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0278 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1019 | 0.10638 | 1.0556 | 0.19444 | 0.14414
CHLOROETHANE | 2021 | 34311GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.0556 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.18 | CHLOROETHANE | . | 0.1 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1019 | 0.10638 | 1.0556 | 0.19444 | 0.14414
CHLOROETHANE | 2021 | 34311GCM66 | 2009-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.25 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.36 | CHLOROETHANE | . | 0.1 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1019 | 0.10638 | 1.0556 | 0.19444 | 0.14414
CHLOROETHANE | 2021 | 34311GCM66 | 2009-06-09 | 2006-10-01 | 2009-09-30 | ug/L | 1.2222 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.18 | CHLOROETHANE | . | 0.1 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2222 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1019 | 0.10638 | 1.0556 | 0.19444 | 0.14414
CHLOROETHANE | 2021 | 34311GCM66 | 2009-07-17 | 2006-10-01 | 2009-09-30 | ug/L | 1 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.18 | CHLOROETHANE | . | 0.1 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1019 | 0.10638 | 1.0556 | 0.19444 | 0.14414
CHLOROETHANE | 2021 | 34311GCM66 | 2009-08-29 | 2006-10-01 | 2009-09-30 | ug/L | 1.0556 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.18 | CHLOROETHANE | . | 0.1 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1019 | 0.10638 | 1.0556 | 0.19444 | 0.14414
CHLOROETHANE | 2021 | 34311GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0663 | Abs | 090809 | Abs 090809: 10 µl | 0.166 | CHLOROETHANE | . | 0.06 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0663 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0951 | 0.12533 | 1.0693 | 0.1496 | 0.1109
CHLOROETHANE | 2021 | 34311GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0261 | Abs | 090809 | Abs 090809: 30 µl | 0.498 | CHLOROETHANE | . | 0.06 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0261 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0951 | 0.12533 | 1.0693 | 0.1496 | 0.1109
CHLOROETHANE | 2021 | 34311GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0723 | Abs | 090809 | Abs 090809: 10 µl | 0.166 | CHLOROETHANE | . | 0.06 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0723 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0951 | 0.12533 | 1.0693 | 0.1496 | 0.1109
CHLOROETHANE | 2021 | 34311GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.1928 | Abs | 090809 | Abs 090809: 30 µl | 0.498 | CHLOROETHANE | . | 0.06 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1928 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0951 | 0.12533 | 1.0693 | 0.1496 | 0.1109
CHLOROETHANE | 2021 | 34311GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.98795 | Abs | 090809 | Abs 090809: 10 µl | 0.166 | CHLOROETHANE | . | 0.06 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98795 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0951 | 0.12533 | 1.0693 | 0.1496 | 0.1109
CHLOROETHANE | 2021 | 34311GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3434 | Abs | 090809 | Abs 090809: 30 µl | 0.498 | CHLOROETHANE | . | 0.06 | 0.669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3434 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0951 | 0.12533 | 1.0693 | 0.1496 | 0.1109
CHLOROETHANE | 2021 | 34311GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.95181 | Abs | 090809 | Abs 090809: 10 µl | 0.166 | CHLOROETHANE | . | 0.06 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95181 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0951 | 0.12533 | 1.0693 | 0.1496 | 0.1109
CHLOROETHANE | 2021 | 34311GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.1205 | Abs | 090809 | Abs 090809: 30 µl | 0.498 | CHLOROETHANE | . | 0.06 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1205 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0951 | 0.12533 | 1.0693 | 0.1496 | 0.1109
CHLOROETHANE | 2021 | 34311GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.4418 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.988 | CHLOROETHANE | . | 0.06 | 5.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4418 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.4418 |  | 1.4418 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2538 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.07976 | CHLOROETHANE | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2538 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2538 |  | 1.2538 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.3102 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.15952 | CHLOROETHANE | . | 0.06 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3102 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1378 | 0.2438 | 1.1378 | 0.34478 | 0.25559
CHLOROETHANE | 2021 | 34311GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.9654 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.07976 | CHLOROETHANE | . | 0.06 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9654 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1378 | 0.2438 | 1.1378 | 0.34478 | 0.25559
CHLOROETHANE | 2021 | 34311GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.6299 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.07976 | CHLOROETHANE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6299 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.6299 |  | 1.6299 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.4375 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.08 | CHLOROETHANE | . | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4375 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3031 | 0.19003 | 1.3031 | 0.26875 | 0.19922
CHLOROETHANE | 2021 | 34311GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1687 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1687 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3031 | 0.19003 | 1.3031 | 0.26875 | 0.19922
CHLOROETHANE | 2021 | 34311GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.4644 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.997 | CHLOROETHANE | . | 0.06 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4644 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.3641 | 0.14185 | 1.3641 | 0.2006 | 0.1487
CHLOROETHANE | 2021 | 34311GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2638 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.994 | CHLOROETHANE | . | 0.06 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2638 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.3641 | 0.14185 | 1.3641 | 0.2006 | 0.1487
CHLOROETHANE | 2021 | 34311GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.2788 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.15952 | CHLOROETHANE | . | 0.06 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2788 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2788 |  | 1.2788 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1062 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1062 |  | 1.1062 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2638 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.997 | CHLOROETHANE | . | 0.06 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2638 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2638 |  | 1.2638 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 2 | CHLOROETHANE | . | 0.06 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0562 | 0.044194 | 1.0562 | 0.0625 | 0.046331
CHLOROETHANE | 2021 | 34311GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0875 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 4 | CHLOROETHANE | . | 0.06 | 4.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0562 | 0.044194 | 1.0562 | 0.0625 | 0.046331
CHLOROETHANE | 2021 | 34311GCM66 | 2008-12-20 | 2006-10-01 | 2009-09-30 | ug/L | 0.83333 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.288 | CHLOROETHANE | . | 0.1 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.85625 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | CHLOROETHANE | . | 0.06 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.93125 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.78437 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | CHLOROETHANE | . | 0.06 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78437 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.89375 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89375 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.9375 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | CHLOROETHANE | . | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.89375 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89375 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0375 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0375 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.79062 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | CHLOROETHANE | . | 0.06 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79063 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.90625 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.87187 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | CHLOROETHANE | . | 0.06 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87187 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.90312 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | CHLOROETHANE | . | 0.06 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90312 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.9026 | 0.076869 | 0.89844 | 0.070312 | 0.052122
CHLOROETHANE | 2021 | 34311GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.1205 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.166 | CHLOROETHANE | . | 0.06 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1205 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1067 | 0.088565 | 1.1054 | 0.12651 | 0.093778
CHLOROETHANE | 2021 | 34311GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0321 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.498 | CHLOROETHANE | . | 0.06 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0321 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1067 | 0.088565 | 1.1054 | 0.12651 | 0.093778
CHLOROETHANE | 2021 | 34311GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.9759 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.166 | CHLOROETHANE | . | 0.06 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9759 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1067 | 0.088565 | 1.1054 | 0.12651 | 0.093778
CHLOROETHANE | 2021 | 34311GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0542 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.498 | CHLOROETHANE | . | 0.06 | 0.525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0542 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1067 | 0.088565 | 1.1054 | 0.12651 | 0.093778
CHLOROETHANE | 2021 | 34311GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.241 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.166 | CHLOROETHANE | . | 0.06 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.241 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1067 | 0.088565 | 1.1054 | 0.12651 | 0.093778
CHLOROETHANE | 2021 | 34311GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.1305 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.498 | CHLOROETHANE | . | 0.06 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1305 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1067 | 0.088565 | 1.1054 | 0.12651 | 0.093778
CHLOROETHANE | 2021 | 34311GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0904 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.166 | CHLOROETHANE | . | 0.06 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0904 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1067 | 0.088565 | 1.1054 | 0.12651 | 0.093778
CHLOROETHANE | 2021 | 34311GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.2088 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.498 | CHLOROETHANE | . | 0.06 | 0.602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2088 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1067 | 0.088565 | 1.1054 | 0.12651 | 0.093778
CHLOROETHANE | 2021 | 34311GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.305 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 2 | CHLOROETHANE | . | 0.06 | 2.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.305 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.305 |  | 1.305 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.4 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1 | CHLOROETHANE | . | 0.06 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.415 | 0.021213 | 1.415 | 0.03 | 0.022239
CHLOROETHANE | 2021 | 34311GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.43 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1 | CHLOROETHANE | . | 0.06 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.43 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.415 | 0.021213 | 1.415 | 0.03 | 0.022239
CHLOROETHANE | 2021 | 34311GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.3438 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.16 | CHLOROETHANE | E | 0.06 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3438 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.1969 | 0.20771 | 1.1969 | 0.29375 | 0.21775
CHLOROETHANE | 2021 | 34311GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.08 | CHLOROETHANE | . | 0.06 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1969 | 0.20771 | 1.1969 | 0.29375 | 0.21775
CHLOROETHANE | 2021 | 34311GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1875 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.16 | CHLOROETHANE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1875 |  | 1.1875 | 0 | 0
CHLOROETHANE | 2021 | 34311GCM66 | 2009-02-18 | 2006-10-01 | 2009-09-30 | ug/L | 1.1454 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2008 | CHLOROETHANE | . | 0.1 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1454 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1205 | 0.16214 | 1.1454 | 0.099602 | 0.073834
CHLOROETHANE | 2021 | 34311GCM66 | 2009-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.3446 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2008 | CHLOROETHANE | . | 0.1 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3446 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1205 | 0.16214 | 1.1454 | 0.099602 | 0.073834
CHLOROETHANE | 2021 | 34311GCM66 | 2009-05-13 | 2006-10-01 | 2009-09-30 | ug/L | 1.1454 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2008 | CHLOROETHANE | . | 0.1 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1454 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1205 | 0.16214 | 1.1454 | 0.099602 | 0.073834
CHLOROETHANE | 2021 | 34311GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.0707 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4016 | CHLOROETHANE | . | 0.1 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0707 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1205 | 0.16214 | 1.1454 | 0.099602 | 0.073834
CHLOROETHANE | 2021 | 34311GCM66 | 2009-06-30 | 2006-10-01 | 2009-09-30 | ug/L | 1.1703 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4016 | CHLOROETHANE | . | 0.1 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1703 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1205 | 0.16214 | 1.1454 | 0.099602 | 0.073834
CHLOROETHANE | 2021 | 34311GCM66 | 2009-08-11 | 2006-10-01 | 2009-09-30 | ug/L | 0.84661 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2008 | CHLOROETHANE | . | 0.1 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84661 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1205 | 0.16214 | 1.1454 | 0.099602 | 0.073834