## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLOROFORM | 2021 | 32106GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.3712 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.066 | CHLOROFORM | . | 0.03 | 0.0905 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3712 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2311 | 0.1982 | 1.2311 | 0.2803 | 0.20779
CHLOROFORM | 2021 | 32106GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0909 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.132 | CHLOROFORM | . | 0.03 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2311 | 0.1982 | 1.2311 | 0.2803 | 0.20779
CHLOROFORM | 2021 | 32106GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.3091 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.066 | CHLOROFORM | . | 0.03 | 0.0864 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3091 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3091 |  | 1.3091 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0813 | Abs | 080510 | Abs 080510: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0812 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.92625 | Abs | 080510 | Abs 080510: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0741 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92625 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.175 | Abs | 080510 | Abs 080510: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.175 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1987 | Abs | 080510 | Abs 080510: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0959 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1987 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1562 | Abs | 080510 | Abs 080510: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1562 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.1838 | Abs | 080510 | Abs 080510: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0947 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1838 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Abs | 080510 | Abs 080510: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.2025 | Abs | 080510 | Abs 080510: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0962 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2025 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.15 | Abs | 080510 | Abs 080510: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | Abs | 080510 | Abs 080510: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1438 | Abs | 080510 | Abs 080510: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1438 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1118 | 0.096636 | 1.15 | 0.12125 | 0.089881
CHLOROFORM | 2021 | 32106GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.14 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 1 | CHLOROFORM | . | 0.03 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.14 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.14 |  | 1.14 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.1687 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1687 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0613 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0849 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0613 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1987 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0959 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1987 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0375 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0975 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0975 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0037 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0037 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.9875 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.91625 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0733 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.93125 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CHLOROFORM | . | 0.03 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.9725 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9725 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0295 | 0.093919 | 1.0037 | 0.1475 | 0.10934
CHLOROFORM | 2021 | 32106GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0242 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.066 | CHLOROFORM | . | 0.03 | 0.0676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0242 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0242 |  | 1.0242 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1439 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.132 | CHLOROFORM | . | 0.03 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1439 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1439 |  | 1.1439 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.1667 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.244 | 0.12754 | 1.2083 | 0.21667 | 0.16061
CHLOROFORM | 2021 | 32106GCM66 | 2009-02-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.2083 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.12 | CHLOROFORM | . | 0.04 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2083 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.244 | 0.12754 | 1.2083 | 0.21667 | 0.16061
CHLOROFORM | 2021 | 32106GCM66 | 2009-04-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.3833 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3833 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.244 | 0.12754 | 1.2083 | 0.21667 | 0.16061
CHLOROFORM | 2021 | 32106GCM66 | 2009-05-22 | 2008-10-01 | 2009-09-30 | ug/L | 1.3167 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3167 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.244 | 0.12754 | 1.2083 | 0.21667 | 0.16061
CHLOROFORM | 2021 | 32106GCM66 | 2009-06-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.4 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.244 | 0.12754 | 1.2083 | 0.21667 | 0.16061
CHLOROFORM | 2021 | 32106GCM66 | 2009-08-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.1833 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.12 | CHLOROFORM | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1833 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.244 | 0.12754 | 1.2083 | 0.21667 | 0.16061
CHLOROFORM | 2021 | 32106GCM66 | 2009-09-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.05 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.244 | 0.12754 | 1.2083 | 0.21667 | 0.16061
CHLOROFORM | 2021 | 32106GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.2273 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.066 | CHLOROFORM | . | 0.03 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2273 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2273 |  | 1.2273 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0227 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.066 | CHLOROFORM | . | 0.03 | 0.0675 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0227 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0871 | 0.091067 | 1.0871 | 0.12879 | 0.095469
CHLOROFORM | 2021 | 32106GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1515 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.132 | CHLOROFORM | . | 0.03 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1515 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0871 | 0.091067 | 1.0871 | 0.12879 | 0.095469
CHLOROFORM | 2021 | 32106GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.125 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 2 | CHLOROFORM | . | 0.03 | 2.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.125 |  | 1.125 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.108 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.5 | CHLOROFORM | . | 0.03 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.108 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.054 | 0.076368 | 1.054 | 0.108 | 0.080059
CHLOROFORM | 2021 | 32106GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1 | CHLOROFORM | . | 0.03 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.054 | 0.076368 | 1.054 | 0.108 | 0.080059
CHLOROFORM | 2021 | 32106GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.204 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.5 | CHLOROFORM | . | 0.03 | 0.602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.204 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2245 | 0.028991 | 1.2245 | 0.041 | 0.030393
CHLOROFORM | 2021 | 32106GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.245 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 2 | CHLOROFORM | . | 0.03 | 2.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.245 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2245 | 0.028991 | 1.2245 | 0.041 | 0.030393
CHLOROFORM | 2021 | 32106GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0788 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.066 | CHLOROFORM | . | 0.03 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0788 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0788 |  | 1.0788 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.2045 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.132 | CHLOROFORM | . | 0.03 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2045 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2045 |  | 1.2045 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0909 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.132 | CHLOROFORM | . | 0.03 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0909 |  | 1.0909 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.968 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.5 | CHLOROFORM | . | 0.03 | 0.484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.968 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.968 |  | 0.968 | 0 | 0
CHLOROFORM | 2021 | 32106GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.904 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1 | CHLOROFORM | . | 0.03 | 0.904 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.904 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.947 | 0.060811 | 0.947 | 0.086 | 0.063751
CHLOROFORM | 2021 | 32106GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.99 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.5 | CHLOROFORM | . | 0.03 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.947 | 0.060811 | 0.947 | 0.086 | 0.063751
CHLOROFORM | 2021 | 32106GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.977 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1 | CHLOROFORM | . | 0.03 | 0.977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.977 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9435 | 0.047376 | 0.9435 | 0.067 | 0.049666
CHLOROFORM | 2021 | 32106GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.91 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 2 | CHLOROFORM | . | 0.03 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9435 | 0.047376 | 0.9435 | 0.067 | 0.049666
CHLOROFORM | 2021 | 32106GCM66 | 2009-02-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.1333 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0889 | 0.057413 | 1.1083 | 0.066667 | 0.049419
CHLOROFORM | 2021 | 32106GCM66 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.1 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.12 | CHLOROFORM | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0889 | 0.057413 | 1.1083 | 0.066667 | 0.049419
CHLOROFORM | 2021 | 32106GCM66 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.98333 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.12 | CHLOROFORM | . | 0.04 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98333 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0889 | 0.057413 | 1.1083 | 0.066667 | 0.049419
CHLOROFORM | 2021 | 32106GCM66 | 2009-06-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.1167 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1167 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0889 | 0.057413 | 1.1083 | 0.066667 | 0.049419
CHLOROFORM | 2021 | 32106GCM66 | 2009-07-09 | 2008-10-01 | 2009-09-30 | ug/L | 1.1333 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0889 | 0.057413 | 1.1083 | 0.066667 | 0.049419
CHLOROFORM | 2021 | 32106GCM66 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.0667 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.06 | CHLOROFORM | E | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0889 | 0.057413 | 1.1083 | 0.066667 | 0.049419
CHLOROFORM | 2021 | 32106GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.2112 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | CHLOROFORM | E | 0.03 | 0.0969 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2112 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.1919 | 0.069426 | 1.1785 | 0.093333 | 0.069187
CHLOROFORM | 2021 | 32106GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.1375 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | CHLOROFORM | . | 0.03 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1375 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1919 | 0.069426 | 1.1785 | 0.093333 | 0.069187
CHLOROFORM | 2021 | 32106GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.2138 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0971 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2138 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1919 | 0.069426 | 1.1785 | 0.093333 | 0.069187
CHLOROFORM | 2021 | 32106GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1292 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | CHLOROFORM | . | 0.03 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1292 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1919 | 0.069426 | 1.1785 | 0.093333 | 0.069187
CHLOROFORM | 2021 | 32106GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1313 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.0905 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1312 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1919 | 0.069426 | 1.1785 | 0.093333 | 0.069187
CHLOROFORM | 2021 | 32106GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1458 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | CHLOROFORM | . | 0.03 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1458 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1919 | 0.069426 | 1.1785 | 0.093333 | 0.069187
CHLOROFORM | 2021 | 32106GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.325 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | CHLOROFORM | . | 0.03 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.325 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1919 | 0.069426 | 1.1785 | 0.093333 | 0.069187
CHLOROFORM | 2021 | 32106GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2417 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | CHLOROFORM | . | 0.03 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2417 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1919 | 0.069426 | 1.1785 | 0.093333 | 0.069187