## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0467 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.03 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0467 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99083 | 0.07896 | 0.99083 | 0.11167 | 0.082777
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.935 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.06 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99083 | 0.07896 | 0.99083 | 0.11167 | 0.082777
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.1967 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.03 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1967 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1967 |  | 1.1967 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.99271 | Abs | 080510 | Abs 080510: 20 µl | 0.096 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0953 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99271 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.80729 | Abs | 080510 | Abs 080510: 20 µl | 0.096 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0775 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80729 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.1198 | Abs | 080510 | Abs 080510: 40 µl | 0.192 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1198 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0052 | Abs | 080510 | Abs 080510: 20 µl | 0.096 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0965 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0052 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0052 | Abs | 080510 | Abs 080510: 40 µl | 0.192 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0052 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0063 | Abs | 080510 | Abs 080510: 20 µl | 0.096 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0966 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.90104 | Abs | 080510 | Abs 080510: 40 µl | 0.192 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90104 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0323 | Abs | 080510 | Abs 080510: 20 µl | 0.096 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0991 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0323 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0677 | Abs | 080510 | Abs 080510: 40 µl | 0.192 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0677 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.98646 | Abs | 080510 | Abs 080510: 20 µl | 0.096 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0947 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98646 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.98437 | Abs | 080510 | Abs 080510: 40 µl | 0.192 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98438 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99167 | 0.08168 | 1.0052 | 0.047917 | 0.03552
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.79 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 0.8 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79 |  | 0.79 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.95625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8525 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8525 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0362 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0829 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0362 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.825 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.92375 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0739 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.8625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.93125 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.825 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.8525 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8525 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.90625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.82875 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82875 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.89091 | 0.066816 | 0.8625 | 0.1025 | 0.075982
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.88333 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.03 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88333 |  | 0.88333 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.97333 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.06 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97333 |  | 0.97333 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.025 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0304 | 0.084118 | 1.025 | 0.15 | 0.11119
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-02-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.075 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0304 | 0.084118 | 1.025 | 0.15 | 0.11119
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-04-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.15 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0304 | 0.084118 | 1.025 | 0.15 | 0.11119
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-05-22 | 2008-10-01 | 2009-09-30 | ug/L | 1.1 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0304 | 0.084118 | 1.025 | 0.15 | 0.11119
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-06-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.95 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0304 | 0.084118 | 1.025 | 0.15 | 0.11119
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-08-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.9125 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0304 | 0.084118 | 1.025 | 0.15 | 0.11119
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-09-11 | 2008-10-01 | 2009-09-30 | ug/L | 1 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0304 | 0.084118 | 1.025 | 0.15 | 0.11119
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.12 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.03 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.12 |  | 1.12 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.79333 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.03 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88583 | 0.13081 | 0.88583 | 0.185 | 0.13714
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97833 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.06 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97833 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88583 | 0.13081 | 0.88583 | 0.185 | 0.13714
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.9625 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 1.6 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9625 |  | 0.9625 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.8875 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.4 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88312 | 0.0061872 | 0.88312 | 0.00875 | 0.0064863
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.87875 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.8 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87875 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88312 | 0.0061872 | 0.88312 | 0.00875 | 0.0064863
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.4 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99125 | 0.030052 | 0.99125 | 0.0425 | 0.031505
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0125 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 1.6 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99125 | 0.030052 | 0.99125 | 0.0425 | 0.031505
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.03 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0667 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.06 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0667 |  | 1.0667 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1083 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.06 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1083 |  | 1.1083 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.8575 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.4 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8575 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8575 |  | 0.8575 | 0 | 0
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.81375 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.8 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81375 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81563 | 0.0026517 | 0.81563 | 0.00375 | 0.0027798
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.8175 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.4 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8175 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81563 | 0.0026517 | 0.81563 | 0.00375 | 0.0027798
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.82125 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.8 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.657 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82125 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83563 | 0.020329 | 0.83563 | 0.02875 | 0.021312
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.85 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.6 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83563 | 0.020329 | 0.83563 | 0.02875 | 0.021312
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-02-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.075 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98958 | 0.088888 | 1.0063 | 0.075 | 0.055597
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.9875 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98958 | 0.088888 | 1.0063 | 0.075 | 0.055597
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.975 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.08 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98958 | 0.088888 | 1.0063 | 0.075 | 0.055597
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-06-06 | 2008-10-01 | 2009-09-30 | ug/L | 1.05 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98958 | 0.088888 | 1.0063 | 0.075 | 0.055597
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-07-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.825 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98958 | 0.088888 | 1.0063 | 0.075 | 0.055597
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.025 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98958 | 0.088888 | 1.0063 | 0.075 | 0.055597
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.1375 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.022 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1375 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.1631 | 0.060426 | 1.1542 | 0.077083 | 0.057141
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.1667 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.12 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1631 | 0.060426 | 1.1542 | 0.077083 | 0.057141
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.225 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.022 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.225 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.1631 | 0.060426 | 1.1542 | 0.077083 | 0.057141
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1417 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.12 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1417 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1631 | 0.060426 | 1.1542 | 0.077083 | 0.057141
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.095 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | E | 0.022 | 0.0438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.095 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.1631 | 0.060426 | 1.1542 | 0.077083 | 0.057141
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.12 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1631 | 0.060426 | 1.1542 | 0.077083 | 0.057141
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.2725 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.04 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2725 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1631 | 0.060426 | 1.1542 | 0.077083 | 0.057141
CIS-1,2-DICHLOROETHYLENE | 2021 | 77093GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1667 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.12 | CIS-1,2-DICHLOROETHYLENE | . | 0.022 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1631 | 0.060426 | 1.1542 | 0.077083 | 0.057141