## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.26 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.25 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.26 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.151 | 0.15415 | 1.151 | 0.218 | 0.1616
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.042 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.5 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.042 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.151 | 0.15415 | 1.151 | 0.218 | 0.1616
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.032 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.25 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.032 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.032 |  | 1.032 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.2068 | Abs | 051712 | Abs 051712: 20 µl | 3.008 | DIBROMOCHLOROMETHANE | . | 0.12 | 3.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2068 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.132 | 0.10578 | 1.132 | 0.1496 | 0.1109
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0572 | Abs | 051712 | Abs 051712: 10 µl | 1.504 | DIBROMOCHLOROMETHANE | . | 0.12 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0572 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.132 | 0.10578 | 1.132 | 0.1496 | 0.1109
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0189 | Abs | 090809 | Abs 090809: 10 µl | 0.264 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0189 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0118 | 0.12303 | 0.98548 | 0.19255 | 0.14274
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.95202 | Abs | 090809 | Abs 090809: 30 µl | 0.792 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.754 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95202 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0118 | 0.12303 | 0.98548 | 0.19255 | 0.14274
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.1439 | Abs | 090809 | Abs 090809: 10 µl | 0.264 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1439 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0118 | 0.12303 | 0.98548 | 0.19255 | 0.14274
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.92298 | Abs | 090809 | Abs 090809: 30 µl | 0.792 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92298 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0118 | 0.12303 | 0.98548 | 0.19255 | 0.14274
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.84848 | Abs | 090809 | Abs 090809: 10 µl | 0.264 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0118 | 0.12303 | 0.98548 | 0.19255 | 0.14274
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.2033 | Abs | 090809 | Abs 090809: 30 µl | 0.792 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.953 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2033 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0118 | 0.12303 | 0.98548 | 0.19255 | 0.14274
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.92045 | Abs | 090809 | Abs 090809: 10 µl | 0.264 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92045 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0118 | 0.12303 | 0.98548 | 0.19255 | 0.14274
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.0846 | Abs | 090809 | Abs 090809: 30 µl | 0.792 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.859 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0846 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0118 | 0.12303 | 0.98548 | 0.19255 | 0.14274
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.98238 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 6.016 | DIBROMOCHLOROMETHANE | . | 0.12 | 5.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98238 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98238 |  | 0.98238 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.088 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.25 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.088 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.088 |  | 1.088 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.92339 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.496 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92339 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.004 | 0.11405 | 1.004 | 0.16129 | 0.11956
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0847 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.248 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0847 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.004 | 0.11405 | 1.004 | 0.16129 | 0.11956
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0282 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.248 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0282 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0282 |  | 1.0282 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0202 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.496 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.506 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0202 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0202 |  | 1.0202 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.98238 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 6.016 | DIBROMOCHLOROMETHANE | E | 0.12 | 5.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98238 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.98238 |  | 0.98238 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.12 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 1.5 | DIBROMOCHLOROMETHANE | . | 0.12 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1867 | 0.094281 | 1.1867 | 0.13333 | 0.098839
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2533 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 6 | DIBROMOCHLOROMETHANE | . | 0.12 | 7.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2533 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1867 | 0.094281 | 1.1867 | 0.13333 | 0.098839
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.79286 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79286 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.89643 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89643 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0464 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0464 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0357 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0357 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.99107 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99107 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.93214 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93214 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0107 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82143 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82143 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0107 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.95714 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95714 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94497 | 0.085083 | 0.95714 | 0.11429 | 0.084719
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-02-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.96354 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.384 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96354 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0547 | 0.11617 | 1.0677 | 0.18229 | 0.13513
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.1979 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.192 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1979 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0547 | 0.11617 | 1.0677 | 0.18229 | 0.13513
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-04-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.88542 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.192 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88542 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0547 | 0.11617 | 1.0677 | 0.18229 | 0.13513
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.0417 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.192 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0547 | 0.11617 | 1.0677 | 0.18229 | 0.13513
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-07-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.1458 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.384 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1458 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0547 | 0.11617 | 1.0677 | 0.18229 | 0.13513
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-09-05 | 2006-10-01 | 2009-09-30 | ug/L | 1.0938 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.192 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0938 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0547 | 0.11617 | 1.0677 | 0.18229 | 0.13513
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.1733 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 3 | DIBROMOCHLOROMETHANE | . | 0.12 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1733 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0867 | 0.12257 | 1.0867 | 0.17333 | 0.12849
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 1 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 1.5 | DIBROMOCHLOROMETHANE | . | 0.12 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0867 | 0.12257 | 1.0867 | 0.17333 | 0.12849
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2008-12-20 | 2006-10-01 | 2009-09-30 | ug/L | 0.88542 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.192 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88542 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.88542 |  | 0.88542 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3561 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.264 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3561 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0713 | 0.16357 | 1.0549 | 0.17172 | 0.12729
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.95833 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.792 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0713 | 0.16357 | 1.0549 | 0.17172 | 0.12729
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0682 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.264 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0682 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0713 | 0.16357 | 1.0549 | 0.17172 | 0.12729
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.82197 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.792 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82197 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0713 | 0.16357 | 1.0549 | 0.17172 | 0.12729
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2348 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.264 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2348 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0713 | 0.16357 | 1.0549 | 0.17172 | 0.12729
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0417 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.792 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0713 | 0.16357 | 1.0549 | 0.17172 | 0.12729
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0114 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.264 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0114 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0713 | 0.16357 | 1.0549 | 0.17172 | 0.12729
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0783 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.792 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.854 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0783 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0713 | 0.16357 | 1.0549 | 0.17172 | 0.12729
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.88949 | Restek | A075493 | Restek A075493: 40 µl | 0.552 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88949 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.72464 | Restek | A075493 | Restek A075493: 20 µl | 0.276 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72464 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.82428 | Restek | A075493 | Restek A075493: 40 µl | 0.552 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82428 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.1051 | Restek | A075493 | Restek A075493: 20 µl | 0.276 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1051 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.91304 | Restek | A075493 | Restek A075493: 40 µl | 0.552 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.504 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91304 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.86232 | Restek | A075493 | Restek A075493: 20 µl | 0.276 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86232 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.90217 | Restek | A075493 | Restek A075493: 20 µl | 0.276 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90217 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.88225 | Restek | A075493 | Restek A075493: 40 µl | 0.552 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88225 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.029 | Restek | A075493 | Restek A075493: 20 µl | 0.276 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.029 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.89674 | Restek | A075493 | Restek A075493: 40 µl | 0.552 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89674 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.76087 | Restek | A075493 | Restek A075493: 20 µl | 0.276 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76087 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88999 | 0.10745 | 0.88949 | 0.088768 | 0.065803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.2101 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 3.008 | DIBROMOCHLOROMETHANE | . | 0.12 | 3.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2101 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2101 |  | 1.2101 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.90667 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.5 | DIBROMOCHLOROMETHANE | . | 0.12 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.02 | 0.16028 | 1.02 | 0.22667 | 0.16803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1333 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.5 | DIBROMOCHLOROMETHANE | . | 0.12 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.02 | 0.16028 | 1.02 | 0.22667 | 0.16803
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.814 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.5 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.814 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.937 | 0.17395 | 0.937 | 0.246 | 0.18236
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.06 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.25 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.937 | 0.17395 | 0.937 | 0.246 | 0.18236
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9879 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.496 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9879 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9879 |  | 0.9879 | 0 | 0
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.99165 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.1916 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99165 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95251 | 0.090022 | 0.96555 | 0.18267 | 0.13541
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.83507 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.3832 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83507 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95251 | 0.090022 | 0.96555 | 0.18267 | 0.13541
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-05-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.93946 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.1916 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93946 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95251 | 0.090022 | 0.96555 | 0.18267 | 0.13541
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-07-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.86117 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.3832 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86117 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95251 | 0.090022 | 0.96555 | 0.18267 | 0.13541
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 1.0438 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.1916 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0438 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95251 | 0.090022 | 0.96555 | 0.18267 | 0.13541
DIBROMOCHLOROMETHANE | 2021 | 32105GCM66 | 2009-09-26 | 2006-10-01 | 2009-09-30 | ug/L | 1.0438 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.1916 | DIBROMOCHLOROMETHANE | . | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0438 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95251 | 0.090022 | 0.96555 | 0.18267 | 0.13541