## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0636 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 0.9872 | DIBROMOMETHANE | . | 0.05 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0636 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0636 |  | 1.0636 | 0 | 0
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0328 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.05916 | DIBROMOMETHANE | . | 0.05 | 0.0611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0328 |  | 1.0328 | 0 | 0
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.95504 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.11832 | DIBROMOMETHANE | . | 0.05 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95504 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98462 | 0.041834 | 0.98462 | 0.059162 | 0.043856
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0142 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.05916 | DIBROMOMETHANE | . | 0.05 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0142 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98462 | 0.041834 | 0.98462 | 0.059162 | 0.043856
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.0441 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0441 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1497 | 0.088864 | 1.1176 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.114 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.272 | DIBROMOMETHANE | . | 0.04 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.114 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1497 | 0.088864 | 1.1176 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-04-11 | 2006-10-01 | 2009-09-30 | ug/L | 1.1176 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1176 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1497 | 0.088864 | 1.1176 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-05-22 | 2006-10-01 | 2009-09-30 | ug/L | 1.1765 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1765 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1497 | 0.088864 | 1.1176 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-06-23 | 2006-10-01 | 2009-09-30 | ug/L | 1.1912 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1912 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1497 | 0.088864 | 1.1176 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-08-04 | 2006-10-01 | 2009-09-30 | ug/L | 1.0882 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.272 | DIBROMOMETHANE | . | 0.04 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0882 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1497 | 0.088864 | 1.1176 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-09-11 | 2006-10-01 | 2009-09-30 | ug/L | 1.3162 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3162 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1497 | 0.088864 | 1.1176 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.092 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.05916 | DIBROMOMETHANE | . | 0.05 | 0.0646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.092 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.092 |  | 1.092 | 0 | 0
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.87903 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.062 | DIBROMOMETHANE | . | 0.05 | 0.0545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87903 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95968 | 0.11405 | 0.95968 | 0.16129 | 0.11956
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0403 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.124 | DIBROMOMETHANE | . | 0.05 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0403 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95968 | 0.11405 | 0.95968 | 0.16129 | 0.11956
DIBROMOMETHANE | 2021 | 30217GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1588 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.2468 | DIBROMOMETHANE | . | 0.05 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1588 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1132 | 0.064465 | 1.1132 | 0.091167 | 0.067581
DIBROMOMETHANE | 2021 | 30217GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0677 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.4936 | DIBROMOMETHANE | . | 0.05 | 0.527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0677 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1132 | 0.064465 | 1.1132 | 0.091167 | 0.067581
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0649 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.11832 | DIBROMOMETHANE | . | 0.05 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0649 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0649 |  | 1.0649 | 0 | 0
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.91129 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.124 | DIBROMOMETHANE | . | 0.05 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91129 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91129 |  | 0.91129 | 0 | 0
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0616 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.2468 | DIBROMOMETHANE | . | 0.05 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0616 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0616 |  | 1.0616 | 0 | 0
DIBROMOMETHANE | 2021 | 30217GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.036 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.5 | DIBROMOMETHANE | . | 0.05 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.036 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96 | 0.10748 | 0.96 | 0.152 | 0.11268
DIBROMOMETHANE | 2021 | 30217GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.884 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1 | DIBROMOMETHANE | . | 0.05 | 0.884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.884 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96 | 0.10748 | 0.96 | 0.152 | 0.11268
DIBROMOMETHANE | 2021 | 30217GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2333 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.18 | DIBROMOMETHANE | . | 0.05 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2333 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.89167 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.36 | DIBROMOMETHANE | . | 0.05 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89167 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0722 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.18 | DIBROMOMETHANE | . | 0.05 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0722 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0083 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.36 | DIBROMOMETHANE | . | 0.05 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.18 | DIBROMOMETHANE | . | 0.05 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.90556 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.36 | DIBROMOMETHANE | . | 0.05 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90556 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0222 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.18 | DIBROMOMETHANE | . | 0.05 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0222 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0667 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.18 | DIBROMOMETHANE | . | 0.05 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.94722 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.36 | DIBROMOMETHANE | . | 0.05 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94722 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.1111 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.18 | DIBROMOMETHANE | . | 0.05 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.96111 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.36 | DIBROMOMETHANE | . | 0.05 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96111 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.075 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.36 | DIBROMOMETHANE | . | 0.05 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0204 | 0.097753 | 1.0153 | 0.125 | 0.092661
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-02-12 | 2006-10-01 | 2009-09-30 | ug/L | 1.0368 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0368 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.05922 | 0.96875 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.98897 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.272 | DIBROMOMETHANE | . | 0.04 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98897 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.05922 | 0.96875 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.88603 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.272 | DIBROMOMETHANE | . | 0.04 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88603 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.05922 | 0.96875 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-06-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.94853 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94853 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.05922 | 0.96875 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-07-09 | 2006-10-01 | 2009-09-30 | ug/L | 1.0147 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0147 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.05922 | 0.96875 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-08-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.91176 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.136 | DIBROMOMETHANE | . | 0.04 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91176 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.05922 | 0.96875 | 0.10294 | 0.076309
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.21 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | DIBROMOMETHANE | . | 0.05 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.21 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1675 | 0.072457 | 1.1583 | 0.098333 | 0.072894
DIBROMOMETHANE | 2021 | 30217GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.1333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | DIBROMOMETHANE | . | 0.05 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1675 | 0.072457 | 1.1583 | 0.098333 | 0.072894
DIBROMOMETHANE | 2021 | 30217GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.3 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | DIBROMOMETHANE | . | 0.05 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1675 | 0.072457 | 1.1583 | 0.098333 | 0.072894
DIBROMOMETHANE | 2021 | 30217GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.08 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | DIBROMOMETHANE | . | 0.05 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1675 | 0.072457 | 1.1583 | 0.098333 | 0.072894
DIBROMOMETHANE | 2021 | 30217GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | DIBROMOMETHANE | . | 0.05 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1675 | 0.072457 | 1.1583 | 0.098333 | 0.072894
DIBROMOMETHANE | 2021 | 30217GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1233 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | DIBROMOMETHANE | . | 0.05 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1233 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1675 | 0.072457 | 1.1583 | 0.098333 | 0.072894
DIBROMOMETHANE | 2021 | 30217GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.21 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | DIBROMOMETHANE | . | 0.05 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.21 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1675 | 0.072457 | 1.1583 | 0.098333 | 0.072894
DIBROMOMETHANE | 2021 | 30217GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1833 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | DIBROMOMETHANE | . | 0.05 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1833 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1675 | 0.072457 | 1.1583 | 0.098333 | 0.072894
DIBROMOMETHANE | 2021 | 30217GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.02 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.5 | DIBROMOMETHANE | . | 0.05 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.02 |  | 1.02 | 0 | 0
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.008 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.25 | DIBROMOMETHANE | . | 0.05 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.008 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.062 | 0.076368 | 1.062 | 0.108 | 0.080059
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.116 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.25 | DIBROMOMETHANE | . | 0.05 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.116 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.062 | 0.076368 | 1.062 | 0.108 | 0.080059
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.99194 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.124 | DIBROMOMETHANE | . | 0.05 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99194 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.004 | 0.017107 | 1.004 | 0.024194 | 0.017934
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0161 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.062 | DIBROMOMETHANE | . | 0.05 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0161 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.004 | 0.017107 | 1.004 | 0.024194 | 0.017934
DIBROMOMETHANE | 2021 | 30217GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0565 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.124 | DIBROMOMETHANE | . | 0.05 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0565 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0565 |  | 1.0565 | 0 | 0