## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.4625 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.056 | DICHLOROMETHANE | E | 0.04 | 0.0819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4625 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.3161 | 0.20708 | 1.3161 | 0.29286 | 0.21709
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.1696 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.112 | DICHLOROMETHANE | . | 0.04 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1696 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3161 | 0.20708 | 1.3161 | 0.29286 | 0.21709
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.5321 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.056 | DICHLOROMETHANE | . | 0.04 | 0.0858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5321 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.5321 |  | 1.5321 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.35 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | DICHLOROMETHANE | . | 0.04 | 0.0972 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.35 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.0389 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | DICHLOROMETHANE | . | 0.04 | 0.0748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0389 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.3194 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | DICHLOROMETHANE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3194 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1389 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | DICHLOROMETHANE | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1389 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.3194 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | DICHLOROMETHANE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3194 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.2292 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | DICHLOROMETHANE | . | 0.04 | 0.0885 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2292 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.1806 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | DICHLOROMETHANE | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1806 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.3472 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | DICHLOROMETHANE | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3472 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.25 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | DICHLOROMETHANE | . | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1833 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | DICHLOROMETHANE | . | 0.04 | 0.0852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1833 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.2569 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | DICHLOROMETHANE | . | 0.04 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2569 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.2376 | 0.096993 | 1.25 | 0.13889 | 0.10296
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.2437 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 1.6 | DICHLOROMETHANE | . | 0.04 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2437 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2437 |  | 1.2437 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.2375 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | DICHLOROMETHANE | . | 0.04 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.09 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | DICHLOROMETHANE | . | 0.04 | 0.0872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.09 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.475 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | DICHLOROMETHANE | . | 0.04 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.475 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1062 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | DICHLOROMETHANE | . | 0.04 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.4 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | DICHLOROMETHANE | . | 0.04 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | DICHLOROMETHANE | . | 0.04 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1213 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | DICHLOROMETHANE | . | 0.04 | 0.0897 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1213 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.1938 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | DICHLOROMETHANE | . | 0.04 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1938 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1187 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | DICHLOROMETHANE | . | 0.04 | 0.0895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1187 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1562 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | DICHLOROMETHANE | . | 0.04 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1562 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1425 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | DICHLOROMETHANE | . | 0.04 | 0.0914 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1425 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1878 | 0.13601 | 1.1425 | 0.13125 | 0.097294
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.4268 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.056 | DICHLOROMETHANE | . | 0.04 | 0.0799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4268 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.4268 |  | 1.4268 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.6875 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.112 | DICHLOROMETHANE | . | 0.04 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6875 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.6875 |  | 1.6875 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 6 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | DICHLOROMETHANE | . | 0.04 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 2 | 0 | 2 | 0 | 0 | 2
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 6.3333 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.12 | DICHLOROMETHANE | . | 0.04 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 2 | 0 | 2 | 0 | 0 | 2
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-04-11 | 2006-10-01 | 2009-09-30 | ug/L | 6.5 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | DICHLOROMETHANE | . | 0.04 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 2 | 0 | 2 | 0 | 0 | 2
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-05-22 | 2006-10-01 | 2009-09-30 | ug/L | 6.1667 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | DICHLOROMETHANE | . | 0.04 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 2 | 0 | 2 | 0 | 0 | 2
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-06-23 | 2006-10-01 | 2009-09-30 | ug/L | 7.1667 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | DICHLOROMETHANE | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 2 | 0 | 2 | 0 | 0 | 2
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-08-04 | 2006-10-01 | 2009-09-30 | ug/L | 6.5833 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.12 | DICHLOROMETHANE | . | 0.04 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 2 | 0 | 2 | 0 | 0 | 2
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-09-11 | 2006-10-01 | 2009-09-30 | ug/L | 7.1667 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.06 | DICHLOROMETHANE | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 2 | 0 | 2 | 0 | 0 | 2
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.325 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.056 | DICHLOROMETHANE | . | 0.04 | 0.0742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.325 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.325 |  | 1.325 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1232 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.056 | DICHLOROMETHANE | . | 0.04 | 0.0629 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1232 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1509 | 0.039143 | 1.1509 | 0.055357 | 0.041036
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1786 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.112 | DICHLOROMETHANE | . | 0.04 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1786 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1509 | 0.039143 | 1.1509 | 0.055357 | 0.041036
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1594 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 3.2 | DICHLOROMETHANE | . | 0.04 | 3.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1594 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1594 |  | 1.1594 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1775 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.8 | DICHLOROMETHANE | . | 0.04 | 0.942 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1775 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1387 | 0.054801 | 1.1387 | 0.0775 | 0.05745
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.6 | DICHLOROMETHANE | . | 0.04 | 1.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1387 | 0.054801 | 1.1387 | 0.0775 | 0.05745
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.3625 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.8 | DICHLOROMETHANE | . | 0.04 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3625 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3734 | 0.015468 | 1.3734 | 0.021875 | 0.016216
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.3844 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 3.2 | DICHLOROMETHANE | . | 0.04 | 4.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3844 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3734 | 0.015468 | 1.3734 | 0.021875 | 0.016216
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1464 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.056 | DICHLOROMETHANE | . | 0.04 | 0.0642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1464 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1464 |  | 1.1464 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.6518 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.112 | DICHLOROMETHANE | . | 0.04 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6518 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.6518 |  | 1.6518 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.5089 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.112 | DICHLOROMETHANE | . | 0.04 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5089 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.5089 |  | 1.5089 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.6625 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.8 | DICHLOROMETHANE | . | 0.04 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6625 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.6625 |  | 1.6625 | 0 | 0
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.6438 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1.6 | DICHLOROMETHANE | . | 0.04 | 2.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6438 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.7469 | 0.14584 | 1.7469 | 0.20625 | 0.15289
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.85 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.8 | DICHLOROMETHANE | . | 0.04 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.85 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.7469 | 0.14584 | 1.7469 | 0.20625 | 0.15289
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.7188 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.6 | DICHLOROMETHANE | . | 0.04 | 2.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7188 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.75 | 0.044194 | 1.75 | 0.0625 | 0.046331
DICHLOROMETHANE | 2021 | 34423GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.7812 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 3.2 | DICHLOROMETHANE | . | 0.04 | 5.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7812 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.75 | 0.044194 | 1.75 | 0.0625 | 0.046331
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-02-12 | 2006-10-01 | 2009-09-30 | ug/L | 1.8333 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.06 | DICHLOROMETHANE | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8333 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.6806 | 0.1701 | 1.7083 | 0.33333 | 0.2471
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 1.5 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.12 | DICHLOROMETHANE | . | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.6806 | 0.1701 | 1.7083 | 0.33333 | 0.2471
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 1.5833 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.12 | DICHLOROMETHANE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5833 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.6806 | 0.1701 | 1.7083 | 0.33333 | 0.2471
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-06-06 | 2006-10-01 | 2009-09-30 | ug/L | 1.8333 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.06 | DICHLOROMETHANE | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8333 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.6806 | 0.1701 | 1.7083 | 0.33333 | 0.2471
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-07-09 | 2006-10-01 | 2009-09-30 | ug/L | 1.8333 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.06 | DICHLOROMETHANE | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8333 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.6806 | 0.1701 | 1.7083 | 0.33333 | 0.2471
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-08-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.5 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.06 | DICHLOROMETHANE | E | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.6806 | 0.1701 | 1.7083 | 0.33333 | 0.2471
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.2625 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | DICHLOROMETHANE | . | 0.038 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2625 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2344 | 0.059751 | 1.2625 | 0.0875 | 0.064863
DICHLOROMETHANE | 2021 | 34423GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.1542 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | DICHLOROMETHANE | . | 0.038 | 0.277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1542 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2344 | 0.059751 | 1.2625 | 0.0875 | 0.064863
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.275 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | DICHLOROMETHANE | . | 0.038 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2344 | 0.059751 | 1.2625 | 0.0875 | 0.064863
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.2208 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | DICHLOROMETHANE | . | 0.038 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2208 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2344 | 0.059751 | 1.2625 | 0.0875 | 0.064863
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.2625 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | DICHLOROMETHANE | . | 0.038 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2625 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2344 | 0.059751 | 1.2625 | 0.0875 | 0.064863
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | DICHLOROMETHANE | . | 0.038 | 0.272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2344 | 0.059751 | 1.2625 | 0.0875 | 0.064863
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.275 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | DICHLOROMETHANE | . | 0.038 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.275 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2344 | 0.059751 | 1.2625 | 0.0875 | 0.064863
DICHLOROMETHANE | 2021 | 34423GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2917 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | DICHLOROMETHANE | . | 0.038 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2917 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2344 | 0.059751 | 1.2625 | 0.0875 | 0.064863