## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.145 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.2 | DIETHYL_ETHER | . | 0.1 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.145 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0975 | 0.067175 | 1.0975 | 0.095 | 0.070423
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.4 | DIETHYL_ETHER | . | 0.1 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0975 | 0.067175 | 1.0975 | 0.095 | 0.070423
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.18 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.2 | DIETHYL_ETHER | . | 0.1 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.18 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.18 |  | 1.18 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0437 | Abs | 051712 | Abs 051712: 20 µl | 1.6 | DIETHYL_ETHER | . | 0.1 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0587 | 0.021213 | 1.0587 | 0.03 | 0.022239
DIETHYL ETHER | 2021 | 81576GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0737 | Abs | 051712 | Abs 051712: 10 µl | 0.8 | DIETHYL_ETHER | . | 0.1 | 0.859 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0737 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0587 | 0.021213 | 1.0587 | 0.03 | 0.022239
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.91176 | Abs | 090809 | Abs 090809: 10 µl | 0.17 | DIETHYL_ETHER | . | 0.08 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91176 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0593 | 0.075073 | 1.0824 | 0.086275 | 0.063954
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0961 | Abs | 090809 | Abs 090809: 30 µl | 0.51 | DIETHYL_ETHER | . | 0.08 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0961 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0593 | 0.075073 | 1.0824 | 0.086275 | 0.063954
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.1235 | Abs | 090809 | Abs 090809: 10 µl | 0.17 | DIETHYL_ETHER | . | 0.08 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1235 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0593 | 0.075073 | 1.0824 | 0.086275 | 0.063954
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.1314 | Abs | 090809 | Abs 090809: 30 µl | 0.51 | DIETHYL_ETHER | . | 0.08 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1314 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0593 | 0.075073 | 1.0824 | 0.086275 | 0.063954
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0824 | Abs | 090809 | Abs 090809: 10 µl | 0.17 | DIETHYL_ETHER | . | 0.08 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0824 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0593 | 0.075073 | 1.0824 | 0.086275 | 0.063954
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0824 | Abs | 090809 | Abs 090809: 30 µl | 0.51 | DIETHYL_ETHER | . | 0.08 | 0.552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0824 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0593 | 0.075073 | 1.0824 | 0.086275 | 0.063954
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.98235 | Abs | 090809 | Abs 090809: 10 µl | 0.17 | DIETHYL_ETHER | . | 0.08 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98235 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0593 | 0.075073 | 1.0824 | 0.086275 | 0.063954
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.0647 | Abs | 090809 | Abs 090809: 30 µl | 0.51 | DIETHYL_ETHER | . | 0.08 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0647 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0593 | 0.075073 | 1.0824 | 0.086275 | 0.063954
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.125 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.2 | DIETHYL_ETHER | . | 0.1 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.125 |  | 1.125 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.07 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.2 | DIETHYL_ETHER | . | 0.1 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.07 |  | 1.07 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.07 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.4 | DIETHYL_ETHER | . | 0.1 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0325 | 0.053033 | 1.0325 | 0.075 | 0.055597
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.995 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.2 | DIETHYL_ETHER | . | 0.1 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0325 | 0.053033 | 1.0325 | 0.075 | 0.055597
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.105 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.2 | DIETHYL_ETHER | . | 0.1 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.105 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.105 |  | 1.105 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0425 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.4 | DIETHYL_ETHER | . | 0.1 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0425 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0425 |  | 1.0425 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.15 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 3.2 | DIETHYL_ETHER | . | 0.1 | 3.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.15 |  | 1.15 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1338 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.8 | DIETHYL_ETHER | . | 0.1 | 0.907 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1338 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2778 | 0.20374 | 1.2778 | 0.28812 | 0.21358
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.4219 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 3.2 | DIETHYL_ETHER | . | 0.1 | 4.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4219 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2778 | 0.20374 | 1.2778 | 0.28812 | 0.21358
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.124 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.2936 | DIETHYL_ETHER | . | 0.12 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.124 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.141 | 0.079878 | 1.141 | 0.13624 | 0.10099
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.0899 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1468 | DIETHYL_ETHER | . | 0.12 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0899 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.141 | 0.079878 | 1.141 | 0.13624 | 0.10099
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-04-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.2262 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1468 | DIETHYL_ETHER | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2262 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.141 | 0.079878 | 1.141 | 0.13624 | 0.10099
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0218 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1468 | DIETHYL_ETHER | . | 0.12 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0218 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.141 | 0.079878 | 1.141 | 0.13624 | 0.10099
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-07-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.2262 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.2936 | DIETHYL_ETHER | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2262 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.141 | 0.079878 | 1.141 | 0.13624 | 0.10099
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-09-05 | 2007-10-01 | 2009-09-30 | ug/L | 1.158 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1468 | DIETHYL_ETHER | . | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.158 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.141 | 0.079878 | 1.141 | 0.13624 | 0.10099
DIETHYL ETHER | 2021 | 81576GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.975 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1.6 | DIETHYL_ETHER | . | 0.1 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.025 | 0.070711 | 1.025 | 9999999999999996 | 0.074129
DIETHYL ETHER | 2021 | 81576GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.075 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.8 | DIETHYL_ETHER | . | 0.1 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.025 | 0.070711 | 1.025 | 9999999999999996 | 0.074129
DIETHYL ETHER | 2021 | 81576GCM66 | 2008-12-20 | 2007-10-01 | 2009-09-30 | ug/L | 1.1184 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.152 | DIETHYL_ETHER | . | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1184 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1184 |  | 1.1184 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.1353 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.17 | DIETHYL_ETHER | . | 0.08 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1353 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0703 | 0.069082 | 1.0833 | 0.11275 | 0.083577
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0961 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.51 | DIETHYL_ETHER | . | 0.08 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0961 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0703 | 0.069082 | 1.0833 | 0.11275 | 0.083577
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0765 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.17 | DIETHYL_ETHER | . | 0.08 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0765 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0703 | 0.069082 | 1.0833 | 0.11275 | 0.083577
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0039 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.51 | DIETHYL_ETHER | . | 0.08 | 0.512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0039 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0703 | 0.069082 | 1.0833 | 0.11275 | 0.083577
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1765 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.17 | DIETHYL_ETHER | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1765 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0703 | 0.069082 | 1.0833 | 0.11275 | 0.083577
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0902 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.51 | DIETHYL_ETHER | . | 0.08 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0902 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0703 | 0.069082 | 1.0833 | 0.11275 | 0.083577
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.98235 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.17 | DIETHYL_ETHER | . | 0.08 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98235 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0703 | 0.069082 | 1.0833 | 0.11275 | 0.083577
DIETHYL ETHER | 2021 | 81576GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.002 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.51 | DIETHYL_ETHER | . | 0.08 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0703 | 0.069082 | 1.0833 | 0.11275 | 0.083577
DIETHYL ETHER | 2021 | 81576GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.1187 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.6 | DIETHYL_ETHER | . | 0.1 | 1.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1187 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1187 |  | 1.1187 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1338 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8 | DIETHYL_ETHER | . | 0.1 | 0.907 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1338 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1025 | 0.044194 | 1.1025 | 0.0625 | 0.046331
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0713 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8 | DIETHYL_ETHER | . | 0.1 | 0.857 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0712 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1025 | 0.044194 | 1.1025 | 0.0625 | 0.046331
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.9725 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.4 | DIETHYL_ETHER | . | 0.1 | 0.389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9725 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0112 | 0.054801 | 1.0112 | 0.0775 | 0.05745
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.2 | DIETHYL_ETHER | . | 0.1 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0112 | 0.054801 | 1.0112 | 0.0775 | 0.05745
DIETHYL ETHER | 2021 | 81576GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.4 | DIETHYL_ETHER | . | 0.1 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.025 |  | 1.025 | 0 | 0
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.3194 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.144 | DIETHYL_ETHER | . | 0.12 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3194 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2905 | 0.088977 | 1.25 | 0.069444 | 0.051478
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.25 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.288 | DIETHYL_ETHER | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2905 | 0.088977 | 1.25 | 0.069444 | 0.051478
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 1.25 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.144 | DIETHYL_ETHER | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2905 | 0.088977 | 1.25 | 0.069444 | 0.051478
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.2153 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.288 | DIETHYL_ETHER | . | 0.12 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2153 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2905 | 0.088977 | 1.25 | 0.069444 | 0.051478
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 1.4583 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.144 | DIETHYL_ETHER | . | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4583 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2905 | 0.088977 | 1.25 | 0.069444 | 0.051478
DIETHYL ETHER | 2021 | 81576GCM66 | 2009-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 1.25 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.144 | DIETHYL_ETHER | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2905 | 0.088977 | 1.25 | 0.069444 | 0.051478