## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.94595 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.296 | DIISOPROPYL_ETHER | . | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94595 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94032 | 0.075291 | 0.91216 | 0.13514 | 0.10017
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.0135 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.148 | DIISOPROPYL_ETHER | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0135 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94032 | 0.075291 | 0.91216 | 0.13514 | 0.10017
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.0473 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.296 | DIISOPROPYL_ETHER | . | 0.06 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0473 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94032 | 0.075291 | 0.91216 | 0.13514 | 0.10017
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-06-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.87838 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.148 | DIISOPROPYL_ETHER | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87838 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94032 | 0.075291 | 0.91216 | 0.13514 | 0.10017
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-07-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.87838 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.148 | DIISOPROPYL_ETHER | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87838 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94032 | 0.075291 | 0.91216 | 0.13514 | 0.10017
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-08-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.87838 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.148 | DIISOPROPYL_ETHER | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87838 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94032 | 0.075291 | 0.91216 | 0.13514 | 0.10017
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1582 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 2.996 | DIISOPROPYL_ETHER | . | 0.06 | 3.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1582 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1582 |  | 1.1582 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.81576 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.07968 | DIISOPROPYL_ETHER | . | 0.06 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81576 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81576 |  | 0.81576 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0354 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.15936 | DIISOPROPYL_ETHER | . | 0.06 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.415 | 0.5369 | 1.415 | 0.75929 | 0.56285
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.7947 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.07968 | DIISOPROPYL_ETHER | . | 0.06 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7947 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.415 | 0.5369 | 1.415 | 0.75929 | 0.56285
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.3171 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07972 | DIISOPROPYL_ETHER | . | 0.06 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3171 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0668 | 0.1177 | 1.0349 | 0.12544 | 0.092987
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.97006 | Accu | 209081198 | Accu 209081198: 30 µl | 0.23916 | DIISOPROPYL_ETHER | . | 0.06 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97006 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0668 | 0.1177 | 1.0349 | 0.12544 | 0.092987
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0788 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07972 | DIISOPROPYL_ETHER | . | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0788 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0668 | 0.1177 | 1.0349 | 0.12544 | 0.092987
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.99933 | Accu | 209081198 | Accu 209081198: 30 µl | 0.23916 | DIISOPROPYL_ETHER | . | 0.06 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99933 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0668 | 0.1177 | 1.0349 | 0.12544 | 0.092987
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.0161 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07972 | DIISOPROPYL_ETHER | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0161 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0668 | 0.1177 | 1.0349 | 0.12544 | 0.092987
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.95752 | Accu | 209081198 | Accu 209081198: 30 µl | 0.23916 | DIISOPROPYL_ETHER | . | 0.06 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95752 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0668 | 0.1177 | 1.0349 | 0.12544 | 0.092987
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.1415 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07972 | DIISOPROPYL_ETHER | . | 0.06 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1415 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0668 | 0.1177 | 1.0349 | 0.12544 | 0.092987
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.0537 | Accu | 209081198 | Accu 209081198: 10 µl | 0.07972 | DIISOPROPYL_ETHER | E | 0.06 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0537 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.0668 | 0.1177 | 1.0349 | 0.12544 | 0.092987
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.96637 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.07968 | DIISOPROPYL_ETHER | . | 0.06 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96637 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96637 |  | 0.96637 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.80769 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.078 | DIISOPROPYL_ETHER | . | 0.06 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80769 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.875 | 0.095187 | 0.875 | 0.13462 | 0.099789
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.94231 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.156 | DIISOPROPYL_ETHER | . | 0.06 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94231 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.875 | 0.095187 | 0.875 | 0.13462 | 0.099789
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0801 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.749 | DIISOPROPYL_ETHER | . | 0.06 | 0.809 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0801 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0507 | 0.041539 | 1.0507 | 0.058745 | 0.043547
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0214 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.498 | DIISOPROPYL_ETHER | . | 0.06 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0214 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0507 | 0.041539 | 1.0507 | 0.058745 | 0.043547
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0354 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.15936 | DIISOPROPYL_ETHER | . | 0.06 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0354 |  | 1.0354 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.9359 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.156 | DIISOPROPYL_ETHER | . | 0.06 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9359 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9359 |  | 0.9359 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0254 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.749 | DIISOPROPYL_ETHER | . | 0.06 | 0.768 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0254 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0254 |  | 1.0254 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.89238 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.5016 | DIISOPROPYL_ETHER | . | 0.06 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89238 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95398 | 0.087117 | 0.95398 | 0.1232 | 0.091328
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0156 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 3.0032 | DIISOPROPYL_ETHER | . | 0.06 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95398 | 0.087117 | 0.95398 | 0.1232 | 0.091328
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2008-12-20 | 2006-10-01 | 2009-09-30 | ug/L | 0.9375 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.192 | DIISOPROPYL_ETHER | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.9375 |  | 0.9375 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.86932 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.176 | DIISOPROPYL_ETHER | . | 0.06 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86932 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95455 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.352 | DIISOPROPYL_ETHER | . | 0.06 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95455 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.176 | DIISOPROPYL_ETHER | . | 0.06 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.90057 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.352 | DIISOPROPYL_ETHER | . | 0.06 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90057 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.77841 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.176 | DIISOPROPYL_ETHER | . | 0.06 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77841 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.93182 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.352 | DIISOPROPYL_ETHER | . | 0.06 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93182 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.86932 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.176 | DIISOPROPYL_ETHER | . | 0.06 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86932 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.91477 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.176 | DIISOPROPYL_ETHER | . | 0.06 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91477 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.94602 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.352 | DIISOPROPYL_ETHER | . | 0.06 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94602 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.89205 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.176 | DIISOPROPYL_ETHER | . | 0.06 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89205 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95739 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.352 | DIISOPROPYL_ETHER | . | 0.06 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95739 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.94318 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.352 | DIISOPROPYL_ETHER | . | 0.06 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94318 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.91832 | 0.067816 | 0.9233 | 0.069602 | 0.051595
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.925 | Restek | A069860 | Restek A069860: 10 µl | 0.08 | DIISOPROPYL_ETHER | E | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.95 | Restek | A069860 | Restek A069860: 30 µl | 0.24 | DIISOPROPYL_ETHER | . | 0.06 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.9375 | Restek | A069860 | Restek A069860: 10 µl | 0.08 | DIISOPROPYL_ETHER | E | 0.06 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.88333 | Restek | A069860 | Restek A069860: 30 µl | 0.24 | DIISOPROPYL_ETHER | . | 0.06 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.0125 | Restek | A069860 | Restek A069860: 10 µl | 0.08 | DIISOPROPYL_ETHER | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.8375 | Restek | A069860 | Restek A069860: 30 µl | 0.24 | DIISOPROPYL_ETHER | . | 0.06 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.35 | Restek | A069860 | Restek A069860: 10 µl | 0.08 | DIISOPROPYL_ETHER | . | 0.06 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.35 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.81667 | Restek | A069860 | Restek A069860: 30 µl | 0.24 | DIISOPROPYL_ETHER | . | 0.06 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.8375 | Restek | A069860 | Restek A069860: 10 µl | 0.08 | DIISOPROPYL_ETHER | . | 0.06 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95 | 0.16287 | 0.925 | 0.1125 | 0.083395
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0522 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.5016 | DIISOPROPYL_ETHER | . | 0.06 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0522 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0522 |  | 1.0522 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1428 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.7508 | DIISOPROPYL_ETHER | . | 0.06 | 0.858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1428 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0729 | 0.098889 | 1.0729 | 0.13985 | 0.10367
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0029 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.7508 | DIISOPROPYL_ETHER | . | 0.06 | 0.753 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0029 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0729 | 0.098889 | 1.0729 | 0.13985 | 0.10367
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.84615 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.156 | DIISOPROPYL_ETHER | . | 0.06 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84615 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1026 | 0.36262 | 1.1026 | 0.51282 | 0.38015
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.359 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.078 | DIISOPROPYL_ETHER | . | 0.06 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.359 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1026 | 0.36262 | 1.1026 | 0.51282 | 0.38015
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.83974 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.156 | DIISOPROPYL_ETHER | . | 0.06 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83974 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83974 |  | 0.83974 | 0 | 0
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-02-18 | 2006-10-01 | 2009-09-30 | ug/L | 1.1222 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | DIISOPROPYL_ETHER | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1222 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0235 | 0.11897 | 1.0131 | 0.18703 | 0.13865
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.0598 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | DIISOPROPYL_ETHER | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0599 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0235 | 0.11897 | 1.0131 | 0.18703 | 0.13865
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-05-13 | 2006-10-01 | 2009-09-30 | ug/L | 1.1845 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | DIISOPROPYL_ETHER | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1845 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0235 | 0.11897 | 1.0131 | 0.18703 | 0.13865
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.87282 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.3208 | DIISOPROPYL_ETHER | . | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87282 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0235 | 0.11897 | 1.0131 | 0.18703 | 0.13865
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-06-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.96633 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.3208 | DIISOPROPYL_ETHER | . | 0.06 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96633 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0235 | 0.11897 | 1.0131 | 0.18703 | 0.13865
DIISOPROPYL ETHER | 2021 | 81577GCM66 | 2009-08-11 | 2006-10-01 | 2009-09-30 | ug/L | 0.93516 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | DIISOPROPYL_ETHER | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93516 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0235 | 0.11897 | 1.0131 | 0.18703 | 0.13865