## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.98143 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.07 | ETHYLBENZENE | . | 0.036 | 0.0687 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98143 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98714 | 0.0080812 | 0.98714 | 0.011429 | 0.0084719
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.99286 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.14 | ETHYLBENZENE | . | 0.036 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99286 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98714 | 0.0080812 | 0.98714 | 0.011429 | 0.0084719
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.89286 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.07 | ETHYLBENZENE | E | 0.036 | 0.0625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.89286 |  | 0.89286 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.926 | Abs | 080510 | Abs 080510: 20 µl | 0.1 | ETHYLBENZENE | . | 0.036 | 0.0926 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.926 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.796 | Abs | 080510 | Abs 080510: 20 µl | 0.1 | ETHYLBENZENE | . | 0.036 | 0.0796 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | Abs | 080510 | Abs 080510: 40 µl | 0.2 | ETHYLBENZENE | . | 0.036 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.921 | Abs | 080510 | Abs 080510: 20 µl | 0.1 | ETHYLBENZENE | . | 0.036 | 0.0921 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.921 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.83 | Abs | 080510 | Abs 080510: 40 µl | 0.2 | ETHYLBENZENE | . | 0.036 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.962 | Abs | 080510 | Abs 080510: 20 µl | 0.1 | ETHYLBENZENE | . | 0.036 | 0.0962 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.962 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.815 | Abs | 080510 | Abs 080510: 40 µl | 0.2 | ETHYLBENZENE | . | 0.036 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.911 | Abs | 080510 | Abs 080510: 20 µl | 0.1 | ETHYLBENZENE | . | 0.036 | 0.0911 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.911 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.965 | Abs | 080510 | Abs 080510: 40 µl | 0.2 | ETHYLBENZENE | . | 0.036 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.965 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.966 | Abs | 080510 | Abs 080510: 20 µl | 0.1 | ETHYLBENZENE | . | 0.036 | 0.0966 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.966 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | Abs | 080510 | Abs 080510: 40 µl | 0.2 | ETHYLBENZENE | . | 0.036 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.90882 | 0.071954 | 0.921 | 0.135 | 0.10007
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.836 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 1 | ETHYLBENZENE | . | 0.036 | 0.836 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.836 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.836 |  | 0.836 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.88576 | Accu | 210061400 | Accu 210061400: 40 µl | 0.2416 | ETHYLBENZENE | . | 0.036 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88576 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.7707 | Accu | 210061400 | Accu 210061400: 20 µl | 0.1208 | ETHYLBENZENE | . | 0.036 | 0.0931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7707 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.91887 | Accu | 210061400 | Accu 210061400: 20 µl | 0.1208 | ETHYLBENZENE | . | 0.036 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91887 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.81126 | Accu | 210061400 | Accu 210061400: 40 µl | 0.2416 | ETHYLBENZENE | . | 0.036 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81126 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.86093 | Accu | 210061400 | Accu 210061400: 20 µl | 0.1208 | ETHYLBENZENE | . | 0.036 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86093 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.8154 | Accu | 210061400 | Accu 210061400: 40 µl | 0.2416 | ETHYLBENZENE | . | 0.036 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8154 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.82533 | Accu | 210061400 | Accu 210061400: 20 µl | 0.1208 | ETHYLBENZENE | . | 0.036 | 0.0997 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82533 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.78642 | Accu | 210061400 | Accu 210061400: 40 µl | 0.2416 | ETHYLBENZENE | . | 0.036 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78642 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.82202 | Accu | 210061400 | Accu 210061400: 20 µl | 0.1208 | ETHYLBENZENE | . | 0.036 | 0.0993 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82202 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9644 | Accu | 210061400 | Accu 210061400: 40 µl | 0.2416 | ETHYLBENZENE | . | 0.036 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9644 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.86921 | Accu | 210061400 | Accu 210061400: 20 µl | 0.1208 | ETHYLBENZENE | . | 0.036 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86921 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84821 | 0.058296 | 0.82533 | 0.074503 | 0.055229
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.94571 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.07 | ETHYLBENZENE | . | 0.036 | 0.0662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94571 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94571 |  | 0.94571 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.85714 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.14 | ETHYLBENZENE | . | 0.036 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85714 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85714 |  | 0.85714 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.78846 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78846 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.82005 | 0.10803 | 0.80769 | 0.18269 | 0.13543
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.88462 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.104 | ETHYLBENZENE | E | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88462 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.82005 | 0.10803 | 0.80769 | 0.18269 | 0.13543
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-04-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.98077 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98077 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.82005 | 0.10803 | 0.80769 | 0.18269 | 0.13543
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-05-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.71154 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71154 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.82005 | 0.10803 | 0.80769 | 0.18269 | 0.13543
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.80769 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80769 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.82005 | 0.10803 | 0.80769 | 0.18269 | 0.13543
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.89423 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.104 | ETHYLBENZENE | E | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89423 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.82005 | 0.10803 | 0.80769 | 0.18269 | 0.13543
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-09-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.67308 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67308 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.82005 | 0.10803 | 0.80769 | 0.18269 | 0.13543
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90714 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.07 | ETHYLBENZENE | . | 0.036 | 0.0635 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90714 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.90714 |  | 0.90714 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.80714 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.07 | ETHYLBENZENE | . | 0.036 | 0.0565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80714 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81429 | 0.010102 | 0.81429 | 0.014286 | 0.01059
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82143 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.14 | ETHYLBENZENE | . | 0.036 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82143 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81429 | 0.010102 | 0.81429 | 0.014286 | 0.01059
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 2 | ETHYLBENZENE | . | 0.036 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.05 |  | 1.05 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.924 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.5 | ETHYLBENZENE | . | 0.036 | 0.462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.924 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.967 | 0.060811 | 0.967 | 0.086 | 0.063751
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1 | ETHYLBENZENE | . | 0.036 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.967 | 0.060811 | 0.967 | 0.086 | 0.063751
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.054 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.5 | ETHYLBENZENE | . | 0.036 | 0.527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.054 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1945 | 0.1987 | 1.1945 | 0.281 | 0.2083
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.335 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 2 | ETHYLBENZENE | . | 0.036 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.335 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1945 | 0.1987 | 1.1945 | 0.281 | 0.2083
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95571 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.07 | ETHYLBENZENE | . | 0.036 | 0.0669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95571 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.95571 |  | 0.95571 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.83571 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.14 | ETHYLBENZENE | . | 0.036 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83571 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83571 |  | 0.83571 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.89286 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.14 | ETHYLBENZENE | . | 0.036 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89286 |  | 0.89286 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.862 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.5 | ETHYLBENZENE | . | 0.036 | 0.431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.862 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.862 |  | 0.862 | 0 | 0
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.865 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1 | ETHYLBENZENE | . | 0.036 | 0.865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8855 | 0.028991 | 0.8855 | 0.041 | 0.030393
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.906 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.5 | ETHYLBENZENE | . | 0.036 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.906 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8855 | 0.028991 | 0.8855 | 0.041 | 0.030393
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.899 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1 | ETHYLBENZENE | . | 0.036 | 0.899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.899 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9395 | 0.057276 | 0.9395 | 0.081 | 0.060044
ETHYLBENZENE | 2021 | 34371GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.98 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 2 | ETHYLBENZENE | . | 0.036 | 1.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9395 | 0.057276 | 0.9395 | 0.081 | 0.060044
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.80769 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80769 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.88782 | 0.081059 | 0.86538 | 0.057692 | 0.042767
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.90385 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.104 | ETHYLBENZENE | E | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90385 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.88782 | 0.081059 | 0.86538 | 0.057692 | 0.042767
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.84615 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.104 | ETHYLBENZENE | E | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84615 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.88782 | 0.081059 | 0.86538 | 0.057692 | 0.042767
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-06-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.88462 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88462 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.88782 | 0.081059 | 0.86538 | 0.057692 | 0.042767
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-07-09 | 2007-10-01 | 2009-09-30 | ug/L | 1.0385 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0385 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.88782 | 0.081059 | 0.86538 | 0.057692 | 0.042767
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.84615 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.052 | ETHYLBENZENE | E | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84615 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.88782 | 0.081059 | 0.86538 | 0.057692 | 0.042767
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.1017 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | ETHYLBENZENE | E | 0.036 | 0.0661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1017 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.97479 | 0.095703 | 0.96389 | 0.15694 | 0.11634
ETHYLBENZENE | 2021 | 34371GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.98889 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | ETHYLBENZENE | . | 0.036 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98889 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97479 | 0.095703 | 0.96389 | 0.15694 | 0.11634
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.99 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | ETHYLBENZENE | . | 0.036 | 0.0594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97479 | 0.095703 | 0.96389 | 0.15694 | 0.11634
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.87778 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | ETHYLBENZENE | . | 0.036 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87778 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97479 | 0.095703 | 0.96389 | 0.15694 | 0.11634
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.88333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | ETHYLBENZENE | . | 0.036 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97479 | 0.095703 | 0.96389 | 0.15694 | 0.11634
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.93889 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | ETHYLBENZENE | . | 0.036 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93889 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97479 | 0.095703 | 0.96389 | 0.15694 | 0.11634
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1233 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | ETHYLBENZENE | . | 0.036 | 0.0674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1233 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97479 | 0.095703 | 0.96389 | 0.15694 | 0.11634
ETHYLBENZENE | 2021 | 34371GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.89444 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | ETHYLBENZENE | . | 0.036 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89444 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97479 | 0.095703 | 0.96389 | 0.15694 | 0.11634