## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0441 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.34 | ETHYL_METHACRYLATE | . | 0.2 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0441 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97426 | 0.098787 | 0.97426 | 0.13971 | 0.10356
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.90441 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.68 | ETHYL_METHACRYLATE | . | 0.2 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90441 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97426 | 0.098787 | 0.97426 | 0.13971 | 0.10356
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.91765 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.34 | ETHYL_METHACRYLATE | . | 0.2 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91765 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91765 |  | 0.91765 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.81117 | Abs | 051712 | Abs 051712: 20 µl | 1.504 | ETHYL_METHACRYLATE | . | 0.2 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81117 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.84774 | 0.051717 | 0.84774 | 0.073138 | 0.054217
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.88431 | Abs | 051712 | Abs 051712: 10 µl | 0.752 | ETHYL_METHACRYLATE | . | 0.2 | 0.665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88431 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.84774 | 0.051717 | 0.84774 | 0.073138 | 0.054217
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.78481 | Abs | 090809 | Abs 090809: 10 µl | 0.158 | ETHYL_METHACRYLATE | E | 0.14 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78481 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.9491 | 0.12543 | 0.93671 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.91139 | Abs | 090809 | Abs 090809: 30 µl | 0.474 | ETHYL_METHACRYLATE | . | 0.14 | 0.432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91139 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.9491 | 0.12543 | 0.93671 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.1456 | Abs | 090809 | Abs 090809: 10 µl | 0.158 | ETHYL_METHACRYLATE | . | 0.14 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1456 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.9491 | 0.12543 | 0.93671 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0063 | Abs | 090809 | Abs 090809: 30 µl | 0.474 | ETHYL_METHACRYLATE | . | 0.14 | 0.477 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.9491 | 0.12543 | 0.93671 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.82278 | Abs | 090809 | Abs 090809: 10 µl | 0.158 | ETHYL_METHACRYLATE | E | 0.14 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82278 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.9491 | 0.12543 | 0.93671 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.87553 | Abs | 090809 | Abs 090809: 30 µl | 0.474 | ETHYL_METHACRYLATE | . | 0.14 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87553 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.9491 | 0.12543 | 0.93671 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.96203 | Abs | 090809 | Abs 090809: 10 µl | 0.158 | ETHYL_METHACRYLATE | . | 0.14 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96203 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.9491 | 0.12543 | 0.93671 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.0844 | Abs | 090809 | Abs 090809: 30 µl | 0.474 | ETHYL_METHACRYLATE | . | 0.14 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0844 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.9491 | 0.12543 | 0.93671 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.85771 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.008 | ETHYL_METHACRYLATE | . | 0.2 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85771 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85771 |  | 0.85771 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.91176 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.34 | ETHYL_METHACRYLATE | . | 0.2 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91176 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91176 |  | 0.91176 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.88314 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.676 | ETHYL_METHACRYLATE | . | 0.2 | 0.597 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88314 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98743 | 0.14749 | 0.98743 | 0.20858 | 0.15462
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0917 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.338 | ETHYL_METHACRYLATE | . | 0.2 | 0.369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0917 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98743 | 0.14749 | 0.98743 | 0.20858 | 0.15462
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.93195 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.338 | ETHYL_METHACRYLATE | . | 0.2 | 0.315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93195 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93195 |  | 0.93195 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.92604 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.676 | ETHYL_METHACRYLATE | . | 0.2 | 0.626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92604 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92604 |  | 0.92604 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.96077 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 3.008 | ETHYL_METHACRYLATE | . | 0.2 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96077 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96077 |  | 0.96077 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.89342 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.76 | ETHYL_METHACRYLATE | . | 0.2 | 0.679 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89342 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97303 | 0.11258 | 0.97303 | 0.15921 | 0.11802
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0526 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 3.04 | ETHYL_METHACRYLATE | . | 0.2 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97303 | 0.11258 | 0.97303 | 0.15921 | 0.11802
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.87917 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.24 | ETHYL_METHACRYLATE | . | 0.2 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87917 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.8875 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.48 | ETHYL_METHACRYLATE | . | 0.2 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.93333 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.24 | ETHYL_METHACRYLATE | . | 0.2 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0417 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.24 | ETHYL_METHACRYLATE | . | 0.2 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.89375 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.48 | ETHYL_METHACRYLATE | . | 0.2 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89375 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0708 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.24 | ETHYL_METHACRYLATE | . | 0.2 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0708 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.87292 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.48 | ETHYL_METHACRYLATE | . | 0.2 | 0.419 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87292 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.24 | ETHYL_METHACRYLATE | . | 0.2 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.86875 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.48 | ETHYL_METHACRYLATE | . | 0.2 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.85833 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.24 | ETHYL_METHACRYLATE | . | 0.2 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.78333 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.24 | ETHYL_METHACRYLATE | . | 0.2 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78333 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92292 | 0.09417 | 0.8875 | 0.17292 | 0.12818
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-02-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.93179 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.5688 | ETHYL_METHACRYLATE | . | 0.14 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93179 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93472 | 0.057149 | 0.94058 | 0.035162 | 0.026065
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 0.94937 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2844 | ETHYL_METHACRYLATE | . | 0.14 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94937 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93472 | 0.057149 | 0.94058 | 0.035162 | 0.026065
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-04-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.94937 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2844 | ETHYL_METHACRYLATE | . | 0.14 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94937 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93472 | 0.057149 | 0.94058 | 0.035162 | 0.026065
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.84388 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2844 | ETHYL_METHACRYLATE | . | 0.14 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84388 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93472 | 0.057149 | 0.94058 | 0.035162 | 0.026065
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-07-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.0197 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.5688 | ETHYL_METHACRYLATE | . | 0.14 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0197 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93472 | 0.057149 | 0.94058 | 0.035162 | 0.026065
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-09-05 | 2006-10-01 | 2009-09-30 | ug/L | 0.91421 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2844 | ETHYL_METHACRYLATE | . | 0.14 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91421 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93472 | 0.057149 | 0.94058 | 0.035162 | 0.026065
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.80921 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1.52 | ETHYL_METHACRYLATE | . | 0.2 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80921 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85395 | 0.063267 | 0.85395 | 0.089474 | 0.066326
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.89868 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.76 | ETHYL_METHACRYLATE | . | 0.2 | 0.683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89868 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85395 | 0.063267 | 0.85395 | 0.089474 | 0.066326
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0949 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.158 | ETHYL_METHACRYLATE | . | 0.14 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0949 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0361 | 0.13832 | 1.0633 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0443 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.474 | ETHYL_METHACRYLATE | . | 0.14 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0443 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0361 | 0.13832 | 1.0633 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0823 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.158 | ETHYL_METHACRYLATE | . | 0.14 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0823 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0361 | 0.13832 | 1.0633 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.84599 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.474 | ETHYL_METHACRYLATE | . | 0.14 | 0.401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84599 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0361 | 0.13832 | 1.0633 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2658 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.158 | ETHYL_METHACRYLATE | . | 0.14 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2658 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0361 | 0.13832 | 1.0633 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.88608 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.474 | ETHYL_METHACRYLATE | . | 0.14 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88608 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0361 | 0.13832 | 1.0633 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1266 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.158 | ETHYL_METHACRYLATE | . | 0.14 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1266 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0361 | 0.13832 | 1.0633 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.94304 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.474 | ETHYL_METHACRYLATE | . | 0.14 | 0.447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94304 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0361 | 0.13832 | 1.0633 | 0.1962 | 0.14544
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.87712 | Restek | A075493 | Restek A075493: 40 µl | 0.472 | ETHYL_METHACRYLATE | . | 0.2 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87712 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.84746 | Restek | A075493 | Restek A075493: 20 µl | 0.236 | ETHYL_METHACRYLATE | . | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84746 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.82203 | Restek | A075493 | Restek A075493: 40 µl | 0.472 | ETHYL_METHACRYLATE | . | 0.2 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82203 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.92373 | Restek | A075493 | Restek A075493: 20 µl | 0.236 | ETHYL_METHACRYLATE | . | 0.2 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92373 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.86229 | Restek | A075493 | Restek A075493: 40 µl | 0.472 | ETHYL_METHACRYLATE | . | 0.2 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86229 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.86441 | Restek | A075493 | Restek A075493: 20 µl | 0.236 | ETHYL_METHACRYLATE | . | 0.2 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86441 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.88983 | Restek | A075493 | Restek A075493: 20 µl | 0.236 | ETHYL_METHACRYLATE | . | 0.2 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88983 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.83686 | Restek | A075493 | Restek A075493: 40 µl | 0.472 | ETHYL_METHACRYLATE | . | 0.2 | 0.395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83686 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.74576 | Restek | A075493 | Restek A075493: 20 µl | 0.236 | ETHYL_METHACRYLATE | . | 0.2 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74576 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.84746 | Restek | A075493 | Restek A075493: 40 µl | 0.472 | ETHYL_METHACRYLATE | . | 0.2 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84746 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.75847 | Restek | A075493 | Restek A075493: 20 µl | 0.236 | ETHYL_METHACRYLATE | . | 0.2 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75847 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84322 | 0.052745 | 0.84746 | 0.055085 | 0.040834
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.89096 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.504 | ETHYL_METHACRYLATE | . | 0.2 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89096 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89096 |  | 0.89096 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.81447 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.76 | ETHYL_METHACRYLATE | . | 0.2 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81447 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81447 | 0 | 0.81447 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.81447 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.76 | ETHYL_METHACRYLATE | . | 0.2 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81447 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81447 | 0 | 0.81447 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.50147 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.68 | ETHYL_METHACRYLATE | E | 0.2 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50147 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.75809 | 0.36291 | 0.75809 | 0.51324 | 0.38046
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0147 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.34 | ETHYL_METHACRYLATE | . | 0.2 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0147 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75809 | 0.36291 | 0.75809 | 0.51324 | 0.38046
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.86686 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.676 | ETHYL_METHACRYLATE | . | 0.2 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86686 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86686 |  | 0.86686 | 0 | 0
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.84507 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.284 | ETHYL_METHACRYLATE | . | 0.14 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84507 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86561 | 0.083634 | 0.87148 | 0.14085 | 0.10441
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.73944 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.568 | ETHYL_METHACRYLATE | . | 0.14 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73944 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86561 | 0.083634 | 0.87148 | 0.14085 | 0.10441
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-05-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.80986 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.284 | ETHYL_METHACRYLATE | . | 0.14 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80986 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86561 | 0.083634 | 0.87148 | 0.14085 | 0.10441
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-07-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.89789 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.568 | ETHYL_METHACRYLATE | . | 0.14 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89789 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86561 | 0.083634 | 0.87148 | 0.14085 | 0.10441
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.9507 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.284 | ETHYL_METHACRYLATE | . | 0.14 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9507 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86561 | 0.083634 | 0.87148 | 0.14085 | 0.10441
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-09-26 | 2006-10-01 | 2009-09-30 | ug/L | 0.9507 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.284 | ETHYL_METHACRYLATE | . | 0.14 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9507 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86561 | 0.083634 | 0.87148 | 0.14085 | 0.10441
ETHYL METHACRYLATE | 2021 | 73570GCM66 | 2009-01-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.9375 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.16 | ETHYL_METHACRYLATE | . | 0.14 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.9375 |  | 0.9375 | 0 | 0