## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.83333 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.288 | HEXACHLOROBUTADIENE | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85648 | 0.035861 | 0.83333 | 0.069444 | 0.051478
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.83333 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.144 | HEXACHLOROBUTADIENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85648 | 0.035861 | 0.83333 | 0.069444 | 0.051478
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.83333 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.288 | HEXACHLOROBUTADIENE | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85648 | 0.035861 | 0.83333 | 0.069444 | 0.051478
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.83333 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.144 | HEXACHLOROBUTADIENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85648 | 0.035861 | 0.83333 | 0.069444 | 0.051478
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-07-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.90278 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.144 | HEXACHLOROBUTADIENE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90278 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85648 | 0.035861 | 0.83333 | 0.069444 | 0.051478
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-08-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.90278 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.144 | HEXACHLOROBUTADIENE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90278 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85648 | 0.035861 | 0.83333 | 0.069444 | 0.051478
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.89125 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 0.8 | HEXACHLOROBUTADIENE | . | 0.08 | 0.713 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89125 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89125 |  | 0.89125 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.86692 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.08882 | HEXACHLOROBUTADIENE | . | 0.08 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86692 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86692 |  | 0.86692 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.78248 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.17764 | HEXACHLOROBUTADIENE | . | 0.08 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78248 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77967 | 0.0039806 | 0.77967 | 0.0056294 | 0.004173
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.77685 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.08882 | HEXACHLOROBUTADIENE | . | 0.08 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77685 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77967 | 0.0039806 | 0.77967 | 0.0056294 | 0.004173
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.83841 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15744 | HEXACHLOROBUTADIENE | . | 0.06 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83841 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8318 | 0.093866 | 0.84477 | 0.13974 | 0.10358
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.67116 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47232 | HEXACHLOROBUTADIENE | . | 0.06 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67116 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8318 | 0.093866 | 0.84477 | 0.13974 | 0.10358
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.85112 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15744 | HEXACHLOROBUTADIENE | . | 0.06 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85112 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8318 | 0.093866 | 0.84477 | 0.13974 | 0.10358
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.8003 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47232 | HEXACHLOROBUTADIENE | . | 0.06 | 0.378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8003 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8318 | 0.093866 | 0.84477 | 0.13974 | 0.10358
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.73679 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15744 | HEXACHLOROBUTADIENE | . | 0.06 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73679 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8318 | 0.093866 | 0.84477 | 0.13974 | 0.10358
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.87652 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47232 | HEXACHLOROBUTADIENE | . | 0.06 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87652 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8318 | 0.093866 | 0.84477 | 0.13974 | 0.10358
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.94004 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15744 | HEXACHLOROBUTADIENE | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94004 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8318 | 0.093866 | 0.84477 | 0.13974 | 0.10358
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.94004 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15744 | HEXACHLOROBUTADIENE | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94004 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8318 | 0.093866 | 0.84477 | 0.13974 | 0.10358
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.85566 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.08882 | HEXACHLOROBUTADIENE | . | 0.08 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85566 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85566 |  | 0.85566 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82955 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.088 | HEXACHLOROBUTADIENE | . | 0.08 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82955 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78977 | 0.056247 | 0.78977 | 0.079545 | 0.058966
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.176 | HEXACHLOROBUTADIENE | . | 0.08 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78977 | 0.056247 | 0.78977 | 0.079545 | 0.058966
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.82 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.2 | HEXACHLOROBUTADIENE | . | 0.08 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.87625 | 0.07955 | 0.87625 | 0.1125 | 0.083395
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.9325 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.4 | HEXACHLOROBUTADIENE | . | 0.08 | 0.373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9325 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.87625 | 0.07955 | 0.87625 | 0.1125 | 0.083395
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.78811 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.17764 | HEXACHLOROBUTADIENE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78811 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.78811 |  | 0.78811 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.84091 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.176 | HEXACHLOROBUTADIENE | . | 0.08 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84091 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84091 |  | 0.84091 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.2 | HEXACHLOROBUTADIENE | . | 0.08 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97 |  | 0.97 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.71393 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.3992 | HEXACHLOROBUTADIENE | . | 0.08 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71393 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77092 | 0.080595 | 0.77092 | 0.11398 | 0.084491
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.82791 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 0.7984 | HEXACHLOROBUTADIENE | . | 0.08 | 0.661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82791 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77092 | 0.080595 | 0.77092 | 0.11398 | 0.084491
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2008-12-20 | 2007-10-01 | 2009-09-30 | ug/L | 1.0625 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.16 | HEXACHLOROBUTADIENE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0625 |  | 1.0625 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0102 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.196 | HEXACHLOROBUTADIENE | . | 0.08 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0102 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90051 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.392 | HEXACHLOROBUTADIENE | . | 0.08 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90051 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.97959 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.196 | HEXACHLOROBUTADIENE | . | 0.08 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97959 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.79592 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.392 | HEXACHLOROBUTADIENE | . | 0.08 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79592 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.80102 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.196 | HEXACHLOROBUTADIENE | . | 0.08 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80102 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.94133 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.392 | HEXACHLOROBUTADIENE | . | 0.08 | 0.369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94133 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.196 | HEXACHLOROBUTADIENE | . | 0.08 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.97449 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.196 | HEXACHLOROBUTADIENE | . | 0.08 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97449 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.94643 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.392 | HEXACHLOROBUTADIENE | . | 0.08 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94643 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 1 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.196 | HEXACHLOROBUTADIENE | . | 0.08 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95663 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.392 | HEXACHLOROBUTADIENE | . | 0.08 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95663 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.0587 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.392 | HEXACHLOROBUTADIENE | . | 0.08 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0587 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94707 | 0.079957 | 0.96556 | 0.079082 | 0.058622
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.92683 | Restek | A069860 | Restek A069860: 10 µl | 0.164 | HEXACHLOROBUTADIENE | . | 0.06 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92683 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.84756 | Restek | A069860 | Restek A069860: 30 µl | 0.492 | HEXACHLOROBUTADIENE | . | 0.06 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84756 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.76829 | Restek | A069860 | Restek A069860: 10 µl | 0.164 | HEXACHLOROBUTADIENE | . | 0.06 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76829 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.71545 | Restek | A069860 | Restek A069860: 30 µl | 0.492 | HEXACHLOROBUTADIENE | . | 0.06 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71545 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.73171 | Restek | A069860 | Restek A069860: 10 µl | 0.164 | HEXACHLOROBUTADIENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73171 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.80285 | Restek | A069860 | Restek A069860: 30 µl | 0.492 | HEXACHLOROBUTADIENE | . | 0.06 | 0.395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80285 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.85366 | Restek | A069860 | Restek A069860: 10 µl | 0.164 | HEXACHLOROBUTADIENE | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85366 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.84146 | Restek | A069860 | Restek A069860: 30 µl | 0.492 | HEXACHLOROBUTADIENE | . | 0.06 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84146 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.7378 | Restek | A069860 | Restek A069860: 10 µl | 0.164 | HEXACHLOROBUTADIENE | . | 0.06 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7378 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80285 | 0.070328 | 0.80285 | 0.10976 | 0.081361
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.91934 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.3992 | HEXACHLOROBUTADIENE | . | 0.08 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91934 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91934 |  | 0.91934 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.84168 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.1996 | HEXACHLOROBUTADIENE | . | 0.08 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84168 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83918 | 0.0035426 | 0.83918 | 0.00501 | 0.0037139
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.83667 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.1996 | HEXACHLOROBUTADIENE | . | 0.08 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83667 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83918 | 0.0035426 | 0.83918 | 0.00501 | 0.0037139
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.67045 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.176 | HEXACHLOROBUTADIENE | . | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67045 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75 | 0.11249 | 0.75 | 0.15909 | 0.11793
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.82955 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.088 | HEXACHLOROBUTADIENE | . | 0.08 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82955 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75 | 0.11249 | 0.75 | 0.15909 | 0.11793
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.88636 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.176 | HEXACHLOROBUTADIENE | . | 0.08 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88636 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88636 |  | 0.88636 | 0 | 0
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-02-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.99751 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | HEXACHLOROBUTADIENE | . | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99751 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95075 | 0.13335 | 0.91958 | 0.12469 | 0.09243
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 1.1845 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | HEXACHLOROBUTADIENE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1845 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95075 | 0.13335 | 0.91958 | 0.12469 | 0.09243
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-05-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.87282 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | HEXACHLOROBUTADIENE | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87282 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95075 | 0.13335 | 0.91958 | 0.12469 | 0.09243
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.81047 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.3208 | HEXACHLOROBUTADIENE | . | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81047 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95075 | 0.13335 | 0.91958 | 0.12469 | 0.09243
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-06-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.96633 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.3208 | HEXACHLOROBUTADIENE | . | 0.06 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96633 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95075 | 0.13335 | 0.91958 | 0.12469 | 0.09243
HEXACHLOROBUTADIENE | 2021 | 39702GCM66 | 2009-08-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.87282 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | HEXACHLOROBUTADIENE | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87282 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95075 | 0.13335 | 0.91958 | 0.12469 | 0.09243