## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-11-15 | 2012-10-01 | 2050-09-30 | ug/L | 1.3579 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.19 | HEXACHLOROETHANE | E | 0.12 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3579 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.2513 | 0.15073 | 1.2513 | 0.21316 | 0.15801
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-12-31 | 2012-10-01 | 2050-09-30 | ug/L | 1.1447 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.38 | HEXACHLOROETHANE | . | 0.12 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1447 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2513 | 0.15073 | 1.2513 | 0.21316 | 0.15801
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-09-27 | 2012-10-01 | 2050-09-30 | ug/L | 1.1895 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.19 | HEXACHLOROETHANE | . | 0.12 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1895 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1895 |  | 1.1895 | 0 | 0
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.189 | Abs | 090809 | Abs 090809: 10 µl | 0.164 | HEXACHLOROETHANE | . | 0.14 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.189 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99797 | 0.16588 | 0.99593 | 0.30386 | 0.22525
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.8374 | Abs | 090809 | Abs 090809: 30 µl | 0.492 | HEXACHLOROETHANE | . | 0.14 | 0.412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8374 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99797 | 0.16588 | 0.99593 | 0.30386 | 0.22525
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.1037 | Abs | 090809 | Abs 090809: 10 µl | 0.164 | HEXACHLOROETHANE | . | 0.14 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1037 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99797 | 0.16588 | 0.99593 | 0.30386 | 0.22525
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.84756 | Abs | 090809 | Abs 090809: 30 µl | 0.492 | HEXACHLOROETHANE | . | 0.14 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84756 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99797 | 0.16588 | 0.99593 | 0.30386 | 0.22525
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.79878 | Abs | 090809 | Abs 090809: 10 µl | 0.164 | HEXACHLOROETHANE | E | 0.14 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79878 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.99797 | 0.16588 | 0.99593 | 0.30386 | 0.22525
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.2154 | Abs | 090809 | Abs 090809: 30 µl | 0.492 | HEXACHLOROETHANE | . | 0.14 | 0.598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2154 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99797 | 0.16588 | 0.99593 | 0.30386 | 0.22525
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.92683 | Abs | 090809 | Abs 090809: 10 µl | 0.164 | HEXACHLOROETHANE | . | 0.14 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92683 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99797 | 0.16588 | 0.99593 | 0.30386 | 0.22525
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.065 | Abs | 090809 | Abs 090809: 30 µl | 0.492 | HEXACHLOROETHANE | . | 0.14 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99797 | 0.16588 | 0.99593 | 0.30386 | 0.22525
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-06-08 | 2012-10-01 | 2050-09-30 | ug/L | 1.0947 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.19 | HEXACHLOROETHANE | . | 0.12 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0947 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0947 |  | 1.0947 | 0 | 0
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-11-01 | 2012-10-01 | 2050-09-30 | ug/L | 0.97917 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.384 | HEXACHLOROETHANE | . | 0.12 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97917 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0495 | 0.099437 | 1.0495 | 0.14062 | 0.10424
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-12-31 | 2012-10-01 | 2050-09-30 | ug/L | 1.1198 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.192 | HEXACHLOROETHANE | . | 0.12 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1198 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0495 | 0.099437 | 1.0495 | 0.14062 | 0.10424
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-06-29 | 2012-10-01 | 2050-09-30 | ug/L | 1.026 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.192 | HEXACHLOROETHANE | . | 0.12 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.026 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.026 |  | 1.026 | 0 | 0
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-08-22 | 2012-10-01 | 2050-09-30 | ug/L | 1.0781 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.384 | HEXACHLOROETHANE | . | 0.12 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0781 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0781 |  | 1.0781 | 0 | 0
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-10-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.75357 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | HEXACHLOROETHANE | . | 0.22 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75357 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-12-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.86607 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | HEXACHLOROETHANE | . | 0.22 | 0.485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86607 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.95357 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | HEXACHLOROETHANE | . | 0.22 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95357 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-03-26 | 2010-10-01 | 2011-09-30 | ug/L | 1.0179 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | HEXACHLOROETHANE | . | 0.22 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0179 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-05-10 | 2010-10-01 | 2011-09-30 | ug/L | 1.0089 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | HEXACHLOROETHANE | . | 0.22 | 0.565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0089 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-06-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.90357 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | HEXACHLOROETHANE | . | 0.22 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90357 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-08-10 | 2010-10-01 | 2011-09-30 | ug/L | 1.0125 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | HEXACHLOROETHANE | . | 0.22 | 0.567 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-10-24 | 2011-10-01 | 2012-09-30 | ug/L | 0.97857 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | HEXACHLOROETHANE | . | 0.1 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97857 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-12-17 | 2011-10-01 | 2012-09-30 | ug/L | 0.75714 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.56 | HEXACHLOROETHANE | . | 0.1 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75714 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2012-02-24 | 2011-10-01 | 2012-09-30 | ug/L | 1.0429 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | HEXACHLOROETHANE | . | 0.1 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2012-03-24 | 2011-10-01 | 2012-09-30 | ug/L | 1.0643 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.28 | HEXACHLOROETHANE | . | 0.1 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0643 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94172 | 0.10896 | 0.97857 | 0.15179 | 0.11252
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-02-06 | 2003-10-01 | 2009-09-30 | ug/L | 0.88696 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.4848 | HEXACHLOROETHANE | . | 0.14 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88696 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97979 | 0.13416 | 0.94884 | 0.18564 | 0.13762
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-03-14 | 2003-10-01 | 2009-09-30 | ug/L | 1.0726 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2424 | HEXACHLOROETHANE | . | 0.14 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0726 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97979 | 0.13416 | 0.94884 | 0.18564 | 0.13762
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-04-25 | 2003-10-01 | 2009-09-30 | ug/L | 0.82508 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2424 | HEXACHLOROETHANE | . | 0.14 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82508 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97979 | 0.13416 | 0.94884 | 0.18564 | 0.13762
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-06-17 | 2003-10-01 | 2009-09-30 | ug/L | 0.94884 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2424 | HEXACHLOROETHANE | . | 0.14 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94884 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97979 | 0.13416 | 0.94884 | 0.18564 | 0.13762
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-07-25 | 2003-10-01 | 2009-09-30 | ug/L | 1.1964 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.4848 | HEXACHLOROETHANE | . | 0.14 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1964 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97979 | 0.13416 | 0.94884 | 0.18564 | 0.13762
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-09-05 | 2003-10-01 | 2009-09-30 | ug/L | 0.94884 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2424 | HEXACHLOROETHANE | . | 0.14 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94884 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97979 | 0.13416 | 0.94884 | 0.18564 | 0.13762
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3976 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.166 | HEXACHLOROETHANE | . | 0.14 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3976 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96461 | 0.23274 | 0.95984 | 0.24799 | 0.18383
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.78715 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.498 | HEXACHLOROETHANE | . | 0.14 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78715 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96461 | 0.23274 | 0.95984 | 0.24799 | 0.18383
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.90964 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.166 | HEXACHLOROETHANE | . | 0.14 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90964 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96461 | 0.23274 | 0.95984 | 0.24799 | 0.18383
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.61847 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.498 | HEXACHLOROETHANE | . | 0.14 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61847 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96461 | 0.23274 | 0.95984 | 0.24799 | 0.18383
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0422 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.166 | HEXACHLOROETHANE | . | 0.14 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0422 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96461 | 0.23274 | 0.95984 | 0.24799 | 0.18383
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.01 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.498 | HEXACHLOROETHANE | . | 0.14 | 0.503 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96461 | 0.23274 | 0.95984 | 0.24799 | 0.18383
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.85542 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.166 | HEXACHLOROETHANE | . | 0.14 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85542 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96461 | 0.23274 | 0.95984 | 0.24799 | 0.18383
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0964 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.498 | HEXACHLOROETHANE | . | 0.14 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0964 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96461 | 0.23274 | 0.95984 | 0.24799 | 0.18383
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2010-11-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.80458 | Restek | A075493 | Restek A075493: 40 µl | 0.568 | HEXACHLOROETHANE | . | 0.22 | 0.457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80458 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-01-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.82746 | Restek | A075493 | Restek A075493: 20 µl | 0.284 | HEXACHLOROETHANE | . | 0.22 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82746 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-03-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.79049 | Restek | A075493 | Restek A075493: 40 µl | 0.568 | HEXACHLOROETHANE | . | 0.22 | 0.449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79049 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-04-21 | 2010-10-01 | 2011-09-30 | ug/L | 1.0423 | Restek | A075493 | Restek A075493: 20 µl | 0.284 | HEXACHLOROETHANE | . | 0.22 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0423 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-05-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.95775 | Restek | A075493 | Restek A075493: 40 µl | 0.568 | HEXACHLOROETHANE | . | 0.22 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95775 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.84507 | Restek | A075493 | Restek A075493: 20 µl | 0.284 | HEXACHLOROETHANE | . | 0.22 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84507 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-09-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.97535 | Restek | A075493 | Restek A075493: 20 µl | 0.284 | HEXACHLOROETHANE | . | 0.22 | 0.277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97535 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2011-11-18 | 2011-10-01 | 2012-09-30 | ug/L | 0.80634 | Restek | A075493 | Restek A075493: 40 µl | 0.568 | HEXACHLOROETHANE | . | 0.1 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80634 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2012-01-26 | 2011-10-01 | 2012-09-30 | ug/L | 1.0141 | Restek | A075493 | Restek A075493: 20 µl | 0.284 | HEXACHLOROETHANE | . | 0.1 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0141 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2012-02-24 | 2011-10-01 | 2012-09-30 | ug/L | 0.92077 | Restek | A075493 | Restek A075493: 40 µl | 0.568 | HEXACHLOROETHANE | . | 0.1 | 0.523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92077 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2012-04-06 | 2011-10-01 | 2012-09-30 | ug/L | 0.73592 | Restek | A075493 | Restek A075493: 20 µl | 0.284 | HEXACHLOROETHANE | . | 0.1 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73592 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88364 | 0.10238 | 0.84507 | 0.17077 | 0.12659
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-08-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.76842 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.38 | HEXACHLOROETHANE | . | 0.12 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76842 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91053 | 0.20097 | 0.91053 | 0.28421 | 0.21068
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-12-12 | 2012-10-01 | 2050-09-30 | ug/L | 1.0526 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.19 | HEXACHLOROETHANE | . | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91053 | 0.20097 | 0.91053 | 0.28421 | 0.21068
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2013-09-17 | 2012-10-01 | 2050-09-30 | ug/L | 1.0052 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.384 | HEXACHLOROETHANE | . | 0.12 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0052 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0052 |  | 1.0052 | 0 | 0
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-02-27 | 2003-10-01 | 2009-09-30 | ug/L | 0.90016 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2444 | HEXACHLOROETHANE | . | 0.14 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90016 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91721 | 0.12028 | 0.87971 | 0.22504 | 0.16682
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-04-08 | 2003-10-01 | 2009-09-30 | ug/L | 0.77741 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.4888 | HEXACHLOROETHANE | . | 0.14 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77741 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91721 | 0.12028 | 0.87971 | 0.22504 | 0.16682
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-05-16 | 2003-10-01 | 2009-09-30 | ug/L | 0.85925 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2444 | HEXACHLOROETHANE | . | 0.14 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85925 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91721 | 0.12028 | 0.87971 | 0.22504 | 0.16682
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-07-08 | 2003-10-01 | 2009-09-30 | ug/L | 0.83879 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.4888 | HEXACHLOROETHANE | . | 0.14 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83879 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91721 | 0.12028 | 0.87971 | 0.22504 | 0.16682
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-08-19 | 2003-10-01 | 2009-09-30 | ug/L | 1.0638 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2444 | HEXACHLOROETHANE | . | 0.14 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0638 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91721 | 0.12028 | 0.87971 | 0.22504 | 0.16682
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-09-26 | 2003-10-01 | 2009-09-30 | ug/L | 1.0638 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2444 | HEXACHLOROETHANE | . | 0.14 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0638 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91721 | 0.12028 | 0.87971 | 0.22504 | 0.16682
HEXACHLOROETHANE | 2021 | 34396GCM66 | 2009-01-17 | 2003-10-01 | 2009-09-30 | ug/L | 1.125 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.24 | HEXACHLOROETHANE | . | 0.14 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.125 |  | 1.125 | 0 | 0