## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0663 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.92 | METHYL_ACRYLATE | . | 0.8 | 0.981 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0663 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98152 | 0.1199 | 0.98152 | 0.16957 | 0.1257
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.89674 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 1.84 | METHYL_ACRYLATE | . | 0.8 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89674 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98152 | 0.1199 | 0.98152 | 0.16957 | 0.1257
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.92717 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.92 | METHYL_ACRYLATE | . | 0.8 | 0.853 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92717 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92717 |  | 0.92717 | 0 | 0
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.80735 | Abs | 051712 | Abs 051712: 20 µl | 5.004 | METHYL_ACRYLATE | . | 0.8 | 4.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80735 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.89329 | 0.12153 | 0.89329 | 0.17186 | 0.1274
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.97922 | Abs | 051712 | Abs 051712: 10 µl | 2.502 | METHYL_ACRYLATE | . | 0.8 | 2.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97922 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.89329 | 0.12153 | 0.89329 | 0.17186 | 0.1274
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.8299 | Abs | 090809 | Abs 090809: 10 µl | 0.776 | METHYL_ACRYLATE | . | 0.56 | 0.644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8299 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98411 | 0.10994 | 1.0058 | 0.17784 | 0.13183
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0954 | Abs | 090809 | Abs 090809: 30 µl | 2.328 | METHYL_ACRYLATE | . | 0.56 | 2.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0954 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98411 | 0.10994 | 1.0058 | 0.17784 | 0.13183
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.96778 | Abs | 090809 | Abs 090809: 10 µl | 0.776 | METHYL_ACRYLATE | . | 0.56 | 0.751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96778 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98411 | 0.10994 | 1.0058 | 0.17784 | 0.13183
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0524 | Abs | 090809 | Abs 090809: 30 µl | 2.328 | METHYL_ACRYLATE | . | 0.56 | 2.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0524 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98411 | 0.10994 | 1.0058 | 0.17784 | 0.13183
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.82217 | Abs | 090809 | Abs 090809: 10 µl | 0.776 | METHYL_ACRYLATE | . | 0.56 | 0.638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82216 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98411 | 0.10994 | 1.0058 | 0.17784 | 0.13183
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.9622 | Abs | 090809 | Abs 090809: 30 µl | 2.328 | METHYL_ACRYLATE | . | 0.56 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9622 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98411 | 0.10994 | 1.0058 | 0.17784 | 0.13183
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0992 | Abs | 090809 | Abs 090809: 10 µl | 0.776 | METHYL_ACRYLATE | . | 0.56 | 0.853 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0992 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98411 | 0.10994 | 1.0058 | 0.17784 | 0.13183
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.0438 | Abs | 090809 | Abs 090809: 30 µl | 2.328 | METHYL_ACRYLATE | . | 0.56 | 2.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0438 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98411 | 0.10994 | 1.0058 | 0.17784 | 0.13183
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.98022 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 10.008 | METHYL_ACRYLATE | . | 0.8 | 9.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98022 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98022 |  | 0.98022 | 0 | 0
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.89022 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.92 | METHYL_ACRYLATE | . | 0.8 | 0.819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89022 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89022 |  | 0.89022 | 0 | 0
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.94565 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 1.84 | METHYL_ACRYLATE | . | 0.8 | 1.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94565 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99565 | 0.070711 | 0.99565 | 1e+15 | 0.074129
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0457 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.92 | METHYL_ACRYLATE | . | 0.8 | 0.962 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0457 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99565 | 0.070711 | 0.99565 | 1e+15 | 0.074129
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.99239 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.92 | METHYL_ACRYLATE | . | 0.8 | 0.913 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99239 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99239 |  | 0.99239 | 0 | 0
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93478 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 1.84 | METHYL_ACRYLATE | . | 0.8 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93478 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93478 |  | 0.93478 | 0 | 0
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0691 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 10.008 | METHYL_ACRYLATE | . | 0.8 | 10.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0691 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0691 |  | 1.0691 | 0 | 0
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.96974 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.76 | METHYL_ACRYLATE | . | 0.8 | 0.737 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96974 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.95395 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.52 | METHYL_ACRYLATE | . | 0.8 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95395 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.87632 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.76 | METHYL_ACRYLATE | . | 0.8 | 0.666 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87632 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.76 | METHYL_ACRYLATE | . | 0.8 | 0.779 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.025 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.85526 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.52 | METHYL_ACRYLATE | . | 0.8 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85526 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.90395 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.76 | METHYL_ACRYLATE | . | 0.8 | 0.687 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.90395 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.92105 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.52 | METHYL_ACRYLATE | . | 0.8 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92105 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.90526 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.76 | METHYL_ACRYLATE | . | 0.8 | 0.688 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.90526 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.92763 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.52 | METHYL_ACRYLATE | . | 0.8 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92763 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.95789 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.76 | METHYL_ACRYLATE | . | 0.8 | 0.728 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.95789 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.81842 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.76 | METHYL_ACRYLATE | . | 0.8 | 0.622 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.81842 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.9195 | 0.057477 | 0.92105 | 0.081579 | 0.060474
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.087 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.472 | METHYL_ACRYLATE | . | 0.6 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.087 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96241 | 0.12465 | 0.98505 | 0.27174 | 0.20144
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.087 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.736 | METHYL_ACRYLATE | . | 0.6 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.087 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96241 | 0.12465 | 0.98505 | 0.27174 | 0.20144
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-04-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.95109 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.736 | METHYL_ACRYLATE | . | 0.6 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95109 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96241 | 0.12465 | 0.98505 | 0.27174 | 0.20144
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.81522 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.736 | METHYL_ACRYLATE | . | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81522 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96241 | 0.12465 | 0.98505 | 0.27174 | 0.20144
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-07-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.019 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.472 | METHYL_ACRYLATE | . | 0.6 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.019 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96241 | 0.12465 | 0.98505 | 0.27174 | 0.20144
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-09-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.81522 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.736 | METHYL_ACRYLATE | . | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81522 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96241 | 0.12465 | 0.98505 | 0.27174 | 0.20144
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.90617 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.778 | METHYL_ACRYLATE | . | 0.56 | 0.705 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90617 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.93884 | 0.081777 | 0.92545 | 0.10647 | 0.078925
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.054 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.334 | METHYL_ACRYLATE | . | 0.56 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.054 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.93884 | 0.081777 | 0.92545 | 0.10647 | 0.078925
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.027 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.778 | METHYL_ACRYLATE | . | 0.56 | 0.799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.027 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.93884 | 0.081777 | 0.92545 | 0.10647 | 0.078925
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.9383 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.334 | METHYL_ACRYLATE | . | 0.56 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9383 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.93884 | 0.081777 | 0.92545 | 0.10647 | 0.078925
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.98329 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.778 | METHYL_ACRYLATE | . | 0.56 | 0.765 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98329 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.93884 | 0.081777 | 0.92545 | 0.10647 | 0.078925
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.9126 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.334 | METHYL_ACRYLATE | . | 0.56 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9126 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.93884 | 0.081777 | 0.92545 | 0.10647 | 0.078925
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.7982 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.778 | METHYL_ACRYLATE | . | 0.56 | 0.621 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7982 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.93884 | 0.081777 | 0.92545 | 0.10647 | 0.078925
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.89117 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.334 | METHYL_ACRYLATE | . | 0.56 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89117 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.93884 | 0.081777 | 0.92545 | 0.10647 | 0.078925
METHYL ACRYLATE | 2021 | 49991GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.89096 | Restek | A075493 | Restek A075493: 40 µl | 1.504 | METHYL_ACRYLATE | . | 0.8 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89096 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.79654 | Restek | A075493 | Restek A075493: 20 µl | 0.752 | METHYL_ACRYLATE | . | 0.8 | 0.599 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.79654 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.9242 | Restek | A075493 | Restek A075493: 40 µl | 1.504 | METHYL_ACRYLATE | . | 0.8 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9242 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.96676 | Restek | A075493 | Restek A075493: 20 µl | 0.752 | METHYL_ACRYLATE | . | 0.8 | 0.727 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96676 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.88431 | Restek | A075493 | Restek A075493: 40 µl | 1.504 | METHYL_ACRYLATE | . | 0.8 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88431 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.75665 | Restek | A075493 | Restek A075493: 20 µl | 0.752 | METHYL_ACRYLATE | . | 0.8 | 0.569 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75665 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.86569 | Restek | A075493 | Restek A075493: 20 µl | 0.752 | METHYL_ACRYLATE | . | 0.8 | 0.651 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86569 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.82447 | Restek | A075493 | Restek A075493: 40 µl | 1.504 | METHYL_ACRYLATE | . | 0.8 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82447 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.77793 | Restek | A075493 | Restek A075493: 20 µl | 0.752 | METHYL_ACRYLATE | . | 0.8 | 0.585 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77793 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.99734 | Restek | A075493 | Restek A075493: 40 µl | 1.504 | METHYL_ACRYLATE | . | 0.8 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99734 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | Restek | A075493 | Restek A075493: 20 µl | 0.752 | METHYL_ACRYLATE | . | 0.8 | 0.799 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0625 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 11 | 0.88612 | 0.096005 | 0.88431 | 0.17021 | 0.12618
METHYL ACRYLATE | 2021 | 49991GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0372 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 5.004 | METHYL_ACRYLATE | . | 0.8 | 5.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0372 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0372 |  | 1.0372 | 0 | 0
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.82065 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 1.84 | METHYL_ACRYLATE | . | 0.8 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82065 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.875 | 0.076859 | 0.875 | 0.1087 | 0.080575
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.92935 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.92 | METHYL_ACRYLATE | . | 0.8 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92935 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.875 | 0.076859 | 0.875 | 0.1087 | 0.080575
METHYL ACRYLATE | 2021 | 49991GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 1.84 | METHYL_ACRYLATE | . | 0.8 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0923 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.7324 | METHYL_ACRYLATE | . | 0.6 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0923 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95576 | 0.11424 | 0.92163 | 0.20481 | 0.15182
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.88749 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.4648 | METHYL_ACRYLATE | . | 0.6 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88749 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95576 | 0.11424 | 0.92163 | 0.20481 | 0.15182
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.95576 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.7324 | METHYL_ACRYLATE | . | 0.6 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95576 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95576 | 0.11424 | 0.92163 | 0.20481 | 0.15182
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.88749 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.4648 | METHYL_ACRYLATE | . | 0.6 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88749 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95576 | 0.11424 | 0.92163 | 0.20481 | 0.15182
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.81922 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.7324 | METHYL_ACRYLATE | . | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81922 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95576 | 0.11424 | 0.92163 | 0.20481 | 0.15182
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 1.0923 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.7324 | METHYL_ACRYLATE | . | 0.6 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0923 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95576 | 0.11424 | 0.92163 | 0.20481 | 0.15182
METHYL ACRYLATE | 2021 | 49991GCM66 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.875 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.8 | METHYL_ACRYLATE | . | 0.6 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0