## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHYL IODIDE | 2021 | 77424GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.305 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.4 | METHYL_IODIDE | E | 0.26 | 0.522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.305 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.2381 | 0.094576 | 1.2381 | 0.13375 | 0.099148
METHYL IODIDE | 2021 | 77424GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.1712 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.8 | METHYL_IODIDE | E | 0.26 | 0.937 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1712 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.2381 | 0.094576 | 1.2381 | 0.13375 | 0.099148
METHYL IODIDE | 2021 | 77424GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.1875 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.4 | METHYL_IODIDE | E | 0.26 | 0.475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.1875 |  | 1.1875 | 0 | 0
METHYL IODIDE | 2021 | 77424GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.3944 | Abs | 051712 | Abs 051712: 20 µl | 1.8 | METHYL_IODIDE | E | 0.26 | 2.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3944 | Abs 051712 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.2361 | 0.22392 | 1.2361 | 0.31667 | 0.23474
METHYL IODIDE | 2021 | 77424GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0778 | Abs | 051712 | Abs 051712: 10 µl | 0.9 | METHYL_IODIDE | E | 0.26 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | Abs 051712 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.2361 | 0.22392 | 1.2361 | 0.31667 | 0.23474
METHYL IODIDE | 2021 | 77424GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.2193 | Abs | 090809 | Abs 090809: 10 µl | 0.976 | METHYL_IODIDE | E | 0.26 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2193 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2248 | 0.13152 | 1.2227 | 0.19638 | 0.14557
METHYL IODIDE | 2021 | 77424GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.168 | Abs | 090809 | Abs 090809: 30 µl | 2.928 | METHYL_IODIDE | E | 0.26 | 3.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.168 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2248 | 0.13152 | 1.2227 | 0.19638 | 0.14557
METHYL IODIDE | 2021 | 77424GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.2398 | Abs | 090809 | Abs 090809: 10 µl | 0.976 | METHYL_IODIDE | E | 0.26 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2398 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2248 | 0.13152 | 1.2227 | 0.19638 | 0.14557
METHYL IODIDE | 2021 | 77424GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.2261 | Abs | 090809 | Abs 090809: 30 µl | 2.928 | METHYL_IODIDE | E | 0.26 | 3.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2261 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2248 | 0.13152 | 1.2227 | 0.19638 | 0.14557
METHYL IODIDE | 2021 | 77424GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0758 | Abs | 090809 | Abs 090809: 10 µl | 0.976 | METHYL_IODIDE | E | 0.26 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0758 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2248 | 0.13152 | 1.2227 | 0.19638 | 0.14557
METHYL IODIDE | 2021 | 77424GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.4174 | Abs | 090809 | Abs 090809: 30 µl | 2.928 | METHYL_IODIDE | E | 0.26 | 4.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4173 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2248 | 0.13152 | 1.2227 | 0.19638 | 0.14557
METHYL IODIDE | 2021 | 77424GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0553 | Abs | 090809 | Abs 090809: 10 µl | 0.976 | METHYL_IODIDE | E | 0.26 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0553 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2248 | 0.13152 | 1.2227 | 0.19638 | 0.14557
METHYL IODIDE | 2021 | 77424GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.3969 | Abs | 090809 | Abs 090809: 30 µl | 2.928 | METHYL_IODIDE | E | 0.26 | 4.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3969 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.2248 | 0.13152 | 1.2227 | 0.19638 | 0.14557
METHYL IODIDE | 2021 | 77424GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.6 | METHYL_IODIDE | E | 0.26 | 3.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.025 |  | 1.025 | 0 | 0
METHYL IODIDE | 2021 | 77424GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.125 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.4 | METHYL_IODIDE | E | 0.26 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.125 |  | 1.125 | 0 | 0
METHYL IODIDE | 2021 | 77424GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1389 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.792 | METHYL_IODIDE | E | 0.26 | 0.902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1389 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.2197 | 0.11428 | 1.2197 | 0.16162 | 0.1198
METHYL IODIDE | 2021 | 77424GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.3005 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.396 | METHYL_IODIDE | E | 0.26 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3005 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.2197 | 0.11428 | 1.2197 | 0.16162 | 0.1198
METHYL IODIDE | 2021 | 77424GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1313 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.396 | METHYL_IODIDE | E | 0.26 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1313 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.1313 |  | 1.1313 | 0 | 0
METHYL IODIDE | 2021 | 77424GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.2753 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.792 | METHYL_IODIDE | E | 0.26 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2753 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.2753 |  | 1.2753 | 0 | 0
METHYL IODIDE | 2021 | 77424GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 3.6 | METHYL_IODIDE | E | 0.26 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1 |  | 1 | 0 | 0
METHYL IODIDE | 2021 | 77424GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.3068 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.88 | METHYL_IODIDE | E | 0.26 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3068 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.3437 | 0.05223 | 1.3437 | 0.073864 | 0.054754
METHYL IODIDE | 2021 | 77424GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.3807 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 3.52 | METHYL_IODIDE | E | 0.26 | 4.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3807 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.3437 | 0.05223 | 1.3437 | 0.073864 | 0.054754
METHYL IODIDE | 2021 | 77424GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.90227 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | METHYL_IODIDE | E | 0.26 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90227 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.075 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.88 | METHYL_IODIDE | E | 0.26 | 0.946 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0636 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | METHYL_IODIDE | E | 0.26 | 0.468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0636 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0727 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | METHYL_IODIDE | E | 0.26 | 0.472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0727 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.1477 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.88 | METHYL_IODIDE | E | 0.26 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1477 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.96818 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | METHYL_IODIDE | E | 0.26 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96818 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.1477 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.88 | METHYL_IODIDE | E | 0.26 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1477 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1455 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | METHYL_IODIDE | E | 0.26 | 0.504 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1455 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0011 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.88 | METHYL_IODIDE | E | 0.26 | 0.881 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0011 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0659 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | METHYL_IODIDE | E | 0.26 | 0.469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0659 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.96136 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.44 | METHYL_IODIDE | E | 0.26 | 0.423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96136 | Crescent 06MM148 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0501 | 0.082798 | 1.0659 | 0.17727 | 0.13141
METHYL IODIDE | 2021 | 77424GCM66 | 2009-02-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.82746 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.136 | METHYL_IODIDE | E | 0.8 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82746 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.89349 | 0.058325 | 0.88028 | 0.052817 | 0.039153
METHYL IODIDE | 2021 | 77424GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.86268 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.568 | METHYL_IODIDE | E | 0.8 | 0.49 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86268 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.89349 | 0.058325 | 0.88028 | 0.052817 | 0.039153
METHYL IODIDE | 2021 | 77424GCM66 | 2009-04-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.89789 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.568 | METHYL_IODIDE | E | 0.8 | 0.51 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.89789 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.89349 | 0.058325 | 0.88028 | 0.052817 | 0.039153
METHYL IODIDE | 2021 | 77424GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.86268 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.568 | METHYL_IODIDE | E | 0.8 | 0.49 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86268 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.89349 | 0.058325 | 0.88028 | 0.052817 | 0.039153
METHYL IODIDE | 2021 | 77424GCM66 | 2009-07-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.99472 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.136 | METHYL_IODIDE | E | 0.8 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99472 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.89349 | 0.058325 | 0.88028 | 0.052817 | 0.039153
METHYL IODIDE | 2021 | 77424GCM66 | 2009-09-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.91549 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.568 | METHYL_IODIDE | E | 0.8 | 0.52 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.91549 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.89349 | 0.058325 | 0.88028 | 0.052817 | 0.039153
METHYL IODIDE | 2021 | 77424GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.96023 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1.76 | METHYL_IODIDE | E | 0.26 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96023 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.0216 | 0.086781 | 1.0216 | 0.12273 | 0.090976
METHYL IODIDE | 2021 | 77424GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.083 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.88 | METHYL_IODIDE | E | 0.26 | 0.953 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.083 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.0216 | 0.086781 | 1.0216 | 0.12273 | 0.090976
METHYL IODIDE | 2021 | 77424GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.2705 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.976 | METHYL_IODIDE | E | 0.26 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2705 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.1723 | 0.10638 | 1.1954 | 0.17077 | 0.12659
METHYL IODIDE | 2021 | 77424GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.99727 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.928 | METHYL_IODIDE | E | 0.26 | 2.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99727 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.1723 | 0.10638 | 1.1954 | 0.17077 | 0.12659
METHYL IODIDE | 2021 | 77424GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1578 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.976 | METHYL_IODIDE | E | 0.26 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1578 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.1723 | 0.10638 | 1.1954 | 0.17077 | 0.12659
METHYL IODIDE | 2021 | 77424GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0417 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.928 | METHYL_IODIDE | E | 0.26 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.1723 | 0.10638 | 1.1954 | 0.17077 | 0.12659
METHYL IODIDE | 2021 | 77424GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1475 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.976 | METHYL_IODIDE | E | 0.26 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1475 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.1723 | 0.10638 | 1.1954 | 0.17077 | 0.12659
METHYL IODIDE | 2021 | 77424GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.2329 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.928 | METHYL_IODIDE | E | 0.26 | 3.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2329 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.1723 | 0.10638 | 1.1954 | 0.17077 | 0.12659
METHYL IODIDE | 2021 | 77424GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.2602 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.976 | METHYL_IODIDE | E | 0.26 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2602 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.1723 | 0.10638 | 1.1954 | 0.17077 | 0.12659
METHYL IODIDE | 2021 | 77424GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.2705 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.928 | METHYL_IODIDE | E | 0.26 | 3.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2705 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 1.1723 | 0.10638 | 1.1954 | 0.17077 | 0.12659
METHYL IODIDE | 2021 | 77424GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1283 | Restek | A075493 | Restek A075493: 40 µl | 0.904 | METHYL_IODIDE | E | 0.26 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1283 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0089 | Restek | A075493 | Restek A075493: 20 µl | 0.452 | METHYL_IODIDE | E | 0.26 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0088 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1007 | Restek | A075493 | Restek A075493: 40 µl | 0.904 | METHYL_IODIDE | E | 0.26 | 0.995 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1007 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0155 | Restek | A075493 | Restek A075493: 20 µl | 0.452 | METHYL_IODIDE | E | 0.26 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0155 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.1051 | Restek | A075493 | Restek A075493: 40 µl | 0.904 | METHYL_IODIDE | E | 0.26 | 0.999 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1051 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1394 | Restek | A075493 | Restek A075493: 20 µl | 0.452 | METHYL_IODIDE | E | 0.26 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1394 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.96681 | Restek | A075493 | Restek A075493: 20 µl | 0.452 | METHYL_IODIDE | E | 0.26 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96681 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0089 | Restek | A075493 | Restek A075493: 40 µl | 0.904 | METHYL_IODIDE | E | 0.26 | 0.912 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0088 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0752 | Restek | A075493 | Restek A075493: 20 µl | 0.452 | METHYL_IODIDE | E | 0.26 | 0.486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0752 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0951 | Restek | A075493 | Restek A075493: 40 µl | 0.904 | METHYL_IODIDE | E | 0.26 | 0.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0951 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.93363 | Restek | A075493 | Restek A075493: 20 µl | 0.452 | METHYL_IODIDE | E | 0.26 | 0.422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93363 | Restek A075493 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.0525 | 0.068825 | 1.0752 | 0.096239 | 0.071341
METHYL IODIDE | 2021 | 77424GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.1056 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.8 | METHYL_IODIDE | E | 0.26 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1056 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.1056 |  | 1.1056 | 0 | 0
METHYL IODIDE | 2021 | 77424GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0375 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.88 | METHYL_IODIDE | E | 0.26 | 0.913 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0375 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.0983 | 0.085978 | 1.0983 | 0.12159 | 0.090134
METHYL IODIDE | 2021 | 77424GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1591 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.88 | METHYL_IODIDE | E | 0.26 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1591 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.0983 | 0.085978 | 1.0983 | 0.12159 | 0.090134
METHYL IODIDE | 2021 | 77424GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.99625 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.8 | METHYL_IODIDE | E | 0.26 | 0.797 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99625 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.1369 | 0.19887 | 1.1369 | 0.28125 | 0.20849
METHYL IODIDE | 2021 | 77424GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.2775 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.4 | METHYL_IODIDE | E | 0.26 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2775 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.1369 | 0.19887 | 1.1369 | 0.28125 | 0.20849
METHYL IODIDE | 2021 | 77424GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1389 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.792 | METHYL_IODIDE | E | 0.26 | 0.902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1389 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.1389 |  | 1.1389 | 0 | 0
METHYL IODIDE | 2021 | 77424GCM66 | 2009-02-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.1388 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.5708 | METHYL_IODIDE | E | 0.8 | 0.65 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1388 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.1227 | 0.051501 | 1.13 | 0.087596 | 0.064934
METHYL IODIDE | 2021 | 77424GCM66 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.1212 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.1416 | METHYL_IODIDE | E | 0.8 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1212 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.1227 | 0.051501 | 1.13 | 0.087596 | 0.064934
METHYL IODIDE | 2021 | 77424GCM66 | 2009-05-16 | 2008-10-01 | 2009-09-30 | ug/L | 1.0862 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.5708 | METHYL_IODIDE | E | 0.8 | 0.62 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0862 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.1227 | 0.051501 | 1.13 | 0.087596 | 0.064934
METHYL IODIDE | 2021 | 77424GCM66 | 2009-07-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.0424 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.1416 | METHYL_IODIDE | E | 0.8 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0424 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.1227 | 0.051501 | 1.13 | 0.087596 | 0.064934
METHYL IODIDE | 2021 | 77424GCM66 | 2009-08-19 | 2008-10-01 | 2009-09-30 | ug/L | 1.1738 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.5708 | METHYL_IODIDE | E | 0.8 | 0.67 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1738 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.1227 | 0.051501 | 1.13 | 0.087596 | 0.064934
METHYL IODIDE | 2021 | 77424GCM66 | 2009-09-26 | 2008-10-01 | 2009-09-30 | ug/L | 1.1738 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.5708 | METHYL_IODIDE | E | 0.8 | 0.67 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1738 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.1227 | 0.051501 | 1.13 | 0.087596 | 0.064934
METHYL IODIDE | 2021 | 77424GCM66 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.6875 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.48 | METHYL_IODIDE | E | 0.8 | 0.81 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.6875 | Ultra CE-0471 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 1 | 1.6875 |  | 1.6875 | 0 | 0