## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-11-15 | 2012-10-01 | 2050-09-30 | ug/L | 1.0909 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.44 | METHYL_METHACRYLATE | . | 0.3 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0557 | 0.049819 | 1.0557 | 0.070455 | 0.052227
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-12-31 | 2012-10-01 | 2050-09-30 | ug/L | 1.0205 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.88 | METHYL_METHACRYLATE | . | 0.3 | 0.898 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0205 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0557 | 0.049819 | 1.0557 | 0.070455 | 0.052227
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-09-27 | 2012-10-01 | 2050-09-30 | ug/L | 0.74545 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.44 | METHYL_METHACRYLATE | . | 0.3 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74545 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74545 |  | 0.74545 | 0 | 0
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-06-12 | 2010-10-01 | 2012-09-30 | ug/L | 0.82143 | Abs | 051712 | Abs 051712: 20 µl | 1.4 | METHYL_METHACRYLATE | . | 0.22 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82143 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.87286 | 0.072731 | 0.87286 | 0.10286 | 0.076247
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-11-21 | 2012-10-01 | 2050-09-30 | ug/L | 0.92429 | Abs | 051712 | Abs 051712: 10 µl | 0.7 | METHYL_METHACRYLATE | . | 0.3 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92429 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.87286 | 0.072731 | 0.87286 | 0.10286 | 0.076247
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.8 | Abs | 090809 | Abs 090809: 10 µl | 0.28 | METHYL_METHACRYLATE | . | 0.22 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94137 | 0.098109 | 0.93512 | 0.064286 | 0.047654
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.93214 | Abs | 090809 | Abs 090809: 30 µl | 0.84 | METHYL_METHACRYLATE | . | 0.22 | 0.783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93214 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94137 | 0.098109 | 0.93512 | 0.064286 | 0.047654
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.1464 | Abs | 090809 | Abs 090809: 10 µl | 0.28 | METHYL_METHACRYLATE | . | 0.22 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1464 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94137 | 0.098109 | 0.93512 | 0.064286 | 0.047654
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.88571 | Abs | 090809 | Abs 090809: 30 µl | 0.84 | METHYL_METHACRYLATE | . | 0.22 | 0.744 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88571 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94137 | 0.098109 | 0.93512 | 0.064286 | 0.047654
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.90714 | Abs | 090809 | Abs 090809: 10 µl | 0.28 | METHYL_METHACRYLATE | . | 0.22 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90714 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94137 | 0.098109 | 0.93512 | 0.064286 | 0.047654
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.9381 | Abs | 090809 | Abs 090809: 30 µl | 0.84 | METHYL_METHACRYLATE | . | 0.22 | 0.788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9381 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94137 | 0.098109 | 0.93512 | 0.064286 | 0.047654
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.95 | Abs | 090809 | Abs 090809: 10 µl | 0.28 | METHYL_METHACRYLATE | . | 0.22 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94137 | 0.098109 | 0.93512 | 0.064286 | 0.047654
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 0.97143 | Abs | 090809 | Abs 090809: 30 µl | 0.84 | METHYL_METHACRYLATE | . | 0.22 | 0.816 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97143 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94137 | 0.098109 | 0.93512 | 0.064286 | 0.047654
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-01-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.81786 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 2.8 | METHYL_METHACRYLATE | . | 0.3 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81786 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81786 |  | 0.81786 | 0 | 0
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-06-08 | 2012-10-01 | 2050-09-30 | ug/L | 1.025 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.44 | METHYL_METHACRYLATE | . | 0.3 | 0.451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.025 |  | 1.025 | 0 | 0
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-11-01 | 2012-10-01 | 2050-09-30 | ug/L | 0.93131 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.888 | METHYL_METHACRYLATE | . | 0.3 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93131 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1582 | 0.32091 | 1.1582 | 0.45383 | 0.33642
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-12-31 | 2012-10-01 | 2050-09-30 | ug/L | 1.3851 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.444 | METHYL_METHACRYLATE | . | 0.3 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3851 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1582 | 0.32091 | 1.1582 | 0.45383 | 0.33642
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-06-29 | 2012-10-01 | 2050-09-30 | ug/L | 1.1847 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.444 | METHYL_METHACRYLATE | . | 0.3 | 0.526 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1847 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1847 |  | 1.1847 | 0 | 0
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-08-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.92455 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.888 | METHYL_METHACRYLATE | . | 0.3 | 0.821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92455 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92455 |  | 0.92455 | 0 | 0
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-10-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.94643 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 2.8 | METHYL_METHACRYLATE | . | 0.3 | 2.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94643 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94643 |  | 0.94643 | 0 | 0
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-10-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.93437 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | METHYL_METHACRYLATE | . | 0.22 | 0.299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93437 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-12-03 | 2010-10-01 | 2012-09-30 | ug/L | 0.925 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | METHYL_METHACRYLATE | . | 0.22 | 0.592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-02-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.96562 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | METHYL_METHACRYLATE | . | 0.22 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96562 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-03-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.99062 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | METHYL_METHACRYLATE | . | 0.22 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99062 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-05-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.90625 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | METHYL_METHACRYLATE | . | 0.22 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-06-18 | 2010-10-01 | 2012-09-30 | ug/L | 0.77187 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | METHYL_METHACRYLATE | . | 0.22 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77187 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-08-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.95469 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | METHYL_METHACRYLATE | . | 0.22 | 0.611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95469 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-10-24 | 2010-10-01 | 2012-09-30 | ug/L | 1.0156 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | METHYL_METHACRYLATE | . | 0.22 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-12-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.92812 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | METHYL_METHACRYLATE | . | 0.22 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92812 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-02-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.8875 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | METHYL_METHACRYLATE | . | 0.22 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-03-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.88125 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | METHYL_METHACRYLATE | . | 0.22 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88125 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92372 | 0.065 | 0.92812 | 0.078125 | 0.057913
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-02-06 | 2004-10-01 | 2009-09-30 | ug/L | 0.99126 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.5952 | METHYL_METHACRYLATE | . | 0.2 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99126 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0137 | 0.045909 | 1.0165 | 0.050403 | 0.037363
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-03-14 | 2004-10-01 | 2009-09-30 | ug/L | 1.0417 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2976 | METHYL_METHACRYLATE | . | 0.2 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0137 | 0.045909 | 1.0165 | 0.050403 | 0.037363
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-04-25 | 2004-10-01 | 2009-09-30 | ug/L | 1.0753 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2976 | METHYL_METHACRYLATE | . | 0.2 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0753 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0137 | 0.045909 | 1.0165 | 0.050403 | 0.037363
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-06-17 | 2004-10-01 | 2009-09-30 | ug/L | 1.0081 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2976 | METHYL_METHACRYLATE | . | 0.2 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0081 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0137 | 0.045909 | 1.0165 | 0.050403 | 0.037363
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-07-25 | 2004-10-01 | 2009-09-30 | ug/L | 1.0249 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.5952 | METHYL_METHACRYLATE | . | 0.2 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0249 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0137 | 0.045909 | 1.0165 | 0.050403 | 0.037363
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-09-05 | 2004-10-01 | 2009-09-30 | ug/L | 0.94086 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2976 | METHYL_METHACRYLATE | . | 0.2 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94086 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0137 | 0.045909 | 1.0165 | 0.050403 | 0.037363
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.2107 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.28 | METHYL_METHACRYLATE | . | 0.22 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2107 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0003 | 0.15748 | 1.044 | 0.26905 | 0.19944
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.044 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.84 | METHYL_METHACRYLATE | . | 0.22 | 0.877 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.044 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0003 | 0.15748 | 1.044 | 0.26905 | 0.19944
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.28 | METHYL_METHACRYLATE | . | 0.22 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0003 | 0.15748 | 1.044 | 0.26905 | 0.19944
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.8 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.84 | METHYL_METHACRYLATE | . | 0.22 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0003 | 0.15748 | 1.044 | 0.26905 | 0.19944
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.85238 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.84 | METHYL_METHACRYLATE | . | 0.22 | 0.716 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85238 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0003 | 0.15748 | 1.044 | 0.26905 | 0.19944
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1214 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.28 | METHYL_METHACRYLATE | . | 0.22 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1214 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0003 | 0.15748 | 1.044 | 0.26905 | 0.19944
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.87381 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.84 | METHYL_METHACRYLATE | . | 0.22 | 0.734 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87381 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0003 | 0.15748 | 1.044 | 0.26905 | 0.19944
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2010-11-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.93333 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | METHYL_METHACRYLATE | . | 0.22 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-01-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.83667 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | METHYL_METHACRYLATE | . | 0.22 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83667 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-03-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.85 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | METHYL_METHACRYLATE | . | 0.22 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-04-21 | 2010-10-01 | 2012-09-30 | ug/L | 0.88 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | METHYL_METHACRYLATE | . | 0.22 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-05-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.88333 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | METHYL_METHACRYLATE | . | 0.22 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-07-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.1233 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | METHYL_METHACRYLATE | . | 0.22 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1233 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-09-03 | 2010-10-01 | 2012-09-30 | ug/L | 0.90333 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | METHYL_METHACRYLATE | . | 0.22 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2011-11-18 | 2010-10-01 | 2012-09-30 | ug/L | 0.87 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | METHYL_METHACRYLATE | . | 0.22 | 0.522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-01-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.78667 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | METHYL_METHACRYLATE | . | 0.22 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78667 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-02-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.79333 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | METHYL_METHACRYLATE | . | 0.22 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-04-06 | 2010-10-01 | 2012-09-30 | ug/L | 0.85667 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | METHYL_METHACRYLATE | . | 0.22 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85667 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.88333 | 0.090627 | 0.87 | 0.066667 | 0.049419
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2012-07-30 | 2010-10-01 | 2012-09-30 | ug/L | 0.86429 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.4 | METHYL_METHACRYLATE | . | 0.22 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86429 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86429 |  | 0.86429 | 0 | 0
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-08-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.62955 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.88 | METHYL_METHACRYLATE | E | 0.3 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62955 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.85114 | 0.31338 | 0.85114 | 0.44318 | 0.32853
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-12-12 | 2012-10-01 | 2050-09-30 | ug/L | 1.0727 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.44 | METHYL_METHACRYLATE | . | 0.3 | 0.472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0727 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85114 | 0.31338 | 0.85114 | 0.44318 | 0.32853
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2013-09-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.93243 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.888 | METHYL_METHACRYLATE | . | 0.3 | 0.828 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93243 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93243 |  | 0.93243 | 0 | 0
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-02-27 | 2004-10-01 | 2009-09-30 | ug/L | 1.2517 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2956 | METHYL_METHACRYLATE | E | 0.2 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2517 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0487 | 0.13574 | 1.0233 | 0.21989 | 0.163
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-04-08 | 2004-10-01 | 2009-09-30 | ug/L | 0.96414 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.5912 | METHYL_METHACRYLATE | . | 0.2 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96414 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0487 | 0.13574 | 1.0233 | 0.21989 | 0.163
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-05-16 | 2004-10-01 | 2009-09-30 | ug/L | 0.9134 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2956 | METHYL_METHACRYLATE | . | 0.2 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9134 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0487 | 0.13574 | 1.0233 | 0.21989 | 0.163
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-07-08 | 2004-10-01 | 2009-09-30 | ug/L | 0.93031 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.5912 | METHYL_METHACRYLATE | . | 0.2 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93031 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0487 | 0.13574 | 1.0233 | 0.21989 | 0.163
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-08-19 | 2004-10-01 | 2009-09-30 | ug/L | 1.0825 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2956 | METHYL_METHACRYLATE | . | 0.2 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0825 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0487 | 0.13574 | 1.0233 | 0.21989 | 0.163
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-09-26 | 2004-10-01 | 2009-09-30 | ug/L | 1.1502 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2956 | METHYL_METHACRYLATE | . | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1502 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0487 | 0.13574 | 1.0233 | 0.21989 | 0.163
METHYL METHACRYLATE | 2021 | 81597GCM66 | 2009-01-17 | 2004-10-01 | 2009-09-30 | ug/L | 0.83333 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.36 | METHYL_METHACRYLATE | E | 0.2 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Ultra CE-0471 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0