## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NAPHTHALENE | 2021 | 34696GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.84062 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84062 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77109 | 0.098332 | 0.77109 | 0.13906 | 0.10309
NAPHTHALENE | 2021 | 34696GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.70156 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.64 | NAPHTHALENE | . | 0.18 | 0.449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70156 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77109 | 0.098332 | 0.77109 | 0.13906 | 0.10309
NAPHTHALENE | 2021 | 34696GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.725 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.725 |  | 0.725 | 0 | 0
NAPHTHALENE | 2021 | 34696GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.62333 | Abs | 051712 | Abs 051712: 20 µl | 3 | NAPHTHALENE | . | 0.18 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62333 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.69167 | 0.096638 | 0.69167 | 0.13667 | 0.10131
NAPHTHALENE | 2021 | 34696GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.76 | Abs | 051712 | Abs 051712: 10 µl | 1.5 | NAPHTHALENE | . | 0.18 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.69167 | 0.096638 | 0.69167 | 0.13667 | 0.10131
NAPHTHALENE | 2021 | 34696GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.73333 | Abs | 090809 | Abs 090809: 10 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.76764 | 0.088498 | 0.78889 | 0.12111 | 0.089778
NAPHTHALENE | 2021 | 34696GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.81222 | Abs | 090809 | Abs 090809: 30 µl | 0.9 | NAPHTHALENE | . | 0.18 | 0.731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81222 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.76764 | 0.088498 | 0.78889 | 0.12111 | 0.089778
NAPHTHALENE | 2021 | 34696GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.81333 | Abs | 090809 | Abs 090809: 10 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81333 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.76764 | 0.088498 | 0.78889 | 0.12111 | 0.089778
NAPHTHALENE | 2021 | 34696GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.84556 | Abs | 090809 | Abs 090809: 30 µl | 0.9 | NAPHTHALENE | . | 0.18 | 0.761 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84556 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.76764 | 0.088498 | 0.78889 | 0.12111 | 0.089778
NAPHTHALENE | 2021 | 34696GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.68333 | Abs | 090809 | Abs 090809: 10 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68333 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.76764 | 0.088498 | 0.78889 | 0.12111 | 0.089778
NAPHTHALENE | 2021 | 34696GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.61111 | Abs | 090809 | Abs 090809: 30 µl | 0.9 | NAPHTHALENE | . | 0.18 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61111 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.76764 | 0.088498 | 0.78889 | 0.12111 | 0.089778
NAPHTHALENE | 2021 | 34696GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.87667 | Abs | 090809 | Abs 090809: 10 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87667 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.76764 | 0.088498 | 0.78889 | 0.12111 | 0.089778
NAPHTHALENE | 2021 | 34696GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 0.76556 | Abs | 090809 | Abs 090809: 30 µl | 0.9 | NAPHTHALENE | . | 0.18 | 0.689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76556 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.76764 | 0.088498 | 0.78889 | 0.12111 | 0.089778
NAPHTHALENE | 2021 | 34696GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.96167 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 6 | NAPHTHALENE | . | 0.18 | 5.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96167 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96167 |  | 0.96167 | 0 | 0
NAPHTHALENE | 2021 | 34696GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.775 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.775 |  | 0.775 | 0 | 0
NAPHTHALENE | 2021 | 34696GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.71739 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.644 | NAPHTHALENE | . | 0.18 | 0.462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71739 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77174 | 0.076859 | 0.77174 | 0.1087 | 0.080575
NAPHTHALENE | 2021 | 34696GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.82609 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.322 | NAPHTHALENE | . | 0.18 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82609 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77174 | 0.076859 | 0.77174 | 0.1087 | 0.080575
NAPHTHALENE | 2021 | 34696GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.64286 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.322 | NAPHTHALENE | . | 0.18 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64286 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.64286 |  | 0.64286 | 0 | 0
NAPHTHALENE | 2021 | 34696GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.74689 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.644 | NAPHTHALENE | . | 0.18 | 0.481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74689 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74689 |  | 0.74689 | 0 | 0
NAPHTHALENE | 2021 | 34696GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.80833 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 6 | NAPHTHALENE | . | 0.18 | 4.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80833 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80833 |  | 0.80833 | 0 | 0
NAPHTHALENE | 2021 | 34696GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.90667 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 1.5 | NAPHTHALENE | . | 0.18 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.995 | 0.12492 | 0.995 | 0.17667 | 0.13096
NAPHTHALENE | 2021 | 34696GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0833 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 6 | NAPHTHALENE | . | 0.18 | 6.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.995 | 0.12492 | 0.995 | 0.17667 | 0.13096
NAPHTHALENE | 2021 | 34696GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.70937 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70937 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.72188 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | NAPHTHALENE | . | 0.18 | 0.462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72188 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.7125 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7125 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.66875 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.58437 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | NAPHTHALENE | . | 0.18 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58437 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.72812 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72813 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.70156 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | NAPHTHALENE | . | 0.18 | 0.449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70156 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.71875 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.83437 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | NAPHTHALENE | . | 0.18 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83437 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.75313 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75312 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.7875 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.72003 | 0.063511 | 0.71875 | 0.051562 | 0.038223
NAPHTHALENE | 2021 | 34696GCM66 | 2009-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.81995 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.5976 | NAPHTHALENE | . | 0.2 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81995 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80879 | 0.11817 | 0.81995 | 0.13387 | 0.099236
NAPHTHALENE | 2021 | 34696GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.83668 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2988 | NAPHTHALENE | . | 0.2 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83668 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80879 | 0.11817 | 0.81995 | 0.13387 | 0.099236
NAPHTHALENE | 2021 | 34696GCM66 | 2009-04-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.004 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2988 | NAPHTHALENE | . | 0.2 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80879 | 0.11817 | 0.81995 | 0.13387 | 0.099236
NAPHTHALENE | 2021 | 34696GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.70281 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2988 | NAPHTHALENE | . | 0.2 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70281 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80879 | 0.11817 | 0.81995 | 0.13387 | 0.099236
NAPHTHALENE | 2021 | 34696GCM66 | 2009-07-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.81995 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.5976 | NAPHTHALENE | . | 0.2 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81995 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80879 | 0.11817 | 0.81995 | 0.13387 | 0.099236
NAPHTHALENE | 2021 | 34696GCM66 | 2009-09-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.66934 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2988 | NAPHTHALENE | . | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66934 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80879 | 0.11817 | 0.81995 | 0.13387 | 0.099236
NAPHTHALENE | 2021 | 34696GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.83667 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 3 | NAPHTHALENE | . | 0.18 | 2.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83667 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78833 | 0.068354 | 0.78833 | 0.096667 | 0.071658
NAPHTHALENE | 2021 | 34696GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.74 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 1.5 | NAPHTHALENE | . | 0.18 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78833 | 0.068354 | 0.78833 | 0.096667 | 0.071658
NAPHTHALENE | 2021 | 34696GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.69667 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69667 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82403 | 0.10421 | 0.82611 | 0.17889 | 0.13261
NAPHTHALENE | 2021 | 34696GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.93 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.9 | NAPHTHALENE | . | 0.18 | 0.837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82403 | 0.10421 | 0.82611 | 0.17889 | 0.13261
NAPHTHALENE | 2021 | 34696GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.74333 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74333 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82403 | 0.10421 | 0.82611 | 0.17889 | 0.13261
NAPHTHALENE | 2021 | 34696GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.86222 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.9 | NAPHTHALENE | . | 0.18 | 0.776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86222 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82403 | 0.10421 | 0.82611 | 0.17889 | 0.13261
NAPHTHALENE | 2021 | 34696GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.97667 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97667 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82403 | 0.10421 | 0.82611 | 0.17889 | 0.13261
NAPHTHALENE | 2021 | 34696GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.71111 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.9 | NAPHTHALENE | . | 0.18 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71111 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82403 | 0.10421 | 0.82611 | 0.17889 | 0.13261
NAPHTHALENE | 2021 | 34696GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.79 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82403 | 0.10421 | 0.82611 | 0.17889 | 0.13261
NAPHTHALENE | 2021 | 34696GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.88222 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.9 | NAPHTHALENE | . | 0.18 | 0.794 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88222 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.82403 | 0.10421 | 0.82611 | 0.17889 | 0.13261
NAPHTHALENE | 2021 | 34696GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.75333 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | NAPHTHALENE | . | 0.18 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.78 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.59667 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | NAPHTHALENE | . | 0.18 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59667 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.55 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.59167 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | NAPHTHALENE | . | 0.18 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59167 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.72 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.63333 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.79333 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | NAPHTHALENE | . | 0.18 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.69 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.72333 | Restek | A075493 | Restek A075493: 40 µl | 0.6 | NAPHTHALENE | . | 0.18 | 0.434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.81333 | Restek | A075493 | Restek A075493: 20 µl | 0.3 | NAPHTHALENE | . | 0.18 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81333 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.695 | 0.08996 | 0.72 | 0.18333 | 0.1359
NAPHTHALENE | 2021 | 34696GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.94333 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 3 | NAPHTHALENE | . | 0.18 | 2.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94333 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94333 |  | 0.94333 | 0 | 0
NAPHTHALENE | 2021 | 34696GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.84667 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.5 | NAPHTHALENE | . | 0.18 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84667 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75667 | 0.12728 | 0.75667 | 0.18 | 0.13343
NAPHTHALENE | 2021 | 34696GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.66667 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.5 | NAPHTHALENE | . | 0.18 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75667 | 0.12728 | 0.75667 | 0.18 | 0.13343
NAPHTHALENE | 2021 | 34696GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.69688 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.64 | NAPHTHALENE | . | 0.18 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69688 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.73438 | 0.053033 | 0.73438 | 0.075 | 0.055597
NAPHTHALENE | 2021 | 34696GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.77187 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.32 | NAPHTHALENE | . | 0.18 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77187 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.73438 | 0.053033 | 0.73438 | 0.075 | 0.055597
NAPHTHALENE | 2021 | 34696GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.77329 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.644 | NAPHTHALENE | . | 0.18 | 0.498 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77329 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77329 |  | 0.77329 | 0 | 0
NAPHTHALENE | 2021 | 34696GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.86782 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2996 | NAPHTHALENE | . | 0.2 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86782 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75935 | 0.077383 | 0.76769 | 0.11682 | 0.086599
NAPHTHALENE | 2021 | 34696GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.73431 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.5992 | NAPHTHALENE | . | 0.2 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73431 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75935 | 0.077383 | 0.76769 | 0.11682 | 0.086599
NAPHTHALENE | 2021 | 34696GCM66 | 2009-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.80107 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2996 | NAPHTHALENE | . | 0.2 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80107 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75935 | 0.077383 | 0.76769 | 0.11682 | 0.086599
NAPHTHALENE | 2021 | 34696GCM66 | 2009-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.68425 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.5992 | NAPHTHALENE | . | 0.2 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68425 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75935 | 0.077383 | 0.76769 | 0.11682 | 0.086599
NAPHTHALENE | 2021 | 34696GCM66 | 2009-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.80107 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2996 | NAPHTHALENE | . | 0.2 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80107 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.75935 | 0.077383 | 0.76769 | 0.11682 | 0.086599
NAPHTHALENE | 2021 | 34696GCM66 | 2009-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 0.66756 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2996 | NAPHTHALENE | E | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66756 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.75935 | 0.077383 | 0.76769 | 0.11682 | 0.086599
NAPHTHALENE | 2021 | 34696GCM66 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.1154 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.52 | NAPHTHALENE | . | 0.2 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1154 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1154 |  | 1.1154 | 0 | 0