## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.90862 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.058 | O-ETHYL_TOLUENE | . | 0.032 | 0.0527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90862 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91121 | 0.0036574 | 0.91121 | 0.0051724 | 0.0038343
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.91379 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.116 | O-ETHYL_TOLUENE | . | 0.032 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91379 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91121 | 0.0036574 | 0.91121 | 0.0051724 | 0.0038343
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.99483 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.058 | O-ETHYL_TOLUENE | . | 0.032 | 0.0577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99483 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99483 |  | 0.99483 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.94545 | Abs | 080510 | Abs 080510: 20 µl | 0.044 | O-ETHYL_TOLUENE | . | 0.032 | 0.0416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94545 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.74091 | Abs | 080510 | Abs 080510: 20 µl | 0.044 | O-ETHYL_TOLUENE | . | 0.032 | 0.0326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74091 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0318 | Abs | 080510 | Abs 080510: 40 µl | 0.088 | O-ETHYL_TOLUENE | . | 0.032 | 0.0908 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0318 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.925 | Abs | 080510 | Abs 080510: 20 µl | 0.044 | O-ETHYL_TOLUENE | . | 0.032 | 0.0407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.91364 | Abs | 080510 | Abs 080510: 40 µl | 0.088 | O-ETHYL_TOLUENE | . | 0.032 | 0.0804 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91364 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.96364 | Abs | 080510 | Abs 080510: 20 µl | 0.044 | O-ETHYL_TOLUENE | . | 0.032 | 0.0424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96364 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.91591 | Abs | 080510 | Abs 080510: 40 µl | 0.088 | O-ETHYL_TOLUENE | . | 0.032 | 0.0806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91591 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0205 | Abs | 080510 | Abs 080510: 20 µl | 0.044 | O-ETHYL_TOLUENE | . | 0.032 | 0.0449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0205 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87386 | Abs | 080510 | Abs 080510: 40 µl | 0.088 | O-ETHYL_TOLUENE | . | 0.032 | 0.0769 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87386 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.99091 | Abs | 080510 | Abs 080510: 20 µl | 0.044 | O-ETHYL_TOLUENE | . | 0.032 | 0.0436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99091 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.86023 | Abs | 080510 | Abs 080510: 40 µl | 0.088 | O-ETHYL_TOLUENE | . | 0.032 | 0.0757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86023 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.92562 | 0.08227 | 0.925 | 0.11705 | 0.086765
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.81875 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 0.32 | O-ETHYL_TOLUENE | . | 0.032 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81875 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81875 |  | 0.81875 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.76375 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | O-ETHYL_TOLUENE | . | 0.032 | 0.0611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.6725 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | O-ETHYL_TOLUENE | . | 0.032 | 0.0269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6725 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.835 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | O-ETHYL_TOLUENE | . | 0.032 | 0.0334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.61875 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | O-ETHYL_TOLUENE | . | 0.032 | 0.0495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61875 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.8275 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | O-ETHYL_TOLUENE | . | 0.032 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8275 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.76375 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | O-ETHYL_TOLUENE | . | 0.032 | 0.0611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.8375 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | O-ETHYL_TOLUENE | . | 0.032 | 0.0335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.7975 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | O-ETHYL_TOLUENE | . | 0.032 | 0.0638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7975 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.6575 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | O-ETHYL_TOLUENE | . | 0.032 | 0.0263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6575 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | O-ETHYL_TOLUENE | . | 0.032 | 0.0661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.7075 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | O-ETHYL_TOLUENE | . | 0.032 | 0.0283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7075 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.75523 | 0.07914 | 0.76375 | 0.155 | 0.1149
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.91379 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.058 | O-ETHYL_TOLUENE | . | 0.032 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91379 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91379 |  | 0.91379 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.9569 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.116 | O-ETHYL_TOLUENE | . | 0.032 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9569 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9569 |  | 0.9569 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.71429 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.14 | O-ETHYL_TOLUENE | . | 0.02 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71429 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66837 | 0.067494 | 0.64286 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-02-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.78571 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.28 | O-ETHYL_TOLUENE | . | 0.02 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66837 | 0.067494 | 0.64286 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-04-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.64286 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.14 | O-ETHYL_TOLUENE | E | 0.02 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64286 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.66837 | 0.067494 | 0.64286 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-05-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.64286 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.14 | O-ETHYL_TOLUENE | E | 0.02 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64286 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.66837 | 0.067494 | 0.64286 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-06-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.57143 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.14 | O-ETHYL_TOLUENE | E | 0.02 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57143 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.66837 | 0.067494 | 0.64286 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-08-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.67857 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.28 | O-ETHYL_TOLUENE | . | 0.02 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67857 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.66837 | 0.067494 | 0.64286 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-09-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.64286 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.14 | O-ETHYL_TOLUENE | E | 0.02 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64286 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.66837 | 0.067494 | 0.64286 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.83103 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.058 | O-ETHYL_TOLUENE | . | 0.032 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83103 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83103 |  | 0.83103 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.74138 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.058 | O-ETHYL_TOLUENE | . | 0.032 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74138 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76336 | 0.031088 | 0.76336 | 0.043966 | 0.032591
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.78534 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.116 | O-ETHYL_TOLUENE | . | 0.032 | 0.0911 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78534 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76336 | 0.031088 | 0.76336 | 0.043966 | 0.032591
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.93281 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 0.64 | O-ETHYL_TOLUENE | . | 0.032 | 0.597 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93281 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93281 |  | 0.93281 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.94375 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.16 | O-ETHYL_TOLUENE | . | 0.032 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94375 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95625 | 0.017678 | 0.95625 | 0.025 | 0.018532
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.96875 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.32 | O-ETHYL_TOLUENE | . | 0.032 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95625 | 0.017678 | 0.95625 | 0.025 | 0.018532
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0375 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.16 | O-ETHYL_TOLUENE | . | 0.032 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0375 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0695 | 0.045299 | 1.0695 | 0.064062 | 0.047489
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.1016 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 0.64 | O-ETHYL_TOLUENE | . | 0.032 | 0.705 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1016 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0695 | 0.045299 | 1.0695 | 0.064062 | 0.047489
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.83621 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.058 | O-ETHYL_TOLUENE | . | 0.032 | 0.0485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83621 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83621 |  | 0.83621 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.88793 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.116 | O-ETHYL_TOLUENE | . | 0.032 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88793 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88793 |  | 0.88793 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.94828 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.116 | O-ETHYL_TOLUENE | . | 0.032 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94828 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94828 |  | 0.94828 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.9125 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.16 | O-ETHYL_TOLUENE | . | 0.032 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9125 |  | 0.9125 | 0 | 0
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.825 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.32 | O-ETHYL_TOLUENE | . | 0.032 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88125 | 0.07955 | 0.88125 | 0.1125 | 0.083395
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.9375 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.16 | O-ETHYL_TOLUENE | . | 0.032 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88125 | 0.07955 | 0.88125 | 0.1125 | 0.083395
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.90938 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.32 | O-ETHYL_TOLUENE | . | 0.032 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90938 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.975 | 0.092808 | 0.975 | 0.13125 | 0.097294
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0406 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 0.64 | O-ETHYL_TOLUENE | . | 0.032 | 0.666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0406 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.975 | 0.092808 | 0.975 | 0.13125 | 0.097294
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-02-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.71429 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.14 | O-ETHYL_TOLUENE | E | 0.02 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71429 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.7619 | 0.036886 | 0.78571 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.78571 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.28 | O-ETHYL_TOLUENE | . | 0.02 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7619 | 0.036886 | 0.78571 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.78571 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.28 | O-ETHYL_TOLUENE | . | 0.02 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7619 | 0.036886 | 0.78571 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-06-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.71429 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.14 | O-ETHYL_TOLUENE | E | 0.02 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71429 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.7619 | 0.036886 | 0.78571 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-07-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.78571 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.14 | O-ETHYL_TOLUENE | . | 0.02 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7619 | 0.036886 | 0.78571 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.78571 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.14 | O-ETHYL_TOLUENE | . | 0.02 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78571 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.7619 | 0.036886 | 0.78571 | 0.071429 | 0.052949
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.895 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | O-ETHYL_TOLUENE | E | 0.032 | 0.0537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.84382 | 0.062438 | 0.83333 | 0.10389 | 0.077012
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.9 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | O-ETHYL_TOLUENE | . | 0.032 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84382 | 0.062438 | 0.83333 | 0.10389 | 0.077012
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.76333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | O-ETHYL_TOLUENE | E | 0.032 | 0.0458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76333 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.84382 | 0.062438 | 0.83333 | 0.10389 | 0.077012
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.81667 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | O-ETHYL_TOLUENE | . | 0.032 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81667 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84382 | 0.062438 | 0.83333 | 0.10389 | 0.077012
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.78167 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | O-ETHYL_TOLUENE | E | 0.032 | 0.0469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78167 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.84382 | 0.062438 | 0.83333 | 0.10389 | 0.077012
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.85 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | O-ETHYL_TOLUENE | . | 0.032 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84382 | 0.062438 | 0.83333 | 0.10389 | 0.077012
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.93833 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | O-ETHYL_TOLUENE | . | 0.032 | 0.0563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93833 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84382 | 0.062438 | 0.83333 | 0.10389 | 0.077012
O-ETHYL TOLUENE | 2021 | 77220GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.80556 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | O-ETHYL_TOLUENE | . | 0.032 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80556 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84382 | 0.062438 | 0.83333 | 0.10389 | 0.077012