## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.93939 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.066 | SEC-BUTYLBENZENE | . | 0.034 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93939 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89773 | 0.058926 | 0.89773 | 0.083333 | 0.061774
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.85606 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.132 | SEC-BUTYLBENZENE | . | 0.034 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85606 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89773 | 0.058926 | 0.89773 | 0.083333 | 0.061774
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.86212 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.066 | SEC-BUTYLBENZENE | . | 0.034 | 0.0569 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86212 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86212 |  | 0.86212 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.85526 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.152 | SEC-BUTYLBENZENE | . | 0.02 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85526 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78947 | 0.072069 | 0.78947 | 0.065789 | 0.048769
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.78947 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.076 | SEC-BUTYLBENZENE | E | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78947 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.78947 | 0.072069 | 0.78947 | 0.065789 | 0.048769
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-04-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.85526 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.152 | SEC-BUTYLBENZENE | . | 0.02 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85526 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78947 | 0.072069 | 0.78947 | 0.065789 | 0.048769
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-06-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.65789 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.076 | SEC-BUTYLBENZENE | E | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65789 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.78947 | 0.072069 | 0.78947 | 0.065789 | 0.048769
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-07-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.78947 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.076 | SEC-BUTYLBENZENE | E | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78947 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.78947 | 0.072069 | 0.78947 | 0.065789 | 0.048769
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-08-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.78947 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.076 | SEC-BUTYLBENZENE | E | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78947 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.78947 | 0.072069 | 0.78947 | 0.065789 | 0.048769
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.88571 | Abs | 080510 | Abs 080510: 20 µl | 0.056 | SEC-BUTYLBENZENE | . | 0.034 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88571 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.64643 | Abs | 080510 | Abs 080510: 20 µl | 0.056 | SEC-BUTYLBENZENE | . | 0.034 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64643 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.92857 | Abs | 080510 | Abs 080510: 40 µl | 0.112 | SEC-BUTYLBENZENE | . | 0.034 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92857 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.81429 | Abs | 080510 | Abs 080510: 20 µl | 0.056 | SEC-BUTYLBENZENE | . | 0.034 | 0.0456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81429 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.80089 | Abs | 080510 | Abs 080510: 40 µl | 0.112 | SEC-BUTYLBENZENE | . | 0.034 | 0.0897 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80089 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.90179 | Abs | 080510 | Abs 080510: 20 µl | 0.056 | SEC-BUTYLBENZENE | . | 0.034 | 0.0505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90179 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.79464 | Abs | 080510 | Abs 080510: 40 µl | 0.112 | SEC-BUTYLBENZENE | . | 0.034 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79464 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.90536 | Abs | 080510 | Abs 080510: 20 µl | 0.056 | SEC-BUTYLBENZENE | . | 0.034 | 0.0507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90536 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87321 | Abs | 080510 | Abs 080510: 40 µl | 0.112 | SEC-BUTYLBENZENE | . | 0.034 | 0.0978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87321 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.93036 | Abs | 080510 | Abs 080510: 20 µl | 0.056 | SEC-BUTYLBENZENE | . | 0.034 | 0.0521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93036 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.83393 | Abs | 080510 | Abs 080510: 40 µl | 0.112 | SEC-BUTYLBENZENE | . | 0.034 | 0.0934 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83393 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.84683 | 0.082784 | 0.87321 | 0.10446 | 0.077438
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.765 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 0.4 | SEC-BUTYLBENZENE | . | 0.034 | 0.306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.765 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.765 |  | 0.765 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.7525 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | SEC-BUTYLBENZENE | . | 0.034 | 0.0602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7525 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.6675 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | SEC-BUTYLBENZENE | . | 0.034 | 0.0267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6675 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.81 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | SEC-BUTYLBENZENE | . | 0.034 | 0.0324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.635 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | SEC-BUTYLBENZENE | . | 0.034 | 0.0508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.635 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.8125 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | SEC-BUTYLBENZENE | . | 0.034 | 0.0325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.75125 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | SEC-BUTYLBENZENE | . | 0.034 | 0.0601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75125 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.8325 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | SEC-BUTYLBENZENE | . | 0.034 | 0.0333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8325 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.75875 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | SEC-BUTYLBENZENE | . | 0.034 | 0.0607 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75875 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.7175 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | SEC-BUTYLBENZENE | . | 0.034 | 0.0287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7175 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.86625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | SEC-BUTYLBENZENE | . | 0.034 | 0.0693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.7625 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | SEC-BUTYLBENZENE | . | 0.034 | 0.0305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.76057 | 0.069229 | 0.75875 | 0.095 | 0.070423
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.84545 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.066 | SEC-BUTYLBENZENE | . | 0.034 | 0.0558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84545 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84545 |  | 0.84545 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80303 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.132 | SEC-BUTYLBENZENE | . | 0.034 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80303 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80303 |  | 0.80303 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87273 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.066 | SEC-BUTYLBENZENE | . | 0.034 | 0.0576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87273 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87273 |  | 0.87273 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.74242 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.066 | SEC-BUTYLBENZENE | . | 0.034 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74242 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78409 | 0.058926 | 0.78409 | 0.083333 | 0.061774
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82576 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.132 | SEC-BUTYLBENZENE | . | 0.034 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82576 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78409 | 0.058926 | 0.78409 | 0.083333 | 0.061774
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.9275 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 0.8 | SEC-BUTYLBENZENE | . | 0.034 | 0.742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9275 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9275 |  | 0.9275 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.87 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.2 | SEC-BUTYLBENZENE | . | 0.034 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90375 | 0.04773 | 0.90375 | 0.0675 | 0.050037
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.9375 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.4 | SEC-BUTYLBENZENE | . | 0.034 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90375 | 0.04773 | 0.90375 | 0.0675 | 0.050037
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.2 | SEC-BUTYLBENZENE | . | 0.034 | 0.184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0012 | 0.1149 | 1.0012 | 0.1625 | 0.12046
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0825 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 0.8 | SEC-BUTYLBENZENE | . | 0.034 | 0.866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0825 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0012 | 0.1149 | 1.0012 | 0.1625 | 0.12046
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.85152 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.066 | SEC-BUTYLBENZENE | . | 0.034 | 0.0562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85152 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.85152 |  | 0.85152 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.81061 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.132 | SEC-BUTYLBENZENE | . | 0.034 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81061 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.81061 |  | 0.81061 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.84848 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.132 | SEC-BUTYLBENZENE | . | 0.034 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84848 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84848 |  | 0.84848 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.85 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.2 | SEC-BUTYLBENZENE | . | 0.034 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85 |  | 0.85 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.815 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.4 | SEC-BUTYLBENZENE | . | 0.034 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.825 | 0.014142 | 0.825 | 0.02 | 0.014826
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.835 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.2 | SEC-BUTYLBENZENE | . | 0.034 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.825 | 0.014142 | 0.825 | 0.02 | 0.014826
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.4 | SEC-BUTYLBENZENE | . | 0.034 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94125 | 0.086621 | 0.94125 | 0.1225 | 0.090808
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0025 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 0.8 | SEC-BUTYLBENZENE | . | 0.034 | 0.802 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0025 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94125 | 0.086621 | 0.94125 | 0.1225 | 0.090808
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.772 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | SEC-BUTYLBENZENE | E | 0.034 | 0.0772 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.772 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.77954 | 0.04927 | 0.7675 | 0.048167 | 0.035705
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.88667 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | SEC-BUTYLBENZENE | . | 0.034 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77954 | 0.04927 | 0.7675 | 0.048167 | 0.035705
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.731 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | SEC-BUTYLBENZENE | . | 0.034 | 0.0731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.731 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77954 | 0.04927 | 0.7675 | 0.048167 | 0.035705
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.79667 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | SEC-BUTYLBENZENE | . | 0.034 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79667 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77954 | 0.04927 | 0.7675 | 0.048167 | 0.035705
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.757 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | SEC-BUTYLBENZENE | . | 0.034 | 0.0757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.757 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77954 | 0.04927 | 0.7675 | 0.048167 | 0.035705
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.79333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | SEC-BUTYLBENZENE | . | 0.034 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77954 | 0.04927 | 0.7675 | 0.048167 | 0.035705
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.763 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | SEC-BUTYLBENZENE | . | 0.034 | 0.0763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.763 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77954 | 0.04927 | 0.7675 | 0.048167 | 0.035705
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.73667 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | SEC-BUTYLBENZENE | . | 0.034 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73667 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.77954 | 0.04927 | 0.7675 | 0.048167 | 0.035705
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.87065 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | SEC-BUTYLBENZENE | E | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86028 | 0.061144 | 0.87065 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-03-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.87065 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | SEC-BUTYLBENZENE | E | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86028 | 0.061144 | 0.87065 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.87065 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | SEC-BUTYLBENZENE | E | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86028 | 0.061144 | 0.87065 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.74627 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.1608 | SEC-BUTYLBENZENE | . | 0.02 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74627 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86028 | 0.061144 | 0.87065 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.93284 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.1608 | SEC-BUTYLBENZENE | . | 0.02 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93284 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86028 | 0.061144 | 0.87065 | 0 | 0
SEC-BUTYLBENZENE | 2021 | 77350GCM66 | 2009-08-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.87065 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | SEC-BUTYLBENZENE | E | 0.02 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86028 | 0.061144 | 0.87065 | 0 | 0