## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0286 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.35 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0286 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99 | 0.054548 | 0.99 | 0.077143 | 0.057185
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.95143 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.7 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95143 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99 | 0.054548 | 0.99 | 0.077143 | 0.057185
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.91714 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.35 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91714 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91714 |  | 0.91714 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0107 | Abs | 051712 | Abs 051712: 20 µl | 2.8 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 2.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0054 | 0.0075761 | 1.0054 | 0.010714 | 0.0079424
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Abs | 051712 | Abs 051712: 10 µl | 1.4 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0054 | 0.0075761 | 1.0054 | 0.010714 | 0.0079424
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.92105 | Abs | 090809 | Abs 090809: 10 µl | 0.152 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92105 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.009 | 0.072643 | 1.0066 | 0.13158 | 0.097538
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0154 | Abs | 090809 | Abs 090809: 30 µl | 0.456 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0154 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.009 | 0.072643 | 1.0066 | 0.13158 | 0.097538
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0921 | Abs | 090809 | Abs 090809: 10 µl | 0.152 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0921 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.009 | 0.072643 | 1.0066 | 0.13158 | 0.097538
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0526 | Abs | 090809 | Abs 090809: 30 µl | 0.456 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.009 | 0.072643 | 1.0066 | 0.13158 | 0.097538
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.92763 | Abs | 090809 | Abs 090809: 10 µl | 0.152 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92763 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.009 | 0.072643 | 1.0066 | 0.13158 | 0.097538
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.99781 | Abs | 090809 | Abs 090809: 30 µl | 0.456 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99781 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.009 | 0.072643 | 1.0066 | 0.13158 | 0.097538
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.95395 | Abs | 090809 | Abs 090809: 10 µl | 0.152 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95395 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.009 | 0.072643 | 1.0066 | 0.13158 | 0.097538
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.1118 | Abs | 090809 | Abs 090809: 30 µl | 0.456 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1118 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.009 | 0.072643 | 1.0066 | 0.13158 | 0.097538
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0375 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 5.6 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 5.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0375 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0375 |  | 1.0375 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.96 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.35 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.99716 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.704 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.702 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99716 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0014 | 0.0060265 | 1.0014 | 0.0085227 | 0.0063178
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0057 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.352 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0057 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0014 | 0.0060265 | 1.0014 | 0.0085227 | 0.0063178
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.99716 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.352 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99716 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99716 |  | 0.99716 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93892 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.704 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93892 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93892 |  | 0.93892 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 5.6 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 5.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.05 |  | 1.05 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0786 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 1.4 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0786 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1696 | 0.12879 | 1.1696 | 0.18214 | 0.13502
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2607 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 5.6 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 7.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2607 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1696 | 0.12879 | 1.1696 | 0.18214 | 0.13502
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.85625 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85625 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.98281 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.629 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98281 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.1219 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1219 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.97187 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97188 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.93125 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.90938 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90938 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0437 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.668 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.975 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0562 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0563 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.98437 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98438 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.85625 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85625 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97173 | 0.082076 | 0.975 | 0.13438 | 0.099611
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-02-06 | 2004-10-01 | 2009-09-30 | ug/L | 1.049 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.4576 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.049 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99432 | 0.082638 | 1.0052 | 0.10927 | 0.080998
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-03-14 | 2004-10-01 | 2009-09-30 | ug/L | 1.049 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2288 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.049 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99432 | 0.082638 | 1.0052 | 0.10927 | 0.080998
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-04-25 | 2004-10-01 | 2009-09-30 | ug/L | 1.0927 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2288 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0927 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99432 | 0.082638 | 1.0052 | 0.10927 | 0.080998
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-06-17 | 2004-10-01 | 2009-09-30 | ug/L | 0.96154 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2288 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99432 | 0.082638 | 1.0052 | 0.10927 | 0.080998
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-07-25 | 2004-10-01 | 2009-09-30 | ug/L | 0.93969 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.4576 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93969 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99432 | 0.082638 | 1.0052 | 0.10927 | 0.080998
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-09-05 | 2004-10-01 | 2009-09-30 | ug/L | 0.87413 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2288 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87413 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99432 | 0.082638 | 1.0052 | 0.10927 | 0.080998
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2107 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 2.8 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 3.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2107 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0946 | 0.16415 | 1.0946 | 0.23214 | 0.17209
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.97857 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 1.4 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97857 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0946 | 0.16415 | 1.0946 | 0.23214 | 0.17209
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2008-12-20 | 2004-10-01 | 2009-09-30 | ug/L | 0.89286 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.28 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.89286 |  | 0.89286 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0526 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.152 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99479 | 0.06157 | 1.011 | 0.089912 | 0.066651
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0219 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.456 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99479 | 0.06157 | 1.011 | 0.089912 | 0.066651
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0395 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.152 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0395 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99479 | 0.06157 | 1.011 | 0.089912 | 0.066651
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.9364 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.456 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9364 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99479 | 0.06157 | 1.011 | 0.089912 | 0.066651
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.152 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99479 | 0.06157 | 1.011 | 0.089912 | 0.066651
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.97588 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.456 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97588 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99479 | 0.06157 | 1.011 | 0.089912 | 0.066651
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0526 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.152 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99479 | 0.06157 | 1.011 | 0.089912 | 0.066651
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.87939 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.456 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87939 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.99479 | 0.06157 | 1.011 | 0.089912 | 0.066651
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0781 | Restek | A075493 | Restek A075493: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0781 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Restek | A075493 | Restek A075493: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.94375 | Restek | A075493 | Restek A075493: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94375 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.90625 | Restek | A075493 | Restek A075493: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.91563 | Restek | A075493 | Restek A075493: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91563 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.84062 | Restek | A075493 | Restek A075493: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84062 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.87187 | Restek | A075493 | Restek A075493: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87187 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.97187 | Restek | A075493 | Restek A075493: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97188 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.98125 | Restek | A075493 | Restek A075493: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98125 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97031 | Restek | A075493 | Restek A075493: 40 µl | 0.64 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.621 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97031 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.92812 | Restek | A075493 | Restek A075493: 20 µl | 0.32 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92812 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95071 | 0.070681 | 0.94375 | 0.075 | 0.055597
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0821 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 2.8 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 3.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0821 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0821 |  | 1.0821 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0929 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.4 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0929 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0429 | 0.070711 | 1.0429 | 0.1 | 0.074129
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.99286 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 1.4 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99286 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0429 | 0.070711 | 1.0429 | 0.1 | 0.074129
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.68286 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.7 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68286 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0.23638 | 0.85 | 0.33429 | 0.2478
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0171 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.35 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0171 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0.23638 | 0.85 | 0.33429 | 0.2478
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97017 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.704 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97017 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97017 |  | 0.97017 | 0 | 0
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-02-27 | 2004-10-01 | 2009-09-30 | ug/L | 1.2522 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2316 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2522 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2953 | 0.090571 | 1.2953 | 0.086356 | 0.064015
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-04-08 | 2004-10-01 | 2009-09-30 | ug/L | 1.3385 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.4632 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3385 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2953 | 0.090571 | 1.2953 | 0.086356 | 0.064015
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-05-16 | 2004-10-01 | 2009-09-30 | ug/L | 1.1658 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2316 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1658 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2953 | 0.090571 | 1.2953 | 0.086356 | 0.064015
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-07-08 | 2004-10-01 | 2009-09-30 | ug/L | 1.2522 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.4632 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2522 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2953 | 0.090571 | 1.2953 | 0.086356 | 0.064015
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-08-19 | 2004-10-01 | 2009-09-30 | ug/L | 1.4249 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2316 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4249 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2953 | 0.090571 | 1.2953 | 0.086356 | 0.064015
TERT-BUTYL METHYL ETHER (MTBE) | 2021 | 78032GCM66 | 2009-09-26 | 2004-10-01 | 2009-09-30 | ug/L | 1.3385 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2316 | TERT-BUTYL_METHYL_ETHER_(MTBE) | . | 0.1 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3385 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2953 | 0.090571 | 1.2953 | 0.086356 | 0.064015