## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.91463 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.328 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91463 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90447 | 0.045901 | 0.91463 | 0.060976 | 0.045201
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.85366 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.164 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85366 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90447 | 0.045901 | 0.91463 | 0.060976 | 0.045201
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.97561 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.328 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97561 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90447 | 0.045901 | 0.91463 | 0.060976 | 0.045201
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.91463 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.164 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91463 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90447 | 0.045901 | 0.91463 | 0.060976 | 0.045201
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-07-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.91463 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.164 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91463 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90447 | 0.045901 | 0.91463 | 0.060976 | 0.045201
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-08-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.85366 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.164 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85366 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90447 | 0.045901 | 0.91463 | 0.060976 | 0.045201
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.92747 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.1968 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92747 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92747 |  | 0.92747 | 0 | 0
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0155 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.07976 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0155 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0155 |  | 1.0155 | 0 | 0
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.9842 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.15952 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9842 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0375 | 0.075356 | 1.0375 | 0.10657 | 0.078999
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0908 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.07976 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0908 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0375 | 0.075356 | 1.0375 | 0.10657 | 0.078999
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.86032 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15808 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86032 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.88668 | 0.091331 | 0.85189 | 0.17502 | 0.12974
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.80761 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47424 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80761 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.88668 | 0.091331 | 0.85189 | 0.17502 | 0.12974
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.98684 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15808 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98684 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.88668 | 0.091331 | 0.85189 | 0.17502 | 0.12974
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.84345 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47424 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84345 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.88668 | 0.091331 | 0.85189 | 0.17502 | 0.12974
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.82237 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15808 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82237 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.88668 | 0.091331 | 0.85189 | 0.17502 | 0.12974
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.7802 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47424 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7802 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.88668 | 0.091331 | 0.85189 | 0.17502 | 0.12974
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.99949 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15808 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99949 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.88668 | 0.091331 | 0.85189 | 0.17502 | 0.12974
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.99317 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15808 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99317 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.88668 | 0.091331 | 0.85189 | 0.17502 | 0.12974
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0908 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.07976 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0908 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0908 |  | 1.0908 | 0 | 0
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.83721 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.086 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83721 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87791 | 0.057555 | 0.87791 | 0.081395 | 0.060338
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9186 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.172 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9186 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87791 | 0.057555 | 0.87791 | 0.081395 | 0.060338
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0194 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.2992 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0194 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0069 | 0.017725 | 1.0069 | 0.025067 | 0.018582
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.99432 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.5984 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99432 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0069 | 0.017725 | 1.0069 | 0.025067 | 0.018582
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.99674 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.15952 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99674 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.99674 |  | 0.99674 | 0 | 0
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.84884 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.172 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84884 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84884 |  | 0.84884 | 0 | 0
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0328 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.2992 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0328 |  | 1.0328 | 0 | 0
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.81449 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.6016 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81449 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86436 | 0.070523 | 0.86436 | 0.099734 | 0.073932
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.91423 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.2032 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91423 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86436 | 0.070523 | 0.86436 | 0.099734 | 0.073932
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.71711 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71711 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.92763 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92763 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.94079 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94079 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.77961 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77961 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.75658 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75658 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.89474 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89474 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.90132 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90132 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.95395 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95395 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.85526 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85526 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.84211 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84211 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.88487 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88487 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.79276 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79276 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85389 | 0.077138 | 0.87007 | 0.12829 | 0.0951
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.9359 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9359 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.93376 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93376 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.91667 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.91239 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91239 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.91667 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.81624 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81624 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.96795 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96795 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.78846 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78846 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.82692 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82692 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.89055 | 0.062996 | 0.91667 | 0.10684 | 0.079198
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.82779 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.6016 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.498 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82779 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82779 |  | 0.82779 | 0 | 0
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.91755 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.3008 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91755 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84109 | 0.10813 | 0.84109 | 0.15293 | 0.11336
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.76463 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.3008 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76463 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84109 | 0.10813 | 0.84109 | 0.15293 | 0.11336
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.59884 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.172 | TERT-PENTYL_METHYL_ETHER_(TAME) | E | 0.06 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59884 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.81686 | 0.30833 | 0.81686 | 0.43605 | 0.32324
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0349 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.086 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0349 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81686 | 0.30833 | 0.81686 | 0.43605 | 0.32324
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.87791 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.172 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87791 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87791 |  | 0.87791 | 0 | 0
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-02-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.93516 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93516 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95594 | 0.093862 | 0.93516 | 0.12469 | 0.09243
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 1.0598 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0599 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95594 | 0.093862 | 0.93516 | 0.12469 | 0.09243
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-05-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.93516 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93516 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95594 | 0.093862 | 0.93516 | 0.12469 | 0.09243
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.81047 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.3208 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81047 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95594 | 0.093862 | 0.93516 | 0.12469 | 0.09243
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-06-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.93516 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.3208 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93516 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95594 | 0.093862 | 0.93516 | 0.12469 | 0.09243
TERT-PENTYL METHYL ETHER (TAME) | 2021 | 50005GCM66 | 2009-08-11 | 2007-10-01 | 2009-09-30 | ug/L | 1.0598 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1604 | TERT-PENTYL_METHYL_ETHER_(TAME) | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0599 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95594 | 0.093862 | 0.93516 | 0.12469 | 0.09243