## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.3 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.058 | TETRACHLOROETHYLENE | . | 0.026 | 0.0754 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1888 | 0.15727 | 1.1888 | 0.22241 | 0.16487
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0776 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.116 | TETRACHLOROETHYLENE | . | 0.026 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0776 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1888 | 0.15727 | 1.1888 | 0.22241 | 0.16487
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0534 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.058 | TETRACHLOROETHYLENE | . | 0.026 | 0.0611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0534 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0534 |  | 1.0534 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.116 | Abs | 051712 | Abs 051712: 20 µl | 1.604 | TETRACHLOROETHYLENE | . | 0.026 | 1.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.116 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0729 | 0.060836 | 1.0729 | 0.086035 | 0.063777
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0299 | Abs | 051712 | Abs 051712: 10 µl | 0.802 | TETRACHLOROETHYLENE | . | 0.026 | 0.826 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0299 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0729 | 0.060836 | 1.0729 | 0.086035 | 0.063777
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.1021 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | TETRACHLOROETHYLENE | . | 0.026 | 0.0529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1021 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.74583 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | TETRACHLOROETHYLENE | . | 0.026 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74583 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0146 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | TETRACHLOROETHYLENE | . | 0.026 | 0.0974 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0146 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.93958 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | TETRACHLOROETHYLENE | . | 0.026 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93958 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.96667 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | TETRACHLOROETHYLENE | . | 0.026 | 0.0928 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.1146 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | TETRACHLOROETHYLENE | . | 0.026 | 0.0535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1146 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.94688 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | TETRACHLOROETHYLENE | . | 0.026 | 0.0909 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94688 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | TETRACHLOROETHYLENE | . | 0.026 | 0.0492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95417 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | TETRACHLOROETHYLENE | . | 0.026 | 0.0916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95417 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.89167 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | TETRACHLOROETHYLENE | . | 0.026 | 0.0428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89167 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0125 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | TETRACHLOROETHYLENE | . | 0.026 | 0.0972 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97396 | 0.10154 | 0.96667 | 0.085417 | 0.063319
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.94763 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.208 | TETRACHLOROETHYLENE | . | 0.026 | 3.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94763 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94763 |  | 0.94763 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.8975 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TETRACHLOROETHYLENE | . | 0.026 | 0.0718 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8975 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.91 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TETRACHLOROETHYLENE | . | 0.026 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.925 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TETRACHLOROETHYLENE | . | 0.026 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.85 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TETRACHLOROETHYLENE | . | 0.026 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.865 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TETRACHLOROETHYLENE | . | 0.026 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.68 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TETRACHLOROETHYLENE | . | 0.026 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.8525 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TETRACHLOROETHYLENE | . | 0.026 | 0.0341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8525 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.84 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TETRACHLOROETHYLENE | . | 0.026 | 0.0672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.755 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TETRACHLOROETHYLENE | . | 0.026 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.84 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TETRACHLOROETHYLENE | . | 0.026 | 0.0672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.81 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TETRACHLOROETHYLENE | . | 0.026 | 0.0324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83864 | 0.070723 | 0.85 | 0.0875 | 0.064863
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0172 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.058 | TETRACHLOROETHYLENE | . | 0.026 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0172 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0172 |  | 1.0172 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0345 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.116 | TETRACHLOROETHYLENE | . | 0.026 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0345 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0345 |  | 1.0345 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.875 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0536 | 0.098349 | 1.125 | 0.125 | 0.092661
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 1 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.16 | TETRACHLOROETHYLENE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0536 | 0.098349 | 1.125 | 0.125 | 0.092661
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-04-11 | 2006-10-01 | 2009-09-30 | ug/L | 1.125 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0536 | 0.098349 | 1.125 | 0.125 | 0.092661
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-05-22 | 2006-10-01 | 2009-09-30 | ug/L | 1.125 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0536 | 0.098349 | 1.125 | 0.125 | 0.092661
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-06-23 | 2006-10-01 | 2009-09-30 | ug/L | 1.125 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0536 | 0.098349 | 1.125 | 0.125 | 0.092661
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-08-04 | 2006-10-01 | 2009-09-30 | ug/L | 1 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.16 | TETRACHLOROETHYLENE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0536 | 0.098349 | 1.125 | 0.125 | 0.092661
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-09-11 | 2006-10-01 | 2009-09-30 | ug/L | 1.125 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0536 | 0.098349 | 1.125 | 0.125 | 0.092661
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0966 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.058 | TETRACHLOROETHYLENE | . | 0.026 | 0.0636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0966 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0966 |  | 1.0966 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.90345 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.058 | TETRACHLOROETHYLENE | . | 0.026 | 0.0524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90345 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94741 | 0.062177 | 0.94741 | 0.087931 | 0.065182
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.99138 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.116 | TETRACHLOROETHYLENE | . | 0.026 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99138 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94741 | 0.062177 | 0.94741 | 0.087931 | 0.065182
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.90399 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 3.208 | TETRACHLOROETHYLENE | . | 0.026 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90399 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90399 |  | 0.90399 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1162 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.8 | TETRACHLOROETHYLENE | . | 0.026 | 0.893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1162 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1581 | 0.05922 | 1.1581 | 0.08375 | 0.062083
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 3.2 | TETRACHLOROETHYLENE | . | 0.026 | 3.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1581 | 0.05922 | 1.1581 | 0.08375 | 0.062083
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0103 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.058 | TETRACHLOROETHYLENE | . | 0.026 | 0.0586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0103 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0103 |  | 1.0103 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.99138 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.116 | TETRACHLOROETHYLENE | . | 0.026 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99138 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.99138 |  | 0.99138 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.93966 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.116 | TETRACHLOROETHYLENE | . | 0.026 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93966 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93966 |  | 0.93966 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1.6 | TETRACHLOROETHYLENE | . | 0.026 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91437 | 0.055685 | 0.91437 | 0.07875 | 0.058377
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.95375 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.8 | TETRACHLOROETHYLENE | . | 0.026 | 0.763 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95375 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91437 | 0.055685 | 0.91437 | 0.07875 | 0.058377
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-02-12 | 2006-10-01 | 2009-09-30 | ug/L | 1 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.96875 | 0.052291 | 1 | 0.0625 | 0.046331
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.9375 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.16 | TETRACHLOROETHYLENE | . | 0.04 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96875 | 0.052291 | 1 | 0.0625 | 0.046331
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.875 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.16 | TETRACHLOROETHYLENE | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96875 | 0.052291 | 1 | 0.0625 | 0.046331
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-06-06 | 2006-10-01 | 2009-09-30 | ug/L | 1 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.96875 | 0.052291 | 1 | 0.0625 | 0.046331
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-07-09 | 2006-10-01 | 2009-09-30 | ug/L | 1 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.96875 | 0.052291 | 1 | 0.0625 | 0.046331
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-08-27 | 2006-10-01 | 2009-09-30 | ug/L | 1 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.08 | TETRACHLOROETHYLENE | E | 0.04 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.96875 | 0.052291 | 1 | 0.0625 | 0.046331
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.13 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | TETRACHLOROETHYLENE | . | 0.026 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.09 | 0.063569 | 1.09 | 0.10167 | 0.075364
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.0533 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | TETRACHLOROETHYLENE | . | 0.026 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.09 | 0.063569 | 1.09 | 0.10167 | 0.075364
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.17 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | TETRACHLOROETHYLENE | . | 0.026 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.17 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.09 | 0.063569 | 1.09 | 0.10167 | 0.075364
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1167 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | TETRACHLOROETHYLENE | . | 0.026 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1167 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.09 | 0.063569 | 1.09 | 0.10167 | 0.075364
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.993 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | TETRACHLOROETHYLENE | . | 0.026 | 0.0993 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.993 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.09 | 0.063569 | 1.09 | 0.10167 | 0.075364
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0633 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | TETRACHLOROETHYLENE | . | 0.026 | 0.319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0633 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.09 | 0.063569 | 1.09 | 0.10167 | 0.075364
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.16 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | TETRACHLOROETHYLENE | . | 0.026 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.16 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.09 | 0.063569 | 1.09 | 0.10167 | 0.075364
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | TETRACHLOROETHYLENE | . | 0.026 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.09 | 0.063569 | 1.09 | 0.10167 | 0.075364
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.1347 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.604 | TETRACHLOROETHYLENE | . | 0.026 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1347 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1347 |  | 1.1347 | 0 | 0
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.89375 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8 | TETRACHLOROETHYLENE | . | 0.026 | 0.715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89375 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0031 | 0.15468 | 1.0031 | 0.21875 | 0.16216
TETRACHLOROETHYLENE | 2021 | 34475GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1125 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8 | TETRACHLOROETHYLENE | . | 0.026 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0031 | 0.15468 | 1.0031 | 0.21875 | 0.16216