## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.9 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.2 | TETRACHLOROMETHANE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0333 | 0.13663 | 1 | 0.3 | 0.22239
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.2 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.1 | TETRACHLOROMETHANE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0333 | 0.13663 | 1 | 0.3 | 0.22239
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-04-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.2 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.2 | TETRACHLOROMETHANE | . | 0.06 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0333 | 0.13663 | 1 | 0.3 | 0.22239
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-06-09 | 2008-10-01 | 2009-09-30 | ug/L | 1 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.1 | TETRACHLOROMETHANE | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0333 | 0.13663 | 1 | 0.3 | 0.22239
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-07-17 | 2008-10-01 | 2009-09-30 | ug/L | 1 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.1 | TETRACHLOROMETHANE | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0333 | 0.13663 | 1 | 0.3 | 0.22239
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-08-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.9 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.1 | TETRACHLOROMETHANE | E | 0.06 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0333 | 0.13663 | 1 | 0.3 | 0.22239
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1125 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.2 | TETRACHLOROMETHANE | . | 0.06 | 3.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1125 |  | 1.1125 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.90455 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.08004 | TETRACHLOROMETHANE | . | 0.06 | 0.0724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90455 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90455 |  | 0.90455 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.92454 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.16008 | TETRACHLOROMETHANE | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92454 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88268 | 0.059191 | 0.88268 | 0.083708 | 0.062052
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.84083 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.08004 | TETRACHLOROMETHANE | . | 0.06 | 0.0673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84083 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88268 | 0.059191 | 0.88268 | 0.083708 | 0.062052
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.96842 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10006 | TETRACHLOROMETHANE | E | 0.052 | 0.0969 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96842 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.96859 | 0.14515 | 0.97225 | 0.18972 | 0.14064
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.86282 | Accu | 209081198 | Accu 209081198: 30 µl | 0.30018 | TETRACHLOROMETHANE | . | 0.052 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86282 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96859 | 0.14515 | 0.97225 | 0.18972 | 0.14064
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0694 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10006 | TETRACHLOROMETHANE | . | 0.052 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0694 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96859 | 0.14515 | 0.97225 | 0.18972 | 0.14064
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.81285 | Accu | 209081198 | Accu 209081198: 30 µl | 0.30018 | TETRACHLOROMETHANE | . | 0.052 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81285 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96859 | 0.14515 | 0.97225 | 0.18972 | 0.14064
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.81851 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10006 | TETRACHLOROMETHANE | . | 0.052 | 0.0819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81851 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96859 | 0.14515 | 0.97225 | 0.18972 | 0.14064
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.97608 | Accu | 209081198 | Accu 209081198: 30 µl | 0.30018 | TETRACHLOROMETHANE | . | 0.052 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97608 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96859 | 0.14515 | 0.97225 | 0.18972 | 0.14064
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.2492 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10006 | TETRACHLOROMETHANE | . | 0.052 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2493 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96859 | 0.14515 | 0.97225 | 0.18972 | 0.14064
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.99141 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10006 | TETRACHLOROMETHANE | . | 0.052 | 0.0992 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99141 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96859 | 0.14515 | 0.97225 | 0.18972 | 0.14064
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.047 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.08004 | TETRACHLOROMETHANE | . | 0.06 | 0.0838 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.047 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.047 |  | 1.047 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.98472 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.072 | TETRACHLOROMETHANE | . | 0.06 | 0.0709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98472 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0063 | 0.030445 | 1.0063 | 0.043056 | 0.031917
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0278 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.144 | TETRACHLOROMETHANE | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0278 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0063 | 0.030445 | 1.0063 | 0.043056 | 0.031917
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1725 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.8 | TETRACHLOROMETHANE | . | 0.06 | 0.938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1725 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1331 | 0.055685 | 1.1331 | 0.07875 | 0.058377
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0938 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.6 | TETRACHLOROMETHANE | . | 0.06 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0938 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1331 | 0.055685 | 1.1331 | 0.07875 | 0.058377
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.95577 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.16008 | TETRACHLOROMETHANE | . | 0.06 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95577 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95577 |  | 0.95577 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.144 | TETRACHLOROMETHANE | . | 0.06 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.1162 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.8 | TETRACHLOROMETHANE | . | 0.06 | 0.893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1162 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1162 |  | 1.1162 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0437 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.6 | TETRACHLOROMETHANE | . | 0.06 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0047 | 0.055243 | 1.0047 | 0.078125 | 0.057913
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.96562 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 3.2 | TETRACHLOROMETHANE | . | 0.06 | 3.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96562 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0047 | 0.055243 | 1.0047 | 0.078125 | 0.057913
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2008-12-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.0714 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.112 | TETRACHLOROMETHANE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0714 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0714 |  | 1.0714 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0475 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | TETRACHLOROMETHANE | . | 0.06 | 0.0838 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0475 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.85 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | TETRACHLOROMETHANE | . | 0.06 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1213 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | TETRACHLOROMETHANE | . | 0.06 | 0.0897 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1213 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.8 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | TETRACHLOROMETHANE | . | 0.06 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.85625 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | TETRACHLOROMETHANE | . | 0.06 | 0.0685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.79375 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | TETRACHLOROMETHANE | . | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79375 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.96375 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | TETRACHLOROMETHANE | . | 0.06 | 0.0771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96375 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.9725 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | TETRACHLOROMETHANE | . | 0.06 | 0.0778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9725 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.8125 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | TETRACHLOROMETHANE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0037 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | TETRACHLOROMETHANE | . | 0.06 | 0.0803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0037 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8875 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | TETRACHLOROMETHANE | . | 0.06 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.99375 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | TETRACHLOROMETHANE | . | 0.06 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99375 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92521 | 0.1068 | 0.92563 | 0.1675 | 0.12417
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.1132 | Restek | A069860 | Restek A069860: 10 µl | 0.106 | TETRACHLOROMETHANE | . | 0.052 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1132 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.2201 | Restek | A069860 | Restek A069860: 30 µl | 0.318 | TETRACHLOROMETHANE | . | 0.052 | 0.388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2201 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.88302 | Restek | A069860 | Restek A069860: 10 µl | 0.106 | TETRACHLOROMETHANE | . | 0.052 | 0.0936 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88302 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.95912 | Restek | A069860 | Restek A069860: 30 µl | 0.318 | TETRACHLOROMETHANE | . | 0.052 | 0.305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95912 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.81604 | Restek | A069860 | Restek A069860: 10 µl | 0.106 | TETRACHLOROMETHANE | . | 0.052 | 0.0865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81604 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.77987 | Restek | A069860 | Restek A069860: 30 µl | 0.318 | TETRACHLOROMETHANE | . | 0.052 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77987 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0472 | Restek | A069860 | Restek A069860: 10 µl | 0.106 | TETRACHLOROMETHANE | . | 0.052 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0472 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.91824 | Restek | A069860 | Restek A069860: 30 µl | 0.318 | TETRACHLOROMETHANE | . | 0.052 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91824 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.96226 | Restek | A069860 | Restek A069860: 10 µl | 0.106 | TETRACHLOROMETHANE | . | 0.052 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96226 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96656 | 0.14107 | 0.95912 | 0.16415 | 0.12168
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.15 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.6 | TETRACHLOROMETHANE | . | 0.06 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.15 |  | 1.15 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.095 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8 | TETRACHLOROMETHANE | . | 0.06 | 0.876 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.095 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1062 | 0.01591 | 1.1062 | 0.0225 | 0.016679
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1175 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8 | TETRACHLOROMETHANE | . | 0.06 | 0.894 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1175 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1062 | 0.01591 | 1.1062 | 0.0225 | 0.016679
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.86111 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.144 | TETRACHLOROMETHANE | . | 0.06 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86111 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89375 | 0.046158 | 0.89375 | 0.065278 | 0.04839
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.92639 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.072 | TETRACHLOROMETHANE | . | 0.06 | 0.0667 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92639 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89375 | 0.046158 | 0.89375 | 0.065278 | 0.04839
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0417 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.144 | TETRACHLOROMETHANE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0417 |  | 1.0417 | 0 | 0
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.99668 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | TETRACHLOROMETHANE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96899 | 0.1524 | 0.95515 | 0.16611 | 0.12314
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-03-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.2458 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | TETRACHLOROMETHANE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2458 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96899 | 0.1524 | 0.95515 | 0.16611 | 0.12314
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.83056 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | TETRACHLOROMETHANE | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83056 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96899 | 0.1524 | 0.95515 | 0.16611 | 0.12314
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.95515 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.2408 | TETRACHLOROMETHANE | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95515 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96899 | 0.1524 | 0.95515 | 0.16611 | 0.12314
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.95515 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.2408 | TETRACHLOROMETHANE | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95515 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96899 | 0.1524 | 0.95515 | 0.16611 | 0.12314
TETRACHLOROMETHANE | 2021 | 32102GCM66 | 2009-08-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.83056 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | TETRACHLOROMETHANE | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83056 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96899 | 0.1524 | 0.95515 | 0.16611 | 0.12314