## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.975 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 2 | TETRAHYDROFURAN | . | 1.4 | 1.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9775 | 0.0035355 | 0.9775 | 0.005 | 0.0037064
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.98 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 4 | TETRAHYDROFURAN | . | 1.4 | 3.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9775 | 0.0035355 | 0.9775 | 0.005 | 0.0037064
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.925 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 2 | TETRAHYDROFURAN | . | 1.4 | 1.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.925 |  | 0.925 | 0 | 0
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.81584 | Abs | 051712 | Abs 051712: 20 µl | 8.004 | TETRAHYDROFURAN | . | 1.4 | 6.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81584 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.90767 | 0.12987 | 0.90767 | 0.18366 | 0.13614
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.9995 | Abs | 051712 | Abs 051712: 10 µl | 4.002 | TETRAHYDROFURAN | . | 1.4 | 4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9995 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.90767 | 0.12987 | 0.90767 | 0.18366 | 0.13614
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.92 | Abs | 090809 | Abs 090809: 10 µl | 3 | TETRAHYDROFURAN | . | 1.4 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97514 | 0.14639 | 0.98056 | 0.21111 | 0.15649
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0889 | Abs | 090809 | Abs 090809: 30 µl | 9 | TETRAHYDROFURAN | . | 1.4 | 9.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0889 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97514 | 0.14639 | 0.98056 | 0.21111 | 0.15649
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.79667 | Abs | 090809 | Abs 090809: 10 µl | 3 | TETRAHYDROFURAN | . | 1.4 | 2.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79667 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97514 | 0.14639 | 0.98056 | 0.21111 | 0.15649
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.98778 | Abs | 090809 | Abs 090809: 30 µl | 9 | TETRAHYDROFURAN | . | 1.4 | 8.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98778 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97514 | 0.14639 | 0.98056 | 0.21111 | 0.15649
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.77333 | Abs | 090809 | Abs 090809: 10 µl | 3 | TETRAHYDROFURAN | . | 1.4 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97514 | 0.14639 | 0.98056 | 0.21111 | 0.15649
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.05 | Abs | 090809 | Abs 090809: 30 µl | 9 | TETRAHYDROFURAN | . | 1.4 | 9.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97514 | 0.14639 | 0.98056 | 0.21111 | 0.15649
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.97333 | Abs | 090809 | Abs 090809: 10 µl | 3 | TETRAHYDROFURAN | . | 1.4 | 2.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97514 | 0.14639 | 0.98056 | 0.21111 | 0.15649
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.2111 | Abs | 090809 | Abs 090809: 30 µl | 9 | TETRAHYDROFURAN | . | 1.4 | 10.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2111 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.97514 | 0.14639 | 0.98056 | 0.21111 | 0.15649
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.98076 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 16.008 | TETRAHYDROFURAN | . | 1.4 | 15.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98076 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98076 |  | 0.98076 | 0 | 0
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 2 | TETRAHYDROFURAN | . | 1.4 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97 |  | 0.97 | 0 | 0
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.96653 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 4.004 | TETRAHYDROFURAN | . | 1.4 | 3.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96653 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0402 | 0.10419 | 1.0402 | 0.14735 | 0.10923
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.1139 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 2.002 | TETRAHYDROFURAN | . | 1.4 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1139 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0402 | 0.10419 | 1.0402 | 0.14735 | 0.10923
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.94905 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 2.002 | TETRAHYDROFURAN | . | 1.4 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94905 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94905 |  | 0.94905 | 0 | 0
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95654 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 4.004 | TETRAHYDROFURAN | . | 1.4 | 3.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95654 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95654 |  | 0.95654 | 0 | 0
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0557 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 16.008 | TETRAHYDROFURAN | . | 1.4 | 16.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0557 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0557 |  | 1.0557 | 0 | 0
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0547 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 4.02 | TETRAHYDROFURAN | . | 1.4 | 4.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0547 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1555 | 0.14248 | 1.1555 | 0.20149 | 0.14936
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2562 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 16.08 | TETRAHYDROFURAN | . | 1.4 | 20.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2562 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1555 | 0.14248 | 1.1555 | 0.20149 | 0.14936
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.95455 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 2.2 | TETRAHYDROFURAN | . | 1.4 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95455 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0068 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 4.4 | TETRAHYDROFURAN | . | 1.4 | 4.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0068 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.84545 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 2.2 | TETRAHYDROFURAN | . | 1.4 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84545 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.73182 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 2.2 | TETRAHYDROFURAN | . | 1.4 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73182 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.79773 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 4.4 | TETRAHYDROFURAN | . | 1.4 | 3.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79773 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0182 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 2.2 | TETRAHYDROFURAN | . | 1.4 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0182 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.975 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 4.4 | TETRAHYDROFURAN | . | 1.4 | 4.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.90455 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 2.2 | TETRAHYDROFURAN | . | 1.4 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90455 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0591 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 4.4 | TETRAHYDROFURAN | . | 1.4 | 4.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0591 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.96818 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 2.2 | TETRAHYDROFURAN | . | 1.4 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96818 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.83182 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 2.2 | TETRAHYDROFURAN | . | 1.4 | 1.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83182 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91756 | 0.10341 | 0.95455 | 0.175 | 0.12973
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.04 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 4.904 | TETRAHYDROFURAN | . | 1.4 | 5.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98559 | 0.093594 | 1.0298 | 0.10196 | 0.07558
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.0604 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 2.452 | TETRAHYDROFURAN | . | 1.4 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0604 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98559 | 0.093594 | 1.0298 | 0.10196 | 0.07558
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-04-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.0196 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 2.452 | TETRAHYDROFURAN | . | 1.4 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0196 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98559 | 0.093594 | 1.0298 | 0.10196 | 0.07558
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.81566 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 2.452 | TETRAHYDROFURAN | . | 1.4 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81566 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98559 | 0.093594 | 1.0298 | 0.10196 | 0.07558
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-07-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.04 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 4.904 | TETRAHYDROFURAN | . | 1.4 | 5.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98559 | 0.093594 | 1.0298 | 0.10196 | 0.07558
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-09-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.93801 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 2.452 | TETRAHYDROFURAN | . | 1.4 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93801 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98559 | 0.093594 | 1.0298 | 0.10196 | 0.07558
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.93905 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 8.04 | TETRAHYDROFURAN | . | 1.4 | 7.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93905 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93843 | 0.00087949 | 0.93843 | 0.0012438 | 0.000922
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.93781 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 4.02 | TETRAHYDROFURAN | . | 1.4 | 3.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93781 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93843 | 0.00087949 | 0.93843 | 0.0012438 | 0.000922
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.87667 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 3 | TETRAHYDROFURAN | . | 1.4 | 2.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87667 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.95542 | 0.11647 | 0.925 | 0.11 | 0.081542
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0189 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 9 | TETRAHYDROFURAN | . | 1.4 | 9.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0189 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.95542 | 0.11647 | 0.925 | 0.11 | 0.081542
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.9 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 3 | TETRAHYDROFURAN | . | 1.4 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.95542 | 0.11647 | 0.925 | 0.11 | 0.081542
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.85 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 9 | TETRAHYDROFURAN | . | 1.4 | 7.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.95542 | 0.11647 | 0.925 | 0.11 | 0.081542
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.21 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 3 | TETRAHYDROFURAN | . | 1.4 | 3.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.21 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.95542 | 0.11647 | 0.925 | 0.11 | 0.081542
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.95778 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 9 | TETRAHYDROFURAN | . | 1.4 | 8.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95778 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.95542 | 0.11647 | 0.925 | 0.11 | 0.081542
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.95 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 3 | TETRAHYDROFURAN | . | 1.4 | 2.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.95542 | 0.11647 | 0.925 | 0.11 | 0.081542
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.88 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 9 | TETRAHYDROFURAN | . | 1.4 | 7.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.95542 | 0.11647 | 0.925 | 0.11 | 0.081542
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.9854 | Restek | A075493 | Restek A075493: 40 µl | 4.384 | TETRAHYDROFURAN | . | 1.4 | 4.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9854 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0173 | Restek | A075493 | Restek A075493: 20 µl | 2.192 | TETRAHYDROFURAN | . | 1.4 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0173 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95119 | Restek | A075493 | Restek A075493: 40 µl | 4.384 | TETRAHYDROFURAN | . | 1.4 | 4.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95119 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.71624 | Restek | A075493 | Restek A075493: 20 µl | 2.192 | TETRAHYDROFURAN | . | 1.4 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71624 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.90328 | Restek | A075493 | Restek A075493: 40 µl | 4.384 | TETRAHYDROFURAN | . | 1.4 | 3.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90328 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.93066 | Restek | A075493 | Restek A075493: 20 µl | 2.192 | TETRAHYDROFURAN | . | 1.4 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93066 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.87135 | Restek | A075493 | Restek A075493: 20 µl | 2.192 | TETRAHYDROFURAN | . | 1.4 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87135 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0789 | Restek | A075493 | Restek A075493: 40 µl | 4.384 | TETRAHYDROFURAN | . | 1.4 | 4.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0789 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0538 | Restek | A075493 | Restek A075493: 20 µl | 2.192 | TETRAHYDROFURAN | . | 1.4 | 2.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0538 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0675 | Restek | A075493 | Restek A075493: 40 µl | 4.384 | TETRAHYDROFURAN | . | 1.4 | 4.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.91241 | Restek | A075493 | Restek A075493: 20 µl | 2.192 | TETRAHYDROFURAN | . | 1.4 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91241 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95347 | 0.10567 | 0.95119 | 0.15055 | 0.1116
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.99825 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 8.004 | TETRAHYDROFURAN | . | 1.4 | 7.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99825 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99825 |  | 0.99825 | 0 | 0
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.91045 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 4.02 | TETRAHYDROFURAN | . | 1.4 | 3.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91045 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85075 | 0.084431 | 0.85075 | 0.1194 | 0.088512
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.79104 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 4.02 | TETRAHYDROFURAN | . | 1.4 | 3.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79104 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85075 | 0.084431 | 0.85075 | 0.1194 | 0.088512
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.8225 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 4 | TETRAHYDROFURAN | . | 1.4 | 3.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8225 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93625 | 0.16087 | 0.93625 | 0.2275 | 0.16864
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 2 | TETRAHYDROFURAN | . | 1.4 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93625 | 0.16087 | 0.93625 | 0.2275 | 0.16864
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97153 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 4.004 | TETRAHYDROFURAN | . | 1.4 | 3.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97153 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97153 |  | 0.97153 | 0 | 0
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.97704 | Supelco | LB60727 | Supelco LB60727: 20 µl | 2.4564 | TETRAHYDROFURAN | . | 1.4 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97704 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96008 | 0.071 | 0.95668 | 0.12213 | 0.090534
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.87526 | Supelco | LB60727 | Supelco LB60727: 40 µl | 4.9128 | TETRAHYDROFURAN | . | 1.4 | 4.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87526 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96008 | 0.071 | 0.95668 | 0.12213 | 0.090534
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.93633 | Supelco | LB60727 | Supelco LB60727: 20 µl | 2.4564 | TETRAHYDROFURAN | . | 1.4 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93633 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96008 | 0.071 | 0.95668 | 0.12213 | 0.090534
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.89562 | Supelco | LB60727 | Supelco LB60727: 40 µl | 4.9128 | TETRAHYDROFURAN | . | 1.4 | 4.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89562 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96008 | 0.071 | 0.95668 | 0.12213 | 0.090534
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 1.0585 | Supelco | LB60727 | Supelco LB60727: 20 µl | 2.4564 | TETRAHYDROFURAN | . | 1.4 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0585 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96008 | 0.071 | 0.95668 | 0.12213 | 0.090534
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 1.0177 | Supelco | LB60727 | Supelco LB60727: 20 µl | 2.4564 | TETRAHYDROFURAN | . | 1.4 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0177 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96008 | 0.071 | 0.95668 | 0.12213 | 0.090534
TETRAHYDROFURAN | 2021 | 81607GCM66 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.83333 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 1.8 | TETRAHYDROFURAN | . | 1.4 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0