## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TOLUENE | 2021 | 34010GCM66 | 2013-11-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.2067 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.03 | TOLUENE | . | 0.02 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2067 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1467 | 0.084853 | 1.1467 | 0.12 | 0.088955
TOLUENE | 2021 | 34010GCM66 | 2013-12-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.0867 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.06 | TOLUENE | . | 0.02 | 0.0652 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0867 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1467 | 0.084853 | 1.1467 | 0.12 | 0.088955
TOLUENE | 2021 | 34010GCM66 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.1367 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.03 | TOLUENE | . | 0.02 | 0.0341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1367 |  | 1.1367 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2010-10-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.925 | Abs | 080510 | Abs 080510: 20 µl | 0.052 | TOLUENE | . | 0.018 | 0.0481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2010-11-25 | 2010-10-01 | 2011-09-30 | ug/L | 0.925 | Abs | 080510 | Abs 080510: 20 µl | 0.052 | TOLUENE | . | 0.018 | 0.0481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2011-02-02 | 2010-10-01 | 2011-09-30 | ug/L | 1.0385 | Abs | 080510 | Abs 080510: 40 µl | 0.104 | TOLUENE | . | 0.018 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0385 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2011-04-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.98269 | Abs | 080510 | Abs 080510: 20 µl | 0.052 | TOLUENE | . | 0.018 | 0.0511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98269 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2011-05-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.87115 | Abs | 080510 | Abs 080510: 40 µl | 0.104 | TOLUENE | . | 0.018 | 0.0906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87115 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2011-06-27 | 2010-10-01 | 2011-09-30 | ug/L | 1.0692 | Abs | 080510 | Abs 080510: 20 µl | 0.052 | TOLUENE | . | 0.018 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0692 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2011-08-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.86538 | Abs | 080510 | Abs 080510: 40 µl | 0.104 | TOLUENE | . | 0.018 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86538 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.89615 | Abs | 080510 | Abs 080510: 20 µl | 0.052 | TOLUENE | . | 0.02 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89615 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0192 | Abs | 080510 | Abs 080510: 40 µl | 0.104 | TOLUENE | . | 0.02 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0192 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2012-02-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.97885 | Abs | 080510 | Abs 080510: 20 µl | 0.052 | TOLUENE | . | 0.02 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97885 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2012-03-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.98077 | Abs | 080510 | Abs 080510: 40 µl | 0.104 | TOLUENE | . | 0.02 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98077 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.95927 | 0.068017 | 0.97885 | 0.12308 | 0.091236
TOLUENE | 2021 | 34010GCM66 | 2013-04-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 1.6 | TOLUENE | . | 0.02 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2010-11-02 | 2010-10-01 | 2011-09-30 | ug/L | 1.0088 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TOLUENE | . | 0.018 | 0.0807 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0087 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-01-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.9625 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TOLUENE | . | 0.018 | 0.0385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-02-19 | 2010-10-01 | 2011-09-30 | ug/L | 1.1525 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TOLUENE | . | 0.018 | 0.0461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1525 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-03-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.98875 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TOLUENE | . | 0.018 | 0.0791 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98875 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-04-29 | 2010-10-01 | 2011-09-30 | ug/L | 1 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TOLUENE | . | 0.018 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-06-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.9 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TOLUENE | . | 0.018 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-07-23 | 2010-10-01 | 2011-09-30 | ug/L | 1.0275 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TOLUENE | . | 0.018 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0275 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-08-27 | 2010-10-01 | 2011-09-30 | ug/L | 0.84125 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TOLUENE | . | 0.018 | 0.0673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84125 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-11-03 | 2011-10-01 | 2050-09-30 | ug/L | 1.0225 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TOLUENE | . | 0.02 | 0.0409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0225 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2011-12-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.97 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TOLUENE | . | 0.02 | 0.0776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2012-04-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.965 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TOLUENE | . | 0.02 | 0.0386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.965 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98534 | 0.078161 | 0.98875 | 0.06 | 0.044477
TOLUENE | 2021 | 34010GCM66 | 2013-06-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.2233 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.03 | TOLUENE | . | 0.02 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2233 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2233 |  | 1.2233 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2013-08-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.1283 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.06 | TOLUENE | . | 0.02 | 0.0677 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1283 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1283 |  | 1.1283 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2009-01-27 | 2008-12-01 | 2009-09-30 | ug/L | 1.3043 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.092 | TOLUENE | . | 0.018 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3043 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.3199 | 0.075007 | 1.3043 | 0.1087 | 0.080575
TOLUENE | 2021 | 34010GCM66 | 2009-02-27 | 2008-12-01 | 2009-09-30 | ug/L | 1.3043 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.184 | TOLUENE | . | 0.018 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3043 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.3199 | 0.075007 | 1.3043 | 0.1087 | 0.080575
TOLUENE | 2021 | 34010GCM66 | 2009-04-11 | 2008-12-01 | 2009-09-30 | ug/L | 1.3043 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.092 | TOLUENE | . | 0.018 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3043 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.3199 | 0.075007 | 1.3043 | 0.1087 | 0.080575
TOLUENE | 2021 | 34010GCM66 | 2009-05-22 | 2008-12-01 | 2009-09-30 | ug/L | 1.413 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.092 | TOLUENE | . | 0.018 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.413 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.3199 | 0.075007 | 1.3043 | 0.1087 | 0.080575
TOLUENE | 2021 | 34010GCM66 | 2009-06-23 | 2008-12-01 | 2009-09-30 | ug/L | 1.3043 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.092 | TOLUENE | . | 0.018 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3043 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.3199 | 0.075007 | 1.3043 | 0.1087 | 0.080575
TOLUENE | 2021 | 34010GCM66 | 2009-08-04 | 2008-12-01 | 2009-09-30 | ug/L | 1.1957 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.184 | TOLUENE | . | 0.018 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1957 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.3199 | 0.075007 | 1.3043 | 0.1087 | 0.080575
TOLUENE | 2021 | 34010GCM66 | 2009-09-11 | 2008-12-01 | 2009-09-30 | ug/L | 1.413 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.092 | TOLUENE | . | 0.018 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.413 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.3199 | 0.075007 | 1.3043 | 0.1087 | 0.080575
TOLUENE | 2021 | 34010GCM66 | 2013-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0633 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.03 | TOLUENE | . | 0.02 | 0.0319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0633 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0633 |  | 1.0633 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2013-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 1.0033 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.03 | TOLUENE | . | 0.02 | 0.0301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.04 | 0.051854 | 1.04 | 0.073333 | 0.054361
TOLUENE | 2021 | 34010GCM66 | 2013-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 1.0767 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.06 | TOLUENE | . | 0.02 | 0.0646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0767 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.04 | 0.051854 | 1.04 | 0.073333 | 0.054361
TOLUENE | 2021 | 34010GCM66 | 2012-10-23 | 2011-10-01 | 2050-09-30 | ug/L | 1.1062 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 3.2 | TOLUENE | . | 0.02 | 3.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1062 |  | 1.1062 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2012-07-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0212 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.8 | TOLUENE | . | 0.02 | 0.817 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0212 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0388 | 0.024749 | 1.0388 | 0.035 | 0.025945
TOLUENE | 2021 | 34010GCM66 | 2012-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0562 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.6 | TOLUENE | . | 0.02 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0562 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0388 | 0.024749 | 1.0388 | 0.035 | 0.025945
TOLUENE | 2021 | 34010GCM66 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.2337 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.8 | TOLUENE | . | 0.02 | 0.987 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2337 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3075 | 0.1043 | 1.3075 | 0.1475 | 0.10934
TOLUENE | 2021 | 34010GCM66 | 2013-02-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.3813 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 3.2 | TOLUENE | . | 0.02 | 4.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3812 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.3075 | 0.1043 | 1.3075 | 0.1475 | 0.10934
TOLUENE | 2021 | 34010GCM66 | 2013-06-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0833 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.03 | TOLUENE | . | 0.02 | 0.0325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0833 |  | 1.0833 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2013-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.0167 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.06 | TOLUENE | . | 0.02 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0167 |  | 1.0167 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2013-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.99333 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.06 | TOLUENE | . | 0.02 | 0.0596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99333 |  | 0.99333 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.9525 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.8 | TOLUENE | . | 0.02 | 0.762 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9525 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9525 |  | 0.9525 | 0 | 0
TOLUENE | 2021 | 34010GCM66 | 2012-08-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.91875 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1.6 | TOLUENE | . | 0.02 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91875 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97188 | 0.07513 | 0.97188 | 0.10625 | 0.078762
TOLUENE | 2021 | 34010GCM66 | 2012-12-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.025 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.8 | TOLUENE | . | 0.02 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97188 | 0.07513 | 0.97188 | 0.10625 | 0.078762
TOLUENE | 2021 | 34010GCM66 | 2012-09-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.94375 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.6 | TOLUENE | . | 0.02 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94375 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.975 | 0.044194 | 0.975 | 0.0625 | 0.046331
TOLUENE | 2021 | 34010GCM66 | 2012-12-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0063 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 3.2 | TOLUENE | . | 0.02 | 3.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.975 | 0.044194 | 0.975 | 0.0625 | 0.046331
TOLUENE | 2021 | 34010GCM66 | 2009-02-12 | 2008-12-01 | 2009-09-30 | ug/L | 0.93478 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.092 | TOLUENE | E | 0.018 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93478 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.90942 | 0.022452 | 0.91304 | 0.021739 | 0.016115
TOLUENE | 2021 | 34010GCM66 | 2009-04-08 | 2008-12-01 | 2009-09-30 | ug/L | 0.86957 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.184 | TOLUENE | . | 0.018 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86957 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90942 | 0.022452 | 0.91304 | 0.021739 | 0.016115
TOLUENE | 2021 | 34010GCM66 | 2009-05-06 | 2008-12-01 | 2009-09-30 | ug/L | 0.92391 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.184 | TOLUENE | . | 0.018 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92391 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90942 | 0.022452 | 0.91304 | 0.021739 | 0.016115
TOLUENE | 2021 | 34010GCM66 | 2009-06-06 | 2008-12-01 | 2009-09-30 | ug/L | 0.91304 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.092 | TOLUENE | E | 0.018 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91304 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.90942 | 0.022452 | 0.91304 | 0.021739 | 0.016115
TOLUENE | 2021 | 34010GCM66 | 2009-07-09 | 2008-12-01 | 2009-09-30 | ug/L | 0.90217 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.092 | TOLUENE | E | 0.018 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90217 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.90942 | 0.022452 | 0.91304 | 0.021739 | 0.016115
TOLUENE | 2021 | 34010GCM66 | 2009-08-27 | 2008-12-01 | 2009-09-30 | ug/L | 0.91304 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.092 | TOLUENE | E | 0.018 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91304 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.90942 | 0.022452 | 0.91304 | 0.021739 | 0.016115
TOLUENE | 2021 | 34010GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.125 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | TOLUENE | E | 0.018 | 0.0675 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.1965 | 0.058093 | 1.2019 | 0.10167 | 0.075364
TOLUENE | 2021 | 34010GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.2167 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | TOLUENE | . | 0.018 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2167 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1965 | 0.058093 | 1.2019 | 0.10167 | 0.075364
TOLUENE | 2021 | 34010GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.2733 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | TOLUENE | . | 0.018 | 0.0764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2733 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1965 | 0.058093 | 1.2019 | 0.10167 | 0.075364
TOLUENE | 2021 | 34010GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1278 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | TOLUENE | . | 0.018 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1278 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1965 | 0.058093 | 1.2019 | 0.10167 | 0.075364
TOLUENE | 2021 | 34010GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.215 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | TOLUENE | . | 0.018 | 0.0729 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.215 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1965 | 0.058093 | 1.2019 | 0.10167 | 0.075364
TOLUENE | 2021 | 34010GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1556 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | TOLUENE | . | 0.018 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1556 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1965 | 0.058093 | 1.2019 | 0.10167 | 0.075364
TOLUENE | 2021 | 34010GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.27 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | TOLUENE | . | 0.018 | 0.0762 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.27 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1965 | 0.058093 | 1.2019 | 0.10167 | 0.075364
TOLUENE | 2021 | 34010GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1889 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | TOLUENE | . | 0.018 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1889 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1965 | 0.058093 | 1.2019 | 0.10167 | 0.075364