## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.1115 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.026 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1115 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1519 | 0.057112 | 1.1519 | 0.080769 | 0.059873
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.1923 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.052 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1923 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1519 | 0.057112 | 1.1519 | 0.080769 | 0.059873
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.2615 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.026 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2615 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2615 |  | 1.2615 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0344 | Abs | 080510 | Abs 080510: 20 µl | 0.032 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0344 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.8125 | Abs | 080510 | Abs 080510: 20 µl | 0.032 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.1703 | Abs | 080510 | Abs 080510: 40 µl | 0.064 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0749 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1703 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0344 | Abs | 080510 | Abs 080510: 20 µl | 0.032 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0344 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0984 | Abs | 080510 | Abs 080510: 40 µl | 0.064 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0984 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0688 | Abs | 080510 | Abs 080510: 20 µl | 0.032 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0688 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.88125 | Abs | 080510 | Abs 080510: 40 µl | 0.064 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88125 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1 | Abs | 080510 | Abs 080510: 20 µl | 0.032 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0719 | Abs | 080510 | Abs 080510: 40 µl | 0.064 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0719 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0531 | Abs | 080510 | Abs 080510: 20 µl | 0.032 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0531 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.99531 | Abs | 080510 | Abs 080510: 40 µl | 0.064 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99531 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0291 | 0.10185 | 1.0531 | 0.10312 | 0.076446
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.85 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 0.4 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85 |  | 0.85 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0012 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0012 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0325 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0325 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0975 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0975 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.94625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0925 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0925 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.9075 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9075 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.905 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.905 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.85875 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0687 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85875 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.96 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.9125 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97057 | 0.077895 | 0.96 | 0.125 | 0.092661
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.98846 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.026 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98846 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98846 |  | 0.98846 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1596 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.052 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0603 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1596 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1596 |  | 1.1596 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.1071 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1071 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1148 | 0.079764 | 1.1071 | 0.035714 | 0.026475
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.2321 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.056 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2321 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1148 | 0.079764 | 1.1071 | 0.035714 | 0.026475
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-04-11 | 2006-10-01 | 2009-09-30 | ug/L | 1.1429 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1429 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1148 | 0.079764 | 1.1071 | 0.035714 | 0.026475
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-05-22 | 2006-10-01 | 2009-09-30 | ug/L | 1.1071 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1071 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1148 | 0.079764 | 1.1071 | 0.035714 | 0.026475
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-06-23 | 2006-10-01 | 2009-09-30 | ug/L | 1.1429 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1429 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1148 | 0.079764 | 1.1071 | 0.035714 | 0.026475
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-08-04 | 2006-10-01 | 2009-09-30 | ug/L | 0.96429 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.056 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96429 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1148 | 0.079764 | 1.1071 | 0.035714 | 0.026475
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-09-11 | 2006-10-01 | 2009-09-30 | ug/L | 1.1071 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1071 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1148 | 0.079764 | 1.1071 | 0.035714 | 0.026475
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1231 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.026 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1231 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1231 |  | 1.1231 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0423 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.026 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0423 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0202 | 0.031276 | 1.0202 | 0.044231 | 0.032788
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.99808 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.052 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99808 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0202 | 0.031276 | 1.0202 | 0.044231 | 0.032788
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0588 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 0.8 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.847 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0587 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0587 |  | 1.0587 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.935 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.2 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.92 | 0.021213 | 0.92 | 0.03 | 0.022239
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.905 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.4 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.905 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.92 | 0.021213 | 0.92 | 0.03 | 0.022239
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.205 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.2 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.205 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2131 | 0.01149 | 1.2131 | 0.01625 | 0.012046
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2212 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 0.8 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2212 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2131 | 0.01149 | 1.2131 | 0.01625 | 0.012046
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0385 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.026 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0385 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0385 |  | 1.0385 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0192 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.052 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0192 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0192 |  | 1.0192 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0615 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.052 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.0552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0615 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0615 |  | 1.0615 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.835 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.2 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.835 |  | 0.835 | 0 | 0
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.715 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.4 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8 | 0.12021 | 0.8 | 0.17 | 0.12602
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.885 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.2 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.885 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8 | 0.12021 | 0.8 | 0.17 | 0.12602
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.7375 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.4 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7375 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74 | 0.0035355 | 0.74 | 0.005 | 0.0037064
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.7425 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 0.8 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7425 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74 | 0.0035355 | 0.74 | 0.005 | 0.0037064
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-02-12 | 2006-10-01 | 2009-09-30 | ug/L | 1.1071 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1071 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0119 | 0.053769 | 1 | 0.071429 | 0.052949
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 1 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.056 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0119 | 0.053769 | 1 | 0.071429 | 0.052949
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.96429 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.056 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96429 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0119 | 0.053769 | 1 | 0.071429 | 0.052949
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-06-06 | 2006-10-01 | 2009-09-30 | ug/L | 1 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0119 | 0.053769 | 1 | 0.071429 | 0.052949
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-07-09 | 2006-10-01 | 2009-09-30 | ug/L | 1.0357 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0357 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0119 | 0.053769 | 1 | 0.071429 | 0.052949
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-08-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.96429 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.028 | TRANS-1,2-DICHLOROETHYLENE | E | 0.018 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96429 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0119 | 0.053769 | 1 | 0.071429 | 0.052949
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.13 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0921 | 0.048955 | 1.0783 | 0.06 | 0.044477
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.0433 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0433 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0921 | 0.048955 | 1.0783 | 0.06 | 0.044477
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.08 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0921 | 0.048955 | 1.0783 | 0.06 | 0.044477
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.0433 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0433 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0921 | 0.048955 | 1.0783 | 0.06 | 0.044477
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.07 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0921 | 0.048955 | 1.0783 | 0.06 | 0.044477
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0767 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0767 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0921 | 0.048955 | 1.0783 | 0.06 | 0.044477
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.19 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.19 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0921 | 0.048955 | 1.0783 | 0.06 | 0.044477
TRANS-1,2-DICHLOROETHYLENE | 2021 | 34546GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1033 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | TRANS-1,2-DICHLOROETHYLENE | . | 0.018 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1033 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0921 | 0.048955 | 1.0783 | 0.06 | 0.044477