## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.04 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.25 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.959 | 0.11455 | 0.959 | 0.162 | 0.12009
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.878 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.5 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.878 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.959 | 0.11455 | 0.959 | 0.162 | 0.12009
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.868 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.25 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.868 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.868 |  | 0.868 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.9125 | Abs | 051712 | Abs 051712: 20 µl | 0.4 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.92375 | 0.01591 | 0.92375 | 0.0225 | 0.016679
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.935 | Abs | 051712 | Abs 051712: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.92375 | 0.01591 | 0.92375 | 0.0225 | 0.016679
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.9 | Abs | 090809 | Abs 090809: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94854 | 0.12682 | 0.9075 | 0.11583 | 0.085866
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.92667 | Abs | 090809 | Abs 090809: 30 µl | 0.6 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94854 | 0.12682 | 0.9075 | 0.11583 | 0.085866
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.205 | Abs | 090809 | Abs 090809: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.205 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94854 | 0.12682 | 0.9075 | 0.11583 | 0.085866
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.86833 | Abs | 090809 | Abs 090809: 30 µl | 0.6 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86833 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94854 | 0.12682 | 0.9075 | 0.11583 | 0.085866
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.81 | Abs | 090809 | Abs 090809: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94854 | 0.12682 | 0.9075 | 0.11583 | 0.085866
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.915 | Abs | 090809 | Abs 090809: 30 µl | 0.6 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.915 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94854 | 0.12682 | 0.9075 | 0.11583 | 0.085866
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.895 | Abs | 090809 | Abs 090809: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94854 | 0.12682 | 0.9075 | 0.11583 | 0.085866
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.0683 | Abs | 090809 | Abs 090809: 30 µl | 0.6 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.641 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0683 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94854 | 0.12682 | 0.9075 | 0.11583 | 0.085866
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.8125 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 0.8 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8125 |  | 0.8125 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.852 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.25 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.852 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.852 |  | 0.852 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.856 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.5 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.856 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.018 | 0.2291 | 1.018 | 0.324 | 0.24018
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.18 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.25 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.18 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.018 | 0.2291 | 1.018 | 0.324 | 0.24018
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.888 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.25 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.888 |  | 0.888 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.834 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.5 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.834 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.834 |  | 0.834 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.7275 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 0.8 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.582 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7275 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7275 |  | 0.7275 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.06 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96937 | 0.12816 | 0.96937 | 0.18125 | 0.13436
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.87875 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 0.8 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87875 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96937 | 0.12816 | 0.96937 | 0.18125 | 0.13436
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.775 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.32 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0688 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0688 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0875 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.9375 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.32 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.9125 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.91875 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.32 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.075 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82188 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.32 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82188 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.975 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94517 | 0.10208 | 0.9375 | 0.19375 | 0.14362
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-02-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.82418 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.2912 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82418 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96726 | 0.12742 | 0.96154 | 0.068681 | 0.050913
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 0.96154 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1456 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96726 | 0.12742 | 0.96154 | 0.068681 | 0.050913
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-04-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.89286 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1456 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96726 | 0.12742 | 0.96154 | 0.068681 | 0.050913
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.96154 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1456 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96726 | 0.12742 | 0.96154 | 0.068681 | 0.050913
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-07-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.2019 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.2912 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2019 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96726 | 0.12742 | 0.96154 | 0.068681 | 0.050913
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-09-05 | 2006-10-01 | 2009-09-30 | ug/L | 0.96154 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1456 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96726 | 0.12742 | 0.96154 | 0.068681 | 0.050913
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.04 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.4 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9575 | 0.11667 | 0.9575 | 0.165 | 0.12231
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9575 | 0.11667 | 0.9575 | 0.165 | 0.12231
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2008-12-20 | 2006-10-01 | 2009-09-30 | ug/L | 0.90426 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.188 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90426 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.90426 |  | 0.90426 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.33 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.33 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0681 | 0.1872 | 1.0883 | 0.19583 | 0.14517
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.96167 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.6 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96167 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0681 | 0.1872 | 1.0883 | 0.19583 | 0.14517
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.225 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.225 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0681 | 0.1872 | 1.0883 | 0.19583 | 0.14517
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.71 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.6 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0681 | 0.1872 | 1.0883 | 0.19583 | 0.14517
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.13 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.13 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0681 | 0.1872 | 1.0883 | 0.19583 | 0.14517
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0467 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.6 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.628 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0467 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0681 | 0.1872 | 1.0883 | 0.19583 | 0.14517
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.135 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.135 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0681 | 0.1872 | 1.0883 | 0.19583 | 0.14517
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0067 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.6 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0067 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0681 | 0.1872 | 1.0883 | 0.19583 | 0.14517
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.67733 | Restek | A075493 | Restek A075493: 40 µl | 0.344 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67733 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | Restek | A075493 | Restek A075493: 20 µl | 0.172 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.72384 | Restek | A075493 | Restek A075493: 40 µl | 0.344 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72384 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0407 | Restek | A075493 | Restek A075493: 20 µl | 0.172 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0407 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.77907 | Restek | A075493 | Restek A075493: 40 µl | 0.344 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77907 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.82558 | Restek | A075493 | Restek A075493: 20 µl | 0.172 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82558 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.77907 | Restek | A075493 | Restek A075493: 20 µl | 0.172 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77907 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.72093 | Restek | A075493 | Restek A075493: 40 µl | 0.344 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72093 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.86047 | Restek | A075493 | Restek A075493: 20 µl | 0.172 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86047 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.84593 | Restek | A075493 | Restek A075493: 40 µl | 0.344 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84593 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.64535 | Restek | A075493 | Restek A075493: 20 µl | 0.172 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64535 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.78621 | 0.10801 | 0.77907 | 0.125 | 0.092661
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.4 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.025 |  | 1.025 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.865 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86 | 0.0070711 | 0.86 | 1e+15 | 0.0074129
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.855 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.2 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.855 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86 | 0.0070711 | 0.86 | 1e+15 | 0.0074129
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.552 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.5 | TRANS-1,3-DICHLOROPROPENE | E | 0.14 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.552 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.73 | 0.25173 | 0.73 | 0.356 | 0.2639
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.908 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.25 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.908 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.73 | 0.25173 | 0.73 | 0.356 | 0.2639
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.74 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.5 | TRANS-1,3-DICHLOROPROPENE | . | 0.14 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74 |  | 0.74 | 0 | 0
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.86806 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.288 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86806 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91667 | 0.039589 | 0.90278 | 0.034722 | 0.025739
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-05-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.90278 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.144 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90278 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91667 | 0.039589 | 0.90278 | 0.034722 | 0.025739
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-07-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.9375 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.288 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91667 | 0.039589 | 0.90278 | 0.034722 | 0.025739
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.90278 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.144 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90278 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91667 | 0.039589 | 0.90278 | 0.034722 | 0.025739
TRANS-1,3-DICHLOROPROPENE | 2021 | 34699GCM66 | 2009-09-26 | 2006-10-01 | 2009-09-30 | ug/L | 0.97222 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.144 | TRANS-1,3-DICHLOROPROPENE | . | 0.1 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97222 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91667 | 0.039589 | 0.90278 | 0.034722 | 0.025739