## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-01-27 | 2004-10-01 | 2009-09-30 | ug/L | 0.9879 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.496 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9879 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99798 | 0.059467 | 0.97782 | 0.080645 | 0.059781
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-03-14 | 2004-10-01 | 2009-09-30 | ug/L | 1.0484 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.248 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0484 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99798 | 0.059467 | 0.97782 | 0.080645 | 0.059781
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-04-21 | 2004-10-01 | 2009-09-30 | ug/L | 1.0887 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.496 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0887 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99798 | 0.059467 | 0.97782 | 0.080645 | 0.059781
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-06-09 | 2004-10-01 | 2009-09-30 | ug/L | 0.96774 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.248 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96774 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99798 | 0.059467 | 0.97782 | 0.080645 | 0.059781
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-07-17 | 2004-10-01 | 2009-09-30 | ug/L | 0.92742 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.248 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92742 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99798 | 0.059467 | 0.97782 | 0.080645 | 0.059781
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-08-29 | 2004-10-01 | 2009-09-30 | ug/L | 0.96774 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.248 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96774 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99798 | 0.059467 | 0.97782 | 0.080645 | 0.059781
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1616 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 2.376 | TRICHLOROFLUOROMETHANE | . | 0.06 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1616 |  | 1.1616 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95911 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.07924 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95911 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95911 |  | 0.95911 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.99066 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.15848 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99066 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97489 | 0.022309 | 0.97489 | 0.03155 | 0.023387
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.95911 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.07924 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95911 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97489 | 0.022309 | 0.97489 | 0.03155 | 0.023387
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.0545 | Accu | 209081198 | Accu 209081198: 10 µl | 0.18018 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0545 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1625 | 0.19552 | 1.0934 | 0.20258 | 0.15017
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0878 | Accu | 209081198 | Accu 209081198: 30 µl | 0.54054 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0878 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1625 | 0.19552 | 1.0934 | 0.20258 | 0.15017
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.999 | Accu | 209081198 | Accu 209081198: 10 µl | 0.18018 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.999 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1625 | 0.19552 | 1.0934 | 0.20258 | 0.15017
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0064 | Accu | 209081198 | Accu 209081198: 30 µl | 0.54054 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0064 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1625 | 0.19552 | 1.0934 | 0.20258 | 0.15017
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.0989 | Accu | 209081198 | Accu 209081198: 10 µl | 0.18018 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0989 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1625 | 0.19552 | 1.0934 | 0.20258 | 0.15017
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.184 | Accu | 209081198 | Accu 209081198: 30 µl | 0.54054 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.184 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1625 | 0.19552 | 1.0934 | 0.20258 | 0.15017
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.5873 | Accu | 209081198 | Accu 209081198: 10 µl | 0.18018 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5873 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1625 | 0.19552 | 1.0934 | 0.20258 | 0.15017
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.2821 | Accu | 209081198 | Accu 209081198: 10 µl | 0.18018 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2821 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1625 | 0.19552 | 1.0934 | 0.20258 | 0.15017
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1989 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.07924 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1989 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1989 |  | 1.1989 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.08 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1156 | 0.092808 | 1.1156 | 0.13125 | 0.097294
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1812 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.16 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1812 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1156 | 0.092808 | 1.1156 | 0.13125 | 0.097294
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.2929 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.594 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.768 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2929 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1768 | 0.16428 | 1.1768 | 0.23232 | 0.17222
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0606 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.188 | TRICHLOROFLUOROMETHANE | . | 0.06 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0606 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1768 | 0.16428 | 1.1768 | 0.23232 | 0.17222
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0222 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.15848 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0222 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0222 |  | 1.0222 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.94375 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.16 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94375 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94375 |  | 0.94375 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.1919 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.594 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1919 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1919 |  | 1.1919 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0333 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.2 | TRICHLOROFLUOROMETHANE | . | 0.06 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0458 | 0.017678 | 1.0458 | 0.025 | 0.018532
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0583 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 2.4 | TRICHLOROFLUOROMETHANE | . | 0.06 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0458 | 0.017678 | 1.0458 | 0.025 | 0.018532
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2008-12-20 | 2004-10-01 | 2009-09-30 | ug/L | 1.1111 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.216 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1111 |  | 1.1111 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.135 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.2 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.135 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.9675 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.4 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9675 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.245 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.2 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.245 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.9775 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.4 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9775 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.085 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.2 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.085 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.075 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.4 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.075 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.23 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.2 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.23 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.38 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.2 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.38 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.9925 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.4 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9925 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.215 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.2 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.215 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.105 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.4 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.105 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.11 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.4 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.11 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1265 | 0.12339 | 1.1075 | 0.18875 | 0.13992
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.2399 | Restek | A069860 | Restek A069860: 10 µl | 0.1726 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2399 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.4948 | Restek | A069860 | Restek A069860: 30 µl | 0.5178 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4948 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0487 | Restek | A069860 | Restek A069860: 10 µl | 0.1726 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0487 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.98687 | Restek | A069860 | Restek A069860: 30 µl | 0.5178 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98687 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.93279 | Restek | A069860 | Restek A069860: 10 µl | 0.1726 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93279 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.92121 | Restek | A069860 | Restek A069860: 30 µl | 0.5178 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.477 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92121 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.263 | Restek | A069860 | Restek A069860: 10 µl | 0.1726 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.263 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1124 | Restek | A069860 | Restek A069860: 30 µl | 0.5178 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1124 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0081 | Restek | A069860 | Restek A069860: 10 µl | 0.1726 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0081 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.112 | 0.18863 | 1.0487 | 0.25299 | 0.18754
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.2667 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.2 | TRICHLOROFLUOROMETHANE | . | 0.06 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2667 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2667 |  | 1.2667 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1483 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.6 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1483 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2183 | 0.098995 | 1.2183 | 0.14 | 0.10378
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.2883 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.6 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.773 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2883 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2183 | 0.098995 | 1.2183 | 0.14 | 0.10378
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0938 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.16 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0938 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0406 | 0.07513 | 1.0406 | 0.10625 | 0.078762
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.9875 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.08 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0406 | 0.07513 | 1.0406 | 0.10625 | 0.078762
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1875 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.16 | TRICHLOROFLUOROMETHANE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1875 |  | 1.1875 | 0 | 0
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-02-18 | 2004-10-01 | 2009-09-30 | ug/L | 1.0797 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2408 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0797 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98283 | 0.10144 | 1.0071 | 0.18688 | 0.13853
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-03-31 | 2004-10-01 | 2009-09-30 | ug/L | 1.0797 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2408 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0797 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98283 | 0.10144 | 1.0071 | 0.18688 | 0.13853
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-05-13 | 2004-10-01 | 2009-09-30 | ug/L | 0.99668 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2408 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98283 | 0.10144 | 1.0071 | 0.18688 | 0.13853
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-06-17 | 2004-10-01 | 2009-09-30 | ug/L | 0.89286 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4816 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98283 | 0.10144 | 1.0071 | 0.18688 | 0.13853
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-06-30 | 2004-10-01 | 2009-09-30 | ug/L | 1.0174 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4816 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98283 | 0.10144 | 1.0071 | 0.18688 | 0.13853
TRICHLOROFLUOROMETHANE | 2021 | 34488GCM66 | 2009-08-11 | 2004-10-01 | 2009-09-30 | ug/L | 0.83056 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2408 | TRICHLOROFLUOROMETHANE | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83056 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98283 | 0.10144 | 1.0071 | 0.18688 | 0.13853