## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-01-27 | 2004-10-01 | 2009-09-30 | ug/L | 1 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.32 | VINYL_CHLORIDE | . | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98438 | 0.067748 | 1 | 0.09375 | 0.069496
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-03-14 | 2004-10-01 | 2009-09-30 | ug/L | 1.0625 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.16 | VINYL_CHLORIDE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98438 | 0.067748 | 1 | 0.09375 | 0.069496
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-04-21 | 2004-10-01 | 2009-09-30 | ug/L | 1.0312 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.32 | VINYL_CHLORIDE | . | 0.08 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0312 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98438 | 0.067748 | 1 | 0.09375 | 0.069496
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-06-09 | 2004-10-01 | 2009-09-30 | ug/L | 1 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.16 | VINYL_CHLORIDE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98438 | 0.067748 | 1 | 0.09375 | 0.069496
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-07-17 | 2004-10-01 | 2009-09-30 | ug/L | 0.875 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.16 | VINYL_CHLORIDE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98438 | 0.067748 | 1 | 0.09375 | 0.069496
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-08-29 | 2004-10-01 | 2009-09-30 | ug/L | 0.9375 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.16 | VINYL_CHLORIDE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98438 | 0.067748 | 1 | 0.09375 | 0.069496
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.6767 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.5984 | VINYL_CHLORIDE | . | 0.06 | 2.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6767 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.6767 |  | 1.6767 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1988 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.08008 | VINYL_CHLORIDE | . | 0.06 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1988 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1988 |  | 1.1988 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1988 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.16016 | VINYL_CHLORIDE | . | 0.06 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1988 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2612 | 0.0883 | 1.2612 | 0.12488 | 0.092569
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.3237 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.08008 | VINYL_CHLORIDE | . | 0.06 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3237 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2612 | 0.0883 | 1.2612 | 0.12488 | 0.092569
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.98 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1 | VINYL_CHLORIDE | E | 0.06 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.0867 | 0.088443 | 1.08 | 0.15167 | 0.11243
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.2033 | Accu | 209081198 | Accu 209081198: 30 µl | 0.3 | VINYL_CHLORIDE | . | 0.06 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2033 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0867 | 0.088443 | 1.08 | 0.15167 | 0.11243
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.06 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1 | VINYL_CHLORIDE | . | 0.06 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0867 | 0.088443 | 1.08 | 0.15167 | 0.11243
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.99 | Accu | 209081198 | Accu 209081198: 30 µl | 0.3 | VINYL_CHLORIDE | . | 0.06 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0867 | 0.088443 | 1.08 | 0.15167 | 0.11243
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.1 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1 | VINYL_CHLORIDE | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0867 | 0.088443 | 1.08 | 0.15167 | 0.11243
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.03 | Accu | 209081198 | Accu 209081198: 30 µl | 0.3 | VINYL_CHLORIDE | . | 0.06 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0867 | 0.088443 | 1.08 | 0.15167 | 0.11243
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.21 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1 | VINYL_CHLORIDE | . | 0.06 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.21 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0867 | 0.088443 | 1.08 | 0.15167 | 0.11243
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.12 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1 | VINYL_CHLORIDE | . | 0.06 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0867 | 0.088443 | 1.08 | 0.15167 | 0.11243
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.3861 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.08008 | VINYL_CHLORIDE | . | 0.06 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3861 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.3861 |  | 1.3861 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.78947 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.076 | VINYL_CHLORIDE | . | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78947 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82237 | 0.04652 | 0.82237 | 0.065789 | 0.048769
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.85526 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.152 | VINYL_CHLORIDE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85526 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82237 | 0.04652 | 0.82237 | 0.065789 | 0.048769
VINYL CHLORIDE | 2021 | 39175GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.534 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.3996 | VINYL_CHLORIDE | . | 0.06 | 0.613 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.534 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.4114 | 0.17341 | 1.4114 | 0.24525 | 0.1818
VINYL CHLORIDE | 2021 | 39175GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2888 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.7992 | VINYL_CHLORIDE | . | 0.06 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2888 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.4114 | 0.17341 | 1.4114 | 0.24525 | 0.1818
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.3237 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.16016 | VINYL_CHLORIDE | . | 0.06 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3237 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.3237 |  | 1.3237 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.88816 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.152 | VINYL_CHLORIDE | . | 0.06 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88816 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88816 |  | 0.88816 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.4865 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.3996 | VINYL_CHLORIDE | . | 0.06 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4865 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.4865 |  | 1.4865 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.88875 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.8 | VINYL_CHLORIDE | . | 0.06 | 0.711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88875 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.935 | 0.065407 | 0.935 | 0.0925 | 0.068569
VINYL CHLORIDE | 2021 | 39175GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.98125 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.6 | VINYL_CHLORIDE | . | 0.06 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98125 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.935 | 0.065407 | 0.935 | 0.0925 | 0.068569
VINYL CHLORIDE | 2021 | 39175GCM66 | 2008-12-20 | 2004-10-01 | 2009-09-30 | ug/L | 0.875 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.16 | VINYL_CHLORIDE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.7931 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | VINYL_CHLORIDE | . | 0.06 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7931 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.62069 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | VINYL_CHLORIDE | . | 0.06 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62069 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | VINYL_CHLORIDE | . | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.69828 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | VINYL_CHLORIDE | . | 0.06 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69828 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.69828 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | VINYL_CHLORIDE | . | 0.06 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69828 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.56466 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | VINYL_CHLORIDE | . | 0.06 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56466 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.60345 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | VINYL_CHLORIDE | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60345 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.68103 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | VINYL_CHLORIDE | . | 0.06 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68103 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.64224 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | VINYL_CHLORIDE | . | 0.06 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64224 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.81897 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.116 | VINYL_CHLORIDE | . | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81897 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.6681 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | VINYL_CHLORIDE | . | 0.06 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6681 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.71983 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.232 | VINYL_CHLORIDE | . | 0.06 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71983 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.68822 | 0.075497 | 0.68966 | 0.10345 | 0.076685
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.1691 | Restek | A069860 | Restek A069860: 10 µl | 0.0958 | VINYL_CHLORIDE | . | 0.06 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1691 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.6354 | Restek | A069860 | Restek A069860: 30 µl | 0.2874 | VINYL_CHLORIDE | . | 0.06 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6354 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0752 | Restek | A069860 | Restek A069860: 10 µl | 0.0958 | VINYL_CHLORIDE | . | 0.06 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0752 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1447 | Restek | A069860 | Restek A069860: 30 µl | 0.2874 | VINYL_CHLORIDE | . | 0.06 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1447 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.0647 | Restek | A069860 | Restek A069860: 10 µl | 0.0958 | VINYL_CHLORIDE | . | 0.06 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0647 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0717 | Restek | A069860 | Restek A069860: 30 µl | 0.2874 | VINYL_CHLORIDE | . | 0.06 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0717 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.4405 | Restek | A069860 | Restek A069860: 10 µl | 0.0958 | VINYL_CHLORIDE | . | 0.06 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4405 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.263 | Restek | A069860 | Restek A069860: 30 µl | 0.2874 | VINYL_CHLORIDE | . | 0.06 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.263 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.87683 | Restek | A069860 | Restek A069860: 10 µl | 0.0958 | VINYL_CHLORIDE | E | 0.06 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87683 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.1935 | 0.22632 | 1.1447 | 0.19137 | 0.14186
VINYL CHLORIDE | 2021 | 39175GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.9475 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.8 | VINYL_CHLORIDE | . | 0.06 | 0.758 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9475 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9475 |  | 0.9475 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.9175 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.4 | VINYL_CHLORIDE | . | 0.06 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9175 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99375 | 0.10783 | 0.99375 | 0.1525 | 0.11305
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.07 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.4 | VINYL_CHLORIDE | . | 0.06 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99375 | 0.10783 | 0.99375 | 0.1525 | 0.11305
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.3092 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.152 | VINYL_CHLORIDE | . | 0.06 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3092 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1349 | 0.24656 | 1.1349 | 0.34868 | 0.25848
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.96053 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.076 | VINYL_CHLORIDE | . | 0.06 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96053 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1349 | 0.24656 | 1.1349 | 0.34868 | 0.25848
VINYL CHLORIDE | 2021 | 39175GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.86184 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.152 | VINYL_CHLORIDE | . | 0.06 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86184 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86184 |  | 0.86184 | 0 | 0
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-02-18 | 2004-10-01 | 2009-09-30 | ug/L | 1.2438 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1608 | VINYL_CHLORIDE | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2438 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1609 | 0.15063 | 1.1816 | 0.18657 | 0.1383
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-03-31 | 2004-10-01 | 2009-09-30 | ug/L | 1.1816 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1608 | VINYL_CHLORIDE | . | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1816 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1609 | 0.15063 | 1.1816 | 0.18657 | 0.1383
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-05-13 | 2004-10-01 | 2009-09-30 | ug/L | 1.3682 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1608 | VINYL_CHLORIDE | E | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3682 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.1609 | 0.15063 | 1.1816 | 0.18657 | 0.1383
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-06-17 | 2004-10-01 | 2009-09-30 | ug/L | 1.0572 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.3216 | VINYL_CHLORIDE | . | 0.08 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0572 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1609 | 0.15063 | 1.1816 | 0.18657 | 0.1383
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-06-30 | 2004-10-01 | 2009-09-30 | ug/L | 1.1816 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.3216 | VINYL_CHLORIDE | . | 0.08 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1816 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1609 | 0.15063 | 1.1816 | 0.18657 | 0.1383
VINYL CHLORIDE | 2021 | 39175GCM66 | 2009-08-11 | 2004-10-01 | 2009-09-30 | ug/L | 0.93284 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1608 | VINYL_CHLORIDE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93284 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1609 | 0.15063 | 1.1816 | 0.18657 | 0.1383