## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 0.39246 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0902 | 1-NAPHTHOL | E | 0.05 | 0.0354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39246 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.39246 |  | 0.39246 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-10-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.66519 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.2255 | 1-NAPHTHOL | E | 0.05 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66519 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.66519 |  | 0.66519 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.44604 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.202 | 1-NAPHTHOL | E | 0.05 | 0.0901 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44604 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.47302 | 0.038156 | 0.47302 | 0.05396 | 0.04
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-04-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.5 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.101 | 1-NAPHTHOL | E | 0.05 | 0.0505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.47302 | 0.038156 | 0.47302 | 0.05396 | 0.04
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-08-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.66832 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.0404 | 1-NAPHTHOL | E | 0.036 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66832 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.66832 |  | 0.66832 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-06-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.54208 | Abs | 052412 | Abs 052412: 20 µl | 0.0404 | 1-NAPHTHOL | E | 0.036 | 0.0219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54208 | Abs 052412 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.54208 |  | 0.54208 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.13566 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.09583 | 1-NAPHTHOL | E | 0.036 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13566 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.40169 | 0.37622 | 0.40169 | 0.53206 | 0.39441
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.66772 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.059906 | 1-NAPHTHOL | E | 0.036 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66771 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.40169 | 0.37622 | 0.40169 | 0.53206 | 0.39441
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.48407 | Accu | 209081187 | Accu 209081187: 100 µl | 0.53918 | 1-NAPHTHOL | E | 0.036 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48407 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.54354 | Accu | 209081187 | Accu 209081187: 20 µl | 0.10873 | 1-NAPHTHOL | E | 0.036 | 0.0591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54354 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.91253 | Accu | 209081187 | Accu 209081187: 20 µl | 0.11397 | 1-NAPHTHOL | E | 0.036 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91252 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.86841 | Accu | 209081187 | Accu 209081187: 40 µl | 0.22224 | 1-NAPHTHOL | E | 0.036 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86841 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-12-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.93681 | Accu | 209081187 | Accu 209081187: 40 µl | 0.22096 | 1-NAPHTHOL | E | 0.036 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93681 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.52028 | Accu | B8090098 | Accu B8090098: 25 µl | 0.059584 | 1-NAPHTHOL | E | 0.04 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52028 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.45172 | 0.096959 | 0.45172 | 0.13712 | 0.10165
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.38316 | Accu | B8090098 | Accu B8090098: 25 µl | 0.060028 | 1-NAPHTHOL | E | 0.036 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38316 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.45172 | 0.096959 | 0.45172 | 0.13712 | 0.10165
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.66111 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.09 | 1-NAPHTHOL | E | 0.05 | 0.0595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66111 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.66111 |  | 0.66111 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-09-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.76222 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.09 | 1-NAPHTHOL | E | 0.05 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76222 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.76222 |  | 0.76222 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-09-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.755 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.04 | 1-NAPHTHOL | E | 0.036 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.555 | 0.28284 | 0.555 | 0.4 | 0.29652
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-03-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.355 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.04 | 1-NAPHTHOL | E | 0.05 | 0.0142 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.355 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 1 | Y | 2 | 0.555 | 0.28284 | 0.555 | 0.4 | 0.29652
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.64126 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.11072 | 1-NAPHTHOL | E | 0.036 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64126 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79208 | 0.17734 | 0.74754 | 0.34618 | 0.25662
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.74754 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.21939 | 1-NAPHTHOL | E | 0.036 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74754 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79208 | 0.17734 | 0.74754 | 0.34618 | 0.25662
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-10-19 | 2010-10-01 | 2012-09-30 | ug/L | 0.98744 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.11039 | 1-NAPHTHOL | E | 0.036 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98744 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79208 | 0.17734 | 0.74754 | 0.34618 | 0.25662
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-09-24 | 2012-10-01 | 2050-09-30 | ug/L | 0.59423 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.2255 | 1-NAPHTHOL | E | 0.05 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59424 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.38304 | 0.29868 | 0.38304 | 0.42239 | 0.31312
1-NAPHTHOL | 2033 | 49295GCM39 | 2014-01-10 | 2012-10-01 | 2050-09-30 | ug/L | 0.17184 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0902 | 1-NAPHTHOL | E | 0.05 | 0.0155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17184 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.38304 | 0.29868 | 0.38304 | 0.42239 | 0.31312
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-06-11 | 2012-10-01 | 2050-09-30 | ug/L | 0.28111 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.09 | 1-NAPHTHOL | E | 0.05 | 0.0253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28111 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.28111 |  | 0.28111 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.67187 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | 1-NAPHTHOL | E | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67187 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.67187 |  | 0.67187 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.69877 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | 1-NAPHTHOL | E | 0.036 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69877 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6758 | 0.063947 | 0.69877 | 0.12154 | 0.090098
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.72508 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | 1-NAPHTHOL | E | 0.036 | 0.0294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72508 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6758 | 0.063947 | 0.69877 | 0.12154 | 0.090098
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.60353 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | 1-NAPHTHOL | E | 0.036 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60353 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6758 | 0.063947 | 0.69877 | 0.12154 | 0.090098
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.46373 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | 1-NAPHTHOL | E | 0.036 | 0.0467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46373 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68617 | 0.2073 | 0.67688 | 0.33464 | 0.24806
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.7798 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | 1-NAPHTHOL | E | 0.036 | 0.0193 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.7798 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.68617 | 0.2073 | 0.67688 | 0.33464 | 0.24806
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-04-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.57397 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | 1-NAPHTHOL | E | 0.036 | 0.0571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57397 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68617 | 0.2073 | 0.67688 | 0.33464 | 0.24806
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.92718 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | 1-NAPHTHOL | E | 0.036 | 0.0687 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92718 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.68617 | 0.2073 | 0.67688 | 0.33464 | 0.24806
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-09-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.64356 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0404 | 1-NAPHTHOL | E | 0.036 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64356 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.52723 | 0.16452 | 0.52723 | 0.23267 | 0.17248
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-03-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.41089 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0404 | 1-NAPHTHOL | E | 0.05 | 0.0166 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.41089 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 1 | Y | 2 | 0.52723 | 0.16452 | 0.52723 | 0.23267 | 0.17248
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-11-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.4 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.1 | 1-NAPHTHOL | E | 0.05 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.4665 | 0.10288 | 0.4145 | 0.185 | 0.13714
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-02-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.4145 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.2 | 1-NAPHTHOL | E | 0.05 | 0.0829 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4145 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.4665 | 0.10288 | 0.4145 | 0.185 | 0.13714
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.585 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.04 | 1-NAPHTHOL | E | 0.05 | 0.0234 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.585 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 1 | Y | 3 | 0.4665 | 0.10288 | 0.4145 | 0.185 | 0.13714
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-07-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.38119 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.0404 | 1-NAPHTHOL | E | 0.05 | 0.0154 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.38119 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 1 | Y | 1 | 0.38119 |  | 0.38119 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-09-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.79802 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.101 | 1-NAPHTHOL | E | 0.05 | 0.0806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79802 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.79802 |  | 0.79802 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-11-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.60396 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0404 | 1-NAPHTHOL | E | 0.05 | 0.0244 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.60396 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 1 | Y | 2 | 0.58045 | 0.033255 | 0.58045 | 0.04703 | 0.034863
1-NAPHTHOL | 2033 | 49295GCM39 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.55693 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0404 | 1-NAPHTHOL | E | 0.05 | 0.0225 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.55693 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 1 | Y | 2 | 0.58045 | 0.033255 | 0.58045 | 0.04703 | 0.034863
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-01-09 | 2010-10-01 | 2012-09-30 | ug/L | 1.4934 | Restek | A075606 | Restek A075606: 40 µl | 0.052898 | 1-NAPHTHOL | E | 0.036 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4934 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-01-28 | 2010-10-01 | 2012-09-30 | ug/L | 1.4071 | Restek | A075606 | Restek A075606: 80 µl | 0.10945 | 1-NAPHTHOL | E | 0.036 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4071 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-03-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.96053 | Restek | A075606 | Restek A075606: 40 µl | 0.055386 | 1-NAPHTHOL | E | 0.036 | 0.0532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96053 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-04-23 | 2010-10-01 | 2012-09-30 | ug/L | 1.5728 | Restek | A075606 | Restek A075606: 40 µl | 0.054933 | 1-NAPHTHOL | E | 0.036 | 0.0864 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5728 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-06-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.2216 | Restek | A075606 | Restek A075606: 80 µl | 0.10723 | 1-NAPHTHOL | E | 0.036 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2216 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-08-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.682 | Restek | A075606 | Restek A075606: 40 µl | 0.0544 | 1-NAPHTHOL | E | 0.036 | 0.0915 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.682 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-09-01 | 2010-10-01 | 2012-09-30 | ug/L | 1.1949 | Restek | A075606 | Restek A075606: 80 µl | 0.1088 | 1-NAPHTHOL | E | 0.036 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1949 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-09-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.72151 | Restek | A075606 | Restek A075606: 80 µl | 0.1088 | 1-NAPHTHOL | E | 0.036 | 0.0785 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72151 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-11-01 | 2010-10-01 | 2012-09-30 | ug/L | 1.3051 | Restek | A075606 | Restek A075606: 80 µl | 0.1088 | 1-NAPHTHOL | E | 0.036 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3051 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-12-04 | 2010-10-01 | 2012-09-30 | ug/L | 0.91176 | Restek | A075606 | Restek A075606: 40 µl | 0.0544 | 1-NAPHTHOL | E | 0.036 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91176 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-02-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.557 | Restek | A075606 | Restek A075606: 40 µl | 0.0544 | 1-NAPHTHOL | E | 0.036 | 0.0847 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.557 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-05-15 | 2010-10-01 | 2012-09-30 | ug/L | 0.91912 | Restek | A075606 | Restek A075606: 80 µl | 0.1088 | 1-NAPHTHOL | E | 0.036 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91912 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.2456 | 0.31081 | 1.2634 | 0.58539 | 0.43394
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-08-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.62 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.04 | 1-NAPHTHOL | E | 0.036 | 0.0248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.53675 | 0.11773 | 0.53675 | 0.1665 | 0.12342
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-12-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.4535 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.2 | 1-NAPHTHOL | E | 0.05 | 0.0907 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4535 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.53675 | 0.11773 | 0.53675 | 0.1665 | 0.12342
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-10-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.49307 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.101 | 1-NAPHTHOL | E | 0.05 | 0.0498 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49307 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.46881 | 0.034305 | 0.46881 | 0.048515 | 0.035964
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-01-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.44455 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.101 | 1-NAPHTHOL | E | 0.05 | 0.0449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44455 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.46881 | 0.034305 | 0.46881 | 0.048515 | 0.035964
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-11-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.58426 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0902 | 1-NAPHTHOL | E | 0.05 | 0.0527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58426 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.58426 |  | 0.58426 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2013-08-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.53778 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.225 | 1-NAPHTHOL | E | 0.05 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53778 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.53778 |  | 0.53778 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-01-18 | 2010-10-01 | 2012-09-30 | ug/L | 1.2728 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.054288 | 1-NAPHTHOL | E | 0.036 | 0.0691 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2728 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-02-09 | 2010-10-01 | 2012-09-30 | ug/L | 0.98015 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.10509 | 1-NAPHTHOL | E | 0.036 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98015 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-03-30 | 2010-10-01 | 2012-09-30 | ug/L | 1.3822 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.054407 | 1-NAPHTHOL | E | 0.036 | 0.0752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3822 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-05-25 | 2010-10-01 | 2012-09-30 | ug/L | 0.99492 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.055382 | 1-NAPHTHOL | E | 0.036 | 0.0551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99492 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-07-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.791 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.10888 | 1-NAPHTHOL | E | 0.036 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.791 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-07-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.4603 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05444 | 1-NAPHTHOL | E | 0.036 | 0.0795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4603 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-09-24 | 2010-10-01 | 2012-09-30 | ug/L | 1.227 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05444 | 1-NAPHTHOL | E | 0.036 | 0.0668 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.227 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-10-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.96436 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.10888 | 1-NAPHTHOL | E | 0.036 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96436 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-11-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.77884 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.10888 | 1-NAPHTHOL | E | 0.036 | 0.0848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77884 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-12-22 | 2010-10-01 | 2012-09-30 | ug/L | 1.2362 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05444 | 1-NAPHTHOL | E | 0.036 | 0.0673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2362 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801
1-NAPHTHOL | 2033 | 49295GCM39 | 2012-03-09 | 2010-10-01 | 2012-09-30 | ug/L | 1.2381 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.05444 | 1-NAPHTHOL | E | 0.036 | 0.0674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2381 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 1.2114 | 0.27944 | 1.2362 | 0.40202 | 0.29801