## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.68812 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0202 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68812 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.68812 |  | 0.68812 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.05 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.72 |  | 0.72 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.65724 | Abs | 080610 | Abs 080610: 40 µl | 0.01978 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65724 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.79549 | Abs | 080610 | Abs 080610: 80 µl | 0.038718 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79549 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-02-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.85363 | Abs | 080610 | Abs 080610: 40 µl | 0.019915 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85363 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-03-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.80846 | Abs | 080610 | Abs 080610: 80 µl | 0.039952 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80846 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-05-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.76962 | Abs | 080610 | Abs 080610: 40 µl | 0.02001 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76962 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-05-29 | 2010-10-01 | 2011-09-30 | ug/L | 0.72572 | Abs | 080610 | Abs 080610: 80 µl | 0.040511 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72572 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-08-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.60636 | Abs | 080610 | Abs 080610: 40 µl | 0.02012 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60636 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-10-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.59145 | Abs | 080610 | Abs 080610: 40 µl | 0.02012 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59145 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-01-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.45726 | Abs | 080610 | Abs 080610: 40 µl | 0.02012 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45726 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-02-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.4498 | Abs | 080610 | Abs 080610: 80 µl | 0.04024 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4498 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-03-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.75547 | Abs | 080610 | Abs 080610: 40 µl | 0.02012 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75547 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-04-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.72565 | Abs | 080610 | Abs 080610: 40 µl | 0.02012 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72565 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-04-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.64364 | Abs | 080610 | Abs 080610: 80 µl | 0.04024 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64364 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.67998 | 0.12767 | 0.72565 | 0.16326 | 0.12102
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.83853 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0192 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83853 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.60658 | Accu | 210061341 | Accu 210061341: 80 µl | 0.039566 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60658 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.62362 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019563 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62362 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-04-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.59083 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019972 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59083 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-05-21 | 2010-10-01 | 2011-09-30 | ug/L | 0.61103 | Accu | 210061341 | Accu 210061341: 80 µl | 0.039606 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61103 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-07-02 | 2010-10-01 | 2011-09-30 | ug/L | 0.74581 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019844 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74581 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.6841 | Accu | 210061341 | Accu 210061341: 40 µl | 0.01988 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6841 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-08-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.77465 | Accu | 210061341 | Accu 210061341: 80 µl | 0.03976 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77465 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-11-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.67404 | Accu | 210061341 | Accu 210061341: 40 µl | 0.01988 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67404 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.55332 | Accu | 210061341 | Accu 210061341: 80 µl | 0.03976 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55332 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-03-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.64386 | Accu | 210061341 | Accu 210061341: 80 µl | 0.03976 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64386 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.44769 | Accu | 210061341 | Accu 210061341: 40 µl | 0.01988 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44769 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.6495 | 0.10441 | 0.63374 | 0.11625 | 0.086175
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.65842 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0202 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65842 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.65842 |  | 0.65842 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.83366 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0505 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83366 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.83267 | 0.0014002 | 0.83267 | 0.0019802 | 0.0014679
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.83168 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.0202 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83168 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.83267 | 0.0014002 | 0.83267 | 0.0019802 | 0.0014679
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.65877 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.090927 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65877 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73947 | 0.08039 | 0.74008 | 0.16078 | 0.11918
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.74008 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.092692 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74008 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73947 | 0.08039 | 0.74008 | 0.16078 | 0.11918
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.81954 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.047465 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81954 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73947 | 0.08039 | 0.74008 | 0.16078 | 0.11918
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76238 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0202 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76238 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.76238 |  | 0.76238 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.02 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.9 |  | 0.9 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-07-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.72262 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.044283 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72262 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.72262 |  | 0.72262 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.55093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55093 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.55093 |  | 0.55093 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.79934 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79934 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.81308 | 0.030826 | 0.79934 | 0.056869 | 0.042156
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.84839 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84839 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.81308 | 0.030826 | 0.79934 | 0.056869 | 0.042156
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.79152 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79152 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.81308 | 0.030826 | 0.79934 | 0.056869 | 0.042156
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.66034 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66035 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73002 | 0.072142 | 0.71775 | 0.11005 | 0.081583
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.82424 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82424 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73002 | 0.072142 | 0.71775 | 0.11005 | 0.081583
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.74586 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74586 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73002 | 0.072142 | 0.71775 | 0.11005 | 0.081583
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-06-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.68965 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68965 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73002 | 0.072142 | 0.71775 | 0.11005 | 0.081583
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-09-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.73069 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.043794 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73069 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.73069 |  | 0.73069 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.6225 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6225 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.63375 | 0.01591 | 0.63375 | 0.0225 | 0.016679
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-03-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.645 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.645 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.63375 | 0.01591 | 0.63375 | 0.0225 | 0.016679
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.616 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.1 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.616 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.62533 | 0.14523 | 0.616 | 0.29 | 0.21497
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.485 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.2 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.485 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.62533 | 0.14523 | 0.616 | 0.29 | 0.21497
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.775 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.62533 | 0.14523 | 0.616 | 0.29 | 0.21497
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-07-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.735 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.735 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.735 |  | 0.735 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-07-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.6875 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.6875 |  | 0.6875 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-09-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.598 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.1 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.598 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.598 |  | 0.598 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.61 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.65375 | 0.061872 | 0.65375 | 0.0875 | 0.064863
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.6975 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6975 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.65375 | 0.061872 | 0.65375 | 0.0875 | 0.064863
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.36706 | Restek | A069639 | Restek A069639: 20 µl | 0.045225 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36706 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61202 | 0.19264 | 0.62793 | 0.28094 | 0.20825
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.57605 | Restek | A069639 | Restek A069639: 20 µl | 0.045829 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57605 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61202 | 0.19264 | 0.62793 | 0.28094 | 0.20825
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.6798 | Restek | A069639 | Restek A069639: 100 µl | 0.23683 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6798 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61202 | 0.19264 | 0.62793 | 0.28094 | 0.20825
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.82518 | Restek | A069639 | Restek A069639: 40 µl | 0.090647 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82518 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61202 | 0.19264 | 0.62793 | 0.28094 | 0.20825
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-06-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.728 | Restek | A088380 | Restek A088380: 50 µl | 0.1 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0728 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.728 | Restek A088380 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.728 |  | 0.728 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-08-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.755 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.62475 | 0.1842 | 0.62475 | 0.2605 | 0.19311
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.4945 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.2 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0989 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4945 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.62475 | 0.1842 | 0.62475 | 0.2605 | 0.19311
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.89 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.7755 | 0.16193 | 0.7755 | 0.229 | 0.16976
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.661 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.1 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.661 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.7755 | 0.16193 | 0.7755 | 0.229 | 0.16976
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2012-11-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.73 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.2 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.72717 | 0.063298 | 0.73 | 0.1265 | 0.093773
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-02-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.6625 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.04 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.72717 | 0.063298 | 0.73 | 0.1265 | 0.093773
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-04-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.789 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.1 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.789 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.72717 | 0.063298 | 0.73 | 0.1265 | 0.093773
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-09-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.643 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.1 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.643 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.643 |  | 0.643 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2013-11-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.815 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.02 | 4-CHLORO-2-METHYLPHENOL | E | 0.008 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.815 |  | 0.815 | 0 | 0