## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETOCHLOR | 2033 | 49260GCM33 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.1235 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0502 | ACETOCHLOR | . | 0.01 | 0.0564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1235 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1235 |  | 1.1235 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.136 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.125 | ACETOCHLOR | . | 0.01 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.136 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.136 |  | 1.136 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.1753 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0502 | ACETOCHLOR | . | 0.01 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1753 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1753 |  | 1.1753 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0837 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1255 | ACETOCHLOR | . | 0.01 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0837 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0149 | 0.097192 | 1.0149 | 0.13745 | 0.10189
ACETOCHLOR | 2033 | 49260GCM33 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.94622 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.0502 | ACETOCHLOR | . | 0.01 | 0.0475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94622 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0149 | 0.097192 | 1.0149 | 0.13745 | 0.10189
ACETOCHLOR | 2033 | 49260GCM33 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0502 | ACETOCHLOR | . | 0.01 | 0.0507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.01 |  | 1.01 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.992 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.05 | ACETOCHLOR | . | 0.01 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.992 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 0.992 |  | 0.992 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.1107 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.2818 | ACETOCHLOR | . | 0.01 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1107 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1107 |  | 1.1107 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0118 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.094679 | ACETOCHLOR | E | 0.01 | 0.0958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0118 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2011-02-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.84371 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.046699 | ACETOCHLOR | . | 0.01 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84371 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2011-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.82944 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.094642 | ACETOCHLOR | . | 0.01 | 0.0785 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82944 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.70165 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.047887 | ACETOCHLOR | . | 0.01 | 0.0336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70165 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.87716 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.04811 | ACETOCHLOR | . | 0.01 | 0.0422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87716 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2011-07-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0399 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0476 | ACETOCHLOR | . | 0.01 | 0.0495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0399 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2011-10-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.93067 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0476 | ACETOCHLOR | . | 0.01 | 0.0443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93067 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2011-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.82668 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.0952 | ACETOCHLOR | . | 0.01 | 0.0787 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82668 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2012-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.94538 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0476 | ACETOCHLOR | . | 0.01 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94538 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2101 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.0476 | ACETOCHLOR | . | 0.01 | 0.0576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2101 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.92165 | 0.1414 | 0.90391 | 0.18239 | 0.13521
ACETOCHLOR | 2033 | 49260GCM33 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.71945 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.051845 | ACETOCHLOR | . | 0.01 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71945 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7426 | 0.2201 | 0.6647 | 0.29461 | 0.21839
ACETOCHLOR | 2033 | 49260GCM33 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.58065 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.024628 | ACETOCHLOR | . | 0.01 | 0.0143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58065 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7426 | 0.2201 | 0.6647 | 0.29461 | 0.21839
ACETOCHLOR | 2033 | 49260GCM33 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0604 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.025652 | ACETOCHLOR | . | 0.01 | 0.0272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0604 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7426 | 0.2201 | 0.6647 | 0.29461 | 0.21839
ACETOCHLOR | 2033 | 49260GCM33 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.60994 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.12657 | ACETOCHLOR | . | 0.01 | 0.0772 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60994 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7426 | 0.2201 | 0.6647 | 0.29461 | 0.21839
ACETOCHLOR | 2033 | 49260GCM33 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.95405 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ACETOCHLOR | . | 0.01 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95405 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.95405 |  | 0.95405 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.94373 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ACETOCHLOR | . | 0.01 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94373 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.053 | 0.09838 | 1.0809 | 0.19074 | 0.1414
ACETOCHLOR | 2033 | 49260GCM33 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1345 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ACETOCHLOR | . | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1345 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.053 | 0.09838 | 1.0809 | 0.19074 | 0.1414
ACETOCHLOR | 2033 | 49260GCM33 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0809 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ACETOCHLOR | . | 0.01 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0809 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.053 | 0.09838 | 1.0809 | 0.19074 | 0.1414
ACETOCHLOR | 2033 | 49260GCM33 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ACETOCHLOR | . | 0.01 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99284 | 0.097608 | 0.98812 | 0.16773 | 0.12434
ACETOCHLOR | 2033 | 49260GCM33 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0909 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | ACETOCHLOR | . | 0.01 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0909 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99284 | 0.097608 | 0.98812 | 0.16773 | 0.12434
ACETOCHLOR | 2033 | 49260GCM33 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.91373 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | ACETOCHLOR | . | 0.01 | 0.0909 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91373 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99284 | 0.097608 | 0.98812 | 0.16773 | 0.12434
ACETOCHLOR | 2033 | 49260GCM33 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90423 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | ACETOCHLOR | . | 0.01 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90423 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99284 | 0.097608 | 0.98812 | 0.16773 | 0.12434
ACETOCHLOR | 2033 | 49260GCM33 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 1.0224 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.28267 | ACETOCHLOR | . | 0.01 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0224 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0224 |  | 1.0224 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.73833 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73833 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.65667 | 0.11549 | 0.65667 | 0.16333 | 0.12108
ACETOCHLOR | 2033 | 49260GCM33 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.575 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.575 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.65667 | 0.11549 | 0.65667 | 0.16333 | 0.12108
ACETOCHLOR | 2033 | 49260GCM33 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.90667 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.15 | ACETOCHLOR | . | 0.01 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92389 | 0.16318 | 0.90667 | 0.325 | 0.24092
ACETOCHLOR | 2033 | 49260GCM33 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.77 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.3 | ACETOCHLOR | . | 0.01 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92389 | 0.16318 | 0.90667 | 0.325 | 0.24092
ACETOCHLOR | 2033 | 49260GCM33 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.095 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0657 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.095 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92389 | 0.16318 | 0.90667 | 0.325 | 0.24092
ACETOCHLOR | 2033 | 49260GCM33 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.90167 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90167 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90167 |  | 0.90167 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.85833 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85833 |  | 0.85833 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.78 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.15 | ACETOCHLOR | . | 0.01 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78 |  | 0.78 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.80333 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80333 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8125 | 0.012964 | 0.8125 | 0.018333 | 0.01359
ACETOCHLOR | 2033 | 49260GCM33 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.82167 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82167 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8125 | 0.012964 | 0.8125 | 0.018333 | 0.01359
ACETOCHLOR | 2033 | 49260GCM33 | 2012-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.92667 | Restek | A088380 | Restek A088380: 50 µl | 0.15 | ACETOCHLOR | . | 0.01 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.92667 |  | 0.92667 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.79 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.855 | 0.091924 | 0.855 | 0.13 | 0.096368
ACETOCHLOR | 2033 | 49260GCM33 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.3 | ACETOCHLOR | . | 0.01 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.855 | 0.091924 | 0.855 | 0.13 | 0.096368
ACETOCHLOR | 2033 | 49260GCM33 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.98833 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98833 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.87417 | 0.16146 | 0.87417 | 0.22833 | 0.16926
ACETOCHLOR | 2033 | 49260GCM33 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.76 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.15 | ACETOCHLOR | . | 0.01 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.87417 | 0.16146 | 0.87417 | 0.22833 | 0.16926
ACETOCHLOR | 2033 | 49260GCM33 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.82 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.3 | ACETOCHLOR | . | 0.01 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.74333 | 0.14449 | 0.82 | 0.25667 | 0.19026
ACETOCHLOR | 2033 | 49260GCM33 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.57667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.06 | ACETOCHLOR | . | 0.01 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.74333 | 0.14449 | 0.82 | 0.25667 | 0.19026
ACETOCHLOR | 2033 | 49260GCM33 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.83333 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.15 | ACETOCHLOR | . | 0.01 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.74333 | 0.14449 | 0.82 | 0.25667 | 0.19026
ACETOCHLOR | 2033 | 49260GCM33 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.956 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.25 | ACETOCHLOR | . | 0.01 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.956 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.956 |  | 0.956 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.064 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.05 | ACETOCHLOR | . | 0.01 | 0.0532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.064 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.064 |  | 1.064 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0728 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.095078 | ACETOCHLOR | . | 0.01 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0728 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.1983 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047899 | ACETOCHLOR | . | 0.01 | 0.0574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1983 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.79433 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048217 | ACETOCHLOR | . | 0.01 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79433 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1101 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047022 | ACETOCHLOR | . | 0.01 | 0.0522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1101 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.85516 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048529 | ACETOCHLOR | . | 0.01 | 0.0415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85516 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-07-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.99271 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | ACETOCHLOR | . | 0.01 | 0.0953 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99271 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-09-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.925 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | ACETOCHLOR | . | 0.01 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-09-29 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | ACETOCHLOR | . | 0.01 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.98542 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | ACETOCHLOR | . | 0.01 | 0.0473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98542 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2011-12-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0938 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | ACETOCHLOR | . | 0.01 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0938 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2012-01-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0521 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.096 | ACETOCHLOR | . | 0.01 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0521 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2012-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2667 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | ACETOCHLOR | E | 0.01 | 0.0608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2667 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2012-06-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.95625 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.048 | ACETOCHLOR | . | 0.01 | 0.0459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95625 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0233 | 0.1302 | 1 | 0.1375 | 0.10193
ACETOCHLOR | 2033 | 49260GCM33 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.76863 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.024589 | ACETOCHLOR | . | 0.01 | 0.0189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76863 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97945 | 0.16118 | 1.0187 | 0.25188 | 0.18672
ACETOCHLOR | 2033 | 49260GCM33 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.1119 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.024463 | ACETOCHLOR | E | 0.01 | 0.0272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1119 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.97945 | 0.16118 | 1.0187 | 0.25188 | 0.18672
ACETOCHLOR | 2033 | 49260GCM33 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.93839 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.048168 | ACETOCHLOR | . | 0.01 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93839 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97945 | 0.16118 | 1.0187 | 0.25188 | 0.18672
ACETOCHLOR | 2033 | 49260GCM33 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0989 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.04914 | ACETOCHLOR | . | 0.01 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0989 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97945 | 0.16118 | 1.0187 | 0.25188 | 0.18672