## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALACHLOR | 2033 | 46342GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.3 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.014 | ALACHLOR | . | 0.008 | 0.0182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3 |  | 1.3 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.3114 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.035 | ALACHLOR | . | 0.008 | 0.0459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3114 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3114 |  | 1.3114 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.75492 | Abs | 080610 | Abs 080610: 40 µl | 0.043846 | ALACHLOR | . | 0.008 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75492 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.98803 | Abs | 080610 | Abs 080610: 80 µl | 0.085827 | ALACHLOR | . | 0.008 | 0.0848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98803 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.89251 | Abs | 080610 | Abs 080610: 40 µl | 0.044145 | ALACHLOR | . | 0.008 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89251 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.95187 | Abs | 080610 | Abs 080610: 80 µl | 0.088562 | ALACHLOR | . | 0.008 | 0.0843 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95187 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0686 | Abs | 080610 | Abs 080610: 40 µl | 0.044356 | ALACHLOR | . | 0.008 | 0.0474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0686 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.95433 | Abs | 080610 | Abs 080610: 80 µl | 0.089802 | ALACHLOR | . | 0.008 | 0.0857 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95432 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.99327 | Abs | 080610 | Abs 080610: 40 µl | 0.0446 | ALACHLOR | E | 0.008 | 0.0443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99327 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92601 | Abs | 080610 | Abs 080610: 40 µl | 0.0446 | ALACHLOR | . | 0.008 | 0.0413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92601 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.87892 | Abs | 080610 | Abs 080610: 40 µl | 0.0446 | ALACHLOR | . | 0.008 | 0.0392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87892 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.92489 | Abs | 080610 | Abs 080610: 80 µl | 0.0892 | ALACHLOR | . | 0.008 | 0.0825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92489 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.80269 | Abs | 080610 | Abs 080610: 40 µl | 0.0446 | ALACHLOR | . | 0.008 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80269 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.77578 | Abs | 080610 | Abs 080610: 40 µl | 0.0446 | ALACHLOR | . | 0.008 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77578 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.89126 | Abs | 080610 | Abs 080610: 80 µl | 0.0892 | ALACHLOR | . | 0.008 | 0.0795 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89126 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.90793 | 0.090152 | 0.92489 | 0.075401 | 0.055894
ALACHLOR | 2033 | 46342GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0495 | Accu | 210061341 | Accu 210061341: 40 µl | 0.042689 | ALACHLOR | . | 0.008 | 0.0448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0495 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.83211 | Accu | 210061341 | Accu 210061341: 80 µl | 0.087969 | ALACHLOR | . | 0.008 | 0.0732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83211 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.81618 | Accu | 210061341 | Accu 210061341: 40 µl | 0.043495 | ALACHLOR | . | 0.008 | 0.0355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81618 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.86253 | Accu | 210061341 | Accu 210061341: 40 µl | 0.044404 | ALACHLOR | . | 0.008 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86253 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.1583 | Accu | 210061341 | Accu 210061341: 80 µl | 0.088057 | ALACHLOR | . | 0.008 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1583 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.85901 | Accu | 210061341 | Accu 210061341: 40 µl | 0.044121 | ALACHLOR | . | 0.008 | 0.0379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85901 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1018 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0442 | ALACHLOR | . | 0.008 | 0.0487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1018 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.92534 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0884 | ALACHLOR | . | 0.008 | 0.0818 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92534 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.88235 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0442 | ALACHLOR | . | 0.008 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.68778 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0884 | ALACHLOR | . | 0.008 | 0.0608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68778 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.89253 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0884 | ALACHLOR | . | 0.008 | 0.0789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89253 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.72851 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0442 | ALACHLOR | . | 0.008 | 0.0322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72851 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.89966 | 0.14141 | 0.87244 | 0.16325 | 0.12102
ALACHLOR | 2033 | 46342GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.2571 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.014 | ALACHLOR | . | 0.008 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2571 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2571 |  | 1.2571 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0886 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.035 | ALACHLOR | . | 0.008 | 0.0381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0886 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0371 | 0.072731 | 1.0371 | 0.10286 | 0.076247
ALACHLOR | 2033 | 46342GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.98571 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.014 | ALACHLOR | . | 0.008 | 0.0138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98571 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0371 | 0.072731 | 1.0371 | 0.10286 | 0.076247
ALACHLOR | 2033 | 46342GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1286 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.014 | ALACHLOR | . | 0.008 | 0.0158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1286 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1286 |  | 1.1286 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1929 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.014 | ALACHLOR | . | 0.008 | 0.0167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1929 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1929 |  | 1.1929 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.1533 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.16908 | ALACHLOR | . | 0.008 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1533 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1533 |  | 1.1533 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.77505 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.03303 | ALACHLOR | . | 0.008 | 0.0256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77505 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83367 | 0.23946 | 0.736 | 0.2948 | 0.21853
ALACHLOR | 2033 | 46342GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.67558 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.01569 | ALACHLOR | . | 0.008 | 0.0106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67558 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83367 | 0.23946 | 0.736 | 0.2948 | 0.21853
ALACHLOR | 2033 | 46342GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1871 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.016343 | ALACHLOR | . | 0.008 | 0.0194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1871 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83367 | 0.23946 | 0.736 | 0.2948 | 0.21853
ALACHLOR | 2033 | 46342GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.69695 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.080637 | ALACHLOR | . | 0.008 | 0.0562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69695 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83367 | 0.23946 | 0.736 | 0.2948 | 0.21853
ALACHLOR | 2033 | 46342GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.96749 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ALACHLOR | . | 0.008 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96749 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.96749 |  | 0.96749 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.89732 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ALACHLOR | . | 0.008 | 0.0348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89732 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0055 | 0.097774 | 1.0315 | 0.1903 | 0.14107
ALACHLOR | 2033 | 46342GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0876 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ALACHLOR | . | 0.008 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0876 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0055 | 0.097774 | 1.0315 | 0.1903 | 0.14107
ALACHLOR | 2033 | 46342GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0314 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ALACHLOR | . | 0.008 | 0.0417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0315 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0055 | 0.097774 | 1.0315 | 0.1903 | 0.14107
ALACHLOR | 2033 | 46342GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1122 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ALACHLOR | . | 0.008 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1122 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.984 | 0.12419 | 0.99219 | 0.20275 | 0.1503
ALACHLOR | 2033 | 46342GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0586 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | ALACHLOR | . | 0.008 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0586 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.984 | 0.12419 | 0.99219 | 0.20275 | 0.1503
ALACHLOR | 2033 | 46342GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92579 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | ALACHLOR | . | 0.008 | 0.0921 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92579 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.984 | 0.12419 | 0.99219 | 0.20275 | 0.1503
ALACHLOR | 2033 | 46342GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.83945 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | ALACHLOR | . | 0.008 | 0.0622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83945 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.984 | 0.12419 | 0.99219 | 0.20275 | 0.1503
ALACHLOR | 2033 | 46342GCM35 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 1.0884 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.16721 | ALACHLOR | . | 0.008 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0884 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0884 |  | 1.0884 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.82 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.755 | 0.091924 | 0.755 | 0.13 | 0.096368
ALACHLOR | 2033 | 46342GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.69 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.755 | 0.091924 | 0.755 | 0.13 | 0.096368
ALACHLOR | 2033 | 46342GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.92667 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.075 | ALACHLOR | . | 0.008 | 0.0695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96 | 0.13968 | 0.92667 | 0.27333 | 0.20262
ALACHLOR | 2033 | 46342GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.84 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.15 | ALACHLOR | . | 0.008 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96 | 0.13968 | 0.92667 | 0.27333 | 0.20262
ALACHLOR | 2033 | 46342GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1133 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1133 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.96 | 0.13968 | 0.92667 | 0.27333 | 0.20262
ALACHLOR | 2033 | 46342GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0233 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0233 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0233 |  | 1.0233 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.92667 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92667 |  | 0.92667 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.86133 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.075 | ALACHLOR | . | 0.008 | 0.0646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86133 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86133 |  | 0.86133 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.89333 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90333 | 0.014142 | 0.90333 | 0.02 | 0.014826
ALACHLOR | 2033 | 46342GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.91333 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91333 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90333 | 0.014142 | 0.90333 | 0.02 | 0.014826
ALACHLOR | 2033 | 46342GCM35 | 2012-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.984 | Restek | A088380 | Restek A088380: 50 µl | 0.075 | ALACHLOR | . | 0.008 | 0.0738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.984 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.984 |  | 0.984 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.89 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.935 | 0.06364 | 0.935 | 0.09 | 0.066716
ALACHLOR | 2033 | 46342GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.98 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.15 | ALACHLOR | . | 0.008 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.935 | 0.06364 | 0.935 | 0.09 | 0.066716
ALACHLOR | 2033 | 46342GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1033 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1033 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97433 | 0.18243 | 0.97433 | 0.258 | 0.19125
ALACHLOR | 2033 | 46342GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.84533 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.075 | ALACHLOR | . | 0.008 | 0.0634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84533 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97433 | 0.18243 | 0.97433 | 0.258 | 0.19125
ALACHLOR | 2033 | 46342GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.86 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.15 | ALACHLOR | . | 0.008 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81289 | 0.11048 | 0.86 | 0.20533 | 0.15221
ALACHLOR | 2033 | 46342GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.68667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.03 | ALACHLOR | . | 0.008 | 0.0206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81289 | 0.11048 | 0.86 | 0.20533 | 0.15221
ALACHLOR | 2033 | 46342GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.892 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.075 | ALACHLOR | . | 0.008 | 0.0669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.892 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.81289 | 0.11048 | 0.86 | 0.20533 | 0.15221
ALACHLOR | 2033 | 46342GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1343 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.07 | ALACHLOR | . | 0.008 | 0.0794 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1343 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1343 |  | 1.1343 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.2 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.014 | ALACHLOR | . | 0.008 | 0.0168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2 |  | 1.2 | 0 | 0
ALACHLOR | 2033 | 46342GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.91429 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.015641 | ALACHLOR | . | 0.008 | 0.0143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91429 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0698 | 0.14635 | 1.0719 | 0.24607 | 0.18241
ALACHLOR | 2033 | 46342GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.2211 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.01556 | ALACHLOR | E | 0.008 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.221 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 1.0698 | 0.14635 | 1.0719 | 0.24607 | 0.18241
ALACHLOR | 2033 | 46342GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.97918 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.030638 | ALACHLOR | . | 0.008 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97918 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0698 | 0.14635 | 1.0719 | 0.24607 | 0.18241
ALACHLOR | 2033 | 46342GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.1646 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.031256 | ALACHLOR | . | 0.008 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1646 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0698 | 0.14635 | 1.0719 | 0.24607 | 0.18241