## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.009 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.815 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.02 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.815 |  | 0.815 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.92196 | Abs | 080610 | Abs 080610: 40 µl | 0.019741 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92196 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0869 | Abs | 080610 | Abs 080610: 80 µl | 0.038641 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0869 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80502 | Abs | 080610 | Abs 080610: 40 µl | 0.019875 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80502 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.90538 | Abs | 080610 | Abs 080610: 80 µl | 0.039873 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90538 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.9414 | Abs | 080610 | Abs 080610: 40 µl | 0.01997 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9414 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.76921 | Abs | 080610 | Abs 080610: 80 µl | 0.040431 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76921 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93625 | Abs | 080610 | Abs 080610: 40 µl | 0.02008 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93625 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0408 | Abs | 080610 | Abs 080610: 40 µl | 0.02008 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0408 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.96614 | Abs | 080610 | Abs 080610: 40 µl | 0.02008 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96614 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0931 | Abs | 080610 | Abs 080610: 80 µl | 0.04016 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | E | 0.006 | 0.0439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0931 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95618 | Abs | 080610 | Abs 080610: 40 µl | 0.02008 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95618 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.94622 | Abs | 080610 | Abs 080610: 40 µl | 0.02008 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94622 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.75697 | Abs | 080610 | Abs 080610: 80 µl | 0.04016 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75697 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93274 | 0.10721 | 0.9414 | 0.060759 | 0.04504
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.75584 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019316 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75584 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.92451 | Accu | 210061341 | Accu 210061341: 80 µl | 0.039805 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92451 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.86377 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019681 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86377 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.3488 | Accu | 210061341 | Accu 210061341: 40 µl | 0.020092 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | E | 0.006 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3488 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.96625 | Accu | 210061341 | Accu 210061341: 80 µl | 0.039845 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96625 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.99679 | Accu | 210061341 | Accu 210061341: 40 µl | 0.019964 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99679 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.015 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.015 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.86 | Accu | 210061341 | Accu 210061341: 80 µl | 0.04 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.955 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.955 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8075 | Accu | 210061341 | Accu 210061341: 80 µl | 0.04 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8075 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.83 | Accu | 210061341 | Accu 210061341: 80 µl | 0.04 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.835 | Accu | 210061341 | Accu 210061341: 40 µl | 0.02 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92987 | 0.15453 | 0.89414 | 0.14902 | 0.11047
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0556 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.009 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0556 |  | 1.0556 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0711 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.0225 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0711 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95778 | 0.16028 | 0.95778 | 0.22667 | 0.16803
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.84444 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.009 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84444 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95778 | 0.16028 | 0.95778 | 0.22667 | 0.16803
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.74723 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.01994 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | E | 0.006 | 0.0149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74723 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.79779 | 0.082889 | 0.75268 | 0.14621 | 0.10839
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.75268 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.020327 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75268 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.79779 | 0.082889 | 0.75268 | 0.14621 | 0.10839
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.89345 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.010409 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89345 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.79779 | 0.082889 | 0.75268 | 0.14621 | 0.10839
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.2556 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.009 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2556 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2556 |  | 1.2556 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0125 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.008 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0125 |  | 1.0125 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2009-07-23 | 2007-10-01 | 2009-09-30 | ug/L | 1.1237 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.084541 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1237 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1237 |  | 1.1237 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.76593 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76593 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.76593 |  | 0.76593 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.80965 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80965 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84449 | 0.056808 | 0.81378 | 0.1004 | 0.074423
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.91005 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91005 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84449 | 0.056808 | 0.81378 | 0.1004 | 0.074423
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.81378 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81378 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84449 | 0.056808 | 0.81378 | 0.1004 | 0.074423
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.77057 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0776 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77057 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7746 | 0.095585 | 0.80347 | 0.13757 | 0.10198
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.83636 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83636 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7746 | 0.095585 | 0.80347 | 0.13757 | 0.10198
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.8504 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8504 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7746 | 0.095585 | 0.80347 | 0.13757 | 0.10198
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.64106 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64106 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7746 | 0.095585 | 0.80347 | 0.13757 | 0.10198
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2009-09-15 | 2007-10-01 | 2009-09-30 | ug/L | 1.4592 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.083607 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4592 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.4592 |  | 1.4592 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.74667 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74667 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7075 | 0.05539 | 0.7075 | 0.078333 | 0.058068
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.66833 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66833 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7075 | 0.05539 | 0.7075 | 0.078333 | 0.058068
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.15 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86611 | 0.030747 | 0.85833 | 0.06 | 0.044477
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.84 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.3 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86611 | 0.030747 | 0.85833 | 0.06 | 0.044477
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.85833 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85833 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86611 | 0.030747 | 0.85833 | 0.06 | 0.044477
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.80833 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80833 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80833 |  | 0.80833 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.97667 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97667 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97667 |  | 0.97667 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.86667 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.15 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86667 |  | 0.86667 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.795 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0477 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.795 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8975 | 0.14496 | 0.8975 | 0.205 | 0.15196
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8975 | 0.14496 | 0.8975 | 0.205 | 0.15196
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.61506 | Restek | A069639 | Restek A069639: 20 µl | 0.0099177 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61506 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77286 | 0.12207 | 0.78547 | 0.17609 | 0.13053
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.90545 | Restek | A069639 | Restek A069639: 20 µl | 0.01005 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90545 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77286 | 0.12207 | 0.78547 | 0.17609 | 0.13053
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.81637 | Restek | A069639 | Restek A069639: 100 µl | 0.051937 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81637 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77286 | 0.12207 | 0.78547 | 0.17609 | 0.13053
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.75457 | Restek | A069639 | Restek A069639: 40 µl | 0.019879 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75458 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77286 | 0.12207 | 0.78547 | 0.17609 | 0.13053
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | Restek | A088380 | Restek A088380: 50 µl | 0.15 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.73167 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73167 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82917 | 0.13789 | 0.82917 | 0.195 | 0.14455
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.92667 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.3 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92667 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82917 | 0.13789 | 0.82917 | 0.195 | 0.14455
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0133 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0133 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90667 | 0.15085 | 0.90667 | 0.21333 | 0.15814
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.15 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90667 | 0.15085 | 0.90667 | 0.21333 | 0.15814
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.85667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.3 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78278 | 0.088291 | 0.80667 | 0.17167 | 0.12725
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.685 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.06 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78278 | 0.088291 | 0.80667 | 0.17167 | 0.12725
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.80667 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.15 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80667 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78278 | 0.088291 | 0.80667 | 0.17167 | 0.12725
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.04 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97 |  | 0.97 | 0 | 0
ALPHA-ENDOSULFAN (ENDOSULFAN I) | 2033 | 34362GCM39 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.1 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.008 | ALPHA-ENDOSULFAN_(ENDOSULFAN_I) | . | 0.006 | 0.0088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0