## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ATRAZINE | 2033 | 39632GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.1627 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0498 | ATRAZINE | . | 0.008 | 0.0579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1627 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1627 |  | 1.1627 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.24 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.125 | ATRAZINE | . | 0.008 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.24 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.24 |  | 1.24 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.71209 | Abs | 080610 | Abs 080610: 40 µl | 0.14605 | ATRAZINE | . | 0.008 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71209 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0494 | Abs | 080610 | Abs 080610: 80 µl | 0.28588 | ATRAZINE | . | 0.008 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0494 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0473 | Abs | 080610 | Abs 080610: 40 µl | 0.14705 | ATRAZINE | . | 0.008 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0473 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0543 | Abs | 080610 | Abs 080610: 80 µl | 0.295 | ATRAZINE | . | 0.008 | 0.311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0543 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.11 | Abs | 080610 | Abs 080610: 40 µl | 0.14775 | ATRAZINE | . | 0.008 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.11 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0631 | Abs | 080610 | Abs 080610: 80 µl | 0.29912 | ATRAZINE | . | 0.008 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0631 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80102 | Abs | 080610 | Abs 080610: 40 µl | 0.14856 | ATRAZINE | . | 0.008 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80102 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.90199 | Abs | 080610 | Abs 080610: 40 µl | 0.14856 | ATRAZINE | . | 0.008 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90199 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.97604 | Abs | 080610 | Abs 080610: 40 µl | 0.14856 | ATRAZINE | . | 0.008 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97604 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0434 | Abs | 080610 | Abs 080610: 80 µl | 0.29712 | ATRAZINE | . | 0.008 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0433 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.90872 | Abs | 080610 | Abs 080610: 40 µl | 0.14856 | ATRAZINE | . | 0.008 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90872 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.91546 | Abs | 080610 | Abs 080610: 40 µl | 0.14856 | ATRAZINE | . | 0.008 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91546 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0063 | Abs | 080610 | Abs 080610: 80 µl | 0.29712 | ATRAZINE | . | 0.008 | 0.299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.96839 | 0.11575 | 1.0063 | 0.14065 | 0.10426
ATRAZINE | 2033 | 39632GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.94191 | Accu | 210061341 | Accu 210061341: 40 µl | 0.14333 | ATRAZINE | . | 0.008 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94191 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.96156 | Accu | 210061341 | Accu 210061341: 80 µl | 0.29535 | ATRAZINE | . | 0.008 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96156 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.88335 | Accu | 210061341 | Accu 210061341: 40 µl | 0.14603 | ATRAZINE | . | 0.008 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88335 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-04-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.86527 | Accu | 210061341 | Accu 210061341: 40 µl | 0.14909 | ATRAZINE | . | 0.008 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86527 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-05-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0993 | Accu | 210061341 | Accu 210061341: 80 µl | 0.29565 | ATRAZINE | . | 0.008 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0993 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-07-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.9586 | Accu | 210061341 | Accu 210061341: 40 µl | 0.14813 | ATRAZINE | . | 0.008 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9586 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0512 | Accu | 210061341 | Accu 210061341: 40 µl | 0.1484 | ATRAZINE | . | 0.008 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0512 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-08-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0714 | Accu | 210061341 | Accu 210061341: 80 µl | 0.2968 | ATRAZINE | . | 0.008 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0714 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.92992 | Accu | 210061341 | Accu 210061341: 40 µl | 0.1484 | ATRAZINE | . | 0.008 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92992 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2011-12-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.86927 | Accu | 210061341 | Accu 210061341: 80 µl | 0.2968 | ATRAZINE | . | 0.008 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86927 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2012-03-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0714 | Accu | 210061341 | Accu 210061341: 80 µl | 0.2968 | ATRAZINE | . | 0.008 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0714 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2012-03-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.8558 | Accu | 210061341 | Accu 210061341: 40 µl | 0.1484 | ATRAZINE | . | 0.008 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8558 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.96325 | 0.089239 | 0.95025 | 0.18501 | 0.13714
ATRAZINE | 2033 | 39632GCM35 | 2013-07-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0723 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0498 | ATRAZINE | . | 0.008 | 0.0534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0723 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0723 |  | 1.0723 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2013-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1647 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.1245 | ATRAZINE | . | 0.008 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1647 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0873 | 0.10933 | 1.0873 | 0.15462 | 0.11462
ATRAZINE | 2033 | 39632GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.0498 | ATRAZINE | . | 0.008 | 0.0503 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0873 | 0.10933 | 1.0873 | 0.15462 | 0.11462
ATRAZINE | 2033 | 39632GCM35 | 2009-08-12 | 2005-03-04 | 2009-09-30 | ug/L | 1.1598 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.18969 | ATRAZINE | . | 0.007 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1598 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2351 | 0.10649 | 1.2351 | 0.1506 | 0.11164
ATRAZINE | 2033 | 39632GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.3104 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.19307 | ATRAZINE | . | 0.007 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3104 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2351 | 0.10649 | 1.2351 | 0.1506 | 0.11164
ATRAZINE | 2033 | 39632GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.73607 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.049452 | ATRAZINE | E | 0.007 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73607 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.93431 | 0.17619 | 0.99382 | 0.33697 | 0.24979
ATRAZINE | 2033 | 39632GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.99382 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.050412 | ATRAZINE | . | 0.007 | 0.0501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99382 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93431 | 0.17619 | 0.99382 | 0.33697 | 0.24979
ATRAZINE | 2033 | 39632GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.073 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.025815 | ATRAZINE | . | 0.007 | 0.0277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.073 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93431 | 0.17619 | 0.99382 | 0.33697 | 0.24979
ATRAZINE | 2033 | 39632GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.84337 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0498 | ATRAZINE | . | 0.008 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84337 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84337 |  | 0.84337 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.022 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.05 | ATRAZINE | . | 0.008 | 0.0511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.022 |  | 1.022 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2009-09-16 | 2005-03-04 | 2009-09-30 | ug/L | 1.094 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.19287 | ATRAZINE | . | 0.007 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.094 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1104 | 0.065118 | 1.0972 | 0.080677 | 0.059805
ATRAZINE | 2033 | 39632GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.2011 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.3064 | ATRAZINE | . | 0.007 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2011 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1104 | 0.065118 | 1.0972 | 0.080677 | 0.059805
ATRAZINE | 2033 | 39632GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1004 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.19175 | ATRAZINE | . | 0.007 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1004 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1104 | 0.065118 | 1.0972 | 0.080677 | 0.059805
ATRAZINE | 2033 | 39632GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0461 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.29538 | ATRAZINE | . | 0.007 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0461 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1104 | 0.065118 | 1.0972 | 0.080677 | 0.059805
ATRAZINE | 2033 | 39632GCM35 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.98093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ATRAZINE | . | 0.007 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98093 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.98093 |  | 0.98093 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.94889 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ATRAZINE | . | 0.007 | 0.0368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94889 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0441 | 0.084403 | 1.0735 | 0.16092 | 0.11929
ATRAZINE | 2033 | 39632GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1098 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ATRAZINE | . | 0.007 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1098 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0441 | 0.084403 | 1.0735 | 0.16092 | 0.11929
ATRAZINE | 2033 | 39632GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0735 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ATRAZINE | . | 0.008 | 0.0434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0735 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0441 | 0.084403 | 1.0735 | 0.16092 | 0.11929
ATRAZINE | 2033 | 39632GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0526 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ATRAZINE | . | 0.008 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0377 | 0.070893 | 1.0536 | 0.084856 | 0.062903
ATRAZINE | 2033 | 39632GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0545 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | ATRAZINE | . | 0.008 | 0.0261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0545 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0377 | 0.070893 | 1.0536 | 0.084856 | 0.062903
ATRAZINE | 2033 | 39632GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1057 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | ATRAZINE | . | 0.008 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1057 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0377 | 0.070893 | 1.0536 | 0.084856 | 0.062903
ATRAZINE | 2033 | 39632GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93797 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | ATRAZINE | . | 0.008 | 0.0695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93797 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0377 | 0.070893 | 1.0536 | 0.084856 | 0.062903
ATRAZINE | 2033 | 39632GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.79583 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.12 | ATRAZINE | . | 0.008 | 0.0955 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79583 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74042 | 0.078371 | 0.74042 | 0.11083 | 0.08216
ATRAZINE | 2033 | 39632GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.685 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.12 | ATRAZINE | . | 0.008 | 0.0822 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74042 | 0.078371 | 0.74042 | 0.11083 | 0.08216
ATRAZINE | 2033 | 39632GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.94667 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.3 | ATRAZINE | . | 0.008 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0183 | 0.1006 | 0.975 | 0.18667 | 0.13837
ATRAZINE | 2033 | 39632GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.975 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.6 | ATRAZINE | . | 0.008 | 0.585 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0183 | 0.1006 | 0.975 | 0.18667 | 0.13837
ATRAZINE | 2033 | 39632GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1333 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.12 | ATRAZINE | . | 0.008 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0183 | 0.1006 | 0.975 | 0.18667 | 0.13837
ATRAZINE | 2033 | 39632GCM35 | 2012-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.91667 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.12 | ATRAZINE | . | 0.008 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91667 |  | 0.91667 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.95833 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.12 | ATRAZINE | . | 0.008 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95833 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95833 |  | 0.95833 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.3 | ATRAZINE | . | 0.008 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.83333 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.12 | ATRAZINE | . | 0.008 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91667 | 0.11785 | 0.91667 | 0.16667 | 0.12355
ATRAZINE | 2033 | 39632GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.12 | ATRAZINE | . | 0.008 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91667 | 0.11785 | 0.91667 | 0.16667 | 0.12355
ATRAZINE | 2033 | 39632GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.65052 | Restek | A069639 | Restek A069639: 20 µl | 0.024596 | ATRAZINE | . | 0.007 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65051 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83845 | 0.18682 | 0.80818 | 0.27211 | 0.20171
ATRAZINE | 2033 | 39632GCM35 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.75427 | Restek | A069639 | Restek A069639: 20 µl | 0.024925 | ATRAZINE | . | 0.007 | 0.0188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75427 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83845 | 0.18682 | 0.80818 | 0.27211 | 0.20171
ATRAZINE | 2033 | 39632GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0869 | Restek | A069639 | Restek A069639: 100 µl | 0.1288 | ATRAZINE | . | 0.007 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0869 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83845 | 0.18682 | 0.80818 | 0.27211 | 0.20171
ATRAZINE | 2033 | 39632GCM35 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.86208 | Restek | A069639 | Restek A069639: 40 µl | 0.049299 | ATRAZINE | . | 0.008 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86208 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83845 | 0.18682 | 0.80818 | 0.27211 | 0.20171
ATRAZINE | 2033 | 39632GCM35 | 2012-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Restek | A088380 | Restek A088380: 50 µl | 0.3 | ATRAZINE | . | 0.008 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Restek A088380 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.01 |  | 1.01 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.8228 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.1202 | ATRAZINE | . | 0.008 | 0.0989 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8228 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93136 | 0.15354 | 0.93136 | 0.21714 | 0.16096
ATRAZINE | 2033 | 39632GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0399 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.601 | ATRAZINE | . | 0.008 | 0.625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0399 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93136 | 0.15354 | 0.93136 | 0.21714 | 0.16096
ATRAZINE | 2033 | 39632GCM35 | 2012-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0898 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1202 | ATRAZINE | . | 0.008 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0899 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0308 | 0.083535 | 1.0308 | 0.11814 | 0.087573
ATRAZINE | 2033 | 39632GCM35 | 2013-01-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.97171 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.3005 | ATRAZINE | . | 0.008 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97171 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0308 | 0.083535 | 1.0308 | 0.11814 | 0.087573
ATRAZINE | 2033 | 39632GCM35 | 2012-11-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.96839 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.601 | ATRAZINE | . | 0.008 | 0.582 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96839 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.85691 | 0.16242 | 0.93178 | 0.29784 | 0.22078
ATRAZINE | 2033 | 39632GCM35 | 2013-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.67055 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.1202 | ATRAZINE | . | 0.008 | 0.0806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67055 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.85691 | 0.16242 | 0.93178 | 0.29784 | 0.22078
ATRAZINE | 2033 | 39632GCM35 | 2013-04-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.93178 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.3005 | ATRAZINE | . | 0.008 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93178 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.85691 | 0.16242 | 0.93178 | 0.29784 | 0.22078
ATRAZINE | 2033 | 39632GCM35 | 2013-09-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.084 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.25 | ATRAZINE | . | 0.008 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.084 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.084 |  | 1.084 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2013-11-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.992 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.05 | ATRAZINE | . | 0.008 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.992 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.992 |  | 0.992 | 0 | 0