## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.90625 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0704 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.90625 |  | 0.90625 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.63636 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.176 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63636 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 |  | 1 | 0.63636 |  | 0.63636 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.722 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 1 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.722 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.722 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.506 | 0.30547 | 0.506 | 0.432 | 0.32024
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-04-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.29 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.5 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.506 | 0.30547 | 0.506 | 0.432 | 0.32024
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-06-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.72 | Abs | 052412 | Abs 052412: 20 µl | 0.1 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.72 | Abs 052412 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.72 |  | 1.72 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.56577 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.25982 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56577 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.71078 | 0.20508 | 0.71078 | 0.29003 | 0.21499
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.85579 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.16242 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85579 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.71078 | 0.20508 | 0.71078 | 0.29003 | 0.21499
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.57877 | Accu | 209081187 | Accu 209081187: 100 µl | 0.58573 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57877 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.59516 | Accu | 209081187 | Accu 209081187: 20 µl | 0.11812 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59516 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.59931 | Accu | 209081187 | Accu 209081187: 20 µl | 0.12381 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59931 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.72899 | Accu | 209081187 | Accu 209081187: 40 µl | 0.24143 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72899 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-12-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.65822 | Accu | 209081187 | Accu 209081187: 40 µl | 0.24004 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65822 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.60932 | Accu | B8090098 | Accu B8090098: 25 µl | 0.15919 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60932 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.65383 | 0.062946 | 0.65383 | 0.089019 | 0.065989
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.69834 | Accu | B8090098 | Accu B8090098: 25 µl | 0.16038 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69834 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.65383 | 0.062946 | 0.65383 | 0.089019 | 0.065989
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.1275 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0698 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0787 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1275 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.1275 |  | 1.1275 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.91547 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.0698 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0639 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91547 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 |  | 1 | 0.91547 |  | 0.91547 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.64824 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.199 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64824 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.65327 | 0.0071066 | 0.65327 | 0.01005 | 0.0074501
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.65829 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.199 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65829 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.65327 | 0.0071066 | 0.65327 | 0.01005 | 0.0074501
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.65571 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.12079 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0792 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65571 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.57602 | 0.17628 | 0.65571 | 0.32442 | 0.24049
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.37396 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.23933 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37396 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.57602 | 0.17628 | 0.65571 | 0.32442 | 0.24049
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.69838 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.12042 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69838 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.57602 | 0.17628 | 0.65571 | 0.32442 | 0.24049
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2014-01-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.80256 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0704 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80256 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.80256 |  | 0.80256 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-06-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.98854 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0698 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98854 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.98854 |  | 0.98854 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.524 | ERA | 0507-12-04.2 | ERA 0507-12-04.2: 50 µl | 0.25 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.524 | ERA 0507-12-04.2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.524 |  | 0.524 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.37625 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37625 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.37625 |  | 0.37625 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.34552 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0134 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.34552 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.81025 | 0.46052 | 0.81879 | 0.92091 | 0.68266
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.8188 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0332 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.81879 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.81025 | 0.46052 | 0.81879 | 0.92091 | 0.68266
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.2664 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0512 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2664 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.81025 | 0.46052 | 0.81879 | 0.92091 | 0.68266
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.88178 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88178 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81181 | 0.098957 | 0.81181 | 0.13995 | 0.10374
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2011-04-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.74184 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0738 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74184 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81181 | 0.098957 | 0.81181 | 0.13995 | 0.10374
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-03-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.543 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.1 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.543 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.543 |  | 0.543 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.86869 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.2475 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86869 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.76801 | 0.11517 | 0.79293 | 0.22626 | 0.16773
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.64242 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.495 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64242 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.76801 | 0.11517 | 0.79293 | 0.22626 | 0.16773
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.79293 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.099 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0785 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79293 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 |  | 3 | 0.76801 | 0.11517 | 0.79293 | 0.22626 | 0.16773
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-07-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.651 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.1 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.651 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.651 |  | 0.651 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-09-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.56 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.25 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.56 |  | 0.56 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.403 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.403 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.572 | 0.239 | 0.572 | 0.338 | 0.25056
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.741 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0741 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.741 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.572 | 0.239 | 0.572 | 0.338 | 0.25056
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-08-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.0606 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.099 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0606 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.82222 | 0.33713 | 0.82222 | 0.47677 | 0.35342
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.58384 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.495 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58384 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.82222 | 0.33713 | 0.82222 | 0.47677 | 0.35342
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.284 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.1 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.284 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.456 | 0.24324 | 0.456 | 0.344 | 0.255
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-01-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.628 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.25 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.628 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 |  | 2 | 0.456 | 0.24324 | 0.456 | 0.344 | 0.255
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2012-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.64 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.25 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.758 | 0.16688 | 0.758 | 0.236 | 0.17494
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-01-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.876 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.25 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.876 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.758 | 0.16688 | 0.758 | 0.236 | 0.17494
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2013-11-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.78409 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0704 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78409 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.78409 |  | 0.78409 | 0 | 0