## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBARYL | 2033 | 82680GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0556 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.1402 | CARBARYL | E | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.0556 |  | 1.0556 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.94151 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.3505 | CARBARYL | E | 0.06 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94151 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.94151 |  | 0.94151 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0344 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.378 | CARBARYL | E | 0.06 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0344 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.85317 | 0.25628 | 0.85317 | 0.36243 | 0.26867
CARBARYL | 2033 | 82680GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.67196 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.189 | CARBARYL | E | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67196 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.85317 | 0.25628 | 0.85317 | 0.36243 | 0.26867
CARBARYL | 2033 | 82680GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.2302 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.0756 | CARBARYL | E | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2302 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.2302 |  | 1.2302 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2012-06-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1376 | Abs | 052412 | Abs 052412: 20 µl | 0.0756 | CARBARYL | E | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1376 | Abs 052412 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.1376 |  | 1.1376 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0034 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.13753 | CARBARYL | E | 0.06 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0034 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.0658 | 0.088274 | 1.0658 | 0.12484 | 0.092541
CARBARYL | 2033 | 82680GCM35 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.1283 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.085973 | CARBARYL | E | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1283 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.0658 | 0.088274 | 1.0658 | 0.12484 | 0.092541
CARBARYL | 2033 | 82680GCM35 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.1132 | Accu | 209081187 | Accu 209081187: 100 µl | 1.8057 | CARBARYL | E | 0.06 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1132 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.68381 | Accu | 209081187 | Accu 209081187: 20 µl | 0.36413 | CARBARYL | E | 0.06 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68381 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.93011 | Accu | 209081187 | Accu 209081187: 20 µl | 0.38167 | CARBARYL | E | 0.06 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93011 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.77793 | Accu | 209081187 | Accu 209081187: 40 µl | 0.74428 | CARBARYL | E | 0.06 | 0.579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77793 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.9865 | Accu | 209081187 | Accu 209081187: 40 µl | 0.73999 | CARBARYL | E | 0.06 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9865 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.0006 | Accu | B8090098 | Accu B8090098: 25 µl | 0.08395 | CARBARYL | E | 0.2 | 0.084 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0006 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 1.1033 | 0.14526 | 1.1033 | 0.20542 | 0.15228
CARBARYL | 2033 | 82680GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.206 | Accu | B8090098 | Accu B8090098: 25 µl | 0.084576 | CARBARYL | E | 0.06 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.206 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.1033 | 0.14526 | 1.1033 | 0.20542 | 0.15228
CARBARYL | 2033 | 82680GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.81062 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.1394 | CARBARYL | E | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81062 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.81062 |  | 0.81062 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.90387 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.1394 | CARBARYL | E | 0.06 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90387 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.90387 |  | 0.90387 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1662 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0746 | CARBARYL | E | 0.06 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1662 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 1.0121 | 0.21801 | 1.0121 | 0.30831 | 0.22855
CARBARYL | 2033 | 82680GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.85791 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0746 | CARBARYL | E | 0.06 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85791 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 1.0121 | 0.21801 | 1.0121 | 0.30831 | 0.22855
CARBARYL | 2033 | 82680GCM35 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.80722 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.37041 | CARBARYL | E | 0.06 | 0.299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80722 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.87665 | 0.06028 | 0.90714 | 0.10838 | 0.080342
CARBARYL | 2033 | 82680GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.9156 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.73394 | CARBARYL | E | 0.06 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9156 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.87665 | 0.06028 | 0.90714 | 0.10838 | 0.080342
CARBARYL | 2033 | 82680GCM35 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.90714 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.36929 | CARBARYL | E | 0.06 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90714 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.87665 | 0.06028 | 0.90714 | 0.10838 | 0.080342
CARBARYL | 2033 | 82680GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.73894 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.3505 | CARBARYL | E | 0.06 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73894 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.79387 | 0.077671 | 0.79387 | 0.10984 | 0.081426
CARBARYL | 2033 | 82680GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.84879 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.1402 | CARBARYL | E | 0.06 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84879 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.79387 | 0.077671 | 0.79387 | 0.10984 | 0.081426
CARBARYL | 2033 | 82680GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.71736 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.1394 | CARBARYL | E | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71736 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.71736 |  | 0.71736 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.85999 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | CARBARYL | E | 0.2 | 0.064 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.85999 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 1 | 0.85999 |  | 0.85999 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.90248 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CARBARYL | E | 0.06 | 0.035 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.90248 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.1983 | 0.29094 | 1.2085 | 0.58163 | 0.43115
CARBARYL | 2033 | 82680GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.2085 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | CARBARYL | E | 0.06 | 0.049 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2085 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.1983 | 0.29094 | 1.2085 | 0.58163 | 0.43115
CARBARYL | 2033 | 82680GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.4841 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CARBARYL | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4841 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.1983 | 0.29094 | 1.2085 | 0.58163 | 0.43115
CARBARYL | 2033 | 82680GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0923 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CARBARYL | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0923 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0493 | 0.10107 | 1.0337 | 0.16538 | 0.12259
CARBARYL | 2033 | 82680GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1717 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | CARBARYL | E | 0.06 | 0.029 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1717 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0493 | 0.10107 | 1.0337 | 0.16538 | 0.12259
CARBARYL | 2033 | 82680GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.97504 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | CARBARYL | E | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97504 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0493 | 0.10107 | 1.0337 | 0.16538 | 0.12259
CARBARYL | 2033 | 82680GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95822 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | CARBARYL | E | 0.06 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95822 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0493 | 0.10107 | 1.0337 | 0.16538 | 0.12259
CARBARYL | 2033 | 82680GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.72751 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0756 | CARBARYL | E | 0.06 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72751 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.71429 | 0.018707 | 0.71429 | 0.026455 | 0.019611
CARBARYL | 2033 | 82680GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.70106 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.0756 | CARBARYL | E | 0.06 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70106 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.71429 | 0.018707 | 0.71429 | 0.026455 | 0.019611
CARBARYL | 2033 | 82680GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.94906 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.1865 | CARBARYL | E | 0.06 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94906 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.95264 | 0.19842 | 0.94906 | 0.39678 | 0.29413
CARBARYL | 2033 | 82680GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.75603 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.373 | CARBARYL | E | 0.06 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75603 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.95264 | 0.19842 | 0.94906 | 0.39678 | 0.29413
CARBARYL | 2033 | 82680GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1528 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0746 | CARBARYL | E | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1528 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.95264 | 0.19842 | 0.94906 | 0.39678 | 0.29413
CARBARYL | 2033 | 82680GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.86436 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.0752 | CARBARYL | E | 0.06 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86436 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.86436 |  | 0.86436 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.82447 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.188 | CARBARYL | E | 0.06 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82447 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.82447 |  | 0.82447 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.79365 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0756 | CARBARYL | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79365 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.95899 | 0.23383 | 0.95899 | 0.33069 | 0.24514
CARBARYL | 2033 | 82680GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1243 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.0756 | CARBARYL | E | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1243 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.95899 | 0.23383 | 0.95899 | 0.33069 | 0.24514
CARBARYL | 2033 | 82680GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.68168 | Restek | A075606 | Restek A075606: 40 µl | 0.28899 | CARBARYL | E | 0.06 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68168 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.5218 | Restek | A075606 | Restek A075606: 80 µl | 0.59793 | CARBARYL | E | 0.06 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5218 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8163 | Restek | A075606 | Restek A075606: 40 µl | 0.30259 | CARBARYL | E | 0.06 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8163 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.88967 | Restek | A075606 | Restek A075606: 40 µl | 0.30011 | CARBARYL | E | 0.06 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88967 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1488 | Restek | A075606 | Restek A075606: 80 µl | 0.58585 | CARBARYL | E | 0.06 | 0.673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1488 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.67295 | Restek | A075606 | Restek A075606: 40 µl | 0.2972 | CARBARYL | E | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67295 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.88997 | Restek | A075606 | Restek A075606: 80 µl | 0.5944 | CARBARYL | E | 0.06 | 0.529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88997 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.36003 | Restek | A075606 | Restek A075606: 80 µl | 0.5944 | CARBARYL | E | 0.06 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36003 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.99092 | Restek | A075606 | Restek A075606: 80 µl | 0.5944 | CARBARYL | E | 0.06 | 0.589 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99092 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.96904 | Restek | A075606 | Restek A075606: 40 µl | 0.2972 | CARBARYL | E | 0.06 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96904 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2012-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.69987 | Restek | A075606 | Restek A075606: 40 µl | 0.2972 | CARBARYL | E | 0.06 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69987 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.98923 | Restek | A075606 | Restek A075606: 80 µl | 0.5944 | CARBARYL | E | 0.06 | 0.588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98923 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.80252 | 0.22359 | 0.85298 | 0.30183 | 0.22374
CARBARYL | 2033 | 82680GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.93834 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0746 | CARBARYL | E | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93834 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.9571 | 0.02654 | 0.9571 | 0.037534 | 0.027823
CARBARYL | 2033 | 82680GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.97587 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.373 | CARBARYL | E | 0.06 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97587 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.9571 | 0.02654 | 0.9571 | 0.037534 | 0.027823
CARBARYL | 2033 | 82680GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.80952 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.189 | CARBARYL | E | 0.06 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80952 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.87037 | 0.08605 | 0.87037 | 0.12169 | 0.09021
CARBARYL | 2033 | 82680GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.93122 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.189 | CARBARYL | E | 0.06 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93122 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.87037 | 0.08605 | 0.87037 | 0.12169 | 0.09021
CARBARYL | 2033 | 82680GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.91298 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.1402 | CARBARYL | E | 0.06 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91298 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.91298 |  | 0.91298 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.80918 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.3485 | CARBARYL | E | 0.06 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80918 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.80918 |  | 0.80918 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.87799 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.29613 | CARBARYL | E | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87799 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.72223 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.57323 | CARBARYL | E | 0.06 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72223 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.74128 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.29678 | CARBARYL | E | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74129 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.96327 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.3021 | CARBARYL | E | 0.06 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96327 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.50849 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.59392 | CARBARYL | E | 0.06 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50849 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.68696 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.29696 | CARBARYL | E | 0.06 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68696 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.88227 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.29696 | CARBARYL | E | 0.06 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88227 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.7038 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.59392 | CARBARYL | E | 0.06 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7038 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82166 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.59392 | CARBARYL | E | 0.06 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82166 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95973 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.29696 | CARBARYL | E | 0.06 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95973 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323
CARBARYL | 2033 | 82680GCM35 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.73411 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.29696 | CARBARYL | E | 0.06 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73411 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.78198 | 0.13519 | 0.74129 | 0.17848 | 0.1323