## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-06-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.21333 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.3 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21333 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.21333 |  | 0.21333 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-10-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.28267 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.75 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28267 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.28267 |  | 0.28267 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.21291 | Accu | 209081187 | Accu 209081187: 40 µl | 0.15029 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21291 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.21291 |  | 0.21291 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.16912 | Accu | B8090098 | Accu B8090098: 25 µl | 0.10052 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16912 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.16912 |  | 0.16912 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.20333 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.3 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20333 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.20333 |  | 0.20333 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-06-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.344 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.75 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.344 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.32033 | 0.03347 | 0.32033 | 0.047333 | 0.035088
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.29667 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.3 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29667 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.32033 | 0.03347 | 0.32033 | 0.047333 | 0.035088
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.67333 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.3 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67333 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.67333 |  | 0.67333 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-09-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.29667 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.3 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29667 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.29667 |  | 0.29667 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2012-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.81136 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0986 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81136 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.54767 | 0.37292 | 0.54767 | 0.52738 | 0.39094
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.28398 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0986 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28398 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.54767 | 0.37292 | 0.54767 | 0.52738 | 0.39094
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.33117 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.072471 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33117 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.24567 | 0.12091 | 0.24567 | 0.171 | 0.12676
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.16017 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.1436 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16017 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.24567 | 0.12091 | 0.24567 | 0.171 | 0.12676
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.72198 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.05 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72198 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.69491 | 0.038279 | 0.69491 | 0.054135 | 0.04013
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.66784 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.027 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.66785 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.69491 | 0.038279 | 0.69491 | 0.054135 | 0.04013
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.81426 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81426 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.58895 | 0.31864 | 0.58895 | 0.45062 | 0.33404
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-03-05 | 2010-10-01 | 2011-09-30 | ug/L | 0.36364 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.36364 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 0.58895 | 0.31864 | 0.58895 | 0.45062 | 0.33404
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2012-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.45842 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.2465 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45842 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.50913 | 0.23039 | 0.45842 | 0.45233 | 0.33531
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.30832 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.493 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30832 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.50913 | 0.23039 | 0.45842 | 0.45233 | 0.33531
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.76065 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0986 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76065 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.50913 | 0.23039 | 0.45842 | 0.45233 | 0.33531
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-07-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.2495 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.1002 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2495 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.2495 |  | 0.2495 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-09-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.44711 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.2505 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44711 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.44711 |  | 0.44711 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2014-01-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.37 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.37 |  | 0.37 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-01-09 | 2010-10-01 | 2011-09-30 | ug/L | 0.96628 | Restek | A075606 | Restek A075606: 40 µl | 0.057954 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96628 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.55876 | Restek | A075606 | Restek A075606: 80 µl | 0.11991 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55876 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-03-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.60976 | Restek | A075606 | Restek A075606: 40 µl | 0.06068 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60976 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-04-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.9471 | Restek | A075606 | Restek A075606: 40 µl | 0.060184 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9471 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-06-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.80862 | Restek | A075606 | Restek A075606: 80 µl | 0.11748 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80862 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-08-17 | 2010-10-01 | 2011-09-30 | ug/L | 0.72148 | Restek | A075606 | Restek A075606: 40 µl | 0.0596 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.043 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72148 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-09-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.26846 | Restek | A075606 | Restek A075606: 80 µl | 0.1192 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26846 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-09-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.12584 | Restek | A075606 | Restek A075606: 80 µl | 0.1192 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12584 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-11-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.72148 | Restek | A075606 | Restek A075606: 80 µl | 0.1192 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72148 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.57047 | Restek | A075606 | Restek A075606: 40 µl | 0.0596 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.034 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.57047 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2012-02-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.88926 | Restek | A075606 | Restek A075606: 40 µl | 0.0596 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.053 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.88926 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 11 | 0.65341 | 0.26784 | 0.72148 | 0.3305 | 0.24499
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2012-08-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.86207 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0986 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86207 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.74138 | 0.17068 | 0.74138 | 0.24138 | 0.17893
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.62069 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.493 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62069 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.74138 | 0.17068 | 0.74138 | 0.24138 | 0.17893
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-09-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.136 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 1.5 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.136 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.136 |  | 0.136 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2013-11-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.29 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.3 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.29 |  | 0.29 | 0 | 0
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-02-09 | 2010-10-01 | 2011-09-30 | ug/L | 0.32997 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.12122 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32997 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-03-30 | 2010-10-01 | 2011-09-30 | ug/L | 0.74886 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.062762 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74886 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-05-25 | 2010-10-01 | 2011-09-30 | ug/L | 1.2209 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.063886 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2209 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.41401 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0628 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41401 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-09-24 | 2010-10-01 | 2011-09-30 | ug/L | 0.95541 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0628 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95541 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-10-02 | 2011-10-01 | 2050-09-30 | ug/L | 0.58121 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1256 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58121 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-11-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.52548 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1256 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52548 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2011-12-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0191 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0628 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.064 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0191 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871
CHLORPYRIFOS, OXYGEN ANALOG | 2033 | 61636GCM39 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.73248 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0628 | CHLORPYRIFOS,_OXYGEN_ANALOG | E | 0.08 | 0.046 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.73248 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 9 | 0.72527 | 0.29568 | 0.73248 | 0.42994 | 0.31871