## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 0.95 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.038 | CHLORPYRIFOS | . | 0.01 | 0.0361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-10-19 | 2012-10-01 | 2050-09-30 | ug/L | 1.2316 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.095 | CHLORPYRIFOS | . | 0.01 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2316 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2316 |  | 1.2316 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.95409 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.501 | CHLORPYRIFOS | . | 0.01 | 0.478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95409 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86427 | 0.12703 | 0.86427 | 0.17964 | 0.13317
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-04-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.77445 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.2505 | CHLORPYRIFOS | . | 0.01 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77445 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86427 | 0.12703 | 0.86427 | 0.17964 | 0.13317
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-08-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.90319 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.1002 | CHLORPYRIFOS | . | 0.0036 | 0.0905 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90319 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90319 |  | 0.90319 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-06-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.90419 | Abs | 052412 | Abs 052412: 20 µl | 0.1002 | CHLORPYRIFOS | . | 0.0036 | 0.0906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90419 | Abs 052412 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.90419 |  | 0.90419 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-01-07 | 2010-10-01 | 2012-09-30 | ug/L | 0.56738 | Abs | 080610 | Abs 080610: 40 µl | 0.048997 | CHLORPYRIFOS | . | 0.0036 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56738 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-01-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.67563 | Abs | 080610 | Abs 080610: 80 µl | 0.095911 | CHLORPYRIFOS | . | 0.0036 | 0.0648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67563 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-02-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.78448 | Abs | 080610 | Abs 080610: 40 µl | 0.049332 | CHLORPYRIFOS | . | 0.0036 | 0.0387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78448 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-03-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.82754 | Abs | 080610 | Abs 080610: 80 µl | 0.098967 | CHLORPYRIFOS | . | 0.0036 | 0.0819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82755 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-05-03 | 2010-10-01 | 2012-09-30 | ug/L | 0.9018 | Abs | 080610 | Abs 080610: 40 µl | 0.049567 | CHLORPYRIFOS | . | 0.0036 | 0.0447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9018 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-05-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.83506 | Abs | 080610 | Abs 080610: 80 µl | 0.10035 | CHLORPYRIFOS | . | 0.0036 | 0.0838 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83506 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-08-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.80658 | Abs | 080610 | Abs 080610: 40 µl | 0.04984 | CHLORPYRIFOS | E | 0.0036 | 0.0402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80658 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-10-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.76645 | Abs | 080610 | Abs 080610: 40 µl | 0.04984 | CHLORPYRIFOS | . | 0.0036 | 0.0382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76645 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.84872 | Abs | 080610 | Abs 080610: 40 µl | 0.04984 | CHLORPYRIFOS | . | 0.0036 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84872 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-02-09 | 2010-10-01 | 2012-09-30 | ug/L | 0.76846 | Abs | 080610 | Abs 080610: 80 µl | 0.09968 | CHLORPYRIFOS | . | 0.0036 | 0.0766 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76846 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-03-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.77849 | Abs | 080610 | Abs 080610: 40 µl | 0.04984 | CHLORPYRIFOS | . | 0.0036 | 0.0388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77849 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-04-12 | 2010-10-01 | 2012-09-30 | ug/L | 0.70425 | Abs | 080610 | Abs 080610: 40 µl | 0.04984 | CHLORPYRIFOS | . | 0.0036 | 0.0351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70425 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-04-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.72632 | Abs | 080610 | Abs 080610: 80 µl | 0.09968 | CHLORPYRIFOS | . | 0.0036 | 0.0724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72632 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.76855 | 0.086077 | 0.77849 | 0.10122 | 0.075034
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-01-12 | 2010-10-01 | 2012-09-30 | ug/L | 0.77762 | Accu | 210061341 | Accu 210061341: 40 µl | 0.046552 | CHLORPYRIFOS | . | 0.0036 | 0.0362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77762 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-02-01 | 2010-10-01 | 2012-09-30 | ug/L | 0.7714 | Accu | 210061341 | Accu 210061341: 80 µl | 0.09593 | CHLORPYRIFOS | . | 0.0036 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7714 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-02-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.7105 | Accu | 210061341 | Accu 210061341: 40 µl | 0.047432 | CHLORPYRIFOS | . | 0.0036 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7105 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-04-07 | 2010-10-01 | 2012-09-30 | ug/L | 0.80334 | Accu | 210061341 | Accu 210061341: 40 µl | 0.048423 | CHLORPYRIFOS | . | 0.0036 | 0.0389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80334 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-05-21 | 2010-10-01 | 2012-09-30 | ug/L | 0.93413 | Accu | 210061341 | Accu 210061341: 80 µl | 0.096025 | CHLORPYRIFOS | . | 0.0036 | 0.0897 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93413 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-07-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.64639 | Accu | 210061341 | Accu 210061341: 40 µl | 0.048113 | CHLORPYRIFOS | . | 0.0036 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64639 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-07-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.87552 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0482 | CHLORPYRIFOS | . | 0.0036 | 0.0422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87552 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-08-30 | 2010-10-01 | 2012-09-30 | ug/L | 0.82676 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0964 | CHLORPYRIFOS | . | 0.0036 | 0.0797 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82676 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-11-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.78216 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0482 | CHLORPYRIFOS | . | 0.0036 | 0.0377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78216 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-12-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.71162 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0964 | CHLORPYRIFOS | . | 0.0036 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71162 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-03-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.83817 | Accu | 210061341 | Accu 210061341: 80 µl | 0.0964 | CHLORPYRIFOS | . | 0.0036 | 0.0808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83817 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-03-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.6805 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0482 | CHLORPYRIFOS | . | 0.0036 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6805 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.77984 | 0.083306 | 0.77989 | 0.12141 | 0.090001
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-07-11 | 2012-10-01 | 2050-09-30 | ug/L | 0.95 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.038 | CHLORPYRIFOS | . | 0.01 | 0.0361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-06-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.0347 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.095 | CHLORPYRIFOS | . | 0.01 | 0.0983 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0347 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.995 | 0.056196 | 0.995 | 0.079474 | 0.058913
CHLORPYRIFOS | 2033 | 38933GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.95526 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.038 | CHLORPYRIFOS | . | 0.01 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95526 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.995 | 0.056196 | 0.995 | 0.079474 | 0.058913
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.85789 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.038 | CHLORPYRIFOS | . | 0.01 | 0.0326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85789 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85789 |  | 0.85789 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-09-05 | 2012-10-01 | 2050-09-30 | ug/L | 1.0158 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.038 | CHLORPYRIFOS | . | 0.01 | 0.0386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0158 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0158 |  | 1.0158 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-09-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.8755 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0996 | CHLORPYRIFOS | . | 0.0036 | 0.0872 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8755 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.74398 | 0.18601 | 0.74398 | 0.26305 | 0.195
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-03-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.61245 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0996 | CHLORPYRIFOS | . | 0.01 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61245 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.74398 | 0.18601 | 0.74398 | 0.26305 | 0.195
CHLORPYRIFOS | 2033 | 38933GCM35 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.9936 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.016103 | CHLORPYRIFOS | . | 0.01 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9936 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.9936 |  | 0.9936 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.7956 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.20236 | CHLORPYRIFOS | . | 0.01 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7956 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76681 | 0.14257 | 0.76823 | 0.19981 | 0.14812
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.59296 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.096127 | CHLORPYRIFOS | . | 0.01 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59296 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76681 | 0.14257 | 0.76823 | 0.19981 | 0.14812
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.93784 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.10012 | CHLORPYRIFOS | . | 0.01 | 0.0939 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93784 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76681 | 0.14257 | 0.76823 | 0.19981 | 0.14812
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-10-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.74085 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.49403 | CHLORPYRIFOS | . | 0.0036 | 0.366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74085 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76681 | 0.14257 | 0.76823 | 0.19981 | 0.14812
CHLORPYRIFOS | 2033 | 38933GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.92718 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | CHLORPYRIFOS | . | 0.01 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92718 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.92718 |  | 0.92718 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.78386 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CHLORPYRIFOS | . | 0.01 | 0.0304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78386 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.92151 | 0.13249 | 0.93251 | 0.26429 | 0.19592
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0482 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | CHLORPYRIFOS | . | 0.01 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0482 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.92151 | 0.13249 | 0.93251 | 0.26429 | 0.19592
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.93251 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CHLORPYRIFOS | . | 0.0036 | 0.0377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93251 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.92151 | 0.13249 | 0.93251 | 0.26429 | 0.19592
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.0129 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CHLORPYRIFOS | . | 0.0036 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0129 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91696 | 0.092319 | 0.93206 | 0.11377 | 0.084336
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.92929 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | CHLORPYRIFOS | . | 0.0036 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92929 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91696 | 0.092319 | 0.93206 | 0.11377 | 0.084336
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-04-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.93484 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | CHLORPYRIFOS | . | 0.0036 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93484 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91696 | 0.092319 | 0.93206 | 0.11377 | 0.084336
CHLORPYRIFOS | 2033 | 38933GCM35 | 2011-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.79087 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | CHLORPYRIFOS | . | 0.0036 | 0.0586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79087 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91696 | 0.092319 | 0.93206 | 0.11377 | 0.084336
CHLORPYRIFOS | 2033 | 38933GCM35 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 0.87911 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.015925 | CHLORPYRIFOS | . | 0.01 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87911 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87911 |  | 0.87911 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-09-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.71058 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.1002 | CHLORPYRIFOS | . | 0.0036 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71058 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.68912 | 0.030345 | 0.68912 | 0.042914 | 0.031812
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-03-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.66766 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.1002 | CHLORPYRIFOS | . | 0.01 | 0.0669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66766 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.68912 | 0.030345 | 0.68912 | 0.042914 | 0.031812
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-11-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.80723 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.249 | CHLORPYRIFOS | . | 0.01 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80723 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.87249 | 0.063808 | 0.8755 | 0.12751 | 0.094522
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-02-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.8755 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.498 | CHLORPYRIFOS | . | 0.01 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8755 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.87249 | 0.063808 | 0.8755 | 0.12751 | 0.094522
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.93474 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0996 | CHLORPYRIFOS | . | 0.01 | 0.0931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93474 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.87249 | 0.063808 | 0.8755 | 0.12751 | 0.094522
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-07-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.78543 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.1002 | CHLORPYRIFOS | . | 0.01 | 0.0787 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78543 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78543 |  | 0.78543 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-09-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.91018 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.2505 | CHLORPYRIFOS | . | 0.01 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91018 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91018 |  | 0.91018 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-11-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.72156 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1002 | CHLORPYRIFOS | . | 0.01 | 0.0723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72156 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79391 | 0.10233 | 0.79391 | 0.14471 | 0.10727
CHLORPYRIFOS | 2033 | 38933GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.86627 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.1002 | CHLORPYRIFOS | . | 0.01 | 0.0868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86627 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79391 | 0.10233 | 0.79391 | 0.14471 | 0.10727
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-08-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.75402 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0996 | CHLORPYRIFOS | . | 0.0036 | 0.0751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75402 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83986 | 0.1214 | 0.83986 | 0.17169 | 0.12727
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-12-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.9257 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.498 | CHLORPYRIFOS | . | 0.01 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9257 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83986 | 0.1214 | 0.83986 | 0.17169 | 0.12727
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-09-20 | 2012-10-01 | 2050-09-30 | ug/L | 1.1211 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.19 | CHLORPYRIFOS | . | 0.01 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1211 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1211 |  | 1.1211 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-11-09 | 2012-10-01 | 2050-09-30 | ug/L | 1.0842 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.038 | CHLORPYRIFOS | . | 0.01 | 0.0412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0842 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0842 |  | 1.0842 | 0 | 0
CHLORPYRIFOS | 2033 | 38933GCM35 | 2012-10-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.8503 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.2505 | CHLORPYRIFOS | . | 0.01 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8503 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91417 | 0.090329 | 0.91417 | 0.12774 | 0.094696
CHLORPYRIFOS | 2033 | 38933GCM35 | 2013-01-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.97804 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.2505 | CHLORPYRIFOS | . | 0.01 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97804 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91417 | 0.090329 | 0.91417 | 0.12774 | 0.094696
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.56574 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.095981 | CHLORPYRIFOS | . | 0.01 | 0.0543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56574 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71099 | 0.16266 | 0.69858 | 0.27817 | 0.20621
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.57807 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.09549 | CHLORPYRIFOS | . | 0.01 | 0.0552 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57807 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71099 | 0.16266 | 0.69858 | 0.27817 | 0.20621
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.81908 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.18802 | CHLORPYRIFOS | . | 0.01 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81908 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71099 | 0.16266 | 0.69858 | 0.27817 | 0.20621
CHLORPYRIFOS | 2033 | 38933GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.88108 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.19181 | CHLORPYRIFOS | . | 0.01 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88108 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71099 | 0.16266 | 0.69858 | 0.27817 | 0.20621