## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.29104 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0402 | CIS-PROPICONAZOLE | E | 0.008 | 0.0117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29104 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.29104 |  | 0.29104 | 0 | 0
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.31244 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.1005 | CIS-PROPICONAZOLE | E | 0.008 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31244 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.31244 |  | 0.31244 | 0 | 0
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.54562 | Abs | 080610 | Abs 080610: 40 µl | 0.041054 | CIS-PROPICONAZOLE | E | 0.008 | 0.0224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54562 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.53508 | Abs | 080610 | Abs 080610: 80 µl | 0.080362 | CIS-PROPICONAZOLE | E | 0.008 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53508 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-02-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.39677 | Abs | 080610 | Abs 080610: 40 µl | 0.041334 | CIS-PROPICONAZOLE | E | 0.008 | 0.0164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39676 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-03-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.51011 | Abs | 080610 | Abs 080610: 80 µl | 0.082923 | CIS-PROPICONAZOLE | E | 0.008 | 0.0423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51011 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.431 | Abs | 080610 | Abs 080610: 40 µl | 0.041532 | CIS-PROPICONAZOLE | E | 0.008 | 0.0179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.431 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-05-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.33776 | Abs | 080610 | Abs 080610: 80 µl | 0.084083 | CIS-PROPICONAZOLE | E | 0.008 | 0.0284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33776 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.53879 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | CIS-PROPICONAZOLE | E | 0.008 | 0.0225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53879 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-10-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.37356 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | CIS-PROPICONAZOLE | E | 0.008 | 0.0156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37356 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.33525 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | CIS-PROPICONAZOLE | E | 0.008 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33525 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.38434 | Abs | 080610 | Abs 080610: 80 µl | 0.08352 | CIS-PROPICONAZOLE | E | 0.008 | 0.0321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38434 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.39033 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | CIS-PROPICONAZOLE | E | 0.008 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39033 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-04-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.3568 | Abs | 080610 | Abs 080610: 40 µl | 0.04176 | CIS-PROPICONAZOLE | E | 0.008 | 0.0149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3568 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-04-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.37596 | Abs | 080610 | Abs 080610: 80 µl | 0.08352 | CIS-PROPICONAZOLE | E | 0.008 | 0.0314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37596 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.42395 | 0.079532 | 0.39033 | 0.13655 | 0.10122
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.3475 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.04 | CIS-PROPICONAZOLE | E | 0.008 | 0.0139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3475 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.3475 |  | 0.3475 | 0 | 0
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.38 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.04 | CIS-PROPICONAZOLE | E | 0.008 | 0.0152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.38 |  | 0.38 | 0 | 0
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.285 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.02 | CIS-PROPICONAZOLE | E | 0.008 | 0.0057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.285 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.2975 | 0.017678 | 0.2975 | 0.025 | 0.018532
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.31 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.02 | CIS-PROPICONAZOLE | E | 0.008 | 0.0062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.2975 | 0.017678 | 0.2975 | 0.025 | 0.018532
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.24279 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.1005 | CIS-PROPICONAZOLE | E | 0.008 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24279 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.20473 | 0.053825 | 0.20473 | 0.076119 | 0.056427
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.16667 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0402 | CIS-PROPICONAZOLE | E | 0.008 | 0.0067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16667 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.20473 | 0.053825 | 0.20473 | 0.076119 | 0.056427
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.335 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.04 | CIS-PROPICONAZOLE | E | 0.008 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.335 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.335 |  | 0.335 | 0 | 0
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.0212 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.018605 | CIS-PROPICONAZOLE | E | 0.006 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0212 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.0212 |  | 1.0212 | 0 | 0
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.444 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.0096956 | CIS-PROPICONAZOLE | E | 0.006 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.444 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.6341 | 0.25918 | 1.5291 | 0.48538 | 0.35981
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.5291 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.010137 | CIS-PROPICONAZOLE | E | 0.006 | 0.0155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5291 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.6341 | 0.25918 | 1.5291 | 0.48538 | 0.35981
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.9293 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.010107 | CIS-PROPICONAZOLE | E | 0.008 | 0.0195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9293 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.6341 | 0.25918 | 1.5291 | 0.48538 | 0.35981
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0923 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.025176 | CIS-PROPICONAZOLE | E | 0.008 | 0.0275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0923 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.3474 | 0.38611 | 1.3154 | 0.6376 | 0.47264
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.7939 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.0061875 | CIS-PROPICONAZOLE | E | 0.008 | 0.0111 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.7939 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.3474 | 0.38611 | 1.3154 | 0.6376 | 0.47264
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.96499 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.024871 | CIS-PROPICONAZOLE | E | 0.008 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96499 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.3474 | 0.38611 | 1.3154 | 0.6376 | 0.47264
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.5385 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.018524 | CIS-PROPICONAZOLE | E | 0.008 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5385 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.3474 | 0.38611 | 1.3154 | 0.6376 | 0.47264
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.254 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.05 | CIS-PROPICONAZOLE | E | 0.008 | 0.0127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.254 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.26633 | 0.073283 | 0.254 | 0.145 | 0.10749
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.2 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.1 | CIS-PROPICONAZOLE | E | 0.008 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.26633 | 0.073283 | 0.254 | 0.145 | 0.10749
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.345 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.02 | CIS-PROPICONAZOLE | E | 0.008 | 0.0069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.345 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.26633 | 0.073283 | 0.254 | 0.145 | 0.10749
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.24 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.02 | CIS-PROPICONAZOLE | E | 0.008 | 0.0048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.23 | 0.014142 | 0.23 | 0.02 | 0.014826
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.22 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.1 | CIS-PROPICONAZOLE | E | 0.008 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.23 | 0.014142 | 0.23 | 0.02 | 0.014826
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.24627 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0402 | CIS-PROPICONAZOLE | E | 0.008 | 0.0099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24627 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.24627 |  | 0.24627 | 0 | 0
CIS-PROPICONAZOLE | 2033 | 79846GCM40 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.238 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.1 | CIS-PROPICONAZOLE | E | 0.008 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.238 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.238 |  | 0.238 | 0 | 0