## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CYANAZINE | 2033 | 04041GCM35 | 2013-06-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.2047 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0552 | CYANAZINE | . | 0.022 | 0.0665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2047 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2047 |  | 1.2047 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2013-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0072 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.138 | CYANAZINE | . | 0.022 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0072 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0072 |  | 1.0072 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.1133 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl | 0.15 | CYANAZINE | . | 0.022 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1133 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.99667 | 0.16499 | 0.99667 | 0.23333 | 0.17297
CYANAZINE | 2033 | 04041GCM35 | 2013-04-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | Abs, ERA | 052412, 0507-12-04.2 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl | 0.075 | CYANAZINE | . | 0.022 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Ab052412, ER05004.2 | Ab | ER | ER | 052412 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.99667 | 0.16499 | 0.99667 | 0.23333 | 0.17297
CYANAZINE | 2033 | 04041GCM35 | 2012-08-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.4167 | Abs, Supelco | 052412, LB92783 | Abs 052412: 20 µl & Supelco LB92783: 20 µl | 0.03 | CYANAZINE | . | 0.022 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4167 | Ab052412, SuLB92783 | Ab | Su | Su | 052412 | LB92783 | LB92783 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.4167 |  | 1.4167 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2012-06-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.5433 | Abs | 052412 | Abs 052412: 20 µl | 0.03 | CYANAZINE | E | 0.022 | 0.0463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5433 | Abs 052412 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.5433 |  | 1.5433 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2013-12-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0803 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0548 | CYANAZINE | . | 0.022 | 0.0592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0803 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0803 |  | 1.0803 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2013-09-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1423 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.0548 | CYANAZINE | . | 0.022 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1423 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1423 |  | 1.1423 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2012-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1409 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0298 | CYANAZINE | . | 0.022 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1409 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0101 | 0.18508 | 1.0101 | 0.26174 | 0.19403
CYANAZINE | 2033 | 04041GCM35 | 2013-03-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.87919 | Crescent, ERA | 05BB029, 0507-12-04.2 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl | 0.0298 | CYANAZINE | . | 0.022 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87919 | Cr05BB029, ER05004.2 | Cr | ER | ER | 05BB029 | 05004.2 | 05004.2 |  | 05004.2 | 05004.2 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0101 | 0.18508 | 1.0101 | 0.26174 | 0.19403
CYANAZINE | 2033 | 04041GCM35 | 2013-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.88406 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl | 0.138 | CYANAZINE | . | 0.022 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88406 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82699 | 0.080702 | 0.82699 | 0.11413 | 0.084604
CYANAZINE | 2033 | 04041GCM35 | 2014-01-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.76993 | ERA, Abs, Crescent | 0318-13-02.2, 042413, 10802AL | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0552 | CYANAZINE | . | 0.022 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76993 | ER03102.2, Ab042413, Cr10802AL | ER | Ab | Cr | 03102.2 | 042413 | 10802AL | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82699 | 0.080702 | 0.82699 | 0.11413 | 0.084604
CYANAZINE | 2033 | 04041GCM35 | 2013-06-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.78832 | ERA, Crescent | 0318-13-02.2, 04CC101 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl | 0.0548 | CYANAZINE | . | 0.022 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78832 | ER03102.2, Cr04CC101 | ER | Cr | Cr | 03102.2 | 04CC101 | 04CC101 | 03102.2 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78832 |  | 0.78832 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.83311 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | CYANAZINE | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83311 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83311 |  | 0.83311 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.80707 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CYANAZINE | . | 0.022 | 0.0313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80707 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0832 | 0.2614 | 1.1155 | 0.51977 | 0.3853
CYANAZINE | 2033 | 04041GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.3268 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | CYANAZINE | . | 0.022 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3268 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0832 | 0.2614 | 1.1155 | 0.51977 | 0.3853
CYANAZINE | 2033 | 04041GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1155 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CYANAZINE | . | 0.022 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1155 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0832 | 0.2614 | 1.1155 | 0.51977 | 0.3853
CYANAZINE | 2033 | 04041GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1717 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CYANAZINE | . | 0.022 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1717 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0304 | 0.11553 | 1.0209 | 0.18157 | 0.1346
CYANAZINE | 2033 | 04041GCM35 | 2011-03-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0707 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | CYANAZINE | . | 0.022 | 0.0265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0707 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0304 | 0.11553 | 1.0209 | 0.18157 | 0.1346
CYANAZINE | 2033 | 04041GCM35 | 2011-04-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.97102 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | CYANAZINE | . | 0.022 | 0.0966 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97102 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0304 | 0.11553 | 1.0209 | 0.18157 | 0.1346
CYANAZINE | 2033 | 04041GCM35 | 2011-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90828 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | CYANAZINE | . | 0.022 | 0.0673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90828 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0304 | 0.11553 | 1.0209 | 0.18157 | 0.1346
CYANAZINE | 2033 | 04041GCM35 | 2012-09-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.87 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | CYANAZINE | . | 0.022 | 0.0261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82167 | 0.068354 | 0.82167 | 0.096667 | 0.071658
CYANAZINE | 2033 | 04041GCM35 | 2013-03-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.77333 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.03 | CYANAZINE | . | 0.022 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82167 | 0.068354 | 0.82167 | 0.096667 | 0.071658
CYANAZINE | 2033 | 04041GCM35 | 2012-11-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.97852 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.0745 | CYANAZINE | . | 0.022 | 0.0729 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97852 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0846 | 0.24286 | 0.97852 | 0.44966 | 0.33333
CYANAZINE | 2033 | 04041GCM35 | 2013-02-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.91275 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.149 | CYANAZINE | . | 0.022 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91275 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0846 | 0.24286 | 0.97852 | 0.44966 | 0.33333
CYANAZINE | 2033 | 04041GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.3624 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.0298 | CYANAZINE | . | 0.022 | 0.0406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3624 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0846 | 0.24286 | 0.97852 | 0.44966 | 0.33333
CYANAZINE | 2033 | 04041GCM35 | 2013-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0695 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.0302 | CYANAZINE | . | 0.022 | 0.0323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0695 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0695 |  | 1.0695 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2013-09-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.98676 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.0755 | CYANAZINE | . | 0.022 | 0.0745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98675 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98675 |  | 0.98675 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2013-11-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.90667 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | CYANAZINE | . | 0.022 | 0.0272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98667 | 0.11314 | 0.98667 | 0.16 | 0.11861
CYANAZINE | 2033 | 04041GCM35 | 2014-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0667 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.03 | CYANAZINE | . | 0.022 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98667 | 0.11314 | 0.98667 | 0.16 | 0.11861
CYANAZINE | 2033 | 04041GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.123 | Restek | A063025 | Restek A063025: 40 µl | 0.21995 | CYANAZINE | . | 0.04 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.123 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1048 | 0.025711 | 1.1048 | 0.036361 | 0.026954
CYANAZINE | 2033 | 04041GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0866 | Restek | A063025 | Restek A063025: 25 µl | 0.1362 | CYANAZINE | . | 0.022 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0866 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1048 | 0.025711 | 1.1048 | 0.036361 | 0.026954
CYANAZINE | 2033 | 04041GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0003 | Restek | A075606 | Restek A075606: 40 µl | 0.071179 | CYANAZINE | . | 0.022 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0003 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.7673 | Restek | A075606 | Restek A075606: 80 µl | 0.14727 | CYANAZINE | . | 0.022 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7673 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.84131 | Restek | A075606 | Restek A075606: 40 µl | 0.074527 | CYANAZINE | . | 0.022 | 0.0627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84131 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-04-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0349 | Restek | A075606 | Restek A075606: 40 µl | 0.073917 | CYANAZINE | . | 0.022 | 0.0765 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0349 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-06-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.2267 | Restek | A075606 | Restek A075606: 80 µl | 0.14429 | CYANAZINE | . | 0.022 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2267 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.92623 | Restek | A075606 | Restek A075606: 40 µl | 0.0732 | CYANAZINE | E | 0.022 | 0.0678 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92623 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.95628 | Restek | A075606 | Restek A075606: 80 µl | 0.1464 | CYANAZINE | . | 0.022 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95628 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-09-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.46585 | Restek | A075606 | Restek A075606: 80 µl | 0.1464 | CYANAZINE | . | 0.022 | 0.0682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46585 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0656 | Restek | A075606 | Restek A075606: 80 µl | 0.1464 | CYANAZINE | . | 0.022 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0656 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2011-12-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.89617 | Restek | A075606 | Restek A075606: 40 µl | 0.0732 | CYANAZINE | . | 0.022 | 0.0656 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89617 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2012-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.92486 | Restek | A075606 | Restek A075606: 40 µl | 0.0732 | CYANAZINE | . | 0.022 | 0.0677 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92486 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2012-05-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0178 | Restek | A075606 | Restek A075606: 80 µl | 0.1464 | CYANAZINE | . | 0.022 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0178 | Restek A075606 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.92694 | 0.18625 | 0.94126 | 0.15761 | 0.11683
CYANAZINE | 2033 | 04041GCM35 | 2012-08-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.0201 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.0298 | CYANAZINE | . | 0.022 | 0.0304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0201 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99664 | 0.03322 | 0.99664 | 0.04698 | 0.034826
CYANAZINE | 2033 | 04041GCM35 | 2012-12-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.97315 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.149 | CYANAZINE | . | 0.022 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97315 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99664 | 0.03322 | 0.99664 | 0.04698 | 0.034826
CYANAZINE | 2033 | 04041GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.88751 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.056225 | CYANAZINE | . | 0.022 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88751 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89304 | 0.03414 | 0.88904 | 0.042931 | 0.031824
CYANAZINE | 2033 | 04041GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.85564 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.28283 | CYANAZINE | . | 0.022 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85564 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89304 | 0.03414 | 0.88904 | 0.042931 | 0.031824
CYANAZINE | 2033 | 04041GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.89057 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.057154 | CYANAZINE | . | 0.022 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89057 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89304 | 0.03414 | 0.88904 | 0.042931 | 0.031824
CYANAZINE | 2033 | 04041GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93844 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.11508 | CYANAZINE | . | 0.022 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93844 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89304 | 0.03414 | 0.88904 | 0.042931 | 0.031824
CYANAZINE | 2033 | 04041GCM35 | 2012-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.98933 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | CYANAZINE | . | 0.022 | 0.0742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98933 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.088 | 0.13954 | 1.088 | 0.19733 | 0.14628
CYANAZINE | 2033 | 04041GCM35 | 2013-01-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1867 | Supelco, Abs | LB92783, 052412 | Supelco LB92783: 50 µl & Abs 052412: 50 µl | 0.075 | CYANAZINE | . | 0.022 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1867 | SuLB92783, Ab052412 | Su | Ab | Ab | LB92783 | 052412 | 052412 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.088 | 0.13954 | 1.088 | 0.19733 | 0.14628
CYANAZINE | 2033 | 04041GCM35 | 2013-11-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1703 | Supelco, Abs, Crescent | LB99392, 042413, 10802AL | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl | 0.0552 | CYANAZINE | . | 0.022 | 0.0646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1703 | SuLB99392, Ab042413, Cr10802AL | Su | Ab | Cr | LB99392 | 042413 | 10802AL |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1703 |  | 1.1703 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2013-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.85401 | Supelco, Crescent | LB99392, 04CC101 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl | 0.137 | CYANAZINE | . | 0.022 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85401 | SuLB99392, Cr04CC101 | Su | Cr | Cr | LB99392 | 04CC101 | 04CC101 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85401 |  | 0.85401 | 0 | 0
CYANAZINE | 2033 | 04041GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.93969 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13515 | CYANAZINE | . | 0.04 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93969 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0378 | 0.13877 | 1.0378 | 0.19625 | 0.14548
CYANAZINE | 2033 | 04041GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1359 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.13469 | CYANAZINE | . | 0.022 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1359 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0378 | 0.13877 | 1.0378 | 0.19625 | 0.14548
CYANAZINE | 2033 | 04041GCM35 | 2011-02-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.79264 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1413 | CYANAZINE | . | 0.022 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79264 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2011-03-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.96779 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.073156 | CYANAZINE | . | 0.022 | 0.0708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96779 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.0381 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.074466 | CYANAZINE | . | 0.022 | 0.0773 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0381 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2011-07-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.68306 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1464 | CYANAZINE | . | 0.022 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68306 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.93989 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0732 | CYANAZINE | . | 0.022 | 0.0688 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93989 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0902 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0732 | CYANAZINE | . | 0.022 | 0.0798 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0902 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2011-10-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.67418 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1464 | CYANAZINE | . | 0.022 | 0.0987 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67418 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.81967 | Supelco | LB77168 | Supelco LB77168: 80 µl | 0.1464 | CYANAZINE | . | 0.022 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81967 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2011-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0574 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0732 | CYANAZINE | . | 0.022 | 0.0774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0574 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2012-03-09 | 2010-10-01 | 2050-09-30 | ug/L | 1.0779 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.0732 | CYANAZINE | . | 0.022 | 0.0789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0779 | Supelco LB77168 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91407 | 0.16051 | 0.95384 | 0.26473 | 0.19624
CYANAZINE | 2033 | 04041GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.97064 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.11024 | CYANAZINE | . | 0.022 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97064 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1015 | 0.30204 | 1.0661 | 0.44935 | 0.3331
CYANAZINE | 2033 | 04041GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.4908 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.056882 | CYANAZINE | . | 0.022 | 0.0848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4908 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1015 | 0.30204 | 1.0661 | 0.44935 | 0.3331
CYANAZINE | 2033 | 04041GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.1616 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.1145 | CYANAZINE | . | 0.022 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1015 | 0.30204 | 1.0661 | 0.44935 | 0.3331
CYANAZINE | 2033 | 04041GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.78308 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.056571 | CYANAZINE | . | 0.022 | 0.0443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78308 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1015 | 0.30204 | 1.0661 | 0.44935 | 0.3331