## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 0.80752 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80752 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.80752 |  | 0.80752 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-10-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.64545 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.11 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64545 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.64545 |  | 0.64545 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-07-11 | 2012-10-01 | 2050-09-30 | ug/L | 0.82743 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82743 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.82743 |  | 0.82743 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-06-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.68142 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.113 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68142 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.65155 | 0.042239 | 0.65155 | 0.059735 | 0.044281
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.62168 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62168 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.65155 | 0.042239 | 0.65155 | 0.059735 | 0.044281
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.51327 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51327 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.51327 |  | 0.51327 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-09-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.85227 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.044 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85227 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.85227 |  | 0.85227 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-01-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.99845 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.051079 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99845 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-02-08 | 2010-10-01 | 2012-09-30 | ug/L | 1.0638 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.025194 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0638 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-02-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.96947 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.051059 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96947 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-04-13 | 2010-10-01 | 2012-09-30 | ug/L | 0.85156 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.025835 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85156 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-06-20 | 2010-10-01 | 2012-09-30 | ug/L | 1.1173 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.025955 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1173 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-07-28 | 2010-10-01 | 2012-09-30 | ug/L | 1.4525 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02568 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4525 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-10-25 | 2010-10-01 | 2012-09-30 | ug/L | 1.3318 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02568 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3318 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-12-03 | 2010-10-01 | 2012-09-30 | ug/L | 0.97547 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.05136 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97547 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.2422 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02568 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2422 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-05-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.83723 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 40 µl | 0.02568 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83723 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 1.084 | 0.203 | 1.0311 | 0.27274 | 0.20218
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.84953 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.076513 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84953 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89466 | 0.27721 | 0.88517 | 0.37301 | 0.27651
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.56678 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.036346 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56678 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89466 | 0.27721 | 0.88517 | 0.37301 | 0.27651
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.2415 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.037857 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2415 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89466 | 0.27721 | 0.88517 | 0.37301 | 0.27651
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-10-27 | 2010-10-01 | 2012-09-30 | ug/L | 0.92081 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.18679 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92081 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89466 | 0.27721 | 0.88517 | 0.37301 | 0.27651
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-09-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.55093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55093 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.55093 |  | 0.55093 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.88185 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88185 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.082 | 0.23161 | 1.0284 | 0.45384 | 0.33643
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0284 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0284 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.082 | 0.23161 | 1.0284 | 0.45384 | 0.33643
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 1.3357 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3357 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.082 | 0.23161 | 1.0284 | 0.45384 | 0.33643
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.87285 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0879 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87285 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0124 | 0.21603 | 0.9486 | 0.31264 | 0.23176
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-03-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.3131 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 25 µl | 0.02475 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3131 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0124 | 0.21603 | 0.9486 | 0.31264 | 0.23176
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-04-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.83934 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.099483 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0835 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83934 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0124 | 0.21603 | 0.9486 | 0.31264 | 0.23176
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 1.0243 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 75 µl | 0.074096 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0759 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0243 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.0124 | 0.21603 | 0.9486 | 0.31264 | 0.23176
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-09-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.61 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5575 | 0.074246 | 0.5575 | 0.105 | 0.077835
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-03-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.505 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.505 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5575 | 0.074246 | 0.5575 | 0.105 | 0.077835
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-11-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.438 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl | 0.05 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.438 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.497 | 0.2537 | 0.438 | 0.497 | 0.36842
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-02-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.278 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.278 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.497 | 0.2537 | 0.438 | 0.497 | 0.36842
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.775 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.497 | 0.2537 | 0.438 | 0.497 | 0.36842
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-07-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.615 | Restek, Supelco | A088380, LB92783 | Restek A088380: 20 µl & Supelco LB92783: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.615 | ReA088380, SuLB92783 | Re | Su | Su | A088380 | LB92783 | LB92783 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.615 |  | 0.615 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-07-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.8 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.8 |  | 0.8 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-09-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.472 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.05 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.472 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.472 |  | 0.472 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-11-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.575 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.575 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.6025 | 0.038891 | 0.6025 | 0.055 | 0.040771
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.63 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.6025 | 0.038891 | 0.6025 | 0.055 | 0.040771
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-08-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.2937 | Restek | A063025 | Restek A063025: 40 µl | 0.091987 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2937 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.1033 | 0.26925 | 1.1033 | 0.38077 | 0.28226
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.91289 | Restek | A063025 | Restek A063025: 25 µl | 0.056962 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91289 | Restek A063025 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.1033 | 0.26925 | 1.1033 | 0.38077 | 0.28226
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-06-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.53 | Restek | A088380 | Restek A088380: 50 µl | 0.05 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53 | Restek A088380 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.53 |  | 0.53 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-08-29 | 2010-10-01 | 2012-09-30 | ug/L | 0.69 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5245 | 0.23405 | 0.5245 | 0.331 | 0.24537
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-12-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.359 | Spex Organics, Crescent | T1120530013, 05BB029 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.359 | SpT110013, Cr05BB029 | Sp | Cr | Cr | T110013 | 05BB029 | 05BB029 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5245 | 0.23405 | 0.5245 | 0.331 | 0.24537
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-09-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.88 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.714 | 0.23476 | 0.714 | 0.332 | 0.24611
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-01-15 | 2012-10-01 | 2050-09-30 | ug/L | 0.548 | Spex Organics, ERA | T1120530013, 0507-12-04.2 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl | 0.05 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.548 | SpT110013, ER05004.2 | Sp | ER | ER | T110013 | 05004.2 | 05004.2 | T110013 | 05004.2 | 05004.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.714 | 0.23476 | 0.714 | 0.332 | 0.24611
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-11-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.439 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.439 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.53033 | 0.079198 | 0.572 | 0.141 | 0.10452
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-02-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.58 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.53033 | 0.079198 | 0.572 | 0.141 | 0.10452
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-04-02 | 2012-10-01 | 2050-09-30 | ug/L | 0.572 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.05 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.572 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.53033 | 0.079198 | 0.572 | 0.141 | 0.10452
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-09-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.42636 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.22 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42636 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.42636 |  | 0.42636 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-11-09 | 2012-10-01 | 2050-09-30 | ug/L | 0.59545 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.044 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59545 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.59545 |  | 0.59545 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-01-11 | 2010-10-01 | 2012-09-30 | ug/L | 1.1696 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.047539 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1696 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.5157 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.02395 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5157 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-02-19 | 2010-10-01 | 2012-09-30 | ug/L | 1.0992 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024109 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0992 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-03-23 | 2010-10-01 | 2012-09-30 | ug/L | 1.3015 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.023511 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3015 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-05-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.1375 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024265 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1375 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-07-07 | 2010-10-01 | 2012-09-30 | ug/L | 1.1229 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.048 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0539 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1229 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-09-19 | 2010-10-01 | 2012-09-30 | ug/L | 1.0958 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0958 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-09-29 | 2010-10-01 | 2012-09-30 | ug/L | 1.0667 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.048 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-11-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.3542 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3542 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2011-12-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.1604 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.048 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1604 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-01-27 | 2010-10-01 | 2012-09-30 | ug/L | 1.0875 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.048 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-04-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.3917 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3917 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2012-06-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.72083 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.024 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72083 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 1.171 | 0.19428 | 1.1375 | 0.20569 | 0.15247
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2009-09-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.67188 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.056558 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67188 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.70851 | 0.051804 | 0.70851 | 0.073262 | 0.054308
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.74514 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.056365 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74514 | Supelco LB60731 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.70851 | 0.051804 | 0.70851 | 0.073262 | 0.054308
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.62276 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.03629 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62276 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.9875 | 0.33709 | 0.9466 | 0.45616 | 0.33815
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.99712 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.036104 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99712 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.9875 | 0.33709 | 0.9466 | 0.45616 | 0.33815
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.89607 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.071088 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89607 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.9875 | 0.33709 | 0.9466 | 0.45616 | 0.33815
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.434 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.072522 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.434 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.9875 | 0.33709 | 0.9466 | 0.45616 | 0.33815